## Sheet1
|  |  | Building_Total_Cooling Energy Demand (kWh/m2) (summed) |  |  | Building_Total_Heating Energy Demand (kWh/m2) (summed) |  |  | Building_Total_Total Energy Demand (kWh/m2) (summed)
|  |  | AS_ASHRAE55[CM_3[HM_0 | AS_JPN[CM_0[HM_0 | AS_JPN[CM_3[HM_2 | AS_ASHRAE55[CM_3[HM_0 | AS_JPN[CM_0[HM_0 | AS_JPN[CM_3[HM_2 | AS_ASHRAE55[CM_3[HM_0 | AS_JPN[CM_0[HM_0 | AS_JPN[CM_3[HM_2
EPW_City_or_subcountry | EPW_Scenario | EPW_Year
Asahikawa | Present | Present | 96.2338 | 81.8062 | 15.0095 | 943.8916 | 985.1308 | 686.708 | 1040.1254 | 1066.937 | 701.7175
| RCP26 | 2050 | 123.7401 | 110.5161 | 27.3202 | 788.1822 | 822.1846 | 563.6739 | 911.9223 | 932.7007 | 590.9942
|  | 2100 | 137.5759 | 129.8524 | 27.6796 | 799.7571 | 835.5752 | 575.8021 | 937.333 | 965.4276 | 603.4817
| RCP45 | 2050 | 131.3141 | 123.814 | 25.0001 | 749.9497 | 785.1988 | 526.931 | 881.2638 | 909.0128 | 551.9312
|  | 2100 | 180.9594 | 183.6612 | 44.7037 | 643.7649 | 674.8846 | 450.3023 | 824.7243 | 858.5458 | 495.0061
| RCP85 | 2050 | 153.5382 | 148.6051 | 31.7849 | 724.802 | 758.5824 | 514.7465 | 878.3402 | 907.1875 | 546.5314
|  | 2100 | 249.8608 | 282.8154 | 83.6477 | 418.625 | 441.3717 | 276.6286 | 668.4858 | 724.187 | 360.2764
Sapporo | Present | Present | 96.1253 | 79.1235 | 13.6527 | 789.9576 | 824.0592 | 562.6848 | 886.0829 | 903.1828 | 576.3375
| RCP26 | 2050 | 126.7942 | 113.2677 | 27.4519 | 657.8694 | 689.4321 | 454.1716 | 784.6637 | 802.6998 | 481.6234
|  | 2100 | 133.1953 | 125.6486 | 22.7969 | 659.4815 | 693.4983 | 448.2044 | 792.6768 | 819.1469 | 471.0013
| RCP45 | 2050 | 138.5374 | 127.9101 | 26.5685 | 624.923 | 654.9785 | 430.268 | 763.4604 | 782.8886 | 456.8365
|  | 2100 | 175.9174 | 169.4938 | 40.4497 | 519.2017 | 546.8317 | 346.0295 | 695.1191 | 716.3254 | 386.4791
| RCP85 | 2050 | 157.4171 | 149.9842 | 35.6492 | 601.8039 | 633.5221 | 405.0023 | 759.221 | 783.5063 | 440.6516
|  | 2100 | 245.1568 | 263.9403 | 70.7099 | 339.6759 | 361.2156 | 209.0155 | 584.8327 | 625.1559 | 279.7253
Morioka | Present | Present | 152.5418 | 144.9965 | 30.9502 | 500.2607 | 529.4329 | 319.737 | 652.8025 | 674.4294 | 350.6872
| RCP26 | 2050 | 179.7258 | 183.4675 | 34.9039 | 406.8268 | 434.1255 | 248.0703 | 586.5526 | 617.593 | 282.9742
|  | 2100 | 187.7518 | 193.5365 | 51.205 | 411.7476 | 437.5791 | 255.5432 | 599.4995 | 631.1156 | 306.7481
| RCP45 | 2050 | 185.3452 | 192.3525 | 40.4519 | 365.8215 | 393.102 | 213.275 | 551.1667 | 585.4545 | 253.7269
|  | 2100 | 233.7456 | 251.0465 | 60.1771 | 305.6044 | 325.9829 | 179.9577 | 539.35 | 577.0294 | 240.1348
| RCP85 | 2050 | 211.4074 | 225.1207 | 64.9349 | 363.166 | 385.9392 | 219.313 | 574.5733 | 611.0599 | 284.2479
|  | 2100 | 301.8699 | 360.4935 | 107.3159 | 177.3785 | 192.7136 | 95.3041 | 479.2484 | 553.2071 | 202.62
Niigata | Present | Present | 214.9263 | 228.5169 | 51.0787 | 257.8227 | 276.5417 | 144.0103 | 472.749 | 505.0586 | 195.089
| RCP26 | 2050 | 251.9701 | 278.0488 | 72.8751 | 209.8772 | 225.7287 | 115.0049 | 461.8473 | 503.7775 | 187.88
|  | 2100 | 261.0946 | 288.8517 | 75.4038 | 210.1023 | 227.777 | 113.6637 | 471.1969 | 516.6287 | 189.0676
| RCP45 | 2050 | 257.5424 | 284.321 | 81.8312 | 177.5794 | 193.9273 | 94.7717 | 435.1217 | 478.2484 | 176.6029
|  | 2100 | 310.3335 | 369.1686 | 102.5769 | 118.6181 | 132.5612 | 61.0629 | 428.9517 | 501.7298 | 163.6398
| RCP85 | 2050 | 275.4853 | 310.9047 | 83.5983 | 163.8827 | 176.9855 | 86.8166 | 439.368 | 487.8903 | 170.4149
|  | 2100 | 397.9349 | 539.2958 | 165.3939 | 57.2165 | 64.7208 | 36.2682 | 455.1514 | 604.0166 | 201.6621
Maebashi | Present | Present | 242.7989 | 264.5618 | 75.9325 | 177.4462 | 193.695 | 98.9339 | 420.2452 | 458.2568 | 174.8663
| RCP26 | 2050 | 280.3699 | 318.2766 | 93.245 | 113.4814 | 126.2317 | 54.0318 | 393.8513 | 444.5083 | 147.2767
|  | 2100 | 274.9754 | 311.5277 | 93.1112 | 121.0318 | 134.1704 | 57.2359 | 396.0072 | 445.6982 | 150.3471
| RCP45 | 2050 | 291.8837 | 332.3985 | 103.7591 | 117.8506 | 130.3939 | 65.2068 | 409.7343 | 462.7924 | 168.9659
|  | 2100 | 333.8236 | 405.7658 | 125.0471 | 74.2785 | 84.3516 | 36.5929 | 408.1021 | 490.1174 | 161.64
| RCP85 | 2050 | 301.1517 | 345.2638 | 104.6692 | 96.2021 | 107.2499 | 45.3136 | 397.3537 | 452.5137 | 149.9828
|  | 2100 | 428.7654 | 576.0962 | 179.5643 | 22.5098 | 27.7286 | 13.7331 | 451.2752 | 603.8248 | 193.2975
Tokyo | Present | Present | 264.2605 | 294.8024 | 81.5539 | 88.2361 | 100.1465 | 38.4133 | 352.4966 | 394.9489 | 119.9672
| RCP26 | 2050 | 311.7388 | 360.4733 | 109.0371 | 56.2315 | 65.4062 | 27.127 | 367.9703 | 425.8795 | 136.1642
|  | 2100 | 308.2179 | 358.4251 | 110.3942 | 49.9252 | 59.523 | 22.2131 | 358.1432 | 417.9482 | 132.6072
| RCP45 | 2050 | 324.9981 | 384.7526 | 118.1652 | 54.5232 | 63.8076 | 26.2308 | 379.5213 | 448.5601 | 144.396
|  | 2100 | 366.2627 | 456.7177 | 140.2603 | 22.2916 | 27.9072 | 12.3452 | 388.5542 | 484.6249 | 152.6056
| RCP85 | 2050 | 335.7267 | 404.0439 | 123.0517 | 36.6431 | 44.563 | 17.1917 | 372.3698 | 448.6069 | 140.2434
|  | 2100 | 480.7849 | 671.8771 | 222.5923 | 3.8174 | 4.3313 | 3.9632 | 484.6023 | 676.2084 | 226.5555
Kagoshima | Present | Present | 318.5613 | 357.4387 | 93.1911 | 46.6501 | 52.1781 | 33.2589 | 365.2114 | 409.6168 | 126.45
| RCP26 | 2050 | 377.9295 | 451.8333 | 128.4528 | 27.3013 | 30.6012 | 24.8791 | 405.2308 | 482.4345 | 153.3319
|  | 2100 | 367.4869 | 433.6913 | 121.8538 | 26.064 | 29.5689 | 23.2255 | 393.5509 | 463.2602 | 145.0793
| RCP45 | 2050 | 378.5885 | 452.337 | 129.6516 | 27.3697 | 30.4816 | 25.109 | 405.9582 | 482.8186 | 154.7606
|  | 2100 | 431.0265 | 550.9053 | 163.424 | 12.4608 | 12.155 | 15.2099 | 443.4873 | 563.0603 | 178.6339
| RCP85 | 2050 | 402.3391 | 492.1121 | 142.7974 | 22.7749 | 25.0319 | 23.2903 | 425.114 | 517.144 | 166.0876
|  | 2100 | 531.3487 | 753.6915 | 234.4993 | 3.018 | 1.7149 | 4.5269 | 534.3667 | 755.4064 | 239.0262
Naha | Present | Present | 511.0465 | 605.4172 | 133.5353 | 0 | 0 | 0.0011377 | 511.0465 | 605.4172 | 133.5364
| RCP26 | 2050 | 557.7875 | 689.3854 | 167.0834 | 0 | 0 | 0.00084777 | 557.7875 | 689.3854 | 167.0842
|  | 2100 | 552.7708 | 678.9609 | 169.8115 | 0 | 0 | 0.050499 | 552.7708 | 678.9609 | 169.862
| RCP45 | 2050 | 571.9737 | 720.6599 | 178.443 | 0 | 0 | 0.027822 | 571.9737 | 720.6599 | 178.4708
|  | 2100 | 633.1896 | 844.6468 | 223.701 | 0 | 0 | 0.090874 | 633.1896 | 844.6468 | 223.7918
| RCP85 | 2050 | 585.9091 | 756.4933 | 193.7299 | 0 | 0 | 0.0080818 | 585.9091 | 756.4933 | 193.738
|  | 2100 | 730.48 | 1082.6747 | 319.9742 | 0 | 0 | 0.10264 | 730.48 | 1082.6747 | 320.0769