## Sheet1
|  |  |  | Building_Total_Cooling Energy Demand (kWh/m2) (summed) | Building_Total_Cooling Energy Demand (kWh/m2) (summed) | Building_Total_Cooling Energy Demand (kWh/m2) (summed) | Building_Total_Cooling Energy Demand (kWh/m2) (summed) | Building_Total_Cooling Energy Demand (kWh/m2) (summed) | Building_Total_Cooling Energy Demand (kWh/m2) (summed) | Building_Total_Cooling Energy Demand (kWh/m2) (summed) | Building_Total_Cooling Energy Demand (kWh/m2) (summed) | Building_Total_Cooling Energy Demand (kWh/m2) (summed) | Building_Total_Cooling Energy Demand (kWh/m2) (summed) | Building_Total_Cooling Energy Demand (kWh/m2) (summed) | Building_Total_Cooling Energy Demand (kWh/m2) (summed) | Building_Total_Heating Energy Demand (kWh/m2) (summed) | Building_Total_Heating Energy Demand (kWh/m2) (summed) | Building_Total_Heating Energy Demand (kWh/m2) (summed) | Building_Total_Heating Energy Demand (kWh/m2) (summed) | Building_Total_Heating Energy Demand (kWh/m2) (summed) | Building_Total_Heating Energy Demand (kWh/m2) (summed) | Building_Total_Heating Energy Demand (kWh/m2) (summed) | Building_Total_Heating Energy Demand (kWh/m2) (summed) | Building_Total_Heating Energy Demand (kWh/m2) (summed) | Building_Total_Heating Energy Demand (kWh/m2) (summed) | Building_Total_Heating Energy Demand (kWh/m2) (summed) | Building_Total_Heating Energy Demand (kWh/m2) (summed) | Building_Total_Total Energy Demand (kWh/m2) (summed) | Building_Total_Total Energy Demand (kWh/m2) (summed) | Building_Total_Total Energy Demand (kWh/m2) (summed) | Building_Total_Total Energy Demand (kWh/m2) (summed) | Building_Total_Total Energy Demand (kWh/m2) (summed) | Building_Total_Total Energy Demand (kWh/m2) (summed) | Building_Total_Total Energy Demand (kWh/m2) (summed) | Building_Total_Total Energy Demand (kWh/m2) (summed) | Building_Total_Total Energy Demand (kWh/m2) (summed) | Building_Total_Total Energy Demand (kWh/m2) (summed) | Building_Total_Total Energy Demand (kWh/m2) (summed) | Building_Total_Total Energy Demand (kWh/m2) (summed)
|  |  |  | 1-(Present/RCP26[2050) | RCP26[2050 - Present | 1-(Present/RCP26[2100) | RCP26[2100 - Present | 1-(Present/RCP45[2050) | RCP45[2050 - Present | 1-(Present/RCP45[2100) | RCP45[2100 - Present | 1-(Present/RCP85[2050) | RCP85[2050 - Present | 1-(Present/RCP85[2100) | RCP85[2100 - Present | 1-(Present/RCP26[2050) | RCP26[2050 - Present | 1-(Present/RCP26[2100) | RCP26[2100 - Present | 1-(Present/RCP45[2050) | RCP45[2050 - Present | 1-(Present/RCP45[2100) | RCP45[2100 - Present | 1-(Present/RCP85[2050) | RCP85[2050 - Present | 1-(Present/RCP85[2100) | RCP85[2100 - Present | 1-(Present/RCP26[2050) | RCP26[2050 - Present | 1-(Present/RCP26[2100) | RCP26[2100 - Present | 1-(Present/RCP45[2050) | RCP45[2050 - Present | 1-(Present/RCP45[2100) | RCP45[2100 - Present | 1-(Present/RCP85[2050) | RCP85[2050 - Present | 1-(Present/RCP85[2100) | RCP85[2100 - Present
AdapStand | ComfMod | HVACmode | EPW_City_or_subcountry
AS_ASHRAE55 | CM_3 | HM_0 | Asahikawa | 0.22229 | 27.5063 | 0.3005 | 41.3421 | 0.26715 | 35.0803 | 0.4682 | 84.7256 | 0.37323 | 57.3044 | 0.61485 | 153.627 | -0.19756 | -155.7094 | -0.18022 | -144.1345 | -0.25861 | -193.9419 | -0.46621 | -300.1267 | -0.30228 | -219.0895 | -1.2547 | -525.2665 | -0.14059 | -128.2031 | -0.10966 | -102.7923 | -0.18027 | -158.8616 | -0.26118 | -215.4011 | -0.18419 | -161.7852 | -0.55594 | -371.6395
|  |  | Sapporo | 0.24188 | 30.6689 | 0.27831 | 37.07 | 0.30614 | 42.4121 | 0.45358 | 79.7921 | 0.38936 | 61.2918 | 0.6079 | 149.0315 | -0.20078 | -132.0881 | -0.19785 | -130.4761 | -0.26409 | -165.0346 | -0.52148 | -270.7558 | -0.31265 | -188.1536 | -1.3256 | -450.2817 | -0.12925 | -101.4192 | -0.11784 | -93.406 | -0.16061 | -122.6225 | -0.27472 | -190.9637 | -0.16709 | -126.8618 | -0.5151 | -301.2502
|  |  | Morioka | 0.15125 | 27.184 | 0.18753 | 35.21 | 0.17699 | 32.8034 | 0.3474 | 81.2038 | 0.27845 | 58.8655 | 0.49468 | 149.3281 | -0.22967 | -93.4339 | -0.21497 | -88.5131 | -0.3675 | -134.4393 | -0.63696 | -194.6563 | -0.3775 | -137.0948 | -1.8203 | -322.8822 | -0.11295 | -66.2499 | -0.088913 | -53.3031 | -0.1844 | -101.6359 | -0.21035 | -113.4525 | -0.13615 | -78.2292 | -0.36214 | -173.5541
|  |  | Niigata | 0.14702 | 37.0439 | 0.17683 | 46.1683 | 0.16547 | 42.6161 | 0.30743 | 95.4073 | 0.21983 | 60.5591 | 0.4599 | 183.0086 | -0.22845 | -47.9455 | -0.22713 | -47.7204 | -0.45187 | -80.2434 | -1.1736 | -139.2046 | -0.57322 | -93.94 | -3.5061 | -200.6062 | -0.023604 | -10.9017 | -0.0032939 | -1.5521 | -0.086475 | -37.6273 | -0.1021 | -43.7973 | -0.075975 | -33.381 | -0.038663 | -17.5976
|  |  | Maebashi | 0.134 | 37.5709 | 0.11702 | 32.1764 | 0.16817 | 49.0848 | 0.27267 | 91.0247 | 0.19377 | 58.3527 | 0.43373 | 185.9665 | -0.56366 | -63.9648 | -0.46611 | -56.4144 | -0.50569 | -59.5956 | -1.3889 | -103.1677 | -0.84452 | -81.2442 | -6.8831 | -154.9364 | -0.067015 | -26.3939 | -0.061206 | -24.238 | -0.025653 | -10.5108 | -0.029755 | -12.1431 | -0.05761 | -22.8914 | 0.068761 | 31.03
|  |  | Tokyo | 0.1523 | 47.4782 | 0.14262 | 43.9574 | 0.18689 | 60.7376 | 0.27849 | 102.0021 | 0.21287 | 71.4662 | 0.45036 | 216.5243 | -0.56916 | -32.0046 | -0.76736 | -38.3109 | -0.61832 | -33.7129 | -2.9583 | -65.9445 | -1.408 | -51.593 | -22.1142 | -84.4187 | 0.042051 | 15.4737 | 0.015766 | 5.6465 | 0.071207 | 27.0247 | 0.092799 | 36.0576 | 0.053369 | 19.8732 | 0.27261 | 132.1057
|  |  | Kagoshima | 0.15709 | 59.3683 | 0.13314 | 48.9256 | 0.15856 | 60.0272 | 0.26092 | 112.4652 | 0.20823 | 83.7778 | 0.40047 | 212.7874 | -0.70871 | -19.3488 | -0.78983 | -20.5861 | -0.70445 | -19.2804 | -2.7437 | -34.1893 | -1.0483 | -23.8752 | -14.4572 | -43.632 | 0.098757 | 40.0195 | 0.07201 | 28.3395 | 0.10037 | 40.7468 | 0.1765 | 78.2759 | 0.14091 | 59.9026 | 0.31655 | 169.1554
|  |  | Naha | 0.083797 | 46.741 | 0.075482 | 41.7243 | 0.10652 | 60.9272 | 0.1929 | 122.1431 | 0.12777 | 74.8626 | 0.3004 | 219.4335 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0.083797 | 46.741 | 0.075482 | 41.7243 | 0.10652 | 60.9272 | 0.1929 | 122.1431 | 0.12777 | 74.8626 | 0.3004 | 219.4335
AS_JPN | CM_0 | HM_0 | Asahikawa | 0.25978 | 28.7099 | 0.37001 | 48.0462 | 0.33928 | 42.0078 | 0.55458 | 101.8549 | 0.44951 | 66.7988 | 0.71074 | 201.0091 | -0.19819 | -162.9461 | -0.17899 | -149.5555 | -0.25463 | -199.932 | -0.4597 | -310.2462 | -0.29865 | -226.5483 | -1.232 | -543.7591 | -0.14392 | -134.2363 | -0.10514 | -101.5094 | -0.17373 | -157.9242 | -0.24273 | -208.3912 | -0.17609 | -159.7495 | -0.47329 | -342.75
|  |  | Sapporo | 0.30145 | 34.1441 | 0.37028 | 46.5251 | 0.38141 | 48.7865 | 0.53318 | 90.3702 | 0.47245 | 70.8607 | 0.70022 | 184.8167 | -0.19527 | -134.6271 | -0.18826 | -130.561 | -0.25815 | -169.0807 | -0.50697 | -277.2276 | -0.30076 | -190.5372 | -1.2813 | -462.8436 | -0.12518 | -100.483 | -0.10259 | -84.0359 | -0.15365 | -120.2942 | -0.26086 | -186.8574 | -0.15274 | -119.6765 | -0.44473 | -278.0269
|  |  | Morioka | 0.20969 | 38.471 | 0.25081 | 48.5399 | 0.24619 | 47.356 | 0.42243 | 106.05 | 0.35592 | 80.1242 | 0.59778 | 215.497 | -0.21954 | -95.3074 | -0.20991 | -91.8538 | -0.34681 | -136.3309 | -0.62411 | -203.45 | -0.3718 | -143.4937 | -1.7473 | -336.7193 | -0.092029 | -56.8364 | -0.068631 | -43.3139 | -0.15198 | -88.975 | -0.1688 | -97.4 | -0.1037 | -63.3696 | -0.21913 | -121.2223
|  |  | Niigata | 0.17814 | 49.5319 | 0.20888 | 60.3348 | 0.19627 | 55.8041 | 0.381 | 140.6517 | 0.26499 | 82.3878 | 0.57627 | 310.7789 | -0.22511 | -50.813 | -0.21409 | -48.7647 | -0.42601 | -82.6143 | -1.0861 | -143.9805 | -0.56251 | -99.5561 | -3.2728 | -211.8209 | -0.0025429 | -1.2811 | 0.022395 | 11.5701 | -0.056059 | -26.8102 | -0.0066347 | -3.3288 | -0.035189 | -17.1683 | 0.16383 | 98.958
|  |  | Maebashi | 0.16877 | 53.7148 | 0.15076 | 46.9659 | 0.20408 | 67.8367 | 0.34799 | 141.204 | 0.23374 | 80.702 | 0.54077 | 311.5344 | -0.53444 | -67.4633 | -0.44365 | -59.5246 | -0.48546 | -63.3011 | -1.2963 | -109.3434 | -0.80602 | -86.4451 | -5.9854 | -165.9665 | -0.03093 | -13.7486 | -0.028178 | -12.5587 | 0.0098004 | 4.5356 | 0.065006 | 31.8606 | -0.012692 | -5.7432 | 0.24108 | 145.568
|  |  | Tokyo | 0.18218 | 65.6709 | 0.17751 | 63.6228 | 0.23379 | 89.9502 | 0.35452 | 161.9153 | 0.27037 | 109.2415 | 0.56123 | 377.0747 | -0.53115 | -34.7403 | -0.68248 | -40.6234 | -0.56951 | -36.3389 | -2.5886 | -72.2393 | -1.2473 | -55.5835 | -22.1214 | -95.8151 | 0.072628 | 30.9306 | 0.055029 | 22.9993 | 0.11952 | 53.6113 | 0.18504 | 89.6761 | 0.11961 | 53.658 | 0.41594 | 281.2595
|  |  | Kagoshima | 0.20891 | 94.3946 | 0.17582 | 76.2526 | 0.2098 | 94.8983 | 0.35118 | 193.4666 | 0.27366 | 134.6733 | 0.52575 | 396.2528 | -0.7051 | -21.5769 | -0.76463 | -22.6092 | -0.71179 | -21.6965 | -3.2927 | -40.0231 | -1.0845 | -27.1461 | -29.4266 | -50.4632 | 0.15094 | 72.8177 | 0.1158 | 53.6434 | 0.15161 | 73.2018 | 0.27252 | 153.4435 | 0.20793 | 107.5272 | 0.45775 | 345.7896
|  |  | Naha | 0.1218 | 83.9682 | 0.10832 | 73.5437 | 0.15991 | 115.2427 | 0.28323 | 239.2296 | 0.19971 | 151.0761 | 0.44081 | 477.2575 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0.1218 | 83.9682 | 0.10832 | 73.5437 | 0.15991 | 115.2427 | 0.28323 | 239.2296 | 0.19971 | 151.0761 | 0.44081 | 477.2575
| CM_3 | HM_2 | Asahikawa | 0.45061 | 12.3107 | 0.45774 | 12.6701 | 0.39962 | 9.9906 | 0.66424 | 29.6942 | 0.52778 | 16.7754 | 0.82056 | 68.6382 | -0.21827 | -123.034 | -0.19261 | -110.9059 | -0.30322 | -159.7769 | -0.52499 | -236.4056 | -0.33407 | -171.9615 | -1.4824 | -410.0793 | -0.18735 | -110.7233 | -0.16278 | -98.2358 | -0.27139 | -149.7863 | -0.41759 | -206.7114 | -0.28395 | -155.1861 | -0.94772 | -341.4411
|  |  | Sapporo | 0.50267 | 13.7992 | 0.40112 | 9.1442 | 0.48613 | 12.9158 | 0.66248 | 26.797 | 0.61703 | 21.9965 | 0.80692 | 57.0572 | -0.23893 | -108.5132 | -0.25542 | -114.4804 | -0.30775 | -132.4168 | -0.62612 | -216.6553 | -0.38934 | -157.6825 | -1.6921 | -353.6693 | -0.19666 | -94.7141 | -0.22364 | -105.3362 | -0.26158 | -119.501 | -0.49125 | -189.8584 | -0.30792 | -135.686 | -1.0604 | -296.6122
|  |  | Morioka | 0.11327 | 3.9537 | 0.39556 | 20.2548 | 0.23489 | 9.5017 | 0.48568 | 29.2269 | 0.52337 | 33.9847 | 0.7116 | 76.3657 | -0.2889 | -71.6667 | -0.25121 | -64.1939 | -0.49918 | -106.462 | -0.77673 | -139.7794 | -0.4579 | -100.424 | -2.3549 | -224.4329 | -0.23929 | -67.713 | -0.14324 | -43.9391 | -0.38214 | -96.9603 | -0.46038 | -110.5524 | -0.23374 | -66.4393 | -0.73076 | -148.0672
|  |  | Niigata | 0.29909 | 21.7964 | 0.3226 | 24.3252 | 0.3758 | 30.7525 | 0.50204 | 51.4982 | 0.389 | 32.5197 | 0.69117 | 114.3152 | -0.25221 | -29.0054 | -0.26699 | -30.3466 | -0.51955 | -49.2386 | -1.3584 | -82.9474 | -0.65879 | -57.1937 | -2.9707 | -107.7421 | -0.03837 | -7.209 | -0.031848 | -6.0214 | -0.10468 | -18.4861 | -0.19219 | -31.4492 | -0.14479 | -24.6741 | 0.032595 | 6.5731
|  |  | Maebashi | 0.18567 | 17.3125 | 0.1845 | 17.1787 | 0.26818 | 27.8266 | 0.39277 | 49.1146 | 0.27455 | 28.7367 | 0.57713 | 103.6319 | -0.83103 | -44.9021 | -0.72853 | -41.698 | -0.51723 | -33.7271 | -1.7036 | -62.341 | -1.1833 | -53.6203 | -6.204 | -85.2007 | -0.18733 | -27.5896 | -0.16308 | -24.5193 | -0.034921 | -5.9005 | -0.081826 | -13.2264 | -0.16591 | -24.8836 | 0.095351 | 18.4311
|  |  | Tokyo | 0.25205 | 27.4833 | 0.26125 | 28.8403 | 0.30983 | 36.6113 | 0.41855 | 58.7065 | 0.33724 | 41.4979 | 0.63362 | 141.0384 | -0.41605 | -11.2863 | -0.72931 | -16.2003 | -0.46444 | -12.1826 | -2.1116 | -26.0681 | -1.2344 | -21.2217 | -8.6925 | -34.4501 | 0.11895 | 16.197 | 0.095319 | 12.64 | 0.16918 | 24.4288 | 0.21387 | 32.6384 | 0.14458 | 20.2762 | 0.47047 | 106.5883
|  |  | Kagoshima | 0.27451 | 35.2617 | 0.23522 | 28.6627 | 0.28122 | 36.4605 | 0.42976 | 70.2329 | 0.34739 | 49.6063 | 0.6026 | 141.3082 | -0.33682 | -8.3798 | -0.432 | -10.0334 | -0.32458 | -8.1499 | -1.1867 | -18.0489 | -0.42802 | -9.9686 | -6.3469 | -28.7319 | 0.17532 | 26.8819 | 0.12841 | 18.6293 | 0.18293 | 28.3106 | 0.29213 | 52.1839 | 0.23866 | 39.6377 | 0.47098 | 112.5763
|  |  | Naha | 0.20079 | 33.5481 | 0.21363 | 36.2762 | 0.25166 | 44.9077 | 0.40306 | 90.1657 | 0.31071 | 60.1946 | 0.58267 | 186.4389 | -0.34194 | -0.00028988 | 0.97747 | 0.049362 | 0.95911 | 0.026685 | 0.98748 | 0.089736 | 0.85923 | 0.0069441 | 0.98892 | 0.10151 | 0.20078 | 33.5478 | 0.21385 | 36.3255 | 0.25177 | 44.9344 | 0.4033 | 90.2554 | 0.31074 | 60.2015 | 0.5828 | 186.5404

## Sheet1 (2)
AdapStand | ComfMod | HVACmode | EPW_City_or_subcountry | Cooling Energy Demand (kWh/m2) | [5 empty] | Heating Energy Demand (kWh/m2) | [5 empty] | Total Energy Demand (kWh/m2)
|  |  |  | RCP26[2050 - Present | RCP26[2050 - Present | RCP45[2050 - Present | RCP45[2100 - Present | RCP85[2050 - Present | RCP85[2100 - Present | RCP26[2050 - Present | RCP26[2100 - Present | RCP45[2050 - Present | RCP45[2100 - Present | RCP85[2050 - Present | RCP85[2100 - Present | RCP26[2050 - Present | RCP26[2100 - Present | RCP45[2050 - Present | RCP45[2100 - Present | RCP85[2050 - Present | RCP85[2100 - Present
AS_ASHRAE55 | CM_3 | HM_0 | Asahikawa | 27.5063 | 41.3421 | 35.0803 | 84.7256 | 57.3044 | 153.627 | -155.7094 | -144.1345 | -193.9419 | -300.1267 | -219.0895 | -525.2665 | -128.2031 | -102.7923 | -158.8616 | -215.4011 | -161.7852 | -371.6395
|  |  | Sapporo | 30.6689 | 37.07 | 42.4121 | 79.7921 | 61.2918 | 149.0315 | -132.0881 | -130.4761 | -165.0346 | -270.7558 | -188.1536 | -450.2817 | -101.4192 | -93.406 | -122.6225 | -190.9637 | -126.8618 | -301.2502
|  |  | Morioka | 27.184 | 35.21 | 32.8034 | 81.2038 | 58.8655 | 149.3281 | -93.4339 | -88.5131 | -134.4393 | -194.6563 | -137.0948 | -322.8822 | -66.2499 | -53.3031 | -101.6359 | -113.4525 | -78.2292 | -173.5541
|  |  | Niigata | 37.0439 | 46.1683 | 42.6161 | 95.4073 | 60.5591 | 183.0086 | -47.9455 | -47.7204 | -80.2434 | -139.2046 | -93.94 | -200.6062 | -10.9017 | -1.5521 | -37.6273 | -43.7973 | -33.381 | -17.5976
|  |  | Maebashi | 37.5709 | 32.1764 | 49.0848 | 91.0247 | 58.3527 | 185.9665 | -63.9648 | -56.4144 | -59.5956 | -103.1677 | -81.2442 | -154.9364 | -26.3939 | -24.238 | -10.5108 | -12.1431 | -22.8914 | 31.03
|  |  | Tokyo | 47.4782 | 43.9574 | 60.7376 | 102.0021 | 71.4662 | 216.5243 | -32.0046 | -38.3109 | -33.7129 | -65.9445 | -51.593 | -84.4187 | 15.4737 | 5.6465 | 27.0247 | 36.0576 | 19.8732 | 132.1057
|  |  | Kagoshima | 59.3683 | 48.9256 | 60.0272 | 112.4652 | 83.7778 | 212.7874 | -19.3488 | -20.5861 | -19.2804 | -34.1893 | -23.8752 | -43.632 | 40.0195 | 28.3395 | 40.7468 | 78.2759 | 59.9026 | 169.1554
|  |  | Naha | 46.741 | 41.7243 | 60.9272 | 122.1431 | 74.8626 | 219.4335 | 0 | 0 | 0 | 0 | 0 | 0 | 46.741 | 41.7243 | 60.9272 | 122.1431 | 74.8626 | 219.4335
AS_JPN | CM_0 | HM_0 | Asahikawa | 28.7099 | 48.0462 | 42.0078 | 101.8549 | 66.7988 | 201.0091 | -162.9461 | -149.5555 | -199.932 | -310.2462 | -226.5483 | -543.7591 | -134.2363 | -101.5094 | -157.9242 | -208.3912 | -159.7495 | -342.75
|  |  | Sapporo | 34.1441 | 46.5251 | 48.7865 | 90.3702 | 70.8607 | 184.8167 | -134.6271 | -130.561 | -169.0807 | -277.2276 | -190.5372 | -462.8436 | -100.483 | -84.0359 | -120.2942 | -186.8574 | -119.6765 | -278.0269
|  |  | Morioka | 38.471 | 48.5399 | 47.356 | 106.05 | 80.1242 | 215.497 | -95.3074 | -91.8538 | -136.3309 | -203.45 | -143.4937 | -336.7193 | -56.8364 | -43.3139 | -88.975 | -97.4 | -63.3696 | -121.2223
|  |  | Niigata | 49.5319 | 60.3348 | 55.8041 | 140.6517 | 82.3878 | 310.7789 | -50.813 | -48.7647 | -82.6143 | -143.9805 | -99.5561 | -211.8209 | -1.2811 | 11.5701 | -26.8102 | -3.3288 | -17.1683 | 98.958
|  |  | Maebashi | 53.7148 | 46.9659 | 67.8367 | 141.204 | 80.702 | 311.5344 | -67.4633 | -59.5246 | -63.3011 | -109.3434 | -86.4451 | -165.9665 | -13.7486 | -12.5587 | 4.5356 | 31.8606 | -5.7432 | 145.568
|  |  | Tokyo | 65.6709 | 63.6228 | 89.9502 | 161.9153 | 109.2415 | 377.0747 | -34.7403 | -40.6234 | -36.3389 | -72.2393 | -55.5835 | -95.8151 | 30.9306 | 22.9993 | 53.6113 | 89.6761 | 53.658 | 281.2595
|  |  | Kagoshima | 94.3946 | 76.2526 | 94.8983 | 193.4666 | 134.6733 | 396.2528 | -21.5769 | -22.6092 | -21.6965 | -40.0231 | -27.1461 | -50.4632 | 72.8177 | 53.6434 | 73.2018 | 153.4435 | 107.5272 | 345.7896
|  |  | Naha | 83.9682 | 73.5437 | 115.2427 | 239.2296 | 151.0761 | 477.2575 | 0 | 0 | 0 | 0 | 0 | 0 | 83.9682 | 73.5437 | 115.2427 | 239.2296 | 151.0761 | 477.2575
| CM_3 | HM_2 | Asahikawa | 12.3107 | 12.6701 | 9.9906 | 29.6942 | 16.7754 | 68.6382 | -123.034 | -110.9059 | -159.7769 | -236.4056 | -171.9615 | -410.0793 | -110.7233 | -98.2358 | -149.7863 | -206.7114 | -155.1861 | -341.4411
|  |  | Sapporo | 13.7992 | 9.1442 | 12.9158 | 26.797 | 21.9965 | 57.0572 | -108.5132 | -114.4804 | -132.4168 | -216.6553 | -157.6825 | -353.6693 | -94.7141 | -105.3362 | -119.501 | -189.8584 | -135.686 | -296.6122
|  |  | Morioka | 3.9537 | 20.2548 | 9.5017 | 29.2269 | 33.9847 | 76.3657 | -71.6667 | -64.1939 | -106.462 | -139.7794 | -100.424 | -224.4329 | -67.713 | -43.9391 | -96.9603 | -110.5524 | -66.4393 | -148.0672
|  |  | Niigata | 21.7964 | 24.3252 | 30.7525 | 51.4982 | 32.5197 | 114.3152 | -29.0054 | -30.3466 | -49.2386 | -82.9474 | -57.1937 | -107.7421 | -7.209 | -6.0214 | -18.4861 | -31.4492 | -24.6741 | 6.5731
|  |  | Maebashi | 17.3125 | 17.1787 | 27.8266 | 49.1146 | 28.7367 | 103.6319 | -44.9021 | -41.698 | -33.7271 | -62.341 | -53.6203 | -85.2007 | -27.5896 | -24.5193 | -5.9005 | -13.2264 | -24.8836 | 18.4311
|  |  | Tokyo | 27.4833 | 28.8403 | 36.6113 | 58.7065 | 41.4979 | 141.0384 | -11.2863 | -16.2003 | -12.1826 | -26.0681 | -21.2217 | -34.4501 | 16.197 | 12.64 | 24.4288 | 32.6384 | 20.2762 | 106.5883
|  |  | Kagoshima | 35.2617 | 28.6627 | 36.4605 | 70.2329 | 49.6063 | 141.3082 | -8.3798 | -10.0334 | -8.1499 | -18.0489 | -9.9686 | -28.7319 | 26.8819 | 18.6293 | 28.3106 | 52.1839 | 39.6377 | 112.5763
|  |  | Naha | 33.5481 | 36.2762 | 44.9077 | 90.1657 | 60.1946 | 186.4389 | -0.00028988 | 0.049362 | 0.026685 | 0.089736 | 0.0069441 | 0.10151 | 33.5478 | 36.3255 | 44.9344 | 90.2554 | 60.2015 | 186.5404

## Sheet1 (3)
|  |  |  | Building_Total_Cooling Energy Demand (kWh/m2) (summed) | [5 empty] | Building_Total_Heating Energy Demand (kWh/m2) (summed) | [5 empty] | Building_Total_Total Energy Demand (kWh/m2) (summed)
|  |  |  | 1-(Present/RCP26[2050) | 1-(Present/RCP26[2100) | 1-(Present/RCP45[2050) | 1-(Present/RCP45[2100) | 1-(Present/RCP85[2050) | 1-(Present/RCP85[2100) | 1-(Present/RCP26[2050) | 1-(Present/RCP26[2100) | 1-(Present/RCP45[2050) | 1-(Present/RCP45[2100) | 1-(Present/RCP85[2050) | 1-(Present/RCP85[2100) | 1-(Present/RCP26[2050) | 1-(Present/RCP26[2100) | 1-(Present/RCP45[2050) | 1-(Present/RCP45[2100) | 1-(Present/RCP85[2050) | 1-(Present/RCP85[2100)
AdapStand | ComfMod | HVACmode | EPW_City_or_subcountry
AS_ASHRAE55 | CM_3 | HM_0 | Asahikawa | 22.23% | 30.05% | 26.71% | 46.82% | 37.32% | 61.49% | -19.76% | -18.02% | -25.86% | -46.62% | -30.23% | -125.5% | -14.06% | -10.97% | -18.03% | -26.12% | -18.42% | -55.59%
|  |  | Sapporo | 24.19% | 27.83% | 30.61% | 45.36% | 38.94% | 60.79% | -20.08% | -19.78% | -26.41% | -52.15% | -31.26% | -132.6% | -12.93% | -11.78% | -16.06% | -27.47% | -16.71% | -51.51%
|  |  | Morioka | 15.13% | 18.75% | 17.7% | 34.74% | 27.84% | 49.47% | -22.97% | -21.5% | -36.75% | -63.7% | -37.75% | -182% | -11.29% | -8.891% | -18.44% | -21.04% | -13.62% | -36.21%
|  |  | Niigata | 14.7% | 17.68% | 16.55% | 30.74% | 21.98% | 45.99% | -22.84% | -22.71% | -45.19% | -117.4% | -57.32% | -350.6% | -2.36% | -0.3294% | -8.648% | -10.21% | -7.597% | -3.866%
|  |  | Maebashi | 13.4% | 11.7% | 16.82% | 27.27% | 19.38% | 43.37% | -56.37% | -46.61% | -50.57% | -138.9% | -84.45% | -688.3% | -6.701% | -6.121% | -2.565% | -2.975% | -5.761% | 6.876%
|  |  | Tokyo | 15.23% | 14.26% | 18.69% | 27.85% | 21.29% | 45.04% | -56.92% | -76.74% | -61.83% | -295.8% | -140.8% | -2211% | 4.205% | 1.577% | 7.121% | 9.28% | 5.337% | 27.26%
|  |  | Kagoshima | 15.71% | 13.31% | 15.86% | 26.09% | 20.82% | 40.05% | -70.87% | -78.98% | -70.44% | -274.4% | -104.8% | -1446% | 9.876% | 7.201% | 10.04% | 17.65% | 14.09% | 31.66%
|  |  | Naha | 8.38% | 7.548% | 10.65% | 19.29% | 12.78% | 30.04% | [6 empty] | 8.38% | 7.548% | 10.65% | 19.29% | 12.78% | 30.04%
AS_JPN | CM_0 | HM_0 | Asahikawa | 25.98% | 37% | 33.93% | 55.46% | 44.95% | 71.07% | -19.82% | -17.9% | -25.46% | -45.97% | -29.86% | -123.2% | -14.39% | -10.51% | -17.37% | -24.27% | -17.61% | -47.33%
|  |  | Sapporo | 30.14% | 37.03% | 38.14% | 53.32% | 47.25% | 70.02% | -19.53% | -18.83% | -25.81% | -50.7% | -30.08% | -128.1% | -12.52% | -10.26% | -15.37% | -26.09% | -15.27% | -44.47%
|  |  | Morioka | 20.97% | 25.08% | 24.62% | 42.24% | 35.59% | 59.78% | -21.95% | -20.99% | -34.68% | -62.41% | -37.18% | -174.7% | -9.203% | -6.863% | -15.2% | -16.88% | -10.37% | -21.91%
|  |  | Niigata | 17.81% | 20.89% | 19.63% | 38.1% | 26.5% | 57.63% | -22.51% | -21.41% | -42.6% | -108.6% | -56.25% | -327.3% | -0.2543% | 2.24% | -5.606% | -0.6635% | -3.519% | 16.38%
|  |  | Maebashi | 16.88% | 15.08% | 20.41% | 34.8% | 23.37% | 54.08% | -53.44% | -44.36% | -48.55% | -129.6% | -80.6% | -598.5% | -3.093% | -2.818% | 0.98% | 6.501% | -1.269% | 24.11%
|  |  | Tokyo | 18.22% | 17.75% | 23.38% | 35.45% | 27.04% | 56.12% | -53.11% | -68.25% | -56.95% | -258.9% | -124.7% | -2212% | 7.263% | 5.503% | 11.95% | 18.5% | 11.96% | 41.59%
|  |  | Kagoshima | 20.89% | 17.58% | 20.98% | 35.12% | 27.37% | 52.57% | -70.51% | -76.46% | -71.18% | -329.3% | -108.4% | -2943% | 15.09% | 11.58% | 15.16% | 27.25% | 20.79% | 45.78%
|  |  | Naha | 12.18% | 10.83% | 15.99% | 28.32% | 19.97% | 44.08% | [6 empty] | 12.18% | 10.83% | 15.99% | 28.32% | 19.97% | 44.08%
| CM_3 | HM_2 | Asahikawa | 45.06% | 45.77% | 39.96% | 66.42% | 52.78% | 82.06% | -21.83% | -19.26% | -30.32% | -52.5% | -33.41% | -148.2% | -18.74% | -16.28% | -27.14% | -41.76% | -28.39% | -94.77%
|  |  | Sapporo | 50.27% | 40.11% | 48.61% | 66.25% | 61.7% | 80.69% | -23.89% | -25.54% | -30.78% | -62.61% | -38.93% | -169.2% | -19.67% | -22.36% | -26.16% | -49.13% | -30.79% | -106%
|  |  | Morioka | 11.33% | 39.56% | 23.49% | 48.57% | 52.34% | 71.16% | -28.89% | -25.12% | -49.92% | -77.67% | -45.79% | -235.5% | -23.93% | -14.32% | -38.21% | -46.04% | -23.37% | -73.08%
|  |  | Niigata | 29.91% | 32.26% | 37.58% | 50.2% | 38.9% | 69.12% | -25.22% | -26.7% | -51.95% | -135.8% | -65.88% | -297.1% | -3.837% | -3.185% | -10.47% | -19.22% | -14.48% | 3.259%
|  |  | Maebashi | 18.57% | 18.45% | 26.82% | 39.28% | 27.45% | 57.71% | -83.1% | -72.85% | -51.72% | -170.4% | -118.3% | -620.4% | -18.73% | -16.31% | -3.492% | -8.183% | -16.59% | 9.535%
|  |  | Tokyo | 25.21% | 26.12% | 30.98% | 41.86% | 33.72% | 63.36% | -41.61% | -72.93% | -46.44% | -211.2% | -123.4% | -869.3% | 11.9% | 9.532% | 16.92% | 21.39% | 14.46% | 47.05%
|  |  | Kagoshima | 27.45% | 23.52% | 28.12% | 42.98% | 34.74% | 60.26% | -33.68% | -43.2% | -32.46% | -118.7% | -42.8% | -634.7% | 17.53% | 12.84% | 18.29% | 29.21% | 23.87% | 47.1%
|  |  | Naha | 20.08% | 21.36% | 25.17% | 40.31% | 31.07% | 58.27% | -34.19% | 97.75% | 95.91% | 98.75% | 85.92% | 98.89% | 20.08% | 21.39% | 25.18% | 40.33% | 31.07% | 58.28%

## Sheet1 (4)
AdapStand | ComfMod | HVACmode | EPW_City_or_subcountry | Cooling Energy Demand (kWh/m2) | [5 empty] | Heating Energy Demand (kWh/m2) | [5 empty] | Total Energy Demand (kWh/m2)
|  |  |  | RCP26[2050 - Present | RCP26[2050 - Present | RCP45[2050 - Present | RCP45[2100 - Present | RCP85[2050 - Present | RCP85[2100 - Present | RCP26[2050 - Present | RCP26[2100 - Present | RCP45[2050 - Present | RCP45[2100 - Present | RCP85[2050 - Present | RCP85[2100 - Present | RCP26[2050 - Present | RCP26[2100 - Present | RCP45[2050 - Present | RCP45[2100 - Present | RCP85[2050 - Present | RCP85[2100 - Present
AS_ASHRAE55 | CM_3 | HM_0 | Asahikawa | 27.5063 | 41.3421 | 35.0803 | 84.7256 | 57.3044 | 153.627 | -155.7094 | -144.1345 | -193.9419 | -300.1267 | -219.0895 | -525.2665 | -128.2031 | -102.7923 | -158.8616 | -215.4011 | -161.7852 | -371.6395
|  |  | Sapporo | 30.6689 | 37.07 | 42.4121 | 79.7921 | 61.2918 | 149.0315 | -132.0881 | -130.4761 | -165.0346 | -270.7558 | -188.1536 | -450.2817 | -101.4192 | -93.406 | -122.6225 | -190.9637 | -126.8618 | -301.2502
|  |  | Morioka | 27.184 | 35.21 | 32.8034 | 81.2038 | 58.8655 | 149.3281 | -93.4339 | -88.5131 | -134.4393 | -194.6563 | -137.0948 | -322.8822 | -66.2499 | -53.3031 | -101.6359 | -113.4525 | -78.2292 | -173.5541
|  |  | Niigata | 37.0439 | 46.1683 | 42.6161 | 95.4073 | 60.5591 | 183.0086 | -47.9455 | -47.7204 | -80.2434 | -139.2046 | -93.94 | -200.6062 | -10.9017 | -1.5521 | -37.6273 | -43.7973 | -33.381 | -17.5976
|  |  | Maebashi | 37.5709 | 32.1764 | 49.0848 | 91.0247 | 58.3527 | 185.9665 | -63.9648 | -56.4144 | -59.5956 | -103.1677 | -81.2442 | -154.9364 | -26.3939 | -24.238 | -10.5108 | -12.1431 | -22.8914 | 31.03
|  |  | Tokyo | 47.4782 | 43.9574 | 60.7376 | 102.0021 | 71.4662 | 216.5243 | -32.0046 | -38.3109 | -33.7129 | -65.9445 | -51.593 | -84.4187 | 15.4737 | 5.6465 | 27.0247 | 36.0576 | 19.8732 | 132.1057
|  |  | Kagoshima | 59.3683 | 48.9256 | 60.0272 | 112.4652 | 83.7778 | 212.7874 | -19.3488 | -20.5861 | -19.2804 | -34.1893 | -23.8752 | -43.632 | 40.0195 | 28.3395 | 40.7468 | 78.2759 | 59.9026 | 169.1554
|  |  | Naha | 46.741 | 41.7243 | 60.9272 | 122.1431 | 74.8626 | 219.4335 | 0 | 0 | 0 | 0 | 0 | 0 | 46.741 | 41.7243 | 60.9272 | 122.1431 | 74.8626 | 219.4335
AS_JPN | CM_0 | HM_0 | Asahikawa | 28.7099 | 48.0462 | 42.0078 | 101.8549 | 66.7988 | 201.0091 | -162.9461 | -149.5555 | -199.932 | -310.2462 | -226.5483 | -543.7591 | -134.2363 | -101.5094 | -157.9242 | -208.3912 | -159.7495 | -342.75
|  |  | Sapporo | 34.1441 | 46.5251 | 48.7865 | 90.3702 | 70.8607 | 184.8167 | -134.6271 | -130.561 | -169.0807 | -277.2276 | -190.5372 | -462.8436 | -100.483 | -84.0359 | -120.2942 | -186.8574 | -119.6765 | -278.0269
|  |  | Morioka | 38.471 | 48.5399 | 47.356 | 106.05 | 80.1242 | 215.497 | -95.3074 | -91.8538 | -136.3309 | -203.45 | -143.4937 | -336.7193 | -56.8364 | -43.3139 | -88.975 | -97.4 | -63.3696 | -121.2223
|  |  | Niigata | 49.5319 | 60.3348 | 55.8041 | 140.6517 | 82.3878 | 310.7789 | -50.813 | -48.7647 | -82.6143 | -143.9805 | -99.5561 | -211.8209 | -1.2811 | 11.5701 | -26.8102 | -3.3288 | -17.1683 | 98.958
|  |  | Maebashi | 53.7148 | 46.9659 | 67.8367 | 141.204 | 80.702 | 311.5344 | -67.4633 | -59.5246 | -63.3011 | -109.3434 | -86.4451 | -165.9665 | -13.7486 | -12.5587 | 4.5356 | 31.8606 | -5.7432 | 145.568
|  |  | Tokyo | 65.6709 | 63.6228 | 89.9502 | 161.9153 | 109.2415 | 377.0747 | -34.7403 | -40.6234 | -36.3389 | -72.2393 | -55.5835 | -95.8151 | 30.9306 | 22.9993 | 53.6113 | 89.6761 | 53.658 | 281.2595
|  |  | Kagoshima | 94.3946 | 76.2526 | 94.8983 | 193.4666 | 134.6733 | 396.2528 | -21.5769 | -22.6092 | -21.6965 | -40.0231 | -27.1461 | -50.4632 | 72.8177 | 53.6434 | 73.2018 | 153.4435 | 107.5272 | 345.7896
|  |  | Naha | 83.9682 | 73.5437 | 115.2427 | 239.2296 | 151.0761 | 477.2575 | 0 | 0 | 0 | 0 | 0 | 0 | 83.9682 | 73.5437 | 115.2427 | 239.2296 | 151.0761 | 477.2575
| CM_3 | HM_2 | Asahikawa | 12.3107 | 12.6701 | 9.9906 | 29.6942 | 16.7754 | 68.6382 | -123.034 | -110.9059 | -159.7769 | -236.4056 | -171.9615 | -410.0793 | -110.7233 | -98.2358 | -149.7863 | -206.7114 | -155.1861 | -341.4411
|  |  | Sapporo | 13.7992 | 9.1442 | 12.9158 | 26.797 | 21.9965 | 57.0572 | -108.5132 | -114.4804 | -132.4168 | -216.6553 | -157.6825 | -353.6693 | -94.7141 | -105.3362 | -119.501 | -189.8584 | -135.686 | -296.6122
|  |  | Morioka | 3.9537 | 20.2548 | 9.5017 | 29.2269 | 33.9847 | 76.3657 | -71.6667 | -64.1939 | -106.462 | -139.7794 | -100.424 | -224.4329 | -67.713 | -43.9391 | -96.9603 | -110.5524 | -66.4393 | -148.0672
|  |  | Niigata | 21.7964 | 24.3252 | 30.7525 | 51.4982 | 32.5197 | 114.3152 | -29.0054 | -30.3466 | -49.2386 | -82.9474 | -57.1937 | -107.7421 | -7.209 | -6.0214 | -18.4861 | -31.4492 | -24.6741 | 6.5731
|  |  | Maebashi | 17.3125 | 17.1787 | 27.8266 | 49.1146 | 28.7367 | 103.6319 | -44.9021 | -41.698 | -33.7271 | -62.341 | -53.6203 | -85.2007 | -27.5896 | -24.5193 | -5.9005 | -13.2264 | -24.8836 | 18.4311
|  |  | Tokyo | 27.4833 | 28.8403 | 36.6113 | 58.7065 | 41.4979 | 141.0384 | -11.2863 | -16.2003 | -12.1826 | -26.0681 | -21.2217 | -34.4501 | 16.197 | 12.64 | 24.4288 | 32.6384 | 20.2762 | 106.5883
|  |  | Kagoshima | 35.2617 | 28.6627 | 36.4605 | 70.2329 | 49.6063 | 141.3082 | -8.3798 | -10.0334 | -8.1499 | -18.0489 | -9.9686 | -28.7319 | 26.8819 | 18.6293 | 28.3106 | 52.1839 | 39.6377 | 112.5763
|  |  | Naha | 33.5481 | 36.2762 | 44.9077 | 90.1657 | 60.1946 | 186.4389 | -0.00028988 | 0.049362 | 0.026685 | 0.089736 | 0.0069441 | 0.10151 | 33.5478 | 36.3255 | 44.9344 | 90.2554 | 60.2015 | 186.5404
AdapStand | ComfMod | HVACmode | EPW_City_or_subcountry | 1-(Present/RCP26[2050) | 1-(Present/RCP26[2100) | 1-(Present/RCP45[2050) | 1-(Present/RCP45[2100) | 1-(Present/RCP85[2050) | 1-(Present/RCP85[2100) | 1-(Present/RCP26[2050) | 1-(Present/RCP26[2100) | 1-(Present/RCP45[2050) | 1-(Present/RCP45[2100) | 1-(Present/RCP85[2050) | 1-(Present/RCP85[2100) | 1-(Present/RCP26[2050) | 1-(Present/RCP26[2100) | 1-(Present/RCP45[2050) | 1-(Present/RCP45[2100) | 1-(Present/RCP85[2050) | 1-(Present/RCP85[2100)
AS_ASHRAE55 | CM_3 | HM_0 | Asahikawa | 22.23% | 30.05% | 26.71% | 46.82% | 37.32% | 61.49% | -19.76% | -18.02% | -25.86% | -46.62% | -30.23% | -125.5% | -14.06% | -10.97% | -18.03% | -26.12% | -18.42% | -55.59%
|  |  | Sapporo | 24.19% | 27.83% | 30.61% | 45.36% | 38.94% | 60.79% | -20.08% | -19.78% | -26.41% | -52.15% | -31.26% | -132.6% | -12.93% | -11.78% | -16.06% | -27.47% | -16.71% | -51.51%
|  |  | Morioka | 15.13% | 18.75% | 17.7% | 34.74% | 27.84% | 49.47% | -22.97% | -21.5% | -36.75% | -63.7% | -37.75% | -182% | -11.29% | -8.891% | -18.44% | -21.04% | -13.62% | -36.21%
|  |  | Niigata | 14.7% | 17.68% | 16.55% | 30.74% | 21.98% | 45.99% | -22.84% | -22.71% | -45.19% | -117.4% | -57.32% | -350.6% | -2.36% | -0.3294% | -8.648% | -10.21% | -7.597% | -3.866%
|  |  | Maebashi | 13.4% | 11.7% | 16.82% | 27.27% | 19.38% | 43.37% | -56.37% | -46.61% | -50.57% | -138.9% | -84.45% | -688.3% | -6.701% | -6.121% | -2.565% | -2.975% | -5.761% | 6.876%
|  |  | Tokyo | 15.23% | 14.26% | 18.69% | 27.85% | 21.29% | 45.04% | -56.92% | -76.74% | -61.83% | -295.8% | -140.8% | -2211% | 4.205% | 1.577% | 7.121% | 9.28% | 5.337% | 27.26%
|  |  | Kagoshima | 15.71% | 13.31% | 15.86% | 26.09% | 20.82% | 40.05% | -70.87% | -78.98% | -70.44% | -274.4% | -104.8% | -1446% | 9.876% | 7.201% | 10.04% | 17.65% | 14.09% | 31.66%
|  |  | Naha | 8.38% | 7.548% | 10.65% | 19.29% | 12.78% | 30.04% | [6 empty] | 8.38% | 7.548% | 10.65% | 19.29% | 12.78% | 30.04%
AS_JPN | CM_0 | HM_0 | Asahikawa | 25.98% | 37% | 33.93% | 55.46% | 44.95% | 71.07% | -19.82% | -17.9% | -25.46% | -45.97% | -29.86% | -123.2% | -14.39% | -10.51% | -17.37% | -24.27% | -17.61% | -47.33%
|  |  | Sapporo | 30.14% | 37.03% | 38.14% | 53.32% | 47.25% | 70.02% | -19.53% | -18.83% | -25.81% | -50.7% | -30.08% | -128.1% | -12.52% | -10.26% | -15.37% | -26.09% | -15.27% | -44.47%
|  |  | Morioka | 20.97% | 25.08% | 24.62% | 42.24% | 35.59% | 59.78% | -21.95% | -20.99% | -34.68% | -62.41% | -37.18% | -174.7% | -9.203% | -6.863% | -15.2% | -16.88% | -10.37% | -21.91%
|  |  | Niigata | 17.81% | 20.89% | 19.63% | 38.1% | 26.5% | 57.63% | -22.51% | -21.41% | -42.6% | -108.6% | -56.25% | -327.3% | -0.2543% | 2.24% | -5.606% | -0.6635% | -3.519% | 16.38%
|  |  | Maebashi | 16.88% | 15.08% | 20.41% | 34.8% | 23.37% | 54.08% | -53.44% | -44.36% | -48.55% | -129.6% | -80.6% | -598.5% | -3.093% | -2.818% | 0.98% | 6.501% | -1.269% | 24.11%
|  |  | Tokyo | 18.22% | 17.75% | 23.38% | 35.45% | 27.04% | 56.12% | -53.11% | -68.25% | -56.95% | -258.9% | -124.7% | -2212% | 7.263% | 5.503% | 11.95% | 18.5% | 11.96% | 41.59%
|  |  | Kagoshima | 20.89% | 17.58% | 20.98% | 35.12% | 27.37% | 52.57% | -70.51% | -76.46% | -71.18% | -329.3% | -108.4% | -2943% | 15.09% | 11.58% | 15.16% | 27.25% | 20.79% | 45.78%
|  |  | Naha | 12.18% | 10.83% | 15.99% | 28.32% | 19.97% | 44.08% | [6 empty] | 12.18% | 10.83% | 15.99% | 28.32% | 19.97% | 44.08%
| CM_3 | HM_2 | Asahikawa | 45.06% | 45.77% | 39.96% | 66.42% | 52.78% | 82.06% | -21.83% | -19.26% | -30.32% | -52.5% | -33.41% | -148.2% | -18.74% | -16.28% | -27.14% | -41.76% | -28.39% | -94.77%
|  |  | Sapporo | 50.27% | 40.11% | 48.61% | 66.25% | 61.7% | 80.69% | -23.89% | -25.54% | -30.78% | -62.61% | -38.93% | -169.2% | -19.67% | -22.36% | -26.16% | -49.13% | -30.79% | -106%
|  |  | Morioka | 11.33% | 39.56% | 23.49% | 48.57% | 52.34% | 71.16% | -28.89% | -25.12% | -49.92% | -77.67% | -45.79% | -235.5% | -23.93% | -14.32% | -38.21% | -46.04% | -23.37% | -73.08%
|  |  | Niigata | 29.91% | 32.26% | 37.58% | 50.2% | 38.9% | 69.12% | -25.22% | -26.7% | -51.95% | -135.8% | -65.88% | -297.1% | -3.837% | -3.185% | -10.47% | -19.22% | -14.48% | 3.259%
|  |  | Maebashi | 18.57% | 18.45% | 26.82% | 39.28% | 27.45% | 57.71% | -83.1% | -72.85% | -51.72% | -170.4% | -118.3% | -620.4% | -18.73% | -16.31% | -3.492% | -8.183% | -16.59% | 9.535%
|  |  | Tokyo | 25.21% | 26.12% | 30.98% | 41.86% | 33.72% | 63.36% | -41.61% | -72.93% | -46.44% | -211.2% | -123.4% | -869.3% | 11.9% | 9.532% | 16.92% | 21.39% | 14.46% | 47.05%
|  |  | Kagoshima | 27.45% | 23.52% | 28.12% | 42.98% | 34.74% | 60.26% | -33.68% | -43.2% | -32.46% | -118.7% | -42.8% | -634.7% | 17.53% | 12.84% | 18.29% | 29.21% | 23.87% | 47.1%
|  |  | Naha | 20.08% | 21.36% | 25.17% | 40.31% | 31.07% | 58.27% | -34.19% | 97.75% | 95.91% | 98.75% | 85.92% | 98.89% | 20.08% | 21.39% | 25.18% | 40.33% | 31.07% | 58.28%