## Sheet1
| Model | Adaptive Standard | Category | Comfort mode | HVAC mode | Ventilation control | VSToffset | MinOToffset | MaxWindSpeed | ASTtol | EPW | EPW_CountryCode | EPW_Scenario | EPW_Year | EPW_City_or_subcountry | Source | BLOCK1:ZONE2_Cooling Energy Demand (kWh) | BLOCK1:ZONE1_Cooling Energy Demand (kWh) | BLOCK2:ZONE2_Cooling Energy Demand (kWh) | BLOCK2:ZONE1_Cooling Energy Demand (kWh) | BLOCK1:ZONE2_Heating Energy Demand (kWh) | BLOCK1:ZONE1_Heating Energy Demand (kWh) | BLOCK2:ZONE2_Heating Energy Demand (kWh) | BLOCK2:ZONE1_Heating Energy Demand (kWh) | BLOCK1:ZONE2_Total Energy Demand (kWh) [summed] | BLOCK1:ZONE1_Total Energy Demand (kWh) [summed] | BLOCK2:ZONE2_Total Energy Demand (kWh) [summed] | BLOCK2:ZONE1_Total Energy Demand (kWh) [summed] | BLOCK1_Total_Cooling Energy Demand (kWh) [summed] | BLOCK2_Total_Cooling Energy Demand (kWh) [summed] | BLOCK1_Total_Heating Energy Demand (kWh) [summed] | BLOCK2_Total_Heating Energy Demand (kWh) [summed] | BLOCK1_Total_Total Energy Demand (kWh) [summed] | BLOCK2_Total_Total Energy Demand (kWh) [summed] | Building_Total_Cooling Energy Demand (kWh) [summed] | Building_Total_Heating Energy Demand (kWh) [summed] | Building_Total_Total Energy Demand (kWh) [summed]
0 | TestModel_onlyGeometryForVRFsystem_V960 | AS_ASHRAE55 | CA_80 | CM_3 | HM_2 | VC_1 | VO_0 | MT_0 | MW_0 | AT_0.1 | Seville_Present |  |  | Present | Seville | TestModel_onlyGeometryForVRFsystem_V960_pymod[AS_ASHRAE55[CA_80[CM_3[HM_2[VC_1[VO_0[MT_0[MW_0[AT_0.1[Seville_Present | 1195.7601 | 4997.0537 | 3730.0347 | 2351.5207 | 102.1659 | 332.9671 | 414.1432 | 193.6153 | 1297.926 | 5330.0207 | 4144.178 | 2545.136 | 6192.8138 | 6081.5555 | 435.133 | 607.7585 | 6627.9468 | 6689.314 | 12274.3693 | 1042.8915 | 13317.2608
1 | TestModel_onlyGeometryForVRFsystem_V960 | AS_ASHRAE55 | CA_90 | CM_3 | HM_2 | VC_1 | VO_0 | MT_0 | MW_0 | AT_0.1 | Seville_Present |  |  | Present | Seville | TestModel_onlyGeometryForVRFsystem_V960_pymod[AS_ASHRAE55[CA_90[CM_3[HM_2[VC_1[VO_0[MT_0[MW_0[AT_0.1[Seville_Present | 1868.3359 | 7204.1765 | 5489.2651 | 3361.1664 | 360.629 | 828.6781 | 1122.9911 | 518.1154 | 2228.965 | 8032.8546 | 6612.2562 | 3879.2818 | 9072.5124 | 8850.4315 | 1189.3071 | 1641.1065 | 10261.8195 | 10491.5379 | 17922.9439 | 2830.4136 | 20753.3575
2 | TestModel_onlyGeometryForVRFsystem_V960 | AS_CTE | CA_X | CM_X | HM_2 | VC_1 | VO_0 | MT_0 | MW_0 | AT_0.1 | Seville_Present |  |  | Present | Seville | TestModel_onlyGeometryForVRFsystem_V960_pymod[AS_CTE[CA_X[CM_X[HM_2[VC_1[VO_0[MT_0[MW_0[AT_0.1[Seville_Present | 2655.3772 | 8915.8606 | 7309.4723 | 4105.2038 | 169.0856 | 523.514 | 617.2315 | 244.8102 | 2824.4628 | 9439.3746 | 7926.7038 | 4350.014 | 11571.2378 | 11414.6761 | 692.5997 | 862.0417 | 12263.8375 | 12276.7178 | 22985.9139 | 1554.6414 | 24540.5553