## Sheet1
| Model | Adaptive Standard | Category | Comfort mode | HVAC mode | Ventilation control | VSToffset | MinOToffset | MaxWindSpeed | ASTtol | EPW | EPW_CountryCode | EPW_Scenario | EPW_Year | EPW_City_or_subcountry | Source | Building_Total_Discomfortable Non Applicable Hot Hours (h) [summed] | BLOCK2:ZONE2_Comfortable Hours_No Applicability (h) | BLOCK1_Total_Total Energy Demand (kWh) [summed] | Adaptive Heating Setpoint Temperature_No Tolerance (°C) | Ventilation Setpoint Temperature (°C) | BLOCK2:ZONE1_Zone Floor Area (m2) | BLOCK1:ZONE2_AFN Zone Infiltration Volume (m3) | Site Outdoor Air Drybulb Temperature (°C) | BLOCK2:ZONE2_Total Energy Demand (kWh) [summed] | BLOCK1:ZONE2_Cooling Energy Consumption (kWh) | BLOCK2:ZONE1_Comfortable Hours_Applicability (h) | BLOCK2:ZONE1_Heating Energy Consumption (kWh) | BLOCK2:ZONE2_Zone Thermostat Operative Temperature (°C) | BLOCK1:ZONE2_FORSCRIPT_ACST | BLOCK2_Total_AFN Zone Infiltration Volume (m3) [summed] | BLOCK1:ZONE1_FORSCRIPT_AHST | BLOCK1:ZONE2_FORSCRIPT_AHST | BLOCK1:ZONE1_Heating Energy Demand (kWh) | BLOCK1:ZONE2_ASHRAE 55 Running mean outdoor temperature (°C) | BLOCK2_Total_Cooling Energy Demand (kWh) [summed] | BLOCK2_Total_Comfortable Hours_Applicability (h) [summed] | BLOCK2:ZONE1_Zone Thermostat Operative Temperature (°C) | BLOCK2_Total_Total Energy Consumption (kWh) [summed] | BLOCK2:ZONE1_Comfortable Hours_No Applicability (h) | BLOCK2:ZONE2_Discomfortable Non Applicable Cold Hours (h) | BLOCK1_Total_AFN Zone Infiltration Volume (m3) [summed] | Site Wind Speed (m/s) | BLOCK2:ZONE2_Cooling Energy Demand (kWh) | BLOCK2:ZONE1_Cooling Energy Consumption (kWh) | Minimum Outdoor Temperature for ventilation (°C) | BLOCK1:ZONE2_Cooling Energy Demand (kWh) | Building_Total_Zone Air Volume (m3) [summed] | BLOCK1_Total_Zone Floor Area (m2) [summed] | BLOCK1_Total_Zone Air Volume (m3) [summed] | BLOCK1:ZONE2_Total Energy Demand (kWh) [summed] | BLOCK1:ZONE1_Zone Air Volume (m3) | BLOCK1:ZONE1_AFN Zone Infiltration Volume (m3) | BLOCK2:ZONE2_Zone Air Volume (m3) | BLOCK2_Total_Comfortable Hours_No Applicability (h) [summed] | BLOCK2:ZONE2_AFN Zone Infiltration Volume (m3) | BLOCK2:ZONE1_Cooling Energy Demand (kWh) | BLOCK1:ZONE1_Total Energy Demand (kWh) [summed] | BLOCK2:ZONE1_Total Energy Consumption (kWh) [summed] | BLOCK1_Total_Ventilation Hours (h) [summed] | BLOCK2:ZONE2_EN16798-1 Running mean outdoor temperature (°C) | BLOCK1:ZONE2_Discomfortable Applicable Hot Hours (h) | BLOCK1:ZONE2_Zone Air Volume (m3) | BLOCK2:ZONE2_FORSCRIPT_ACST | BLOCK2:ZONE1_Heating Energy Demand (kWh) | BLOCK2:ZONE1_FORSCRIPT_AHST | BLOCK2:ZONE1_Discomfortable Non Applicable Cold Hours (h) | BLOCK1_Total_Discomfortable Applicable Cold Hours (h) [summed] | BLOCK1_Total_Discomfortable Non Applicable Hot Hours (h) [summed] | Building_Total_AFN Zone Infiltration Air Change Rate (ach) [summed] | BLOCK1:ZONE1_Cooling Energy Consumption (kWh) | BLOCK1:ZONE2_Zone Floor Area (m2) | BLOCK2:ZONE2_Cooling Energy Consumption (kWh) | BLOCK2:ZONE1_Total Energy Demand (kWh) [summed] | BLOCK2_Total_Ventilation Hours (h) [summed] | BLOCK2:ZONE1_ASHRAE 55 Running mean outdoor temperature (°C) | BLOCK1:ZONE2_Heating Energy Demand (kWh) | BLOCK1:ZONE1_Discomfortable Applicable Cold Hours (h) | Building_Total_Comfortable Hours_No Applicability (h) [summed] | BLOCK1_Total_Cooling Energy Demand (kWh) [summed] | BLOCK1:ZONE2_Discomfortable Applicable Cold Hours (h) | BLOCK2:ZONE2_AFN Zone Infiltration Air Change Rate (ach) | BLOCK1_Total_Cooling Energy Consumption (kWh) [summed] | BLOCK1:ZONE2_AFN Zone Infiltration Air Change Rate (ach) | BLOCK1_Total_Heating Energy Consumption (kWh) [summed] | BLOCK1:ZONE1_Discomfortable Applicable Hot Hours (h) | BLOCK2:ZONE1_AFN Zone Infiltration Air Change Rate (ach) | BLOCK1_Total_Discomfortable Applicable Hot Hours (h) [summed] | BLOCK1:ZONE1_Heating Energy Consumption (kWh) | Building_Total_Discomfortable Applicable Hot Hours (h) [summed] | Building_Total_Discomfortable Non Applicable Cold Hours (h) [summed] | Adaptive Cooling Setpoint Temperature_No Tolerance (°C) | BLOCK2:ZONE2_Heating Energy Demand (kWh) | BLOCK2_Total_Heating Energy Consumption (kWh) [summed] | BLOCK2:ZONE1_AFN Zone Infiltration Volume (m3) | Building_Total_Cooling Energy Consumption (kWh) [summed] | BLOCK2:ZONE2_Discomfortable Non Applicable Hot Hours (h) | BLOCK2_Total_Zone Floor Area (m2) [summed] | BLOCK2_Total_Heating Energy Demand (kWh) [summed] | BLOCK2:ZONE2_Heating Energy Consumption (kWh) | BLOCK2:ZONE1_Discomfortable Applicable Hot Hours (h) | BLOCK1:ZONE1_Ventilation Hours (h) | Building_Total_Heating Energy Consumption (kWh) [summed] | Building_Total_Zone Floor Area (m2) [summed] | BLOCK2:ZONE2_FORSCRIPT_AHST | BLOCK1:ZONE2_EN16798-1 Running mean outdoor temperature (°C) | BLOCK1:ZONE1_Zone Thermostat Operative Temperature (°C) | Building_Total_Total Energy Consumption (kWh) [summed] | BLOCK1:ZONE1_Zone Floor Area (m2) | BLOCK1:ZONE2_Discomfortable Non Applicable Cold Hours (h) | BLOCK2:ZONE2_Zone Floor Area (m2) | BLOCK2:ZONE1_Ventilation Hours (h) | Building_Total_Total Energy Demand (kWh) [summed] | Building_Total_Discomfortable Applicable Cold Hours (h) [summed] | BLOCK1:ZONE2_Comfortable Hours_No Applicability (h) | BLOCK2_Total_Discomfortable Non Applicable Hot Hours (h) [summed] | BLOCK1:ZONE1_Total Energy Consumption (kWh) [summed] | BLOCK2:ZONE1_Discomfortable Applicable Cold Hours (h) | BLOCK2_Total_Discomfortable Applicable Hot Hours (h) [summed] | Building_Total_Heating Energy Demand (kWh) [summed] | BLOCK1_Total_Discomfortable Non Applicable Cold Hours (h) [summed] | BLOCK1:ZONE2_Discomfortable Non Applicable Hot Hours (h) | BLOCK1:ZONE2_Zone Thermostat Operative Temperature (°C) | BLOCK1:ZONE1_Comfortable Hours_Applicability (h) | Building_Total_Ventilation Hours (h) [summed] | BLOCK2_Total_Discomfortable Applicable Cold Hours (h) [summed] | BLOCK2_Total_Discomfortable Non Applicable Cold Hours (h) [summed] | BLOCK2:ZONE1_Zone Air Volume (m3) | BLOCK1:ZONE2_Ventilation Hours (h) | BLOCK1_Total_Comfortable Hours_No Applicability (h) [summed] | BLOCK2:ZONE1_EN16798-1 Running mean outdoor temperature (°C) | BLOCK1:ZONE1_EN16798-1 Running mean outdoor temperature (°C) | BLOCK2:ZONE2_Discomfortable Applicable Cold Hours (h) | BLOCK2:ZONE1_FORSCRIPT_ACST | BLOCK2:ZONE2_Discomfortable Applicable Hot Hours (h) | BLOCK2:ZONE2_ASHRAE 55 Running mean outdoor temperature (°C) | Adaptive Heating Setpoint Temperature (°C) | BLOCK1:ZONE1_Discomfortable Non Applicable Hot Hours (h) | BLOCK1:ZONE1_Discomfortable Non Applicable Cold Hours (h) | Comfort Temperature (°C) | BLOCK1_Total_Heating Energy Demand (kWh) [summed] | BLOCK2:ZONE2_Ventilation Hours (h) | BLOCK2_Total_Cooling Energy Consumption (kWh) [summed] | BLOCK1:ZONE1_ASHRAE 55 Running mean outdoor temperature (°C) | Whole Building Facility Total HVAC Electricity Demand Rate (kWh) | BLOCK2_Total_Total Energy Demand (kWh) [summed] | Building_Total_Comfortable Hours_Applicability (h) [summed] | BLOCK1:ZONE1_Cooling Energy Demand (kWh) | BLOCK2_Total_Zone Air Volume (m3) [summed] | BLOCK1:ZONE2_Heating Energy Consumption (kWh) | BLOCK1_Total_Total Energy Consumption (kWh) [summed] | BLOCK1:ZONE2_Comfortable Hours_Applicability (h) | Adaptive Cooling Setpoint Temperature (°C) | BLOCK1:ZONE2_Total Energy Consumption (kWh) [summed] | Building_Total_AFN Zone Infiltration Volume (m3) [summed] | BLOCK2:ZONE2_Comfortable Hours_Applicability (h) | BLOCK1:ZONE1_AFN Zone Infiltration Air Change Rate (ach) | BLOCK2:ZONE2_Total Energy Consumption (kWh) [summed] | BLOCK2_Total_AFN Zone Infiltration Air Change Rate (ach) [summed] | BLOCK1:ZONE1_Comfortable Hours_No Applicability (h) | BLOCK1_Total_Comfortable Hours_Applicability (h) [summed] | Building_Total_Cooling Energy Demand (kWh) [summed] | BLOCK2:ZONE1_Discomfortable Non Applicable Hot Hours (h) | BLOCK1_Total_AFN Zone Infiltration Air Change Rate (ach) [summed] | BLOCK1:ZONE1_FORSCRIPT_ACST
0 | TestModel_onlyGeometryForVRFsystem_V960 | AS_ASHRAE55 | CA_80 | CM_3 | HM_2 | VC_1 | VO_0 | MT_0 | MW_0 | AT_0.1 | Seville_Present |  |  | Present | Seville | TestModel_onlyGeometryForVRFsystem_V960_pymod[AS_ASHRAE55[CA_80[CM_3[HM_2[VC_1[VO_0[MT_0[MW_0[AT_0.1[Seville_Present | 0 | 8489.5 | 6627.9468 | 175314.7259 | 205974.7259 | 10.3208 | 47688.605 | 161217.2 | 4144.178 | 607.9982 | 8099 | 73.474 | 214303.224 | 235758.1265 | 61333.0395 | 176190.175 | 176190.1265 | 332.9671 | 161216.4 | 6081.5555 | 16157.5 | 216568.4109 | 3164.2204 | 8513.5 | 432.5 | 139259.5131 | 23484.15 | 3730.0347 | 1089.4622 | 176190.7259 | 1195.7601 | 282.2444 | 40.905 | 143.1675 | 1297.926 | 107.277 | 91570.9081 | 103.9862 | 17003 | 40634.6235 | 2351.5207 | 5330.0207 | 1162.9362 | 4.5 | 160927.3847 | 96 | 35.8905 | 235758.175 | 193.6153 | 176190.175 | 432.5 | 0 | 0 | 3162.9423 | 2330.8579 | 10.2544 | 1842.1635 | 2545.136 | 9.5 | 161216.4 | 102.1659 | 0 | 34174.5 | 6192.8138 | 0 | 390.7694 | 2938.8561 | 1328.725 | 168.0442 | 237.5 | 589.8547 | 333.5 | 129.9713 | 831 | 1730 | 236634.7259 | 414.1432 | 232.5947 | 20698.416 | 5870.4818 | 0 | 40.905 | 607.7585 | 159.1206 | 228.5 | 2.5 | 400.6388 | 81.81 | 176190.175 | 160927.3847 | 217002.2096 | 6271.1206 | 30.6506 | 432.5 | 30.5842 | 4 | 13317.2608 | 0 | 8662 | 0 | 2460.8292 | 0 | 497.5 | 1042.8915 | 865 | 0 | 212905.286 | 8090 | 14 | 0 | 865 | 35.0907 | 2 | 17171.5 | 160927.3847 | 160927.3847 | 0 | 235758.175 | 269 | 161216.4 | 176190.7259 | 0 | 432.5 | 205903.2678 | 435.133 | 5.5 | 2931.6257 | 161216.4 | 8388.4811 | 6689.314 | 32479 | 4997.0537 | 139.0769 | 38.0729 | 3106.9002 | 8231.5 | 235758.7259 | 646.0711 | 200592.5526 | 8058.5 | 853.5931 | 2001.2842 | 980.6241 | 8509.5 | 16321.5 | 12274.3693 | 0 | 2182.3181 | 235758.175
1 | TestModel_onlyGeometryForVRFsystem_V960 | AS_ASHRAE55 | CA_90 | CM_3 | HM_2 | VC_1 | VO_0 | MT_0 | MW_0 | AT_0.1 | Seville_Present |  |  | Present | Seville | TestModel_onlyGeometryForVRFsystem_V960_pymod[AS_ASHRAE55[CA_90[CM_3[HM_2[VC_1[VO_0[MT_0[MW_0[AT_0.1[Seville_Present | 0 | 8146 | 10261.8195 | 184074.7259 | 205974.7259 | 10.3208 | 48749.1683 | 161217.2 | 6612.2562 | 961.4189 | 7818 | 183.6644 | 213464.3935 | 226998.4016 | 63110.0167 | 184950.4016 | 184950.4016 | 828.6781 | 161216.4 | 8850.4315 | 15584 | 215048.2863 | 4926.4015 | 8197.5 | 432.5 | 142337.0622 | 23484.15 | 5489.2651 | 1580.8042 | 184950.7259 | 1868.3359 | 282.2444 | 40.905 | 143.1675 | 2228.965 | 107.277 | 93587.8939 | 103.9862 | 16343.5 | 41658.3983 | 3361.1664 | 8032.8546 | 1764.4687 | 13 | 160927.3847 | 266.5 | 35.8905 | 226998.4016 | 518.1154 | 184950.4016 | 432.5 | 0 | 0 | 3242.6036 | 3391.0889 | 10.2544 | 2752.389 | 3879.2818 | 23 | 161216.4 | 360.629 | 0 | 33057.5 | 9072.5124 | 0 | 400.6147 | 4352.5078 | 1358.275 | 427.5646 | 488.5 | 611.3192 | 755 | 299.2434 | 1826 | 1730 | 227874.7259 | 1122.9911 | 593.2083 | 21451.6183 | 8685.701 | 0 | 40.905 | 1641.1065 | 409.5439 | 509.5 | 8.5 | 1020.7729 | 81.81 | 184950.4016 | 160927.3847 | 215465.2031 | 9706.4739 | 30.6506 | 432.5 | 30.5842 | 9 | 20753.3575 | 0 | 8472.5 | 0 | 3690.3323 | 0 | 1071 | 2830.4136 | 865 | 0 | 212288.34 | 7839 | 36 | 0 | 865 | 35.0907 | 4.5 | 16714 | 160927.3847 | 160927.3847 | 0 | 226998.4016 | 561.5 | 161216.4 | 184950.7259 | 0 | 432.5 | 205903.2678 | 1189.3071 | 14 | 4333.1933 | 161216.4 | 12072.5359 | 10491.5379 | 31484 | 7204.1765 | 139.0769 | 128.3212 | 4780.0724 | 8061 | 226998.7259 | 1089.7401 | 205447.0788 | 7766 | 872.3948 | 3161.9329 | 1011.9339 | 8241.5 | 15900 | 17922.9439 | 0 | 2230.6698 | 226998.4016
2 | TestModel_onlyGeometryForVRFsystem_V960 | AS_CTE | CA_X | CM_X | HM_2 | VC_1 | VO_0 | MT_0 | MW_0 | AT_0.1 | Seville_Present |  |  | Present | Seville | TestModel_onlyGeometryForVRFsystem_V960_pymod[AS_CTE[CA_X[CM_X[HM_2[VC_1[VO_0[MT_0[MW_0[AT_0.1[Seville_Present | 0 | 8302.5 | 12263.8375 | 166440 | 195640 | 10.3208 | 47695.8833 | 161217.2 | 7926.7038 | 1260.0776 | 0 | 98.2404 | 206944.728 | 224282.15 | 71874.7327 | 167271 | 167274 | 523.514 | 161216.4 | 11414.6761 | 0 | 208818.2032 | 5753.5048 | 8210 | 0 | 139293.8019 | 23484.15 | 7309.4723 | 1910.605 | 167316 | 2655.3772 | 282.2444 | 40.905 | 143.1675 | 2824.4628 | 107.277 | 91597.9185 | 103.9862 | 16512.5 | 47357.9149 | 4105.2038 | 9439.3746 | 2008.8454 | 18.5 | 160927.3847 | 0 | 35.8905 | 224283.05 | 244.8102 | 167269.5 | 0 | 0 | 0 | 3336.8677 | 4096.9032 | 10.2544 | 3495.2808 | 4350.014 | 27.5 | 161216.4 | 169.0856 | 0 | 33289 | 11571.2378 | 0 | 455.425 | 5356.9808 | 1328.9278 | 282.9666 | 0 | 698.67 | 0 | 212.0606 | 0 | 0 | 225132 | 617.2315 | 347.619 | 24516.8178 | 10762.8666 | 0 | 40.905 | 862.0417 | 249.3786 | 0 | 13 | 630.5857 | 81.81 | 167272.5 | 160927.3847 | 209172.3532 | 11393.4523 | 30.6506 | 0 | 30.5842 | 15 | 24540.5553 | 0 | 8482.5 | 0 | 4308.9638 | 0 | 0 | 1554.6414 | 0 | 0 | 205769.477 | 0 | 46 | 0 | 0 | 35.0907 | 5.5 | 16776.5 | 160927.3847 | 160927.3847 | 0 | 224284.95 | 0 | 161216.4 | 167316 | 0 | 0 | 0 | 692.5997 | 12.5 | 5405.8858 | 161216.4 | 13460.9766 | 12276.7178 | 0 | 8915.8606 | 139.0769 | 70.9061 | 5639.9475 | 0 | 224256 | 1330.9837 | 211168.5346 | 0 | 853.8449 | 3744.6594 | 1154.095 | 8294 | 0 | 22985.9139 | 0 | 2182.7727 | 224284.05