## Sheet1
| Building_Total_Cooling Energy Demand (kWh/m2) (summed) | [6 empty] | Building_Total_Heating Energy Demand (kWh/m2) (summed) | [6 empty] | Building_Total_Total Energy Demand (kWh/m2) (summed)
| AS_ASHRAE55[CM_3[HM_0 | AS_JPN[CM_0[HM_0 | AS_JPN[CM_3[HM_2 | 1-(AS_JPN[CM_3[HM_2/AS_ASHRAE55[CM_3[HM_0) | AS_ASHRAE55[CM_3[HM_0 - AS_JPN[CM_3[HM_2 | 1-(AS_JPN[CM_3[HM_2/AS_JPN[CM_0[HM_0) | AS_JPN[CM_0[HM_0 - AS_JPN[CM_3[HM_2 | AS_ASHRAE55[CM_3[HM_0 | AS_JPN[CM_0[HM_0 | AS_JPN[CM_3[HM_2 | 1-(AS_JPN[CM_3[HM_2/AS_ASHRAE55[CM_3[HM_0) | AS_ASHRAE55[CM_3[HM_0 - AS_JPN[CM_3[HM_2 | 1-(AS_JPN[CM_3[HM_2/AS_JPN[CM_0[HM_0) | AS_JPN[CM_0[HM_0 - AS_JPN[CM_3[HM_2 | AS_ASHRAE55[CM_3[HM_0 | AS_JPN[CM_0[HM_0 | AS_JPN[CM_3[HM_2 | 1-(AS_JPN[CM_3[HM_2/AS_ASHRAE55[CM_3[HM_0) | AS_ASHRAE55[CM_3[HM_0 - AS_JPN[CM_3[HM_2 | 1-(AS_JPN[CM_3[HM_2/AS_JPN[CM_0[HM_0) | AS_JPN[CM_0[HM_0 - AS_JPN[CM_3[HM_2
EPW_City_or_subcountry
Asahikawa | 96.2338 | 81.8062 | 57.9598 | 0.39772 | 38.274 | 0.2915 | 23.8464 | 943.8916 | 985.1308 | 685.1164 | 0.27416 | 258.7752 | 0.30454 | 300.0144 | 1040.1254 | 1066.937 | 743.0762 | 0.28559 | 297.0491 | 0.30354 | 323.8608
Sapporo | 96.1253 | 79.1235 | 59.1599 | 0.38455 | 36.9654 | 0.25231 | 19.9636 | 789.9576 | 824.0592 | 562.0503 | 0.28851 | 227.9073 | 0.31795 | 262.009 | 886.0829 | 903.1828 | 621.2102 | 0.29893 | 264.8727 | 0.3122 | 281.9726
Morioka | 152.5418 | 144.9965 | 92.3609 | 0.39452 | 60.1809 | 0.36301 | 52.6356 | 500.2607 | 529.4329 | 318.3299 | 0.36367 | 181.9308 | 0.39873 | 211.103 | 652.8025 | 674.4294 | 410.6909 | 0.37088 | 242.1117 | 0.39105 | 263.7386
Niigata | 214.9263 | 228.5169 | 126.4394 | 0.41171 | 88.4869 | 0.4467 | 102.0775 | 257.8227 | 276.5417 | 143.413 | 0.44375 | 114.4097 | 0.48141 | 133.1286 | 472.749 | 505.0586 | 269.8524 | 0.42918 | 202.8965 | 0.4657 | 235.2061
Maebashi | 242.7989 | 264.5618 | 147.9601 | 0.39061 | 94.8389 | 0.44074 | 116.6017 | 177.4462 | 193.695 | 97.5401 | 0.45031 | 79.9061 | 0.49642 | 96.1549 | 420.2452 | 458.2568 | 245.5002 | 0.41582 | 174.745 | 0.46427 | 212.7566
Tokyo | 264.2605 | 294.8024 | 155.0838 | 0.41314 | 109.1767 | 0.47394 | 139.7186 | 88.2361 | 100.1465 | 37.8305 | 0.57126 | 50.4056 | 0.62225 | 62.316 | 352.4966 | 394.9489 | 192.9143 | 0.45272 | 159.5823 | 0.51155 | 202.0346
Kagoshima | 318.5613 | 357.4387 | 186.9048 | 0.41328 | 131.6565 | 0.4771 | 170.5339 | 46.6501 | 52.1781 | 31.7378 | 0.31966 | 14.9123 | 0.39174 | 20.4403 | 365.2114 | 409.6168 | 218.6426 | 0.40133 | 146.5687 | 0.46623 | 190.9741
Naha | 511.0465 | 605.4172 | 289.9396 | 0.43266 | 221.1069 | 0.52109 | 315.4776 | 0 | 0 | 0.0004006 | -inf | -0.0004006 | -inf | -0.0004006 | 511.0465 | 605.4172 | 289.94 | 0.43265 | 221.1065 | 0.52109 | 315.4772