## Sheet1
| Building_Total_Cooling Energy Demand (kWh/m2) (summed) | [6 empty] | Building_Total_Heating Energy Demand (kWh/m2) (summed) | [6 empty] | Building_Total_Total Energy Demand (kWh/m2) (summed)
| AS_ASHRAE55[CM_3[HM_0 | AS_JPN[CM_0[HM_0 | AS_JPN[CM_3[HM_2 | 1-(AS_JPN[CM_3[HM_2/AS_ASHRAE55[CM_3[HM_0) | AS_ASHRAE55[CM_3[HM_0 - AS_JPN[CM_3[HM_2 | 1-(AS_JPN[CM_3[HM_2/AS_JPN[CM_0[HM_0) | AS_JPN[CM_0[HM_0 - AS_JPN[CM_3[HM_2 | AS_ASHRAE55[CM_3[HM_0 | AS_JPN[CM_0[HM_0 | AS_JPN[CM_3[HM_2 | 1-(AS_JPN[CM_3[HM_2/AS_ASHRAE55[CM_3[HM_0) | AS_ASHRAE55[CM_3[HM_0 - AS_JPN[CM_3[HM_2 | 1-(AS_JPN[CM_3[HM_2/AS_JPN[CM_0[HM_0) | AS_JPN[CM_0[HM_0 - AS_JPN[CM_3[HM_2 | AS_ASHRAE55[CM_3[HM_0 | AS_JPN[CM_0[HM_0 | AS_JPN[CM_3[HM_2 | 1-(AS_JPN[CM_3[HM_2/AS_ASHRAE55[CM_3[HM_0) | AS_ASHRAE55[CM_3[HM_0 - AS_JPN[CM_3[HM_2 | 1-(AS_JPN[CM_3[HM_2/AS_JPN[CM_0[HM_0) | AS_JPN[CM_0[HM_0 - AS_JPN[CM_3[HM_2
EPW_City_or_subcountry
Asahikawa | 96.2338 | 81.8062 | 15.0095 | 0.84403 | 81.2243 | 0.81652 | 66.7967 | 943.8916 | 985.1308 | 686.708 | 0.27247 | 257.1836 | 0.30293 | 298.4228 | 1040.1254 | 1066.937 | 701.7175 | 0.32535 | 338.4079 | 0.34231 | 365.2195
Sapporo | 96.1253 | 79.1235 | 13.6527 | 0.85797 | 82.4726 | 0.82745 | 65.4708 | 789.9576 | 824.0592 | 562.6848 | 0.2877 | 227.2728 | 0.31718 | 261.3745 | 886.0829 | 903.1828 | 576.3375 | 0.34957 | 309.7454 | 0.36188 | 326.8453
Morioka | 152.5418 | 144.9965 | 30.9502 | 0.7971 | 121.5916 | 0.78655 | 114.0464 | 500.2607 | 529.4329 | 319.737 | 0.36086 | 180.5237 | 0.39608 | 209.6959 | 652.8025 | 674.4294 | 350.6872 | 0.4628 | 302.1153 | 0.48002 | 323.7422
Niigata | 214.9263 | 228.5169 | 51.0787 | 0.76234 | 163.8476 | 0.77648 | 177.4382 | 257.8227 | 276.5417 | 144.0103 | 0.44144 | 113.8124 | 0.47925 | 132.5314 | 472.749 | 505.0586 | 195.089 | 0.58733 | 277.66 | 0.61373 | 309.9696
Maebashi | 242.7989 | 264.5618 | 75.9325 | 0.68726 | 166.8665 | 0.71299 | 188.6293 | 177.4462 | 193.695 | 98.9339 | 0.44246 | 78.5123 | 0.48923 | 94.7612 | 420.2452 | 458.2568 | 174.8663 | 0.58389 | 245.3788 | 0.61841 | 283.3905
Tokyo | 264.2605 | 294.8024 | 81.5539 | 0.69139 | 182.7067 | 0.72336 | 213.2485 | 88.2361 | 100.1465 | 38.4133 | 0.56465 | 49.8227 | 0.61643 | 61.7331 | 352.4966 | 394.9489 | 119.9672 | 0.65966 | 232.5294 | 0.69625 | 274.9817
Kagoshima | 318.5613 | 357.4387 | 93.1911 | 0.70746 | 225.3702 | 0.73928 | 264.2476 | 46.6501 | 52.1781 | 33.2589 | 0.28706 | 13.3912 | 0.36259 | 18.9192 | 365.2114 | 409.6168 | 126.45 | 0.65376 | 238.7614 | 0.6913 | 283.1668
Naha | 511.0465 | 605.4172 | 133.5353 | 0.7387 | 377.5112 | 0.77943 | 471.8819 | 0 | 0 | 0.0011377 | -inf | -0.0011377 | -inf | -0.0011377 | 511.0465 | 605.4172 | 133.5364 | 0.7387 | 377.5101 | 0.77943 | 471.8807