## Sheet1
| SOURCE | MODEL | COMFSTAND | CATEGORY | COMFMOD | HVACMODE | VENTCTRL | VSTOFFSET | MINOTOFFSET | MAXWINDSPEED | ASTTOL | NAMESUFFIX | EPW | COUNT | EPW_Country_name | EPW_City_or_subcountry | EPW_Scenario-Year | EPW_Scenario | EPW_Year | DATE/TIME | MONTH | BLOCK2:ZONE1_Heating Energy Consumption (kWh/m2) | MONTH/DAY | DAY | HOUR | MINUTE | SECOND | BLOCK1:ZONE2_Zone Air Volume (m3) | BLOCK1:ZONE1_Zone Air Volume (m3) | BLOCK2:ZONE2_Zone Air Volume (m3) | BLOCK2:ZONE1_Zone Air Volume (m3) | BLOCK1:ZONE2_Zone Floor Area (m2) | BLOCK1:ZONE1_Zone Floor Area (m2) | BLOCK2:ZONE2_Zone Floor Area (m2) | BLOCK2:ZONE1_Zone Floor Area (m2) | ENVIRONMENT:SITE OUTDOOR AIR DRYBULB TEMPERATURE [C](HOURLY) | ENVIRONMENT:SITE OUTDOOR AIR RELATIVE HUMIDITY [%](HOURLY) | ENVIRONMENT:SITE WIND SPEED [M/S](HOURLY) | EMS:COMFORT TEMPERATURE [C](HOURLY) | EMS:ADAPTIVE COOLING SETPOINT TEMPERATURE [C](HOURLY) | EMS:ADAPTIVE HEATING SETPOINT TEMPERATURE [C](HOURLY) | EMS:ADAPTIVE COOLING SETPOINT TEMPERATURE_NO TOLERANCE [C](HOURLY) | EMS:ADAPTIVE HEATING SETPOINT TEMPERATURE_NO TOLERANCE [C](HOURLY) | EMS:VENTILATION SETPOINT TEMPERATURE [C](HOURLY) | EMS:MINIMUM OUTDOOR TEMPERATURE FOR VENTILATION [C](HOURLY) | BLOCK1:ZONE2_Zone Operative Temperature (°C) | BLOCK1:ZONE1_Zone Operative Temperature (°C) | BLOCK2:ZONE2_Zone Operative Temperature (°C) | BLOCK2:ZONE1_Zone Operative Temperature (°C) | PEOPLE BLOCK1:ZONE2:ZONE THERMAL COMFORT ASHRAE 55 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | PEOPLE BLOCK1:ZONE2:ZONE THERMAL COMFORT CEN 15251 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | PEOPLE BLOCK1:ZONE1:ZONE THERMAL COMFORT ASHRAE 55 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | PEOPLE BLOCK1:ZONE1:ZONE THERMAL COMFORT CEN 15251 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | PEOPLE BLOCK2:ZONE2:ZONE THERMAL COMFORT ASHRAE 55 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | PEOPLE BLOCK2:ZONE2:ZONE THERMAL COMFORT CEN 15251 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | PEOPLE BLOCK2:ZONE1:ZONE THERMAL COMFORT ASHRAE 55 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | PEOPLE BLOCK2:ZONE1:ZONE THERMAL COMFORT CEN 15251 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | BLOCK1:ZONE2_Comfortable Hours_No Applicability (h) | BLOCK1:ZONE1_Comfortable Hours_No Applicability (h) | BLOCK2:ZONE2_Comfortable Hours_No Applicability (h) | BLOCK2:ZONE1_Comfortable Hours_No Applicability (h) | BLOCK1:ZONE2_Comfortable Hours_Applicability (h) | BLOCK1:ZONE1_Comfortable Hours_Applicability (h) | BLOCK2:ZONE2_Comfortable Hours_Applicability (h) | BLOCK2:ZONE1_Comfortable Hours_Applicability (h) | BLOCK1:ZONE2_Discomfortable Applicable Hot Hours (h) | BLOCK1:ZONE1_Discomfortable Applicable Hot Hours (h) | BLOCK2:ZONE2_Discomfortable Applicable Hot Hours (h) | BLOCK2:ZONE1_Discomfortable Applicable Hot Hours (h) | BLOCK1:ZONE2_Discomfortable Applicable Cold Hours (h) | BLOCK1:ZONE1_Discomfortable Applicable Cold Hours (h) | BLOCK2:ZONE2_Discomfortable Applicable Cold Hours (h) | BLOCK2:ZONE1_Discomfortable Applicable Cold Hours (h) | BLOCK1:ZONE2_Discomfortable Non Applicable Hot Hours (h) | BLOCK1:ZONE1_Discomfortable Non Applicable Hot Hours (h) | BLOCK2:ZONE2_Discomfortable Non Applicable Hot Hours (h) | BLOCK2:ZONE1_Discomfortable Non Applicable Hot Hours (h) | BLOCK1:ZONE2_Discomfortable Non Applicable Cold Hours (h) | BLOCK1:ZONE1_Discomfortable Non Applicable Cold Hours (h) | BLOCK2:ZONE2_Discomfortable Non Applicable Cold Hours (h) | BLOCK2:ZONE1_Discomfortable Non Applicable Cold Hours (h) | BLOCK1:ZONE2_Ventilation Hours (h) | BLOCK1:ZONE1_Ventilation Hours (h) | BLOCK2:ZONE2_Ventilation Hours (h) | BLOCK2:ZONE1_Ventilation Hours (h) | BLOCK1:ZONE2:AFN ZONE INFILTRATION VOLUME [M3](HOURLY) | BLOCK1:ZONE2:AFN ZONE INFILTRATION AIR CHANGE RATE [ACH](HOURLY) | BLOCK1:ZONE1:AFN ZONE INFILTRATION VOLUME [M3](HOURLY) | BLOCK1:ZONE1:AFN ZONE INFILTRATION AIR CHANGE RATE [ACH](HOURLY) | BLOCK2:ZONE2:AFN ZONE INFILTRATION VOLUME [M3](HOURLY) | BLOCK2:ZONE2:AFN ZONE INFILTRATION AIR CHANGE RATE [ACH](HOURLY) | BLOCK2:ZONE1:AFN ZONE INFILTRATION VOLUME [M3](HOURLY) | BLOCK2:ZONE1:AFN ZONE INFILTRATION AIR CHANGE RATE [ACH](HOURLY) | Whole Building Facility Total HVAC Electricity Demand Rate (kWh/m2) | BLOCK1:ZONE2_AHST_Sch | BLOCK1:ZONE2_ACST_Sch | BLOCK1:ZONE1_AHST_Sch | BLOCK1:ZONE1_ACST_Sch | BLOCK2:ZONE2_AHST_Sch | BLOCK2:ZONE2_ACST_Sch | BLOCK2:ZONE1_AHST_Sch | BLOCK2:ZONE1_ACST_Sch | BLOCK1:ZONE2_Cooling Energy Demand (kWh/m2) | BLOCK1:ZONE1_Cooling Energy Demand (kWh/m2) | BLOCK2:ZONE2_Cooling Energy Demand (kWh/m2) | BLOCK2:ZONE1_Cooling Energy Demand (kWh/m2) | BLOCK1:ZONE2_Heating Energy Demand (kWh/m2) | BLOCK1:ZONE1_Heating Energy Demand (kWh/m2) | BLOCK2:ZONE2_Heating Energy Demand (kWh/m2) | BLOCK2:ZONE1_Heating Energy Demand (kWh/m2) | BLOCK1:ZONE2_Cooling Energy Consumption (kWh/m2) | BLOCK1:ZONE2_Heating Energy Consumption (kWh/m2) | BLOCK1:ZONE1_Cooling Energy Consumption (kWh/m2) | BLOCK1:ZONE1_Heating Energy Consumption (kWh/m2) | BLOCK2:ZONE2_Cooling Energy Consumption (kWh/m2) | BLOCK2:ZONE2_Heating Energy Consumption (kWh/m2) | BLOCK2:ZONE1_Cooling Energy Consumption (kWh/m2) | BLOCK1:ZONE2_TOTAL ENERGY DEMAND (WH) (summed) | BLOCK1:ZONE1_TOTAL ENERGY DEMAND (WH) (summed) | BLOCK2:ZONE2_TOTAL ENERGY DEMAND (WH) (summed) | BLOCK2:ZONE1_TOTAL ENERGY DEMAND (WH) (summed) | BLOCK1:ZONE2_TOTAL ENERGY CONSUMPTION (WH) (summed) | BLOCK1:ZONE1_TOTAL ENERGY CONSUMPTION (WH) (summed) | BLOCK2:ZONE2_TOTAL ENERGY CONSUMPTION (WH) (summed) | BLOCK2:ZONE1_TOTAL ENERGY CONSUMPTION (WH) (summed) | BLOCK1_Total_ZONE OPERATIVE TEMPERATURE (°C) (summed) | BLOCK2_Total_ZONE OPERATIVE TEMPERATURE (°C) (summed) | BLOCK1_Total_COMFORTABLE HOURS_NO APPLICABILITY (H) (summed) | BLOCK2_Total_COMFORTABLE HOURS_NO APPLICABILITY (H) (summed) | BLOCK1_Total_COMFORTABLE HOURS_APPLICABILITY (H) (summed) | BLOCK2_Total_COMFORTABLE HOURS_APPLICABILITY (H) (summed) | BLOCK1_Total_DISCOMFORTABLE APPLICABLE HOT HOURS (H) (summed) | BLOCK2_Total_DISCOMFORTABLE APPLICABLE HOT HOURS (H) (summed) | BLOCK1_Total_DISCOMFORTABLE APPLICABLE COLD HOURS (H) (summed) | BLOCK2_Total_DISCOMFORTABLE APPLICABLE COLD HOURS (H) (summed) | BLOCK1_Total_DISCOMFORTABLE NON APPLICABLE HOT HOURS (H) (summed) | BLOCK2_Total_DISCOMFORTABLE NON APPLICABLE HOT HOURS (H) (summed) | BLOCK1_Total_DISCOMFORTABLE NON APPLICABLE COLD HOURS (H) (summed) | BLOCK2_Total_DISCOMFORTABLE NON APPLICABLE COLD HOURS (H) (summed) | BLOCK1_Total_VENTILATION HOURS (H) (summed) | BLOCK2_Total_VENTILATION HOURS (H) (summed) | BLOCK1_Total_AFN ZONE INFILTRATION VOLUME (M3) (summed) | BLOCK2_Total_AFN ZONE INFILTRATION VOLUME (M3) (summed) | BLOCK1_Total_AFN ZONE INFILTRATION AIR CHANGE RATE (ACH) (summed) | BLOCK2_Total_AFN ZONE INFILTRATION AIR CHANGE RATE (ACH) (summed) | BLOCK1_Total_AFN ZONE VENTILATION VOLUME (M3) (summed) | BLOCK2_Total_AFN ZONE VENTILATION VOLUME (M3) (summed) | BLOCK1_Total_AFN ZONE VENTILATION AIR CHANGE RATE (ACH) (summed) | BLOCK2_Total_AFN ZONE VENTILATION AIR CHANGE RATE (ACH) (summed) | BLOCK1_Total_Cooling Energy Demand (kWh/m2) (summed) | BLOCK2_Total_Cooling Energy Demand (kWh/m2) (summed) | BLOCK1_Total_Heating Energy Demand (kWh/m2) (summed) | BLOCK2_Total_Heating Energy Demand (kWh/m2) (summed) | BLOCK1_Total_Cooling Energy Consumption (kWh/m2) (summed) | BLOCK2_Total_Cooling Energy Consumption (kWh/m2) (summed) | BLOCK1_Total_Heating Energy Consumption (kWh/m2) (summed) | BLOCK2_Total_Heating Energy Consumption (kWh/m2) (summed) | BLOCK1_Total_TOTAL ENERGY DEMAND (WH) (summed) | BLOCK2_Total_TOTAL ENERGY DEMAND (WH) (summed) | BLOCK1_Total_TOTAL ENERGY CONSUMPTION (WH) (summed) | BLOCK2_Total_TOTAL ENERGY CONSUMPTION (WH) (summed) | BLOCK1_Total_ZONE AIR VOLUME (M3) (summed) | BLOCK2_Total_ZONE AIR VOLUME (M3) (summed) | BLOCK1_Total_ZONE FLOOR AREA (M2) (summed) | BLOCK2_Total_ZONE FLOOR AREA (M2) (summed) | BLOCK1_Total_PMV (summed) | BLOCK2_Total_PMV (summed) | BLOCK1_Total_PPD (%) (summed) | BLOCK2_Total_PPD (%) (summed) | Building_Total_Zone Operative Temperature (°C) (summed) | Building_Total_Comfortable Hours_No Applicability (h) (summed) | Building_Total_Comfortable Hours_Applicability (h) (summed) | Building_Total_Discomfortable Applicable Hot Hours (h) (summed) | Building_Total_Discomfortable Applicable Cold Hours (h) (summed) | Building_Total_Discomfortable Non Applicable Hot Hours (h) (summed) | Building_Total_Discomfortable Non Applicable Cold Hours (h) (summed) | Building_Total_Ventilation Hours (h) (summed) | Building_Total_AFN Zone Infiltration Volume (m3) (summed) | Building_Total_AFN Zone Infiltration Air Change Rate (ach) (summed) | Building_Total_AFN Zone Ventilation Volume (m3) (summed) | Building_Total_AFN Zone Ventilation Air Change Rate (ach) (summed) | Building_Total_Cooling Energy Demand (kWh/m2) (summed) | Building_Total_Heating Energy Demand (kWh/m2) (summed) | Building_Total_Cooling Energy Consumption (kWh/m2) (summed) | Building_Total_Heating Energy Consumption (kWh/m2) (summed) | Building_Total_Total Energy Demand (kWh/m2) (summed) | Building_Total_Total Energy Consumption (kWh/m2) (summed) | Building_Total_Zone Air Volume (m3) (summed) | Building_Total_Zone Floor Area (m2) (summed) | Building_Total_PMV (summed) | Building_Total_PPD (%) (summed) | Date/Time
0 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 744 | India | Ahmedabad | Present | Present | Present | 01/01 01:00:00 | 01 | 0 | 01/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 19.91 | 51.79 | 1.67 | 23.35 | 26.95 | 19.75 | 27.45 | 19.25 | 23.35 | 12.75 | 26.61 | 26.8 | 26.74 | 26.81 | 19.49 | 18.7 | 19.49 | 18.7 | 19.49 | 18.7 | 19.49 | 18.7 | 744 | 744 | 744 | 744 | 743.5 | 743.5 | 743.5 | 743.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 4882.69 | 136.04 | 8275.12 | 77.14 | 1748.9 | 16.82 | 487.09 | 13.88 | 23.67 | 14694.01 | 20050.81 | 14694.01 | 20050.81 | 14694.01 | 20050.81 | 14694.01 | 20050.81 | 26.54 | 36.71 | 25.8 | 55.71 | 0 | 0 | 0 | 0 | 18.83 | 0 | 20.16 | 0 | 17.18 | 0 | 27.8 | 26.54 | 36.71 | 25.8 | 55.71 | 18.83 | 20.16 | 17.18 | 27.8 | 53.41 | 53.55 | 1488 | 1488 | 1487 | 1487 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 13157.81 | 2235.99 | 213.18 | 30.7 | 0 | 0 | 0 | 0 | 34.16 | 33.35 | 0 | 0 | 19.83 | 19.86 | 0 | 0 | 34.16 | 33.35 | 19.83 | 19.86 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 106.96 | 2976 | 2974 | 0 | 0 | 0 | 2 | 0 | 15393.8 | 243.88 | 0 | 0 | 33.76 | 0 | 19.85 | 0 | 33.76 | 19.85 | 282.25 | 81.8 | 0 | 0 | 01
1 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 672 | India | Ahmedabad | Present | Present | Present | 02/01 01:00:00 | 02 | 0 | 02/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 22.33 | 48.14 | 1.08 | 24.32 | 27.92 | 20.72 | 28.42 | 20.22 | 24.32 | 13.72 | 27.76 | 27.85 | 27.82 | 27.85 | 21.28 | 22.01 | 21.28 | 22.01 | 21.28 | 22.01 | 21.28 | 22.01 | 672 | 672 | 672 | 672 | 672 | 672 | 672 | 672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3597.32 | 100.23 | 6318.72 | 58.9 | 1301.75 | 12.52 | 503.03 | 14.34 | 24.49 | 13922.81 | 18761.21 | 13922.81 | 18761.21 | 13922.81 | 18761.21 | 13922.81 | 18761.21 | 30.73 | 36.71 | 28.99 | 53.82 | 0 | 0 | 0 | 0 | 21.42 | 0 | 20.65 | 0 | 18.86 | 0 | 28.13 | 30.73 | 36.71 | 28.99 | 53.82 | 21.42 | 20.65 | 18.86 | 28.13 | 55.61 | 55.67 | 1344 | 1344 | 1344 | 1344 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9916.04 | 1804.78 | 159.13 | 26.86 | 0 | 0 | 0 | 0 | 35.21 | 35.25 | 0 | 0 | 20.84 | 21.2 | 0 | 0 | 35.21 | 35.25 | 20.84 | 21.2 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 111.28 | 2688 | 2688 | 0 | 0 | 0 | 0 | 0 | 11720.82 | 185.99 | 0 | 0 | 35.23 | 0 | 21.02 | 0 | 35.23 | 21.02 | 282.25 | 81.8 | 0 | 0 | 02
2 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 744 | India | Ahmedabad | Present | Present | Present | 03/01 01:00:00 | 03 | 0 | 03/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 28.11 | 40.08 | 1.97 | 26.21 | 29.81 | 22.61 | 30.31 | 22.11 | 26.21 | 15.61 | 29.74 | 29.76 | 29.76 | 29.77 | 24.78 | 26.86 | 24.78 | 26.86 | 24.78 | 26.86 | 24.78 | 26.86 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3061.56 | 85.3 | 4924.05 | 45.9 | 3103.61 | 29.85 | 1018.84 | 29.03 | 32.91 | 16819.23 | 22176.03 | 16819.23 | 22176.03 | 16819.23 | 22176.03 | 16819.23 | 22176.03 | 43.49 | 43.48 | 39.68 | 60.27 | 0 | 0 | 0 | 0 | 31.45 | 0 | 27.76 | 0 | 26.92 | 0 | 36.8 | 43.49 | 43.48 | 39.68 | 60.27 | 31.45 | 27.76 | 26.92 | 36.8 | 59.5 | 59.53 | 1488 | 1488 | 1488 | 1488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7985.61 | 4122.45 | 131.2 | 58.88 | 0 | 0 | 0 | 0 | 43.48 | 44.87 | 0 | 0 | 28.69 | 29.41 | 0 | 0 | 43.48 | 44.87 | 28.69 | 29.41 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 119.03 | 2976 | 2976 | 0 | 0 | 0 | 0 | 0 | 12108.06 | 190.08 | 0 | 0 | 44.18 | 0 | 29.05 | 0 | 44.18 | 29.05 | 282.25 | 81.8 | 0 | 0 | 03
3 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 720 | India | Ahmedabad | Present | Present | Present | 04/01 01:00:00 | 04 | 0 | 04/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 31.48 | 37.24 | 2.47 | 29.05 | 32.61 | 25.41 | 33.11 | 24.91 | 29.01 | 18.41 | 32.59 | 32.59 | 32.59 | 32.6 | 30.03 | 31.17 | 30.03 | 31.17 | 30.03 | 31.17 | 30.03 | 31.17 | 720 | 720 | 720 | 720 | 504.5 | 504.5 | 504.5 | 504.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 215.5 | 215.5 | 215.5 | 215.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2444.58 | 68.11 | 4885.33 | 45.54 | 2711.08 | 26.07 | 1541.1 | 43.92 | 33.71 | 18296.99 | 23480.99 | 18296.99 | 23480.99 | 18296.99 | 23480.99 | 18296.99 | 23480.99 | 44.34 | 39.69 | 39.9 | 51.85 | 0 | 0 | 0 | 0 | 33.41 | 0 | 28.13 | 0 | 28.38 | 0 | 36.75 | 44.34 | 39.69 | 39.9 | 51.85 | 33.41 | 28.13 | 28.38 | 36.75 | 65.18 | 65.19 | 1440 | 1440 | 1009 | 1009 | 0 | 0 | 0 | 0 | 431 | 431 | 0 | 0 | 0 | 0 | 7329.91 | 4252.18 | 113.65 | 69.99 | 0 | 0 | 0 | 0 | 40.85 | 42.91 | 0 | 0 | 29.45 | 30.49 | 0 | 0 | 40.85 | 42.91 | 29.45 | 30.49 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 130.37 | 2880 | 2018 | 0 | 0 | 862 | 0 | 0 | 11582.09 | 183.64 | 0 | 0 | 41.88 | 0 | 29.97 | 0 | 41.88 | 29.97 | 282.25 | 81.8 | 0 | 0 | 04
4 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 744 | India | Ahmedabad | Present | Present | Present | 05/01 01:00:00 | 05 | 0 | 05/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 33.62 | 48.71 | 2.92 | 30.5 | 33.17 | 25.97 | 33.67 | 25.47 | 29.57 | 18.97 | 33.2 | 33.2 | 33.2 | 33.2 | 32.73 | 33.59 | 32.73 | 33.59 | 32.73 | 33.59 | 32.73 | 33.59 | 737.5 | 737 | 737 | 737.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1794.76 | 50.01 | 4281.33 | 39.91 | 3787.32 | 36.42 | 3031.77 | 86.4 | 37.97 | 19321.68 | 24678.48 | 19321.68 | 24678.48 | 19321.68 | 24678.48 | 19321.68 | 24678.48 | 51.93 | 42.33 | 45.38 | 54.4 | 0 | 0 | 0 | 0 | 39.1 | 0 | 31.36 | 0 | 32.78 | 0 | 41.13 | 51.93 | 42.33 | 45.38 | 54.4 | 39.1 | 31.36 | 32.78 | 41.13 | 66.4 | 66.4 | 1474.5 | 1474.5 | 0 | 0 | 0 | 0 | 0 | 0 | 1488 | 1488 | 0 | 0 | 0 | 0 | 6076.09 | 6819.09 | 89.92 | 122.82 | 0 | 0 | 0 | 0 | 44.74 | 47.65 | 0 | 0 | 33.3 | 34.89 | 0 | 0 | 44.74 | 47.65 | 33.3 | 34.89 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 132.8 | 2949 | 0 | 0 | 0 | 2976 | 0 | 0 | 12895.18 | 212.74 | 0 | 0 | 46.19 | 0 | 34.09 | 0 | 46.19 | 34.09 | 282.25 | 81.8 | 0 | 0 | 05
5 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 720 | India | Ahmedabad | Present | Present | Present | 06/01 01:00:00 | 06 | 0 | 06/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 33.17 | 61.35 | 4.01 | 31.11 | 33.17 | 25.97 | 33.67 | 25.47 | 29.57 | 18.97 | 33.16 | 33.16 | 33.16 | 33.16 | 33.86 | 33.46 | 33.86 | 33.46 | 33.86 | 33.46 | 33.86 | 33.46 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1559.6 | 43.45 | 5274.05 | 49.16 | 3224.72 | 31.01 | 4990.87 | 142.23 | 35.25 | 18698.4 | 23882.4 | 18698.4 | 23882.4 | 18698.4 | 23882.4 | 18698.4 | 23882.4 | 48.74 | 38.05 | 42.09 | 50.82 | 0 | 0 | 0 | 0 | 36.52 | 0 | 28.61 | 0 | 30.46 | 0 | 38.25 | 48.74 | 38.05 | 42.09 | 50.82 | 36.52 | 28.61 | 30.46 | 38.25 | 66.32 | 66.32 | 1440 | 1440 | 0 | 0 | 0 | 0 | 0 | 0 | 1440 | 1440 | 0 | 0 | 0 | 0 | 6833.65 | 8215.59 | 92.61 | 173.24 | 0 | 0 | 0 | 0 | 40.73 | 44.3 | 0 | 0 | 30.59 | 32.43 | 0 | 0 | 40.73 | 44.3 | 30.59 | 32.43 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 132.64 | 2880 | 0 | 0 | 0 | 2880 | 0 | 0 | 15049.24 | 265.85 | 0 | 0 | 42.51 | 0 | 31.51 | 0 | 42.51 | 31.51 | 282.25 | 81.8 | 0 | 0 | 06
6 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 744 | India | Ahmedabad | Present | Present | Present | 07/01 01:00:00 | 07 | 0 | 07/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 29.58 | 80.75 | 2.68 | 29.74 | 33 | 25.8 | 33.5 | 25.3 | 29.4 | 18.8 | 32.98 | 32.98 | 32.98 | 32.98 | 31.32 | 30.01 | 31.32 | 30.01 | 31.32 | 30.01 | 31.32 | 30.01 | 744 | 744 | 744 | 744 | 263.5 | 263.5 | 263.5 | 263.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 480.5 | 480.5 | 480.5 | 480.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2110.34 | 58.8 | 5295.1 | 49.36 | 2928.39 | 28.16 | 2522.25 | 71.88 | 28.53 | 19196.49 | 24553.29 | 19196.49 | 24553.29 | 19196.49 | 24553.29 | 19196.49 | 24553.29 | 38.73 | 30.51 | 34.57 | 42.17 | 0 | 0 | 0 | 0 | 28.11 | 0 | 22.2 | 0 | 24.2 | 0 | 30.28 | 38.73 | 30.51 | 34.57 | 42.17 | 28.11 | 22.2 | 24.2 | 30.28 | 65.96 | 65.96 | 1488 | 1488 | 527 | 527 | 0 | 0 | 0 | 0 | 961 | 961 | 0 | 0 | 0 | 0 | 7405.44 | 5450.64 | 108.16 | 100.04 | 0 | 0 | 0 | 0 | 32.57 | 36.49 | 0 | 0 | 23.68 | 25.73 | 0 | 0 | 32.57 | 36.49 | 23.68 | 25.73 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 131.92 | 2976 | 1054 | 0 | 0 | 1922 | 0 | 0 | 12856.08 | 208.2 | 0 | 0 | 34.53 | 0 | 24.7 | 0 | 34.53 | 24.7 | 282.25 | 81.8 | 0 | 0 | 07
7 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 744 | India | Ahmedabad | Present | Present | Present | 08/01 01:00:00 | 08 | 0 | 08/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 28.21 | 80.79 | 2.46 | 28.26 | 31.86 | 24.66 | 32.36 | 24.16 | 28.26 | 17.66 | 31.85 | 31.85 | 31.85 | 31.85 | 28.58 | 28.3 | 28.58 | 28.3 | 28.58 | 28.3 | 28.58 | 28.3 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1964.21 | 54.73 | 4968.56 | 46.32 | 2508.95 | 24.13 | 2304 | 65.66 | 29.48 | 18350.28 | 23707.08 | 18350.28 | 23707.08 | 18350.28 | 23707.08 | 18350.28 | 23707.08 | 43.34 | 34.42 | 37.88 | 48.69 | 0 | 0 | 0 | 0 | 29.22 | 0 | 23.41 | 0 | 24.66 | 0 | 31.59 | 43.34 | 34.42 | 37.88 | 48.69 | 29.22 | 23.41 | 24.66 | 31.59 | 63.7 | 63.7 | 1488 | 1488 | 1488 | 1488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6932.77 | 4812.95 | 101.05 | 89.79 | 0 | 0 | 0 | 0 | 36.66 | 40.6 | 0 | 0 | 24.87 | 26.41 | 0 | 0 | 36.66 | 40.6 | 24.87 | 26.41 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 127.4 | 2976 | 2976 | 0 | 0 | 0 | 0 | 0 | 11745.72 | 190.84 | 0 | 0 | 38.63 | 0 | 25.64 | 0 | 38.63 | 25.64 | 282.25 | 81.8 | 0 | 0 | 08
8 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 720 | India | Ahmedabad | Present | Present | Present | 09/01 01:00:00 | 09 | 0 | 09/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 28.86 | 72.8 | 1.92 | 28.12 | 31.72 | 24.52 | 32.22 | 24.02 | 28.12 | 17.52 | 31.71 | 31.7 | 31.7 | 31.7 | 28.32 | 28.59 | 28.32 | 28.59 | 28.32 | 28.59 | 28.32 | 28.59 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1713.55 | 47.74 | 3619.4 | 33.74 | 2594.67 | 24.95 | 1619.19 | 46.14 | 30.65 | 17655.6 | 22839.6 | 17655.6 | 22839.6 | 17655.6 | 22839.6 | 17655.6 | 22839.6 | 45.61 | 40.07 | 40.27 | 56.93 | 0 | 0 | 0 | 0 | 30.01 | 0 | 25.12 | 0 | 25.42 | 0 | 33.64 | 45.61 | 40.07 | 40.27 | 56.93 | 30.01 | 25.12 | 25.42 | 33.64 | 63.41 | 63.4 | 1440 | 1440 | 1440 | 1440 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5332.95 | 4213.86 | 81.48 | 71.09 | 0 | 0 | 0 | 0 | 41.46 | 44.47 | 0 | 0 | 26.35 | 27.5 | 0 | 0 | 41.46 | 44.47 | 26.35 | 27.5 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 126.81 | 2880 | 2880 | 0 | 0 | 0 | 0 | 0 | 9546.81 | 152.57 | 0 | 0 | 42.96 | 0 | 26.92 | 0 | 42.96 | 26.92 | 282.25 | 81.8 | 0 | 0 | 09
9 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 744 | India | Ahmedabad | Present | Present | Present | 10/01 01:00:00 | 10 | 0 | 10/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 27.2 | 64.95 | 1.07 | 28.24 | 31.84 | 24.64 | 32.34 | 24.14 | 28.24 | 17.64 | 31.8 | 31.82 | 31.81 | 31.82 | 28.54 | 27.8 | 28.54 | 27.8 | 28.54 | 27.8 | 28.54 | 27.8 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2923.31 | 81.45 | 5297.41 | 49.38 | 1654.63 | 15.91 | 793.47 | 22.61 | 31.43 | 18335.23 | 23692.03 | 18335.23 | 23692.03 | 18335.23 | 23692.03 | 18335.23 | 23692.03 | 43.71 | 45.25 | 40 | 66.52 | 0 | 0 | 0 | 0 | 29.42 | 0 | 26.5 | 0 | 25.24 | 0 | 35.89 | 43.71 | 45.25 | 40 | 66.52 | 29.42 | 26.5 | 25.24 | 35.89 | 63.62 | 63.63 | 1488 | 1488 | 1488 | 1488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8220.72 | 2448.1 | 130.83 | 38.52 | 0 | 0 | 0 | 0 | 44.86 | 46.69 | 0 | 0 | 27.23 | 27.93 | 0 | 0 | 44.86 | 46.69 | 27.23 | 27.93 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 127.25 | 2976 | 2976 | 0 | 0 | 0 | 0 | 0 | 10668.82 | 169.35 | 0 | 0 | 45.78 | 0 | 27.58 | 0 | 45.78 | 27.58 | 282.25 | 81.8 | 0 | 0 | 10
10 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 720 | India | Ahmedabad | Present | Present | Present | 11/01 01:00:00 | 11 | 0 | 11/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 23.53 | 54.23 | 0.89 | 26.63 | 30.23 | 23.03 | 30.73 | 22.53 | 26.63 | 16.03 | 30.02 | 30.15 | 30.11 | 30.16 | 25.55 | 24.23 | 25.55 | 24.23 | 25.55 | 24.23 | 25.55 | 24.23 | 720 | 719.5 | 720 | 720 | 720 | 719.5 | 720 | 720 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4331.99 | 120.7 | 7825.65 | 72.95 | 1075.46 | 10.34 | 527.04 | 15.02 | 26.89 | 16579.49 | 21763.49 | 16579.49 | 21763.49 | 16579.49 | 21763.49 | 16579.49 | 21763.49 | 33.51 | 39.82 | 31.82 | 62.07 | 0 | 0 | 0 | 0 | 23.67 | 0 | 22.5 | 0 | 20.82 | 0 | 31.72 | 33.51 | 39.82 | 31.82 | 62.07 | 23.67 | 22.5 | 20.82 | 31.72 | 60.17 | 60.27 | 1439.5 | 1440 | 1439.5 | 1440 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12157.64 | 1602.5 | 193.65 | 25.36 | 0 | 0 | 0 | 0 | 38.24 | 39.45 | 0 | 0 | 22.79 | 23.57 | 0 | 0 | 38.24 | 39.45 | 22.79 | 23.57 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 120.44 | 2879.5 | 2879.5 | 0.5 | 0 | 0 | 0 | 0 | 13760.14 | 219.01 | 0 | 0 | 38.85 | 0 | 23.18 | 0 | 38.85 | 23.18 | 282.25 | 81.8 | 0 | 0 | 11
11 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 744 | India | Ahmedabad | Present | Present | Present | 12/01 01:00:00 | 12 | 0 | 12/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 20.56 | 60.09 | 1.05 | 24.72 | 28.32 | 21.12 | 28.82 | 20.62 | 24.72 | 14.12 | 28.09 | 28.23 | 28.19 | 28.23 | 22.01 | 21.13 | 22.01 | 21.13 | 22.01 | 21.13 | 22.01 | 21.13 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4773.95 | 133.01 | 8669.19 | 80.81 | 958.06 | 9.21 | 444.51 | 12.67 | 24.43 | 15711.32 | 21068.12 | 15711.32 | 21068.12 | 15711.32 | 21068.12 | 15711.32 | 21068.12 | 29.43 | 38.41 | 28.07 | 60.37 | 0 | 0 | 0 | 0 | 20.14 | 0 | 20.55 | 0 | 18.02 | 0 | 28.89 | 29.43 | 38.41 | 28.07 | 60.37 | 20.14 | 20.55 | 18.02 | 28.89 | 56.32 | 56.42 | 1488 | 1488 | 1488 | 1488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13443.14 | 1402.57 | 213.82 | 21.88 | 0 | 0 | 0 | 0 | 36.16 | 36.22 | 0 | 0 | 20.45 | 20.76 | 0 | 0 | 36.16 | 36.22 | 20.45 | 20.76 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 112.74 | 2976 | 2976 | 0 | 0 | 0 | 0 | 0 | 14845.71 | 235.7 | 0 | 0 | 36.19 | 0 | 20.6 | 0 | 36.19 | 20.6 | 282.25 | 81.8 | 0 | 0 | 12
12 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 744 | United-Kingdom | London | Present | Present | Present | 01/01 01:00:00 | 01 | 5.14 | 01/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 4.4 | 81.68 | 3.74 | 20.42 | 23.6 | 19.6 | 24.1 | 19.1 | 21.6 | 12.6 | 20.04 | 20.7 | 20.66 | 20.71 | 5.98 | 4.9 | 5.98 | 4.9 | 5.98 | 4.9 | 5.98 | 4.9 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 9370.78 | 261.09 | 19073.44 | 177.8 | 2462.02 | 23.68 | 2740.27 | 78.09 | 9.33 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 0 | 0.75 | 0.13 | 1.48 | 13.6 | 5.3 | 5.01 | 6.69 | 0 | 10.27 | 0.54 | 4.08 | 0.09 | 3.89 | 1.05 | 13.6 | 6.06 | 5.14 | 8.17 | 10.27 | 4.62 | 3.98 | 6.19 | 40.74 | 41.37 | 1488 | 1488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1488 | 1488 | 0 | 0 | 28444.22 | 5202.29 | 438.89 | 101.77 | 0 | 0 | 0 | 0 | 0.56 | 0.47 | 7.38 | 5.44 | 0.4 | 0.33 | 5.63 | 4.21 | 7.95 | 5.9 | 6.03 | 4.54 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 82.11 | 2976 | 0 | 0 | 0 | 0 | 2976 | 0 | 33646.51 | 540.66 | 0 | 0 | 0.52 | 6.41 | 0.37 | 4.92 | 6.93 | 5.29 | 282.25 | 81.8 | 0 | 0 | 01
13 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 672 | United-Kingdom | London | Present | Present | Present | 02/01 01:00:00 | 02 | 3.59 | 02/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 3.94 | 84.25 | 2.95 | 19.89 | 23.6 | 19.6 | 24.1 | 19.1 | 21.6 | 12.6 | 20.28 | 20.93 | 20.9 | 21 | 3.66 | 3.31 | 3.66 | 3.31 | 3.66 | 3.31 | 3.66 | 3.31 | 672 | 672 | 672 | 672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 672 | 672 | 672 | 672 | 0 | 0 | 0 | 0 | 8543.66 | 238.05 | 16572.02 | 154.48 | 1624.17 | 15.62 | 1437.53 | 40.97 | 8.26 | 13171.2 | 15859.2 | 13171.2 | 15859.2 | 13171.2 | 15859.2 | 13171.2 | 15859.2 | 0.09 | 2.04 | 1.12 | 3.52 | 9.99 | 3.63 | 3.5 | 4.63 | 0.07 | 7.59 | 1.43 | 2.81 | 0.81 | 2.73 | 2.4 | 10.09 | 5.67 | 4.62 | 8.15 | 7.66 | 4.23 | 3.54 | 5.99 | 41.21 | 41.9 | 1344 | 1344 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1344 | 1344 | 0 | 0 | 25115.68 | 3061.7 | 392.53 | 56.59 | 0 | 0 | 0 | 0 | 1.55 | 1.72 | 5.23 | 3.79 | 1.09 | 1.21 | 4 | 2.95 | 6.78 | 5.51 | 5.09 | 4.15 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 83.11 | 2688 | 0 | 0 | 0 | 0 | 2688 | 0 | 28177.38 | 449.12 | 0 | 0 | 1.64 | 4.51 | 1.15 | 3.47 | 6.14 | 4.62 | 282.25 | 81.8 | 0 | 0 | 02
14 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 744 | United-Kingdom | London | Present | Present | Present | 03/01 01:00:00 | 03 | 0.3 | 03/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 6.84 | 78.08 | 4.41 | 20.98 | 23.6 | 19.6 | 24.1 | 19.1 | 21.6 | 12.6 | 21.58 | 22.14 | 22.12 | 22.19 | 5.04 | 6.62 | 5.04 | 6.62 | 5.04 | 6.62 | 5.04 | 6.62 | 744 | 744 | 744 | 743 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 8989 | 250.46 | 17592.99 | 164 | 4655.39 | 44.77 | 2504.75 | 71.38 | 9.34 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 3.88 | 7.77 | 6.39 | 10.76 | 1.63 | 0.28 | 0.44 | 0.41 | 2.81 | 1.24 | 5.39 | 0.21 | 4.53 | 0.33 | 7.33 | 5.51 | 8.04 | 6.83 | 11.18 | 4.05 | 5.6 | 4.86 | 7.62 | 43.72 | 44.31 | 1488 | 1487 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1488 | 1488 | 0 | 0 | 26581.99 | 7160.14 | 414.46 | 116.15 | 0 | 0 | 0 | 0 | 6.79 | 7.5 | 0.61 | 0.43 | 4.74 | 5.23 | 0.47 | 0.32 | 7.41 | 7.93 | 5.21 | 5.55 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 88.03 | 2975 | 0 | 0 | 0 | 0 | 2976 | 0 | 33742.13 | 530.61 | 0 | 0 | 7.14 | 0.52 | 4.99 | 0.4 | 7.67 | 5.38 | 282.25 | 81.8 | 0 | 0 | 03
15 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 720 | United-Kingdom | London | Present | Present | Present | 04/01 01:00:00 | 04 | 0.09 | 04/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 8.32 | 75.72 | 3.72 | 21.46 | 23.63 | 19.63 | 24.13 | 19.13 | 21.7 | 12.63 | 22.4 | 22.84 | 22.81 | 22.87 | 7.73 | 8.05 | 7.73 | 8.05 | 7.73 | 8.05 | 7.73 | 8.05 | 720 | 719.5 | 720 | 719.5 | 96 | 95.5 | 96 | 96 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 624 | 624 | 624 | 624 | 0 | 0 | 0 | 0 | 8788.38 | 244.87 | 14843.15 | 138.36 | 3811.74 | 36.66 | 1631.01 | 46.48 | 14.5 | 14133.75 | 17013.75 | 14133.75 | 17013.75 | 14133.75 | 17013.75 | 14133.75 | 17013.75 | 14.26 | 18.77 | 15.12 | 25.41 | 0.31 | 0.1 | 0.1 | 0.1 | 9.24 | 0.24 | 10.69 | 0.08 | 9.43 | 0.08 | 14.58 | 14.56 | 18.87 | 15.21 | 25.51 | 9.48 | 10.77 | 9.52 | 14.66 | 45.24 | 45.68 | 1439.5 | 1439.5 | 191.5 | 192 | 0.5 | 0 | 0 | 0 | 0 | 0 | 1248 | 1248 | 0 | 0 | 23631.53 | 5442.75 | 383.23 | 83.14 | 0 | 0 | 0 | 0 | 17.64 | 17.71 | 0.15 | 0.1 | 10.33 | 10.73 | 0.12 | 0.08 | 17.79 | 17.81 | 10.45 | 10.81 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 90.92 | 2879 | 383.5 | 0.5 | 0 | 0 | 2496 | 0 | 29074.28 | 466.37 | 0 | 0 | 17.68 | 0.12 | 10.53 | 0.1 | 17.8 | 10.63 | 282.25 | 81.8 | 0 | 0 | 04
16 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 744 | United-Kingdom | London | Present | Present | Present | 05/01 01:00:00 | 05 | 0 | 05/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 12.47 | 73.46 | 3.43 | 22.63 | 24.16 | 20.16 | 24.66 | 19.66 | 22.57 | 13.16 | 23.74 | 23.9 | 23.92 | 23.91 | 10.32 | 11.6 | 10.32 | 11.6 | 10.32 | 11.6 | 10.32 | 11.6 | 744 | 744 | 744 | 743.5 | 599.5 | 599.5 | 599.5 | 599.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144.5 | 144.5 | 144.5 | 144.5 | 0 | 0 | 0 | 0 | 6956.48 | 193.83 | 12994.55 | 121.13 | 2923.86 | 28.12 | 2091.48 | 59.6 | 22.29 | 15001.61 | 17977.61 | 15001.61 | 17977.61 | 15001.61 | 17977.61 | 15001.61 | 17977.61 | 31.96 | 31.22 | 29.03 | 40.8 | 0 | 0 | 0 | 0 | 18.67 | 0 | 17.72 | 0 | 16.79 | 0 | 23.73 | 31.96 | 31.22 | 29.03 | 40.8 | 18.67 | 17.72 | 16.79 | 23.73 | 47.64 | 47.83 | 1488 | 1487.5 | 1199 | 1199 | 0 | 0 | 0 | 0 | 0 | 0 | 289 | 289 | 0 | 0 | 19951.03 | 5015.34 | 314.96 | 87.72 | 0 | 0 | 0 | 0 | 31.41 | 32 | 0 | 0 | 17.96 | 18.54 | 0 | 0 | 31.41 | 32 | 17.96 | 18.54 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 95.47 | 2975.5 | 2398 | 0 | 0 | 0 | 578 | 0 | 24966.37 | 402.68 | 0 | 0 | 31.7 | 0 | 18.25 | 0 | 31.7 | 18.25 | 282.25 | 81.8 | 0 | 0 | 05
17 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 720 | United-Kingdom | London | Present | Present | Present | 06/01 01:00:00 | 06 | 0 | 06/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 15.01 | 70.82 | 3.34 | 23.48 | 24.98 | 20.98 | 25.48 | 20.48 | 23.48 | 13.98 | 24.66 | 24.78 | 24.79 | 24.8 | 13.29 | 14.18 | 13.29 | 14.18 | 13.29 | 14.18 | 13.29 | 14.18 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6793.36 | 189.28 | 10832.11 | 100.97 | 3654.09 | 35.14 | 943.85 | 26.9 | 21.62 | 15104.01 | 17984.01 | 15104.01 | 17984.01 | 15104.01 | 17984.01 | 15104.01 | 17984.01 | 31.83 | 29.5 | 28.67 | 40.37 | 0 | 0 | 0 | 0 | 18.37 | 0 | 16.92 | 0 | 16.34 | 0 | 23.44 | 31.83 | 29.5 | 28.67 | 40.37 | 18.37 | 16.92 | 16.34 | 23.44 | 49.44 | 49.59 | 1440 | 1440 | 1440 | 1440 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17625.47 | 4597.94 | 290.25 | 62.04 | 0 | 0 | 0 | 0 | 30.09 | 31.62 | 0 | 0 | 17.28 | 18.13 | 0 | 0 | 30.09 | 31.62 | 17.28 | 18.13 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 99.03 | 2880 | 2880 | 0 | 0 | 0 | 0 | 0 | 22223.41 | 352.29 | 0 | 0 | 30.85 | 0 | 17.71 | 0 | 30.85 | 17.71 | 282.25 | 81.8 | 0 | 0 | 06
18 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 744 | United-Kingdom | London | Present | Present | Present | 07/01 01:00:00 | 07 | 0 | 07/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 17.31 | 75.36 | 2.64 | 24.59 | 26.09 | 22.09 | 26.59 | 21.59 | 24.59 | 15.09 | 25.95 | 26.01 | 26.01 | 26.01 | 16.59 | 17.55 | 16.59 | 17.55 | 16.59 | 17.55 | 16.59 | 17.55 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5434.46 | 151.42 | 10090.74 | 94.06 | 2184.71 | 21.01 | 1236.94 | 35.25 | 24.89 | 16437.07 | 19413.07 | 16437.07 | 19413.07 | 16437.07 | 19413.07 | 16437.07 | 19413.07 | 37.12 | 34.2 | 32.87 | 47.13 | 0 | 0 | 0 | 0 | 22 | 0 | 19.93 | 0 | 19.16 | 0 | 27.37 | 37.12 | 34.2 | 32.87 | 47.13 | 22 | 19.93 | 19.16 | 27.37 | 51.96 | 52.02 | 1488 | 1488 | 1488 | 1488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15525.2 | 3421.65 | 245.48 | 56.26 | 0 | 0 | 0 | 0 | 34.93 | 36.47 | 0 | 0 | 20.45 | 21.23 | 0 | 0 | 34.93 | 36.47 | 20.45 | 21.23 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 103.98 | 2976 | 2976 | 0 | 0 | 0 | 0 | 0 | 18946.85 | 301.74 | 0 | 0 | 35.7 | 0 | 20.84 | 0 | 35.7 | 20.84 | 282.25 | 81.8 | 0 | 0 | 07
19 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 744 | United-Kingdom | London | Present | Present | Present | 08/01 01:00:00 | 08 | 0 | 08/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 16.72 | 75.34 | 2.85 | 24.48 | 25.98 | 21.98 | 26.48 | 21.48 | 24.48 | 14.98 | 25.74 | 25.85 | 25.84 | 25.85 | 17.5 | 17.2 | 17.5 | 17.2 | 17.5 | 17.2 | 17.5 | 17.2 | 744 | 743 | 744 | 743.5 | 744 | 743 | 744 | 743.5 | 0 | 1 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5862.06 | 163.33 | 10927.06 | 101.86 | 2284.4 | 21.97 | 1510.34 | 43.04 | 22.85 | 16350.03 | 19326.03 | 16350.03 | 19326.03 | 16350.03 | 19326.03 | 16350.03 | 19326.03 | 32.16 | 32.22 | 29.36 | 44.19 | 0 | 0 | 0 | 0 | 19.23 | 0 | 18.25 | 0 | 17.14 | 0 | 25.03 | 32.16 | 32.22 | 29.36 | 44.19 | 19.23 | 18.25 | 17.14 | 25.03 | 51.59 | 51.69 | 1487 | 1487.5 | 1487 | 1487.5 | 1 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16789.12 | 3794.74 | 265.19 | 65.01 | 0 | 0 | 0 | 0 | 32.2 | 33.1 | 0 | 0 | 18.5 | 19.13 | 0 | 0 | 32.2 | 33.1 | 18.5 | 19.13 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 103.28 | 2974.5 | 2974.5 | 1.5 | 0 | 0 | 0 | 0 | 20583.86 | 330.2 | 0 | 0 | 32.65 | 0 | 18.82 | 0 | 32.65 | 18.82 | 282.25 | 81.8 | 0 | 0 | 08
20 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 720 | United-Kingdom | London | Present | Present | Present | 09/01 01:00:00 | 09 | 0 | 09/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 13.85 | 75.18 | 3.43 | 23.43 | 24.93 | 20.93 | 25.43 | 20.43 | 23.43 | 13.93 | 24.29 | 24.55 | 24.54 | 24.57 | 15.36 | 14.04 | 15.36 | 14.04 | 15.36 | 14.04 | 15.36 | 14.04 | 720 | 720 | 720 | 718 | 720 | 720 | 720 | 718 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7316.86 | 203.87 | 12025.97 | 112.1 | 3539 | 34.03 | 1205.22 | 34.35 | 16.35 | 15072.77 | 17952.77 | 15072.77 | 17952.77 | 15072.77 | 17952.77 | 15072.77 | 17952.77 | 17.83 | 21.26 | 17.58 | 29.54 | 0 | 0 | 0 | 0 | 11.7 | 0 | 12.52 | 0 | 11.16 | 0 | 17.06 | 17.83 | 21.26 | 17.58 | 29.54 | 11.7 | 12.52 | 11.16 | 17.06 | 48.84 | 49.11 | 1440 | 1438 | 1440 | 1438 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19342.83 | 4744.22 | 315.97 | 68.38 | 0 | 0 | 0 | 0 | 20.4 | 20.6 | 0 | 0 | 12.31 | 12.65 | 0 | 0 | 20.4 | 20.6 | 12.31 | 12.65 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 97.95 | 2878 | 2878 | 2 | 0 | 0 | 0 | 0 | 24087.05 | 384.35 | 0 | 0 | 20.5 | 0 | 12.48 | 0 | 20.5 | 12.48 | 282.25 | 81.8 | 0 | 0 | 09
21 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 744 | United-Kingdom | London | Present | Present | Present | 10/01 01:00:00 | 10 | 0.04 | 10/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 10.56 | 86.27 | 2.89 | 22.5 | 24.07 | 20.07 | 24.57 | 19.57 | 22.44 | 13.07 | 22.56 | 23.1 | 23.01 | 23.15 | 12.28 | 11.2 | 12.28 | 11.2 | 12.28 | 11.2 | 12.28 | 11.2 | 744 | 744 | 744 | 742 | 552.5 | 552.5 | 552.5 | 550.5 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 191.5 | 191.5 | 191.5 | 191.5 | 0 | 0 | 0 | 0 | 7468.87 | 208.1 | 15050.42 | 140.29 | 1611.55 | 15.5 | 1909.24 | 54.41 | 10.97 | 14931.02 | 17907.02 | 14931.02 | 17907.02 | 14931.02 | 17907.02 | 14931.02 | 17907.02 | 6.57 | 11.56 | 8.58 | 16.45 | 0.34 | 0.02 | 0.02 | 0.06 | 4.63 | 0.25 | 7.67 | 0.01 | 5.84 | 0.01 | 10.51 | 6.9 | 11.58 | 8.6 | 16.52 | 4.88 | 7.68 | 5.85 | 10.56 | 45.66 | 46.16 | 1488 | 1486 | 1105 | 1103 | 0 | 2 | 0 | 0 | 0 | 0 | 383 | 383 | 0 | 0 | 22519.29 | 3520.79 | 348.39 | 69.91 | 0 | 0 | 0 | 0 | 10.31 | 10.57 | 0.1 | 0.03 | 6.91 | 7.02 | 0.07 | 0.02 | 10.41 | 10.6 | 6.98 | 7.04 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 91.82 | 2974 | 2208 | 2 | 0 | 0 | 766 | 0 | 26040.08 | 418.3 | 0 | 0 | 10.44 | 0.06 | 6.96 | 0.05 | 10.5 | 7.01 | 282.25 | 81.8 | 0 | 0 | 10
22 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 720 | United-Kingdom | London | Present | Present | Present | 11/01 01:00:00 | 11 | 0.52 | 11/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 7.82 | 87.03 | 2.31 | 21.45 | 23.6 | 19.6 | 24.1 | 19.1 | 21.6 | 12.6 | 21.1 | 21.82 | 21.76 | 21.91 | 8.72 | 8.04 | 8.72 | 8.04 | 8.72 | 8.04 | 8.72 | 8.04 | 720 | 720 | 720 | 719.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 8067.18 | 224.77 | 15297.37 | 142.6 | 605.7 | 5.82 | 1034.81 | 29.49 | 6.85 | 14112 | 16992 | 14112 | 16992 | 14112 | 16992 | 14112 | 16992 | 0.59 | 3.35 | 2.88 | 4.9 | 3.39 | 0.67 | 0.99 | 0.7 | 0.44 | 2.57 | 2.4 | 0.52 | 2.04 | 0.77 | 3.43 | 3.98 | 4.02 | 3.87 | 5.6 | 3.01 | 2.92 | 2.81 | 3.96 | 42.92 | 43.67 | 1440 | 1439.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1440 | 1440 | 0 | 0 | 23364.55 | 1640.51 | 367.37 | 35.31 | 0 | 0 | 0 | 0 | 2.66 | 3.39 | 1.35 | 0.91 | 1.91 | 2.39 | 1.03 | 0.71 | 4.01 | 4.31 | 2.94 | 3.1 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 86.59 | 2879.5 | 0 | 0 | 0 | 0 | 2880 | 0 | 25005.06 | 402.68 | 0 | 0 | 3.03 | 1.13 | 2.15 | 0.87 | 4.16 | 3.02 | 282.25 | 81.8 | 0 | 0 | 11
23 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 744 | United-Kingdom | London | Present | Present | Present | 12/01 01:00:00 | 12 | 5.37 | 12/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 5.11 | 88.52 | 3.18 | 20.55 | 23.6 | 19.6 | 24.1 | 19.1 | 21.6 | 12.6 | 20.1 | 20.63 | 20.71 | 20.62 | 5.85 | 5.3 | 5.85 | 5.3 | 5.85 | 5.3 | 5.85 | 5.3 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 9157.26 | 255.14 | 18189.39 | 169.56 | 1909.08 | 18.36 | 2251.16 | 64.15 | 9.23 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 0 | 0.29 | 0.14 | 0.57 | 13.41 | 5.52 | 5.12 | 6.9 | 0 | 10.16 | 0.21 | 4.31 | 0.1 | 4.01 | 0.42 | 13.41 | 5.81 | 5.25 | 7.47 | 10.16 | 4.52 | 4.11 | 5.79 | 40.73 | 41.33 | 1488 | 1488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1488 | 1488 | 0 | 0 | 27346.65 | 4160.24 | 424.7 | 82.51 | 0 | 0 | 0 | 0 | 0.22 | 0.25 | 7.5 | 5.57 | 0.16 | 0.18 | 5.77 | 4.35 | 7.72 | 5.81 | 5.94 | 4.53 | 143.17 | 139.08 | 40.9 | 40.9 | 0 | 0 | 0 | 0 | 82.06 | 2976 | 0 | 0 | 0 | 0 | 2976 | 0 | 31506.89 | 507.21 | 0 | 0 | 0.23 | 6.53 | 0.17 | 5.06 | 6.77 | 5.23 | 282.25 | 81.8 | 0 | 0 | 12