## Sheet1
| Date/Time | Source | Month/Day | Month | Day | Hour | Minute | Second | count | Environment:Site Outdoor Air Drybulb Temperature [C](Hourly) | Environment:Site Outdoor Air Relative Humidity [%](Hourly) | Environment:Site Wind Speed [m/s](Hourly) | EMS:Comfort Temperature [C](Hourly) | EMS:Adaptive Cooling Setpoint Temperature [C](Hourly) | EMS:Adaptive Heating Setpoint Temperature [C](Hourly) | EMS:Adaptive Cooling Setpoint Temperature_No Tolerance [C](Hourly) | EMS:Adaptive Heating Setpoint Temperature_No Tolerance [C](Hourly) | EMS:Ventilation Setpoint Temperature [C](Hourly) | EMS:Minimum Outdoor Temperature for ventilation [C](Hourly) | BLOCK1:ZONE1:Zone Operative Temperature [C](Hourly) | BLOCK1:ZONE3:Zone Operative Temperature [C](Hourly) | BLOCK1:ZONE5:Zone Operative Temperature [C](Hourly) | BLOCK1:ZONE2:Zone Operative Temperature [C](Hourly) | BLOCK1:ZONE4:Zone Operative Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE1:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE1:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE3:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE3:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE5:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE5:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE2:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE2:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE4:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE4:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK1:ZONE1 [H](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK1:ZONE3 [H](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK1:ZONE5 [H](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK1:ZONE2 [H](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK1:ZONE4 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK1:ZONE1 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK1:ZONE3 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK1:ZONE5 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK1:ZONE2 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK1:ZONE4 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK1:ZONE1 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK1:ZONE3 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK1:ZONE5 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK1:ZONE2 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK1:ZONE4 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK1:ZONE1 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK1:ZONE3 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK1:ZONE5 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK1:ZONE2 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK1:ZONE4 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK1:ZONE1 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK1:ZONE3 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK1:ZONE5 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK1:ZONE2 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK1:ZONE4 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK1:ZONE1 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK1:ZONE3 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK1:ZONE5 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK1:ZONE2 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK1:ZONE4 [H](Hourly) | EMS:Zone Floor Area_BLOCK1:ZONE1 [m2](Hourly) | EMS:Zone Floor Area_BLOCK1:ZONE3 [m2](Hourly) | EMS:Zone Floor Area_BLOCK1:ZONE5 [m2](Hourly) | EMS:Zone Floor Area_BLOCK1:ZONE2 [m2](Hourly) | EMS:Zone Floor Area_BLOCK1:ZONE4 [m2](Hourly) | EMS:Zone Air Volume_BLOCK1:ZONE1 [m3](Hourly) | EMS:Zone Air Volume_BLOCK1:ZONE3 [m3](Hourly) | EMS:Zone Air Volume_BLOCK1:ZONE5 [m3](Hourly) | EMS:Zone Air Volume_BLOCK1:ZONE2 [m3](Hourly) | EMS:Zone Air Volume_BLOCK1:ZONE4 [m3](Hourly) | EMS:Ventilation Hours_BLOCK1:ZONE1 [H](Hourly) | EMS:Ventilation Hours_BLOCK1:ZONE3 [H](Hourly) | EMS:Ventilation Hours_BLOCK1:ZONE5 [H](Hourly) | EMS:Ventilation Hours_BLOCK1:ZONE2 [H](Hourly) | EMS:Ventilation Hours_BLOCK1:ZONE4 [H](Hourly) | BLOCK1:ZONE1:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK1:ZONE1:AFN Zone Infiltration Air Change Rate [ach](Hourly) | BLOCK1:ZONE3:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK1:ZONE3:AFN Zone Infiltration Air Change Rate [ach](Hourly) | BLOCK1:ZONE5:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK1:ZONE5:AFN Zone Infiltration Air Change Rate [ach](Hourly) | BLOCK1:ZONE2:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK1:ZONE2:AFN Zone Infiltration Air Change Rate [ach](Hourly) | BLOCK1:ZONE4:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK1:ZONE4:AFN Zone Infiltration Air Change Rate [ach](Hourly) | Whole Building:Facility Total HVAC Electricity Demand Rate (Wh)(Hourly) | FORSCRIPT_AHST_BLOCK1:ZONE1:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK1:ZONE1:Schedule Value [](Hourly) | FORSCRIPT_AHST_BLOCK1:ZONE3:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK1:ZONE3:Schedule Value [](Hourly) | FORSCRIPT_AHST_BLOCK1:ZONE5:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK1:ZONE5:Schedule Value [](Hourly) | FORSCRIPT_AHST_BLOCK1:ZONE2:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK1:ZONE2:Schedule Value [](Hourly) | FORSCRIPT_AHST_BLOCK1:ZONE4:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK1:ZONE4:Schedule Value [](Hourly) | BLOCK1:ZONE1 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate (Wh)(Hourly) | BLOCK1:ZONE3 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate (Wh)(Hourly) | BLOCK1:ZONE5 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate (Wh)(Hourly) | BLOCK1:ZONE2 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate (Wh)(Hourly) | BLOCK1:ZONE4 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate (Wh)(Hourly) | BLOCK1:ZONE1 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate (Wh)(Hourly) | BLOCK1:ZONE3 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate (Wh)(Hourly) | BLOCK1:ZONE5 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate (Wh)(Hourly) | BLOCK1:ZONE2 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate (Wh)(Hourly) | BLOCK1:ZONE4 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate (Wh)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE1:VRF Heat Pump Cooling Electricity Energy (Wh)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE1:VRF Heat Pump Heating Electricity Energy (Wh)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE3:VRF Heat Pump Cooling Electricity Energy (Wh)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE3:VRF Heat Pump Heating Electricity Energy (Wh)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE5:VRF Heat Pump Cooling Electricity Energy (Wh)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE5:VRF Heat Pump Heating Electricity Energy (Wh)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE2:VRF Heat Pump Cooling Electricity Energy (Wh)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE2:VRF Heat Pump Heating Electricity Energy (Wh)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE4:VRF Heat Pump Cooling Electricity Energy (Wh)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE4:VRF Heat Pump Heating Electricity Energy (Wh)(Hourly) | BLOCK1:ZONE1_Total Energy Demand (Wh) [summed]_pymod | BLOCK1:ZONE3_Total Energy Demand (Wh) [summed]_pymod | BLOCK1:ZONE5_Total Energy Demand (Wh) [summed]_pymod | BLOCK1:ZONE2_Total Energy Demand (Wh) [summed]_pymod | BLOCK1:ZONE4_Total Energy Demand (Wh) [summed]_pymod | BLOCK1:ZONE1_Total Energy Consumption (Wh) [summed]_pymod | BLOCK1:ZONE3_Total Energy Consumption (Wh) [summed]_pymod | BLOCK1:ZONE5_Total Energy Consumption (Wh) [summed]_pymod | BLOCK1:ZONE2_Total Energy Consumption (Wh) [summed]_pymod | BLOCK1:ZONE4_Total Energy Consumption (Wh) [summed]_pymod | Building_Total_Zone Operative Temperature (°C) [summed]_pymod | Building_Total_Zone Operative Temperature (°C) [mean]_pymod | Building_Total_Comfortable Hours_No Applicability (h) [summed]_pymod | Building_Total_Comfortable Hours_No Applicability (h) [mean]_pymod | Building_Total_Comfortable Hours_Applicability (h) [summed]_pymod | Building_Total_Comfortable Hours_Applicability (h) [mean]_pymod | Building_Total_Discomfortable Applicable Hot Hours (h) [summed]_pymod | Building_Total_Discomfortable Applicable Hot Hours (h) [mean]_pymod | Building_Total_Discomfortable Applicable Cold Hours (h) [summed]_pymod | Building_Total_Discomfortable Applicable Cold Hours (h) [mean]_pymod | Building_Total_Discomfortable Non Applicable Hot Hours (h) [summed]_pymod | Building_Total_Discomfortable Non Applicable Hot Hours (h) [mean]_pymod | Building_Total_Discomfortable Non Applicable Cold Hours (h) [summed]_pymod | Building_Total_Discomfortable Non Applicable Cold Hours (h) [mean]_pymod | Building_Total_Ventilation Hours (h) [summed]_pymod | Building_Total_Ventilation Hours (h) [mean]_pymod | Building_Total_AFN Zone Infiltration Volume (m3) [summed]_pymod | Building_Total_AFN Zone Infiltration Volume (m3) [mean]_pymod | Building_Total_AFN Zone Infiltration Air Change Rate (ach) [summed]_pymod | Building_Total_AFN Zone Infiltration Air Change Rate (ach) [mean]_pymod | Building_Total_Cooling Coil Total Cooling Rate (Wh) [summed]_pymod | Building_Total_Cooling Coil Total Cooling Rate (Wh) [mean]_pymod | Building_Total_Heating Coil Heating Rate (Wh) [summed]_pymod | Building_Total_Heating Coil Heating Rate (Wh) [mean]_pymod | Building_Total_VRF Heat Pump Cooling Electricity Energy (Wh) [summed]_pymod | Building_Total_VRF Heat Pump Cooling Electricity Energy (Wh) [mean]_pymod | Building_Total_VRF Heat Pump Heating Electricity Energy (Wh) [summed]_pymod | Building_Total_VRF Heat Pump Heating Electricity Energy (Wh) [mean]_pymod | Building_Total_Total Energy Demand (Wh) [summed]_pymod | Building_Total_Total Energy Demand (Wh) [mean]_pymod | Building_Total_Total Energy Consumption (Wh) [summed]_pymod | Building_Total_Total Energy Consumption (Wh) [mean]_pymod | Building_Total_Zone Air Volume (m3) [summed]_pymod | Building_Total_Zone Floor Area (m2) [summed]_pymod | Building_Total_PMV [summed]_pymod | Building_Total_PMV [mean]_pymod | Building_Total_PPD (%) [summed]_pymod | Building_Total_PPD (%) [mean]_pymod
0 | 01/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present.csv | 01/01 | 01 | 01 | 01 | 00 | 00 | 8760 | 7.1532 | 75.8867 | 2.7378 | 20.0176 | 27.0884 | 21.7426 | 27.1884 | 21.6426 | 23.3575 | 14.7426 | 23.2664 | 23.0442 | 23.0786 | 23.4579 | 23.0201 | 7.1533 | 7.1648 | 7.1533 | 7.1648 | 7.1533 | 7.1648 | 7.1533 | 7.1648 | 7.1533 | 7.1648 | 8248 | 7122 | 6256.5 | 7802.5 | 8231 | 3576.5 | 3458.5 | 3545 | 3584 | 3673 | 311.5 | 429.5 | 343 | 304 | 215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4872 | 4872 | 4872 | 4872 | 4872 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 2034.5 | 2006.5 | 2072.5 | 2098.5 | 1994 | 20296.8952 | 494.5131 | 17171.5245 | 1974.828 | 21011.7123 | 537.7112 | 13587.4882 | 409.5973 | 4376.3269 | 1291.409 | 2203844.2565 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 24843.047 | 57773.8925 | 248669.2693 | 29282.5134 | 27992.8112 | 89254.0278 | 775845.941 | 3435331.5335 | 57592.682 | 432696.8266 | 19537.3764 | 89124.2022 | 46389.955 | 768028.6175 | 203609.7846 | 3270884.9382 | 23803.3965 | 57069.4055 | 22550.9071 | 416339.2655 | 114097.0748 | 833619.8335 | 3684000.8028 | 86875.1955 | 460689.6377 | 108661.5785 | 814418.5725 | 3474494.7228 | 80872.802 | 438890.1726 | 115.8672 | 23.1734 | 37660 | 7532 | 17837 | 3567.4 | 1603 | 320.6 | 0 | 0 | 0 | 0 | 24360 | 4872 | 10206 | 2041.2 | 76443.9471 | 15288.7894 | 4708.0587 | 941.6117 | 98146.1536 | 19629.2307 | 1180642.718 | 236128.5436 | 79979.3658 | 15995.8732 | 1128224.6984 | 225644.9397 | 1278788.8716 | 127878.8872 | 1208204.0642 | 120820.4064 | 125.3772 | 48.2221 | 0 |  | 0
0 | 01/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050.csv | 01/01 | 01 | 01 | 01 | 00 | 00 | 8760 | 8.6272 | 75.7011 | 2.7401 | 20.4745 | 27.0884 | 21.7426 | 27.1884 | 21.6426 | 23.281 | 14.7426 | 23.4863 | 23.2639 | 23.3166 | 23.6766 | 23.2464 | 8.6273 | 8.6451 | 8.6273 | 8.6451 | 8.6273 | 8.6451 | 8.6273 | 8.6451 | 8.6273 | 8.6451 | 8230 | 7042 | 6387.5 | 7832.5 | 8135 | 4038 | 3854.5 | 3926 | 3993.5 | 4094 | 354 | 537.5 | 466 | 398.5 | 298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4368 | 4368 | 4368 | 4368 | 4368 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 2452 | 2398.5 | 2459 | 2478.5 | 2396.5 | 19430.1049 | 473.3947 | 16263.4285 | 1870.3915 | 19835.5156 | 507.6112 | 12756.5626 | 384.5489 | 4077.6509 | 1203.2728 | 2032797.6788 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 31710.0508 | 77341.4078 | 335735.7144 | 38877.2967 | 38875.6196 | 72856.0804 | 667811.3135 | 2892181.8201 | 47306.0264 | 368673.8674 | 25173.1735 | 70719.7704 | 62495.5448 | 642636.3831 | 275214.5724 | 2697726.0078 | 31800.6867 | 45857.1003 | 31608.6685 | 345922.7108 | 104566.1312 | 745152.7213 | 3227917.5344 | 86183.3231 | 407549.487 | 95892.9439 | 705131.928 | 2972940.5802 | 77657.787 | 377531.3792 | 116.9896 | 23.3979 | 37627 | 7525.4 | 19906 | 3981.2 | 2054 | 410.8 | 0 | 0 | 0 | 0 | 21840 | 4368 | 12184.5 | 2436.9 | 72363.2625 | 14472.6525 | 4439.2191 | 887.8438 | 131719.8577 | 26343.9715 | 994047.4429 | 198809.4886 | 107619.0135 | 21523.8027 | 929998.1355 | 185999.6271 | 1125767.3006 | 112576.7301 | 1037617.149 | 103761.7149 | 125.3772 | 48.2221 | 0 |  | 0