## Sheet1
| Date/Time | Source | Month/Day | Month | Day | Hour | Minute | Second | count | Environment:Site Outdoor Air Drybulb Temperature [C](Hourly) | Environment:Site Outdoor Air Relative Humidity [%](Hourly) | Environment:Site Wind Speed [m/s](Hourly) | EMS:Comfort Temperature [C](Hourly) | EMS:Adaptive Cooling Setpoint Temperature [C](Hourly) | EMS:Adaptive Heating Setpoint Temperature [C](Hourly) | EMS:Adaptive Cooling Setpoint Temperature_No Tolerance [C](Hourly) | EMS:Adaptive Heating Setpoint Temperature_No Tolerance [C](Hourly) | EMS:Ventilation Setpoint Temperature [C](Hourly) | EMS:Minimum Outdoor Temperature for ventilation [C](Hourly) | BLOCK1:ZONE1:Zone Operative Temperature [C](Hourly) | BLOCK1:ZONE3:Zone Operative Temperature [C](Hourly) | BLOCK1:ZONE5:Zone Operative Temperature [C](Hourly) | BLOCK1:ZONE2:Zone Operative Temperature [C](Hourly) | BLOCK1:ZONE4:Zone Operative Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE1:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE1:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE3:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE3:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE5:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE5:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE2:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE2:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE4:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE4:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK1:ZONE1 [H](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK1:ZONE3 [H](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK1:ZONE5 [H](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK1:ZONE2 [H](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK1:ZONE4 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK1:ZONE1 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK1:ZONE3 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK1:ZONE5 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK1:ZONE2 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK1:ZONE4 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK1:ZONE1 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK1:ZONE3 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK1:ZONE5 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK1:ZONE2 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK1:ZONE4 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK1:ZONE1 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK1:ZONE3 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK1:ZONE5 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK1:ZONE2 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK1:ZONE4 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK1:ZONE1 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK1:ZONE3 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK1:ZONE5 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK1:ZONE2 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK1:ZONE4 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK1:ZONE1 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK1:ZONE3 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK1:ZONE5 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK1:ZONE2 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK1:ZONE4 [H](Hourly) | EMS:Zone Floor Area_BLOCK1:ZONE1 [m2](Hourly) | EMS:Zone Floor Area_BLOCK1:ZONE3 [m2](Hourly) | EMS:Zone Floor Area_BLOCK1:ZONE5 [m2](Hourly) | EMS:Zone Floor Area_BLOCK1:ZONE2 [m2](Hourly) | EMS:Zone Floor Area_BLOCK1:ZONE4 [m2](Hourly) | EMS:Zone Air Volume_BLOCK1:ZONE1 [m3](Hourly) | EMS:Zone Air Volume_BLOCK1:ZONE3 [m3](Hourly) | EMS:Zone Air Volume_BLOCK1:ZONE5 [m3](Hourly) | EMS:Zone Air Volume_BLOCK1:ZONE2 [m3](Hourly) | EMS:Zone Air Volume_BLOCK1:ZONE4 [m3](Hourly) | EMS:Ventilation Hours_BLOCK1:ZONE1 [H](Hourly) | EMS:Ventilation Hours_BLOCK1:ZONE3 [H](Hourly) | EMS:Ventilation Hours_BLOCK1:ZONE5 [H](Hourly) | EMS:Ventilation Hours_BLOCK1:ZONE2 [H](Hourly) | EMS:Ventilation Hours_BLOCK1:ZONE4 [H](Hourly) | BLOCK1:ZONE1:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK1:ZONE1:AFN Zone Infiltration Air Change Rate [ach](Hourly) | BLOCK1:ZONE3:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK1:ZONE3:AFN Zone Infiltration Air Change Rate [ach](Hourly) | BLOCK1:ZONE5:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK1:ZONE5:AFN Zone Infiltration Air Change Rate [ach](Hourly) | BLOCK1:ZONE2:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK1:ZONE2:AFN Zone Infiltration Air Change Rate [ach](Hourly) | BLOCK1:ZONE4:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK1:ZONE4:AFN Zone Infiltration Air Change Rate [ach](Hourly) | Whole Building:Facility Total HVAC Electricity Demand Rate (kWh/m2)(Hourly) | FORSCRIPT_AHST_BLOCK1:ZONE1:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK1:ZONE1:Schedule Value [](Hourly) | FORSCRIPT_AHST_BLOCK1:ZONE3:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK1:ZONE3:Schedule Value [](Hourly) | FORSCRIPT_AHST_BLOCK1:ZONE5:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK1:ZONE5:Schedule Value [](Hourly) | FORSCRIPT_AHST_BLOCK1:ZONE2:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK1:ZONE2:Schedule Value [](Hourly) | FORSCRIPT_AHST_BLOCK1:ZONE4:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK1:ZONE4:Schedule Value [](Hourly) | BLOCK1:ZONE1 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate (kWh/m2)(Hourly) | BLOCK1:ZONE3 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate (kWh/m2)(Hourly) | BLOCK1:ZONE5 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate (kWh/m2)(Hourly) | BLOCK1:ZONE2 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate (kWh/m2)(Hourly) | BLOCK1:ZONE4 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate (kWh/m2)(Hourly) | BLOCK1:ZONE1 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate (kWh/m2)(Hourly) | BLOCK1:ZONE3 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate (kWh/m2)(Hourly) | BLOCK1:ZONE5 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate (kWh/m2)(Hourly) | BLOCK1:ZONE2 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate (kWh/m2)(Hourly) | BLOCK1:ZONE4 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE1:VRF Heat Pump Cooling Electricity Energy (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE1:VRF Heat Pump Heating Electricity Energy (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE3:VRF Heat Pump Cooling Electricity Energy (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE3:VRF Heat Pump Heating Electricity Energy (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE5:VRF Heat Pump Cooling Electricity Energy (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE5:VRF Heat Pump Heating Electricity Energy (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE2:VRF Heat Pump Cooling Electricity Energy (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE2:VRF Heat Pump Heating Electricity Energy (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE4:VRF Heat Pump Cooling Electricity Energy (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE4:VRF Heat Pump Heating Electricity Energy (kWh/m2)(Hourly) | BLOCK1:ZONE1_Total Energy Demand (kWh/m2) [summed]_pymod | BLOCK1:ZONE3_Total Energy Demand (kWh/m2) [summed]_pymod | BLOCK1:ZONE5_Total Energy Demand (kWh/m2) [summed]_pymod | BLOCK1:ZONE2_Total Energy Demand (kWh/m2) [summed]_pymod | BLOCK1:ZONE4_Total Energy Demand (kWh/m2) [summed]_pymod | BLOCK1:ZONE1_Total Energy Consumption (kWh/m2) [summed]_pymod | BLOCK1:ZONE3_Total Energy Consumption (kWh/m2) [summed]_pymod | BLOCK1:ZONE5_Total Energy Consumption (kWh/m2) [summed]_pymod | BLOCK1:ZONE2_Total Energy Consumption (kWh/m2) [summed]_pymod | BLOCK1:ZONE4_Total Energy Consumption (kWh/m2) [summed]_pymod | Building_Total_Zone Operative Temperature (°C) [summed]_pymod | Building_Total_Zone Operative Temperature (°C) [mean]_pymod | Building_Total_Comfortable Hours_No Applicability (h) [summed]_pymod | Building_Total_Comfortable Hours_No Applicability (h) [mean]_pymod | Building_Total_Comfortable Hours_Applicability (h) [summed]_pymod | Building_Total_Comfortable Hours_Applicability (h) [mean]_pymod | Building_Total_Discomfortable Applicable Hot Hours (h) [summed]_pymod | Building_Total_Discomfortable Applicable Hot Hours (h) [mean]_pymod | Building_Total_Discomfortable Applicable Cold Hours (h) [summed]_pymod | Building_Total_Discomfortable Applicable Cold Hours (h) [mean]_pymod | Building_Total_Discomfortable Non Applicable Hot Hours (h) [summed]_pymod | Building_Total_Discomfortable Non Applicable Hot Hours (h) [mean]_pymod | Building_Total_Discomfortable Non Applicable Cold Hours (h) [summed]_pymod | Building_Total_Discomfortable Non Applicable Cold Hours (h) [mean]_pymod | Building_Total_Ventilation Hours (h) [summed]_pymod | Building_Total_Ventilation Hours (h) [mean]_pymod | Building_Total_AFN Zone Infiltration Volume (m3) [summed]_pymod | Building_Total_AFN Zone Infiltration Volume (m3) [mean]_pymod | Building_Total_AFN Zone Infiltration Air Change Rate (ach) [summed]_pymod | Building_Total_AFN Zone Infiltration Air Change Rate (ach) [mean]_pymod | Building_Total_Cooling Coil Total Cooling Rate (kWh/m2) [summed]_pymod | Building_Total_Cooling Coil Total Cooling Rate (kWh/m2) [mean]_pymod | Building_Total_Heating Coil Heating Rate (kWh/m2) [summed]_pymod | Building_Total_Heating Coil Heating Rate (kWh/m2) [mean]_pymod | Building_Total_VRF Heat Pump Cooling Electricity Energy (kWh/m2) [summed]_pymod | Building_Total_VRF Heat Pump Cooling Electricity Energy (kWh/m2) [mean]_pymod | Building_Total_VRF Heat Pump Heating Electricity Energy (kWh/m2) [summed]_pymod | Building_Total_VRF Heat Pump Heating Electricity Energy (kWh/m2) [mean]_pymod | Building_Total_Total Energy Demand (kWh/m2) [summed]_pymod | Building_Total_Total Energy Demand (kWh/m2) [mean]_pymod | Building_Total_Total Energy Consumption (kWh/m2) [summed]_pymod | Building_Total_Total Energy Consumption (kWh/m2) [mean]_pymod | Building_Total_Zone Air Volume (m3) [summed]_pymod | Building_Total_Zone Floor Area (m2) [summed]_pymod | Building_Total_PMV [summed]_pymod | Building_Total_PMV [mean]_pymod | Building_Total_PPD (%) [summed]_pymod | Building_Total_PPD (%) [mean]_pymod
0 | 01/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present.csv | 01/01 | 01 | 01 | 01 | 00 | 00 | 8760 | 7.1532 | 75.8867 | 2.7378 | 20.0176 | 27.0884 | 21.7426 | 27.1884 | 21.6426 | 23.3575 | 14.7426 | 23.2664 | 23.0442 | 23.0786 | 23.4579 | 23.0201 | 7.1533 | 7.1648 | 7.1533 | 7.1648 | 7.1533 | 7.1648 | 7.1533 | 7.1648 | 7.1533 | 7.1648 | 8248 | 7122 | 6256.5 | 7802.5 | 8231 | 3576.5 | 3458.5 | 3545 | 3584 | 3673 | 311.5 | 429.5 | 343 | 304 | 215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4872 | 4872 | 4872 | 4872 | 4872 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 2034.5 | 2006.5 | 2072.5 | 2098.5 | 1994 | 20296.8952 | 494.5131 | 17171.5245 | 1974.828 | 21011.7123 | 537.7112 | 13587.4882 | 409.5973 | 4376.3269 | 1291.409 | 2203.8443 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 24.843 | 57.7739 | 248.6693 | 29.2825 | 27.9928 | 89.254 | 775.8459 | 3435.3315 | 57.5927 | 432.6968 | 19.5374 | 89.1242 | 46.39 | 768.0286 | 203.6098 | 3270.8849 | 23.8034 | 57.0694 | 22.5509 | 416.3393 | 114.0971 | 833.6198 | 3684.0008 | 86.8752 | 460.6896 | 108.6616 | 814.4186 | 3474.4947 | 80.8728 | 438.8902 | 115.8672 | 23.1734 | 37660 | 7532 | 17837 | 3567.4 | 1603 | 320.6 | 0 | 0 | 0 | 0 | 24360 | 4872 | 10206 | 2041.2 | 76443.9471 | 15288.7894 | 4708.0587 | 941.6117 | 98.1462 | 19.6292 | 1180.6427 | 236.1285 | 79.9794 | 15.9959 | 1128.2247 | 225.6449 | 1278.7889 | 127.8789 | 1208.2041 | 120.8204 | 125.3772 | 48.2221 | 0 |  | 0
0 | 01/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050.csv | 01/01 | 01 | 01 | 01 | 00 | 00 | 8760 | 8.6272 | 75.7011 | 2.7401 | 20.4745 | 27.0884 | 21.7426 | 27.1884 | 21.6426 | 23.281 | 14.7426 | 23.4863 | 23.2639 | 23.3166 | 23.6766 | 23.2464 | 8.6273 | 8.6451 | 8.6273 | 8.6451 | 8.6273 | 8.6451 | 8.6273 | 8.6451 | 8.6273 | 8.6451 | 8230 | 7042 | 6387.5 | 7832.5 | 8135 | 4038 | 3854.5 | 3926 | 3993.5 | 4094 | 354 | 537.5 | 466 | 398.5 | 298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4368 | 4368 | 4368 | 4368 | 4368 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 2452 | 2398.5 | 2459 | 2478.5 | 2396.5 | 19430.1049 | 473.3947 | 16263.4285 | 1870.3915 | 19835.5156 | 507.6112 | 12756.5626 | 384.5489 | 4077.6509 | 1203.2728 | 2032.7977 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 31.7101 | 77.3414 | 335.7357 | 38.8773 | 38.8756 | 72.8561 | 667.8113 | 2892.1818 | 47.306 | 368.6739 | 25.1732 | 70.7198 | 62.4955 | 642.6364 | 275.2146 | 2697.726 | 31.8007 | 45.8571 | 31.6087 | 345.9227 | 104.5661 | 745.1527 | 3227.9175 | 86.1833 | 407.5495 | 95.8929 | 705.1319 | 2972.9406 | 77.6578 | 377.5314 | 116.9896 | 23.3979 | 37627 | 7525.4 | 19906 | 3981.2 | 2054 | 410.8 | 0 | 0 | 0 | 0 | 21840 | 4368 | 12184.5 | 2436.9 | 72363.2625 | 14472.6525 | 4439.2191 | 887.8438 | 131.7199 | 26.344 | 994.0474 | 198.8095 | 107.619 | 21.5238 | 929.9981 | 185.9996 | 1125.7673 | 112.5767 | 1037.6171 | 103.7617 | 125.3772 | 48.2221 | 0 |  | 0