## Sheet1
| Model | Adaptive Standard | Category | Comfort mode | HVAC mode | Ventilation control | VSToffset | MinOToffset | MaxWindSpeed | ASTtol | NameSuffix | EPW | EPW_Country_name | EPW_City_or_subcountry | EPW_Scenario-Year | EPW_Scenario | EPW_Year | Date/Time | Source | Month/Day | Month | Day | Hour | Minute | Second | count | Site Outdoor Air Drybulb Temperature (°C) | Site Outdoor Air Relative Humidity (%) | Site Wind Speed (m/s) | Comfort Temperature (°C) | Adaptive Cooling Setpoint Temperature (°C) | Adaptive Heating Setpoint Temperature (°C) | Adaptive Cooling Setpoint Temperature_No Tolerance (°C) | Adaptive Heating Setpoint Temperature_No Tolerance (°C) | Ventilation Setpoint Temperature (°C) | Minimum Outdoor Temperature for ventilation (°C) | BLOCK1:ZONE1_Zone Operative Temperature (°C) | BLOCK1:ZONE3_Zone Operative Temperature (°C) | BLOCK1:ZONE5_Zone Operative Temperature (°C) | BLOCK1:ZONE2_Zone Operative Temperature (°C) | BLOCK1:ZONE4_Zone Operative Temperature (°C) | BLOCK1:ZONE1_ASHRAE 55 Running mean outdoor temperature (°C) | BLOCK1:ZONE1_EN16798-1 Running mean outdoor temperature (°C) | BLOCK1:ZONE3_ASHRAE 55 Running mean outdoor temperature (°C) | BLOCK1:ZONE3_EN16798-1 Running mean outdoor temperature (°C) | BLOCK1:ZONE5_ASHRAE 55 Running mean outdoor temperature (°C) | BLOCK1:ZONE5_EN16798-1 Running mean outdoor temperature (°C) | BLOCK1:ZONE2_ASHRAE 55 Running mean outdoor temperature (°C) | BLOCK1:ZONE2_EN16798-1 Running mean outdoor temperature (°C) | BLOCK1:ZONE4_ASHRAE 55 Running mean outdoor temperature (°C) | BLOCK1:ZONE4_EN16798-1 Running mean outdoor temperature (°C) | BLOCK1:ZONE1_Comfortable Hours_No Applicability (h) | BLOCK1:ZONE3_Comfortable Hours_No Applicability (h) | BLOCK1:ZONE5_Comfortable Hours_No Applicability (h) | BLOCK1:ZONE2_Comfortable Hours_No Applicability (h) | BLOCK1:ZONE4_Comfortable Hours_No Applicability (h) | BLOCK1:ZONE1_Comfortable Hours_Applicability (h) | BLOCK1:ZONE3_Comfortable Hours_Applicability (h) | BLOCK1:ZONE5_Comfortable Hours_Applicability (h) | BLOCK1:ZONE2_Comfortable Hours_Applicability (h) | BLOCK1:ZONE4_Comfortable Hours_Applicability (h) | BLOCK1:ZONE1_Discomfortable Applicable Hot Hours (h) | BLOCK1:ZONE3_Discomfortable Applicable Hot Hours (h) | BLOCK1:ZONE5_Discomfortable Applicable Hot Hours (h) | BLOCK1:ZONE2_Discomfortable Applicable Hot Hours (h) | BLOCK1:ZONE4_Discomfortable Applicable Hot Hours (h) | BLOCK1:ZONE1_Discomfortable Applicable Cold Hours (h) | BLOCK1:ZONE3_Discomfortable Applicable Cold Hours (h) | BLOCK1:ZONE5_Discomfortable Applicable Cold Hours (h) | BLOCK1:ZONE2_Discomfortable Applicable Cold Hours (h) | BLOCK1:ZONE4_Discomfortable Applicable Cold Hours (h) | BLOCK1:ZONE1_Discomfortable Non Applicable Hot Hours (h) | BLOCK1:ZONE3_Discomfortable Non Applicable Hot Hours (h) | BLOCK1:ZONE5_Discomfortable Non Applicable Hot Hours (h) | BLOCK1:ZONE2_Discomfortable Non Applicable Hot Hours (h) | BLOCK1:ZONE4_Discomfortable Non Applicable Hot Hours (h) | BLOCK1:ZONE1_Discomfortable Non Applicable Cold Hours (h) | BLOCK1:ZONE3_Discomfortable Non Applicable Cold Hours (h) | BLOCK1:ZONE5_Discomfortable Non Applicable Cold Hours (h) | BLOCK1:ZONE2_Discomfortable Non Applicable Cold Hours (h) | BLOCK1:ZONE4_Discomfortable Non Applicable Cold Hours (h) | BLOCK1:ZONE1_Zone Floor Area (m2) | BLOCK1:ZONE3_Zone Floor Area (m2) | BLOCK1:ZONE5_Zone Floor Area (m2) | BLOCK1:ZONE2_Zone Floor Area (m2) | BLOCK1:ZONE4_Zone Floor Area (m2) | BLOCK1:ZONE1_Zone Air Volume (m3) | BLOCK1:ZONE3_Zone Air Volume (m3) | BLOCK1:ZONE5_Zone Air Volume (m3) | BLOCK1:ZONE2_Zone Air Volume (m3) | BLOCK1:ZONE4_Zone Air Volume (m3) | BLOCK1:ZONE1_Ventilation Hours (h) | BLOCK1:ZONE3_Ventilation Hours (h) | BLOCK1:ZONE5_Ventilation Hours (h) | BLOCK1:ZONE2_Ventilation Hours (h) | BLOCK1:ZONE4_Ventilation Hours (h) | BLOCK1:ZONE1_AFN Zone Infiltration Volume (m3) | BLOCK1:ZONE1_AFN Zone Infiltration Air Change Rate (ach) | BLOCK1:ZONE3_AFN Zone Infiltration Volume (m3) | BLOCK1:ZONE3_AFN Zone Infiltration Air Change Rate (ach) | BLOCK1:ZONE5_AFN Zone Infiltration Volume (m3) | BLOCK1:ZONE5_AFN Zone Infiltration Air Change Rate (ach) | BLOCK1:ZONE2_AFN Zone Infiltration Volume (m3) | BLOCK1:ZONE2_AFN Zone Infiltration Air Change Rate (ach) | BLOCK1:ZONE4_AFN Zone Infiltration Volume (m3) | BLOCK1:ZONE4_AFN Zone Infiltration Air Change Rate (ach) | Whole Building Facility Total HVAC Electricity Demand Rate (kWh/m2) | BLOCK1:ZONE1_FORSCRIPT_AHST | BLOCK1:ZONE1_FORSCRIPT_ACST | BLOCK1:ZONE3_FORSCRIPT_AHST | BLOCK1:ZONE3_FORSCRIPT_ACST | BLOCK1:ZONE5_FORSCRIPT_AHST | BLOCK1:ZONE5_FORSCRIPT_ACST | BLOCK1:ZONE2_FORSCRIPT_AHST | BLOCK1:ZONE2_FORSCRIPT_ACST | BLOCK1:ZONE4_FORSCRIPT_AHST | BLOCK1:ZONE4_FORSCRIPT_ACST | BLOCK1:ZONE1_Cooling Energy Demand (kWh/m2) | BLOCK1:ZONE3_Cooling Energy Demand (kWh/m2) | BLOCK1:ZONE5_Cooling Energy Demand (kWh/m2) | BLOCK1:ZONE2_Cooling Energy Demand (kWh/m2) | BLOCK1:ZONE4_Cooling Energy Demand (kWh/m2) | BLOCK1:ZONE1_Heating Energy Demand (kWh/m2) | BLOCK1:ZONE3_Heating Energy Demand (kWh/m2) | BLOCK1:ZONE5_Heating Energy Demand (kWh/m2) | BLOCK1:ZONE2_Heating Energy Demand (kWh/m2) | BLOCK1:ZONE4_Heating Energy Demand (kWh/m2) | BLOCK1:ZONE1_Cooling Energy Consumption (kWh/m2) | BLOCK1:ZONE1_Heating Energy Consumption (kWh/m2) | BLOCK1:ZONE3_Cooling Energy Consumption (kWh/m2) | BLOCK1:ZONE3_Heating Energy Consumption (kWh/m2) | BLOCK1:ZONE5_Cooling Energy Consumption (kWh/m2) | BLOCK1:ZONE5_Heating Energy Consumption (kWh/m2) | BLOCK1:ZONE2_Cooling Energy Consumption (kWh/m2) | BLOCK1:ZONE2_Heating Energy Consumption (kWh/m2) | BLOCK1:ZONE4_Cooling Energy Consumption (kWh/m2) | BLOCK1:ZONE4_Heating Energy Consumption (kWh/m2) | BLOCK1:ZONE1_Total Energy Demand (kWh/m2) [summed] | BLOCK1:ZONE3_Total Energy Demand (kWh/m2) [summed] | BLOCK1:ZONE5_Total Energy Demand (kWh/m2) [summed] | BLOCK1:ZONE2_Total Energy Demand (kWh/m2) [summed] | BLOCK1:ZONE4_Total Energy Demand (kWh/m2) [summed] | BLOCK1:ZONE1_Total Energy Consumption (kWh/m2) [summed] | BLOCK1:ZONE3_Total Energy Consumption (kWh/m2) [summed] | BLOCK1:ZONE5_Total Energy Consumption (kWh/m2) [summed] | BLOCK1:ZONE2_Total Energy Consumption (kWh/m2) [summed] | BLOCK1:ZONE4_Total Energy Consumption (kWh/m2) [summed] | Building_Total_Zone Operative Temperature (°C) [summed] | Building_Total_Zone Operative Temperature (°C) [mean] | Building_Total_Comfortable Hours_No Applicability (h) [summed] | Building_Total_Comfortable Hours_No Applicability (h) [mean] | Building_Total_Comfortable Hours_Applicability (h) [summed] | Building_Total_Comfortable Hours_Applicability (h) [mean] | Building_Total_Discomfortable Applicable Hot Hours (h) [summed] | Building_Total_Discomfortable Applicable Hot Hours (h) [mean] | Building_Total_Discomfortable Applicable Cold Hours (h) [summed] | Building_Total_Discomfortable Applicable Cold Hours (h) [mean] | Building_Total_Discomfortable Non Applicable Hot Hours (h) [summed] | Building_Total_Discomfortable Non Applicable Hot Hours (h) [mean] | Building_Total_Discomfortable Non Applicable Cold Hours (h) [summed] | Building_Total_Discomfortable Non Applicable Cold Hours (h) [mean] | Building_Total_Ventilation Hours (h) [summed] | Building_Total_Ventilation Hours (h) [mean] | Building_Total_AFN Zone Infiltration Volume (m3) [summed] | Building_Total_AFN Zone Infiltration Volume (m3) [mean] | Building_Total_AFN Zone Infiltration Air Change Rate (ach) [summed] | Building_Total_AFN Zone Infiltration Air Change Rate (ach) [mean] | Building_Total_Cooling Energy Demand (kWh/m2) [summed] | Building_Total_Cooling Energy Demand (kWh/m2) [mean] | Building_Total_Heating Energy Demand (kWh/m2) [summed] | Building_Total_Heating Energy Demand (kWh/m2) [mean] | Building_Total_Cooling Energy Consumption (kWh/m2) [summed] | Building_Total_Cooling Energy Consumption (kWh/m2) [mean] | Building_Total_Heating Energy Consumption (kWh/m2) [summed] | Building_Total_Heating Energy Consumption (kWh/m2) [mean] | Building_Total_Total Energy Demand (kWh/m2) [summed] | Building_Total_Total Energy Demand (kWh/m2) [mean] | Building_Total_Total Energy Consumption (kWh/m2) [summed] | Building_Total_Total Energy Consumption (kWh/m2) [mean] | Building_Total_Zone Air Volume (m3) [summed] | Building_Total_Zone Floor Area (m2) [summed] | Building_Total_PMV [summed] | Building_Total_PMV [mean] | Building_Total_PPD (%) [summed] | Building_Total_PPD (%) [mean]
0 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_Present | Japan | Asahikawa | Present | Present | Present | 01 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present | 01/01 | 01 | 01 | 01 | 00 | 00 | 744 | -7.6993 | 83.2571 | 2.3979 | 16.0603 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.1308 | 20.1164 | 20.1217 | 20.5325 | 20.1154 | -5.6171 | -7.0072 | -5.6171 | -7.0072 | -5.6171 | -7.0072 | -5.6171 | -7.0072 | -5.6171 | -7.0072 | 720.5 | 602 | 373.5 | 588.5 | 719.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 744 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 3010.5888 | 73.3499 | 2482.3138 | 285.4809 | 2872.5454 | 73.5114 | 1748.6549 | 52.7135 | 591.9886 | 174.6897 | 375.0755 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 0 | 0 | 0 | 0 | 0 | 25.442 | 183.8983 | 819.5329 | 13.6532 | 102.6642 | 0 | 26.7446 | 0 | 197.378 | 0 | 837.1121 | 0 | 14.4698 | 0 | 106.5222 | 25.442 | 183.8983 | 819.5329 | 13.6532 | 102.6642 | 26.7446 | 197.378 | 837.1121 | 14.4698 | 106.5222 | 101.0168 | 20.2034 | 3004 | 600.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3720 | 744 | 0 | 0 | 10706.0914 | 2141.2183 | 659.7455 | 131.9491 | 0 | 0 | 282.8923 | 56.5785 | 0 | 0 | 290.0528 | 58.0106 | 282.8923 | 28.2892 | 290.0528 | 29.0053 | 125.3772 | 48.2221 | 0 |  | 0
1 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_Present | Japan | Asahikawa | Present | Present | Present | 02 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present | 02/01 | 02 | 01 | 01 | 00 | 00 | 672 | -6.7416 | 79.7898 | 2.6924 | 15.2263 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.2054 | 20.2029 | 20.2133 | 20.6244 | 20.2037 | -8.3018 | -7.835 | -8.3018 | -7.835 | -8.3018 | -7.835 | -8.3018 | -7.835 | -8.3018 | -7.835 | 632.5 | 497.5 | 330 | 501.5 | 642.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 672 | 672 | 672 | 672 | 672 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 2397.1806 | 58.4049 | 2046.4253 | 235.3511 | 2410.5976 | 61.6897 | 1507.4827 | 45.4433 | 519.4923 | 153.2968 | 323.7244 | 13574.4 | 17640 | 13574.4 | 17640 | 13574.4 | 17640 | 13574.4 | 17640 | 13574.4 | 17640 | 0 | 0 | 0 | 0 | 0 | 20.4249 | 156.2966 | 704.4678 | 10.2997 | 86.9591 | 0 | 21.4118 | 0 | 166.4162 | 0 | 715.4399 | 0 | 11.2824 | 0 | 89.4984 | 20.4249 | 156.2966 | 704.4678 | 10.2997 | 86.9591 | 21.4118 | 166.4162 | 715.4399 | 11.2824 | 89.4984 | 101.4498 | 20.29 | 2604 | 520.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3360 | 672 | 0 | 0 | 8881.1785 | 1776.2357 | 554.1858 | 110.8372 | 0 | 0 | 242.1618 | 48.4324 | 0 | 0 | 246.9349 | 49.387 | 242.1618 | 24.2162 | 246.9349 | 24.6935 | 125.3772 | 48.2221 | 0 |  | 0
2 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_Present | Japan | Asahikawa | Present | Present | Present | 03 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present | 03/01 | 03 | 01 | 01 | 00 | 00 | 744 | -1.3218 | 72.8071 | 3.0924 | 16.4152 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.2552 | 20.207 | 20.2453 | 20.5817 | 20.211 | -4.4633 | -2.1697 | -4.4633 | -2.1697 | -4.4633 | -2.1697 | -4.4633 | -2.1697 | -4.4633 | -2.1697 | 661 | 484.5 | 398.5 | 624.5 | 668 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 744 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 2058.8573 | 50.162 | 1807.9957 | 207.9303 | 2182.4293 | 55.8506 | 1398.6968 | 42.164 | 483.7511 | 142.75 | 242.2715 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 0 | 0 | 0 | 0 | 0 | 10.4977 | 105.2365 | 499.3243 | 7.7399 | 59.5476 | 0 | 10.0535 | 0 | 101.3694 | 0 | 460.4023 | 0 | 7.4327 | 0 | 55.8114 | 10.4977 | 105.2365 | 499.3243 | 7.7399 | 59.5476 | 10.0535 | 101.3694 | 460.4023 | 7.4327 | 55.8114 | 101.5002 | 20.3 | 2836.5 | 567.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3720 | 744 | 0 | 0 | 7931.7303 | 1586.3461 | 498.8568 | 99.7714 | 0 | 0 | 170.0159 | 34.0032 | 0 | 0 | 157.2893 | 31.4579 | 170.0159 | 17.0016 | 157.2893 | 15.7289 | 125.3772 | 48.2221 | 0 |  | 0
3 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_Present | Japan | Asahikawa | Present | Present | Present | 04 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present | 04/01 | 04 | 01 | 01 | 00 | 00 | 720 | 5.4906 | 66.2264 | 3.1992 | 18.418 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.799 | 20.5286 | 20.5774 | 20.8656 | 20.5184 | 1.9983 | 4.3029 | 1.9983 | 4.3029 | 1.9983 | 4.3029 | 1.9983 | 4.3029 | 1.9983 | 4.3029 | 698 | 543.5 | 537 | 685.5 | 629 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 720 | 720 | 720 | 720 | 720 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 1663.517 | 40.5299 | 1390.4613 | 159.9114 | 1701.9813 | 43.5554 | 1084.7362 | 32.6996 | 348.7799 | 102.9214 | 143.7593 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 0 | 0 | 0.092601 | 0 | 0 | 2.457 | 41.0207 | 214.2301 | 3.4964 | 23.5834 | 0 | 2.1568 | 0 | 35.6778 | 0.076019 | 183.9388 | 0 | 3.0704 | 0 | 20.2957 | 2.457 | 41.0207 | 214.3227 | 3.4964 | 23.5834 | 2.1568 | 35.6778 | 184.0149 | 3.0704 | 20.2957 | 103.289 | 20.6578 | 3093 | 618.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3600 | 720 | 0 | 0 | 6189.4757 | 1237.8951 | 379.6176 | 75.9235 | 0.028861 | 0.0057722 | 71.9805 | 14.3961 | 0.023693 | 0.0047385 | 61.8693 | 12.3739 | 72.0093 | 7.2009 | 61.893 | 6.1893 | 125.3772 | 48.2221 | 0 |  | 0
4 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_Present | Japan | Asahikawa | Present | Present | Present | 05 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present | 05/01 | 05 | 01 | 01 | 00 | 00 | 744 | 12.648 | 65.6761 | 3.1021 | 20.6243 | 28.25 | 23.88 | 28.35 | 23.78 | 24.4455 | 16.88 | 25.314 | 24.8902 | 24.8229 | 25.2526 | 24.7852 | 9.1155 | 11.8815 | 9.1155 | 11.8815 | 9.1155 | 11.8815 | 9.1155 | 11.8815 | 9.1155 | 11.8815 | 734.5 | 654.5 | 657.5 | 732 | 699 | 263.5 | 263.5 | 263.5 | 263.5 | 263.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 480.5 | 480.5 | 480.5 | 480.5 | 480.5 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 116 | 110.5 | 111.5 | 115.5 | 107.5 | 1286.717 | 31.3495 | 1111.7577 | 127.8588 | 1479.4978 | 37.8619 | 1029.2328 | 31.0264 | 301.9524 | 89.1031 | 108.1874 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 0.032798 | 0.10683 | 4.6692 | 0.0050084 | 0 | 0.94487 | 15.5958 | 99.1175 | 1.6974 | 11.7196 | 0.024559 | 0.69487 | 0.082913 | 10.1406 | 4.0364 | 68.046 | 0.0038848 | 1.2382 | 0 | 7.8315 | 0.97767 | 15.7027 | 103.7867 | 1.7025 | 11.7196 | 0.71943 | 10.2235 | 72.0823 | 1.2421 | 7.8315 | 125.0649 | 25.013 | 3477.5 | 695.5 | 1317.5 | 263.5 | 0 | 0 | 0 | 0 | 0 | 0 | 2402.5 | 480.5 | 561 | 112.2 | 5209.1576 | 1041.8315 | 317.1996 | 63.4399 | 1.4747 | 0.29494 | 33.0486 | 6.6097 | 1.2728 | 0.25457 | 22.6778 | 4.5356 | 34.5233 | 3.4523 | 23.9506 | 2.3951 | 125.3772 | 48.2221 | 0 |  | 0
5 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_Present | Japan | Asahikawa | Present | Present | Present | 06 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present | 06/01 | 06 | 01 | 01 | 00 | 00 | 720 | 16.9152 | 73.2135 | 2.5963 | 22.4571 | 28.25 | 23.88 | 28.35 | 23.78 | 22.4571 | 16.88 | 26.9674 | 26.5972 | 26.3479 | 26.8686 | 26.3641 | 15.0257 | 16.2659 | 15.0257 | 16.2659 | 15.0257 | 16.2659 | 15.0257 | 16.2659 | 15.0257 | 16.2659 | 688.5 | 673 | 704 | 689 | 711 | 688.5 | 676 | 712.5 | 689 | 711 | 31.5 | 44 | 7.5 | 31 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 329.5 | 331.5 | 327.5 | 331 | 324.5 | 1060.4535 | 25.8369 | 900.1129 | 103.5184 | 1100.122 | 28.1532 | 729.5105 | 21.9912 | 239.7279 | 70.7412 | 92.9793 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 2.5683 | 6.5727 | 28.9501 | 2.5295 | 1.9559 | 0 | 0.91761 | 11.6269 | 0 | 0.83287 | 2.0641 | 0 | 5.3818 | 0.53396 | 24.4359 | 7.0886 | 2.1127 | 0 | 1.5854 | 0.49507 | 2.5683 | 7.4903 | 40.577 | 2.5295 | 2.7888 | 2.0641 | 5.9158 | 31.5244 | 2.1127 | 2.0805 | 133.1452 | 26.629 | 3465.5 | 693.1 | 3477 | 695.4 | 123 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1644 | 328.8 | 4029.9267 | 805.9853 | 250.2409 | 50.0482 | 11.0416 | 2.2083 | 3.7099 | 0.74198 | 9.2667 | 1.8533 | 2.2597 | 0.45194 | 14.7515 | 1.4751 | 11.5263 | 1.1526 | 125.3772 | 48.2221 | 0 |  | 0
6 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_Present | Japan | Asahikawa | Present | Present | Present | 07 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present | 07/01 | 07 | 01 | 01 | 00 | 00 | 744 | 20.9881 | 75.373 | 2.4938 | 23.5617 | 28.25 | 23.88 | 28.35 | 23.78 | 23.5617 | 16.88 | 28.1247 | 27.9903 | 27.8776 | 28.086 | 27.8937 | 18.589 | 20.2354 | 18.589 | 20.2354 | 18.589 | 20.2354 | 18.589 | 20.2354 | 18.589 | 20.2354 | 613.5 | 564 | 601 | 623 | 649 | 613.5 | 564 | 601 | 623 | 649 | 130.5 | 180 | 143 | 121 | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 584 | 585.5 | 585 | 584 | 584 | 704.7662 | 17.1709 | 651.1546 | 74.8867 | 839.9992 | 21.4964 | 574.9439 | 17.3318 | 196.4594 | 57.9731 | 114.7447 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 10.8103 | 25.6143 | 93.2565 | 11.1899 | 12.479 | 0 | 0 | 0 | 0 | 0 | 8.5021 | 0 | 20.5001 | 0 | 75.9627 | 0 | 9.1152 | 0 | 10.0579 | 0 | 10.8103 | 25.6143 | 93.2565 | 11.1899 | 12.479 | 8.5021 | 20.5001 | 75.9627 | 9.1152 | 10.0579 | 139.9724 | 27.9945 | 3050.5 | 610.1 | 3050.5 | 610.1 | 669.5 | 133.9 | 0 | 0 | 0 | 0 | 0 | 0 | 2922.5 | 584.5 | 2967.3232 | 593.4646 | 188.859 | 37.7718 | 37.6784 | 7.5357 | 0 | 0 | 30.5638 | 6.1128 | 0 | 0 | 37.6784 | 3.7678 | 30.5638 | 3.0564 | 125.3772 | 48.2221 | 0 |  | 0
7 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_Present | Japan | Asahikawa | Present | Present | Present | 08 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present | 08/01 | 08 | 01 | 01 | 00 | 00 | 744 | 21.4077 | 76.7413 | 2.3863 | 24.6559 | 28.25 | 23.88 | 28.35 | 23.78 | 24.6559 | 16.88 | 28.1765 | 28.047 | 27.9997 | 28.1577 | 27.9849 | 22.1162 | 21.6087 | 22.1162 | 21.6087 | 22.1162 | 21.6087 | 22.1162 | 21.6087 | 22.1162 | 21.6087 | 616 | 561 | 577.5 | 628.5 | 644 | 616 | 561 | 577.5 | 628.5 | 644 | 128 | 183 | 166.5 | 115.5 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 594 | 597 | 598.5 | 596.5 | 592 | 928.5552 | 22.6233 | 764.4156 | 87.9124 | 978.0355 | 25.0289 | 649.3023 | 19.5733 | 189.8273 | 56.0161 | 116.0062 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 10.0314 | 22.9462 | 98.6579 | 12.2252 | 12.3975 | 0 | 0 | 0 | 0 | 0 | 7.865 | 0 | 18.4011 | 0 | 80.4587 | 0 | 9.9345 | 0 | 9.9787 | 0 | 10.0314 | 22.9462 | 98.6579 | 12.2252 | 12.3975 | 7.865 | 18.4011 | 80.4587 | 9.9345 | 9.9787 | 140.3657 | 28.0731 | 3027 | 605.4 | 3027 | 605.4 | 693 | 138.6 | 0 | 0 | 0 | 0 | 0 | 0 | 2978 | 595.6 | 3510.1359 | 702.0272 | 211.154 | 42.2308 | 39.1935 | 7.8387 | 0 | 0 | 31.8255 | 6.3651 | 0 | 0 | 39.1935 | 3.9194 | 31.8255 | 3.1826 | 125.3772 | 48.2221 | 0 |  | 0
8 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_Present | Japan | Asahikawa | Present | Present | Present | 09 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present | 09/01 | 09 | 01 | 01 | 00 | 00 | 720 | 16.2553 | 79.2122 | 2.2916 | 23.6558 | 28.25 | 23.88 | 28.35 | 23.78 | 23.6558 | 16.88 | 26.5666 | 25.9952 | 26.199 | 26.7051 | 26.0328 | 18.8864 | 17.2481 | 18.8864 | 17.2481 | 18.8864 | 17.2481 | 18.8864 | 17.2481 | 18.8864 | 17.2481 | 702.5 | 684.5 | 683 | 691.5 | 707 | 702.5 | 697.5 | 694.5 | 691.5 | 709 | 17.5 | 22.5 | 25.5 | 28.5 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 312 | 312 | 312 | 312 | 311.5 | 1099.7599 | 26.7945 | 935.287 | 107.5636 | 1198.765 | 30.6776 | 820.0725 | 24.7212 | 251.7982 | 74.3031 | 90.5166 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 1.3121 | 2.5339 | 21.5838 | 2.7852 | 1.1604 | 0 | 2.2504 | 13.0245 | 0.00070916 | 1.1122 | 1.0189 | 0 | 2.024 | 1.2186 | 17.5053 | 7.7572 | 2.2356 | 0.00037383 | 0.92888 | 0.60694 | 1.3121 | 4.7843 | 34.6083 | 2.7859 | 2.2727 | 1.0189 | 3.2426 | 25.2625 | 2.236 | 1.5358 | 131.4987 | 26.2997 | 3468.5 | 693.7 | 3495 | 699 | 105 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 1559.5 | 311.9 | 4305.6825 | 861.1365 | 264.06 | 52.812 | 8.1005 | 1.6201 | 4.2457 | 0.84913 | 6.5464 | 1.3093 | 2.5187 | 0.50374 | 12.3462 | 1.2346 | 9.0651 | 0.90651 | 125.3772 | 48.2221 | 0 |  | 0
9 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_Present | Japan | Asahikawa | Present | Present | Present | 10 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present | 10/01 | 10 | 01 | 01 | 00 | 00 | 744 | 9.3892 | 75.9617 | 2.7077 | 21.9679 | 26.25 | 20.2 | 26.35 | 20.1 | 22.1235 | 13.2 | 21.9296 | 21.311 | 21.7873 | 22.3748 | 21.466 | 13.4401 | 10.9106 | 13.4401 | 10.9106 | 13.4401 | 10.9106 | 13.4401 | 10.9106 | 13.4401 | 10.9106 | 739.5 | 663.5 | 642 | 729 | 728.5 | 692.5 | 696.5 | 696 | 688.5 | 696.5 | 4 | 0 | 0.5 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47.5 | 47.5 | 47.5 | 47.5 | 47.5 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 99 | 70 | 138 | 159.5 | 74.5 | 1580.3548 | 38.5037 | 1271.1535 | 146.1903 | 1659.8123 | 42.4763 | 1131.1818 | 34.0997 | 304.2918 | 89.7934 | 104.6004 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 0.088159 | 0 | 1.4593 | 0.54762 | 0 | 0.59873 | 20.5389 | 72.9399 | 0.98268 | 9.8989 | 0.062738 | 0.48704 | 0 | 15.8302 | 1.1348 | 58.1894 | 0.40152 | 0.79746 | 0 | 7.791 | 0.68689 | 20.5389 | 74.3992 | 1.5303 | 9.8989 | 0.54978 | 15.8302 | 59.3242 | 1.199 | 7.791 | 108.8686 | 21.7737 | 3502.5 | 700.5 | 3470 | 694 | 12.5 | 2.5 | 0 | 0 | 0 | 0 | 237.5 | 47.5 | 541 | 108.2 | 5946.7942 | 1189.3588 | 351.0633 | 70.2127 | 0.62856 | 0.12571 | 24.881 | 4.9762 | 0.48046 | 0.096092 | 19.8147 | 3.9629 | 25.5096 | 2.551 | 20.2951 | 2.0295 | 125.3772 | 48.2221 | 0 |  | 0
10 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_Present | Japan | Asahikawa | Present | Present | Present | 11 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present | 11/01 | 11 | 01 | 01 | 00 | 00 | 720 | 2.1094 | 80.4 | 2.9974 | 19.5724 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.2786 | 20.208 | 20.2883 | 20.6103 | 20.2262 | 5.7124 | 3.1504 | 5.7124 | 3.1504 | 5.7124 | 3.1504 | 5.7124 | 3.1504 | 5.7124 | 3.1504 | 702.5 | 563 | 375.5 | 669 | 696.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 720 | 720 | 720 | 720 | 720 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 1802.9417 | 43.9268 | 1572.0228 | 180.792 | 1939.4535 | 49.6326 | 1267.1767 | 38.1993 | 412.5924 | 121.7518 | 183.4203 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 0 | 0 | 0 | 0 | 0 | 8.4994 | 90.5008 | 333.8808 | 6.9674 | 49.0005 | 0 | 7.5265 | 0 | 79.2821 | 0 | 290.6102 | 0 | 6.1805 | 0 | 42.5082 | 8.4994 | 90.5008 | 333.8808 | 6.9674 | 49.0005 | 7.5265 | 79.2821 | 290.6102 | 6.1805 | 42.5082 | 101.6114 | 20.3223 | 3006.5 | 601.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3600 | 720 | 0 | 0 | 6994.1871 | 1398.8374 | 434.3025 | 86.8605 | 0 | 0 | 116.2868 | 23.2574 | 0 | 0 | 101.3205 | 20.2641 | 116.2868 | 11.6287 | 101.3205 | 10.1321 | 125.3772 | 48.2221 | 0 |  | 0
11 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_Present | Japan | Asahikawa | Present | Present | Present | 12 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present | 12/01 | 12 | 01 | 01 | 00 | 00 | 744 | -4.5547 | 82.2151 | 2.8959 | 17.2628 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.2029 | 20.199 | 20.2205 | 20.6008 | 20.2014 | -1.7376 | -3.6682 | -1.7376 | -3.6682 | -1.7376 | -3.6682 | -1.7376 | -3.6682 | -1.7376 | -3.6682 | 739 | 631 | 377 | 640.5 | 737 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 744 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 2703.2032 | 65.8608 | 2238.4242 | 257.4322 | 2648.4736 | 67.7772 | 1646.4973 | 49.634 | 535.6655 | 158.0694 | 308.5587 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 0 | 0 | 0 | 0 | 0 | 20.3895 | 159.5903 | 667.1868 | 12.7552 | 87.3784 | 0 | 20.0491 | 0 | 160.1818 | 0 | 642.3005 | 0 | 12.5975 | 0 | 84.979 | 20.3895 | 159.5903 | 667.1868 | 12.7552 | 87.3784 | 20.0491 | 160.1818 | 642.3005 | 12.5975 | 84.979 | 101.4247 | 20.2849 | 3124.5 | 624.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3720 | 744 | 0 | 0 | 9772.2638 | 1954.4528 | 598.7735 | 119.7547 | 0 | 0 | 231.4203 | 46.2841 | 0 | 0 | 223.487 | 44.6974 | 231.4203 | 23.142 | 223.487 | 22.3487 | 125.3772 | 48.2221 | 0 |  | 0
12 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_RCP26-2050 | Japan | Asahikawa | RCP26-2050 | RCP26 | 2050 | 06 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050 |  | 06 |  |  |  |  | 1 | -5.85 | 97 | 2.825 | 16.9946 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.1124 | 20.0399 | 19.6934 | 20.0538 | 20.1184 | -2.598 | -5.3112 | -2.598 | -5.3112 | -2.598 | -5.3112 | -2.598 | -5.3112 | -2.598 | -5.3112 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 2.6355 | 0.064211 | 2.5235 | 0.29021 | 3.7615 | 0.096262 | 2.8424 | 0.085686 | 0.75897 | 0.22396 | 0.45601 | 20.2 | 26.25 | 20.2 | 26.25 | 20.2 | 26.25 | 20.2 | 26.25 | 20.2 | 26.25 | 0 | 0 | 0 | 0 | 0 | 0.034135 | 0.23158 | 1.0513 | 0.03233 | 0.13424 | 0 | 0.032429 | 0 | 0.22743 | 0 | 0.97431 | 0 | 0.030497 | 0 | 0.12736 | 0.034135 | 0.23158 | 1.0513 | 0.03233 | 0.13424 | 0.032429 | 0.22743 | 0.97431 | 0.030497 | 0.12736 | 100.0179 | 20.0036 | 2 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1 | 0 | 0 | 12.5219 | 2.5044 | 0.76034 | 0.15207 | 0 | 0 | 0.36707 | 0.073414 | 0 | 0 | 0.34156 | 0.068312 | 0.36707 | 0.036707 | 0.34156 | 0.034156 | 125.3772 | 48.2221 | 0 |  | 0
13 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_RCP26-2050 | Japan | Asahikawa | RCP26-2050 | RCP26 | 2050 | 01 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050 | 01/01 | 01 | 01 | 01 | 00 | 00 | 744 | -5.9188 | 83.7221 | 2.3921 | 16.2724 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.2026 | 20.2019 | 20.2398 | 20.6306 | 20.2032 | -4.9318 | -5.944 | -4.9318 | -5.944 | -4.9318 | -5.944 | -4.9318 | -5.944 | -4.9318 | -5.944 | 725 | 581 | 366.5 | 612.5 | 726 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 744 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 2907.0735 | 70.8279 | 2385.066 | 274.2968 | 2747.9355 | 70.3225 | 1663.3147 | 50.1409 | 562.7141 | 166.0511 | 338.849 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 0 | 0 | 0 | 0 | 0 | 22.1236 | 168.9448 | 736.5105 | 12.702 | 93.2569 | 0 | 22.6229 | 0 | 175.6546 | 0 | 732.1067 | 0 | 13.2669 | 0 | 93.8569 | 22.1236 | 168.9448 | 736.5105 | 12.702 | 93.2569 | 22.6229 | 175.6546 | 732.1067 | 13.2669 | 93.8569 | 101.4781 | 20.2956 | 3011 | 602.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3720 | 744 | 0 | 0 | 10266.1038 | 2053.2208 | 631.6393 | 126.3279 | 0 | 0 | 254.3876 | 50.8775 | 0 | 0 | 253.8095 | 50.7619 | 254.3876 | 25.4388 | 253.8095 | 25.381 | 125.3772 | 48.2221 | 0 |  | 0
14 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_RCP26-2050 | Japan | Asahikawa | RCP26-2050 | RCP26 | 2050 | 02 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050 | 02/01 | 02 | 01 | 01 | 00 | 00 | 672 | -4.6319 | 79.4699 | 2.7 | 16.0467 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.2094 | 20.1968 | 20.2292 | 20.6214 | 20.2009 | -5.6543 | -4.149 | -5.6543 | -4.149 | -5.6543 | -4.149 | -5.6543 | -4.149 | -5.6543 | -4.149 | 627.5 | 482 | 353.5 | 555 | 621 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 672 | 672 | 672 | 672 | 672 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 2309.5079 | 56.2688 | 1949.4424 | 224.1975 | 2283.5606 | 58.4387 | 1415.8055 | 42.6797 | 485.491 | 143.2634 | 279.5213 | 13574.4 | 17640 | 13574.4 | 17640 | 13574.4 | 17640 | 13574.4 | 17640 | 13574.4 | 17640 | 0 | 0 | 0 | 0 | 0 | 16.4745 | 134.0862 | 603.2744 | 8.9724 | 75.7613 | 0 | 16.5439 | 0 | 136.1777 | 0 | 588.4911 | 0 | 9.2019 | 0 | 74.857 | 16.4745 | 134.0862 | 603.2744 | 8.9724 | 75.7613 | 16.5439 | 136.1777 | 588.4911 | 9.2019 | 74.857 | 101.4577 | 20.2915 | 2639 | 527.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3360 | 672 | 0 | 0 | 8443.8074 | 1688.7615 | 524.8481 | 104.9696 | 0 | 0 | 207.1356 | 41.4271 | 0 | 0 | 202.7321 | 40.5464 | 207.1356 | 20.7136 | 202.7321 | 20.2732 | 125.3772 | 48.2221 | 0 |  | 0
15 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_RCP26-2050 | Japan | Asahikawa | RCP26-2050 | RCP26 | 2050 | 03 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050 | 03/01 | 03 | 01 | 01 | 00 | 00 | 744 | 0.40212 | 72.7231 | 3.101 | 17.2212 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.2882 | 20.2181 | 20.2698 | 20.6223 | 20.2191 | -1.8643 | -1.0921 | -1.8643 | -1.0921 | -1.8643 | -1.0921 | -1.8643 | -1.0921 | -1.8643 | -1.0921 | 681 | 487 | 439.5 | 657.5 | 632.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 744 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 1958.5905 | 47.7191 | 1708.5747 | 196.4963 | 2052.9998 | 52.5384 | 1310.2112 | 39.4966 | 451.4353 | 133.2139 | 213.0611 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 0 | 0 | 0 | 0 | 0 | 8.2397 | 91.8602 | 416.6474 | 6.7052 | 52.7165 | 0 | 7.6358 | 0 | 85.2236 | 0 | 374.7983 | 0 | 6.2437 | 0 | 47.7986 | 8.2397 | 91.8602 | 416.6474 | 6.7052 | 52.7165 | 7.6358 | 85.2236 | 374.7983 | 6.2437 | 47.7986 | 101.6175 | 20.3235 | 2897.5 | 579.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3720 | 744 | 0 | 0 | 7481.8115 | 1496.3623 | 469.4642 | 93.8928 | 0 | 0 | 142.1228 | 28.4246 | 0 | 0 | 128.1668 | 25.6334 | 142.1228 | 14.2123 | 128.1668 | 12.8167 | 125.3772 | 48.2221 | 0 |  | 0
16 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_RCP26-2050 | Japan | Asahikawa | RCP26-2050 | RCP26 | 2050 | 04 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050 | 04/01 | 04 | 01 | 01 | 00 | 00 | 720 | 7.1442 | 66.2431 | 3.2001 | 18.8362 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 21.162 | 20.8021 | 20.8679 | 21.2213 | 20.7972 | 3.3475 | 6.6135 | 3.3475 | 6.6135 | 3.3475 | 6.6135 | 3.3475 | 6.6135 | 3.3475 | 6.6135 | 708 | 574 | 580.5 | 702 | 656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 720 | 720 | 720 | 720 | 720 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 43 | 29 | 34.5 | 45 | 28 | 1587.6358 | 38.6811 | 1309.9281 | 150.6496 | 1604.6993 | 41.0659 | 1027.0328 | 30.9601 | 324.0876 | 95.6349 | 124.9026 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 0 | 0 | 0.36257 | 0 | 0 | 1.4906 | 31.3414 | 152.8506 | 1.6973 | 17.8281 | 0 | 1.2871 | 0 | 26.482 | 0.30135 | 128.5013 | 0 | 1.452 | 0 | 14.9491 | 1.4906 | 31.3414 | 153.2132 | 1.6973 | 17.8281 | 1.2871 | 26.482 | 128.8026 | 1.452 | 14.9491 | 104.8506 | 20.9701 | 3220.5 | 644.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3600 | 720 | 179.5 | 35.9 | 5853.3837 | 1170.6767 | 356.9916 | 71.3983 | 0.113 | 0.022601 | 51.2312 | 10.2462 | 0.093923 | 0.018785 | 43.096 | 8.6192 | 51.3442 | 5.1344 | 43.1899 | 4.319 | 125.3772 | 48.2221 | 0 |  | 0
17 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_RCP26-2050 | Japan | Asahikawa | RCP26-2050 | RCP26 | 2050 | 05 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050 | 05/01 | 05 | 01 | 01 | 00 | 00 | 744 | 14.178 | 65.915 | 3.0941 | 21.231 | 28.25 | 23.88 | 28.35 | 23.78 | 22.6842 | 16.88 | 25.7106 | 25.2733 | 25.2455 | 25.6668 | 25.1908 | 11.0724 | 12.6263 | 11.0724 | 12.6263 | 11.0724 | 12.6263 | 11.0724 | 12.6263 | 11.0724 | 12.6263 | 734 | 685.5 | 683.5 | 732 | 721.5 | 543.5 | 542.5 | 551.5 | 546.5 | 551.5 | 8 | 9 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 192.5 | 192.5 | 192.5 | 192.5 | 192.5 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 234.5 | 205.5 | 227 | 229.5 | 210 | 1232.5577 | 30.03 | 1039.8437 | 119.5882 | 1374.7298 | 35.1807 | 944.8429 | 28.4825 | 272.5426 | 80.4245 | 100.1288 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 0.29962 | 0.66264 | 7.3303 | 0.32909 | 0.3107 | 0.82025 | 10.4031 | 63.4725 | 1.3091 | 7.6139 | 0.24133 | 0.46836 | 0.5348 | 6.2161 | 6.1212 | 41.4558 | 0.27211 | 0.76725 | 0.24507 | 4.5721 | 1.1199 | 11.0657 | 70.8029 | 1.6382 | 7.9246 | 0.70969 | 6.7509 | 47.5771 | 1.0394 | 4.8171 | 127.0871 | 25.4174 | 3556.5 | 711.3 | 2735.5 | 547.1 | 22 | 4.4 | 0 | 0 | 0 | 0 | 962.5 | 192.5 | 1106.5 | 221.3 | 4864.5169 | 972.9034 | 293.706 | 58.7412 | 2.5241 | 0.50483 | 21.3245 | 4.2649 | 2.1025 | 0.4205 | 13.8315 | 2.7663 | 23.8487 | 2.3849 | 15.934 | 1.5934 | 125.3772 | 48.2221 | 0 |  | 0
18 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_RCP26-2050 | Japan | Asahikawa | RCP26-2050 | RCP26 | 2050 | 06 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050 | 06/01 | 06 | 01 | 01 | 00 | 00 | 720 | 18.3471 | 73.0976 | 2.598 | 22.9053 | 28.25 | 23.88 | 28.35 | 23.78 | 22.9053 | 16.88 | 27.555 | 27.2872 | 27.0262 | 27.4734 | 27.0606 | 16.4717 | 17.8982 | 16.4717 | 17.8982 | 16.4717 | 17.8982 | 16.4717 | 17.8982 | 16.4717 | 17.8982 | 663 | 638.5 | 660.5 | 666.5 | 677.5 | 663 | 638.5 | 660.5 | 666.5 | 677.5 | 57 | 81.5 | 59.5 | 53.5 | 42.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 426 | 427.5 | 426.5 | 426 | 426 | 995.0517 | 24.2434 | 839.5847 | 96.5573 | 1022.0828 | 26.1561 | 672.1175 | 20.2611 | 220.61 | 65.0997 | 98.6106 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 5.1962 | 11.7648 | 49.6388 | 5.1902 | 5.0082 | 0 | 0.12351 | 5.4037 | 0 | 0.12667 | 4.1568 | 0 | 9.6315 | 0.070394 | 41.3146 | 3.167 | 4.3186 | 0 | 4.1374 | 0.071654 | 5.1962 | 11.8883 | 55.0425 | 5.1902 | 5.1349 | 4.1568 | 9.7019 | 44.4816 | 4.3186 | 4.2091 | 136.4025 | 27.2805 | 3306 | 661.2 | 3306 | 661.2 | 294 | 58.8 | 0 | 0 | 0 | 0 | 0 | 0 | 2132 | 426.4 | 3749.4466 | 749.8893 | 232.3177 | 46.4635 | 19.4964 | 3.8993 | 1.6961 | 0.33923 | 16.1597 | 3.2319 | 0.99387 | 0.19877 | 21.1926 | 2.1193 | 17.1535 | 1.7154 | 125.3772 | 48.2221 | 0 |  | 0
19 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_RCP26-2050 | Japan | Asahikawa | RCP26-2050 | RCP26 | 2050 | 07 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050 | 07/01 | 07 | 01 | 01 | 00 | 00 | 744 | 21.8681 | 74.9304 | 2.5035 | 24.0791 | 28.25 | 23.88 | 28.35 | 23.78 | 24.0791 | 16.88 | 28.205 | 28.1269 | 28.0547 | 28.1819 | 28.0535 | 20.2576 | 21.5021 | 20.2576 | 21.5021 | 20.2576 | 21.5021 | 20.2576 | 21.5021 | 20.2576 | 21.5021 | 595 | 519.5 | 554.5 | 592 | 629 | 595 | 519.5 | 554.5 | 592 | 629 | 149 | 224.5 | 189.5 | 152 | 115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 617 | 620.5 | 621.5 | 617.5 | 618 | 677.7149 | 16.5118 | 617.4189 | 71.0069 | 790.225 | 20.2227 | 530.7776 | 16.0004 | 184.2767 | 54.3781 | 120.5686 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 12.6867 | 31.5835 | 111.054 | 13.1732 | 15.8688 | 0 | 0 | 0 | 0 | 0 | 10.0053 | 0 | 25.2981 | 0 | 90.3991 | 0 | 10.7143 | 0 | 12.7726 | 0 | 12.6867 | 31.5835 | 111.054 | 13.1732 | 15.8688 | 10.0053 | 25.2981 | 90.3991 | 10.7143 | 12.7726 | 140.6221 | 28.1244 | 2890 | 578 | 2890 | 578 | 830 | 166 | 0 | 0 | 0 | 0 | 0 | 0 | 3094.5 | 618.9 | 2800.413 | 560.0826 | 178.1199 | 35.624 | 44.8699 | 8.974 | 0 | 0 | 36.3845 | 7.2769 | 0 | 0 | 44.8699 | 4.487 | 36.3845 | 3.6384 | 125.3772 | 48.2221 | 0 |  | 0
20 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_RCP26-2050 | Japan | Asahikawa | RCP26-2050 | RCP26 | 2050 | 08 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050 | 08/01 | 08 | 01 | 01 | 00 | 00 | 744 | 22.3832 | 77.1452 | 2.4032 | 24.3677 | 28.25 | 23.88 | 28.35 | 23.78 | 24.3677 | 16.88 | 28.1974 | 28.1135 | 28.0704 | 28.1841 | 28.0679 | 21.1866 | 22.019 | 21.1866 | 22.019 | 21.1866 | 22.019 | 21.1866 | 22.019 | 21.1866 | 22.019 | 618 | 545 | 563 | 602 | 620.5 | 618 | 545 | 563 | 602 | 620.5 | 126 | 199 | 181 | 142 | 123.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 609 | 613 | 613 | 612.5 | 608.5 | 847.828 | 20.6565 | 676.5129 | 77.803 | 876.9355 | 22.4417 | 580.8232 | 17.509 | 159.992 | 47.212 | 123.527 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 11.9247 | 29.2656 | 122.2912 | 13.8796 | 15.873 | 0 | 0 | 0 | 0 | 0 | 9.5027 | 0 | 23.7414 | 0 | 100.1978 | 0 | 11.3626 | 0 | 12.969 | 0 | 11.9247 | 29.2656 | 122.2912 | 13.8796 | 15.873 | 9.5027 | 23.7414 | 100.1978 | 11.3626 | 12.969 | 140.6333 | 28.1267 | 2948.5 | 589.7 | 2948.5 | 589.7 | 771.5 | 154.3 | 0 | 0 | 0 | 0 | 0 | 0 | 3056 | 611.2 | 3142.0916 | 628.4183 | 185.6222 | 37.1244 | 48.149 | 9.6298 | 0 | 0 | 39.3428 | 7.8686 | 0 | 0 | 48.149 | 4.8149 | 39.3428 | 3.9343 | 125.3772 | 48.2221 | 0 |  | 0
21 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_RCP26-2050 | Japan | Asahikawa | RCP26-2050 | RCP26 | 2050 | 09 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050 | 09/01 | 09 | 01 | 01 | 00 | 00 | 720 | 17.5025 | 77.9656 | 2.308 | 24.3033 | 28.25 | 23.88 | 28.35 | 23.78 | 24.3033 | 16.88 | 27.1306 | 26.6198 | 26.7929 | 27.2644 | 26.6427 | 20.975 | 19.0543 | 20.975 | 19.0543 | 20.975 | 19.0543 | 20.975 | 19.0543 | 20.975 | 19.0543 | 706 | 679.5 | 675 | 681 | 698.5 | 706 | 696.5 | 684.5 | 681 | 703 | 14 | 23.5 | 35.5 | 39 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 358 | 355.5 | 360.5 | 360.5 | 353 | 1071.2207 | 26.0992 | 908.1456 | 104.4422 | 1147.5572 | 29.3672 | 780.8051 | 23.5375 | 241.9701 | 71.4029 | 95.0488 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 1.6028 | 4.0649 | 39.634 | 5.4318 | 1.8149 | 0.010718 | 2.5286 | 8.3653 | 0.049954 | 1.234 | 1.2671 | 0.0061217 | 3.2897 | 1.3708 | 32.5263 | 4.7318 | 4.4459 | 0.029276 | 1.4846 | 0.69129 | 1.6135 | 6.5935 | 47.9993 | 5.4818 | 3.0489 | 1.2732 | 4.6605 | 37.2581 | 4.4752 | 2.1758 | 134.4504 | 26.8901 | 3440 | 688 | 3471 | 694.2 | 129 | 25.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1787.5 | 357.5 | 4149.6987 | 829.9397 | 254.8489 | 50.9698 | 14.6455 | 2.9291 | 2.8326 | 0.56653 | 11.9968 | 2.3994 | 1.5983 | 0.31965 | 17.4781 | 1.7478 | 13.5951 | 1.3595 | 125.3772 | 48.2221 | 0 |  | 0
22 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_RCP26-2050 | Japan | Asahikawa | RCP26-2050 | RCP26 | 2050 | 10 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050 | 10/01 | 10 | 01 | 01 | 00 | 00 | 744 | 10.908 | 75.4879 | 2.6922 | 22.1559 | 26.25 | 20.2 | 26.35 | 20.1 | 22.1559 | 13.2 | 22.3775 | 21.6799 | 22.1983 | 22.8039 | 21.8336 | 14.0468 | 11.6781 | 14.0468 | 11.6781 | 14.0468 | 11.6781 | 14.0468 | 11.6781 | 14.0468 | 11.6781 | 742 | 695.5 | 702 | 736 | 742 | 744 | 744 | 743.5 | 737 | 744 | 0 | 0 | 0.5 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 164.5 | 147.5 | 176 | 187.5 | 153 | 1501.2108 | 36.5755 | 1186.138 | 136.413 | 1547.94 | 39.6134 | 1052.1425 | 31.717 | 278.1949 | 82.0925 | 95.1508 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 0 | 0 | 5.4248 | 0.87333 | 0 | 0.10479 | 10.9802 | 35.2804 | 0.082511 | 4.6243 | 0 | 0.080205 | 0 | 8.1763 | 4.3542 | 27.9008 | 0.68716 | 0.065795 | 0 | 3.5135 | 0.10479 | 10.9802 | 40.7052 | 0.95584 | 4.6243 | 0.080205 | 8.1763 | 32.255 | 0.75296 | 3.5135 | 110.8931 | 22.1786 | 3617.5 | 723.5 | 3712.5 | 742.5 | 7.5 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 828.5 | 165.7 | 5565.6262 | 1113.1252 | 326.4113 | 65.2823 | 1.9218 | 0.38436 | 11.9384 | 2.3877 | 1.5389 | 0.30778 | 9.4015 | 1.8803 | 13.8602 | 1.386 | 10.9403 | 1.094 | 125.3772 | 48.2221 | 0 |  | 0
23 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_RCP26-2050 | Japan | Asahikawa | RCP26-2050 | RCP26 | 2050 | 11 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050 | 11/01 | 11 | 01 | 01 | 00 | 00 | 720 | 3.711 | 80.0851 | 2.9937 | 20.1974 | 26.25 | 20.2 | 26.35 | 20.1 | 22.7478 | 13.2 | 20.3494 | 20.2119 | 20.3533 | 20.6975 | 20.2474 | 7.7288 | 5.1273 | 7.7288 | 5.1273 | 7.7288 | 5.1273 | 7.7288 | 5.1273 | 7.7288 | 5.1273 | 705.5 | 562 | 451 | 666 | 682.5 | 168.5 | 168.5 | 168.5 | 168.5 | 168.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 551.5 | 551.5 | 551.5 | 551.5 | 551.5 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 1723.4324 | 41.9897 | 1482.6704 | 170.516 | 1831.8354 | 46.8785 | 1196.8519 | 36.0793 | 383.0327 | 113.029 | 159.8127 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 0 | 0 | 0 | 0 | 0 | 6.0409 | 74.6828 | 262.7161 | 4.2857 | 39.4234 | 0 | 5.237 | 0 | 63.512 | 0 | 223.9782 | 0 | 3.7365 | 0 | 33.3781 | 6.0409 | 74.6828 | 262.7161 | 4.2857 | 39.4234 | 5.237 | 63.512 | 223.9782 | 3.7365 | 33.3781 | 101.8596 | 20.3719 | 3067 | 613.4 | 842.5 | 168.5 | 0 | 0 | 0 | 0 | 0 | 0 | 2757.5 | 551.5 | 0 | 0 | 6617.8229 | 1323.5646 | 408.4925 | 81.6985 | 0 | 0 | 91.2368 | 18.2474 | 0 | 0 | 77.8168 | 15.5634 | 91.2368 | 9.1237 | 77.8168 | 7.7817 | 125.3772 | 48.2221 | 0 |  | 0
24 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_RCP26-2050 | Japan | Asahikawa | RCP26-2050 | RCP26 | 2050 | 12 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050 | 12/01 | 12 | 01 | 01 | 00 | 00 | 743 | -3.2532 | 81.7978 | 2.896 | 17.7908 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.2031 | 20.1985 | 20.2097 | 20.5191 | 20.2017 | -0.034496 | -2.3708 | -0.034496 | -2.3708 | -0.034496 | -2.3708 | -0.034496 | -2.3708 | -0.034496 | -2.3708 | 724 | 592.5 | 358 | 630 | 727 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 743 | 743 | 743 | 743 | 743 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 2615.6456 | 63.7275 | 2157.5797 | 248.1346 | 2551.2531 | 65.2892 | 1578.9952 | 47.5991 | 512.5451 | 151.2468 | 283.1605 | 15008.6 | 19503.75 | 15008.6 | 19503.75 | 15008.6 | 19503.75 | 15008.6 | 19503.75 | 15008.6 | 19503.75 | 0 | 0 | 0 | 0 | 0 | 17.5168 | 142.6289 | 606.6096 | 11.4693 | 75.9546 | 0 | 16.806 | 0 | 139.5255 | 0 | 571.6206 | 0 | 11.0633 | 0 | 72.1072 | 17.5168 | 142.6289 | 606.6096 | 11.4693 | 75.9546 | 16.806 | 139.5255 | 571.6206 | 11.0633 | 72.1072 | 101.3321 | 20.2664 | 3031.5 | 606.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3715 | 743 | 0 | 0 | 9416.0185 | 1883.2037 | 575.9971 | 115.1994 | 0 | 0 | 209.7746 | 41.9549 | 0 | 0 | 198.2103 | 39.6421 | 209.7746 | 20.9775 | 198.2103 | 19.821 | 125.3772 | 48.2221 | 0 |  | 0