## Sheet1
| Model | Adaptive Standard | Category | Comfort mode | HVAC mode | Ventilation control | VSToffset | MinOToffset | MaxWindSpeed | ASTtol | NameSuffix | EPW | EPW_Country_name | EPW_City_or_subcountry | EPW_Scenario-Year | EPW_Scenario | EPW_Year | Date/Time | Source | Month/Day | Month | Day | Hour | Minute | Second | count | Site Outdoor Air Drybulb Temperature (°C) | Site Outdoor Air Relative Humidity (%) | Site Wind Speed (m/s) | Comfort Temperature (°C) | Adaptive Cooling Setpoint Temperature (°C) | Adaptive Heating Setpoint Temperature (°C) | Adaptive Cooling Setpoint Temperature_No Tolerance (°C) | Adaptive Heating Setpoint Temperature_No Tolerance (°C) | Ventilation Setpoint Temperature (°C) | Minimum Outdoor Temperature for ventilation (°C) | BLOCK1:ZONE1_Zone Operative Temperature (°C) | BLOCK1:ZONE3_Zone Operative Temperature (°C) | BLOCK1:ZONE5_Zone Operative Temperature (°C) | BLOCK1:ZONE2_Zone Operative Temperature (°C) | BLOCK1:ZONE4_Zone Operative Temperature (°C) | BLOCK1:ZONE1_ASHRAE 55 Running mean outdoor temperature (°C) | BLOCK1:ZONE1_EN16798-1 Running mean outdoor temperature (°C) | BLOCK1:ZONE3_ASHRAE 55 Running mean outdoor temperature (°C) | BLOCK1:ZONE3_EN16798-1 Running mean outdoor temperature (°C) | BLOCK1:ZONE5_ASHRAE 55 Running mean outdoor temperature (°C) | BLOCK1:ZONE5_EN16798-1 Running mean outdoor temperature (°C) | BLOCK1:ZONE2_ASHRAE 55 Running mean outdoor temperature (°C) | BLOCK1:ZONE2_EN16798-1 Running mean outdoor temperature (°C) | BLOCK1:ZONE4_ASHRAE 55 Running mean outdoor temperature (°C) | BLOCK1:ZONE4_EN16798-1 Running mean outdoor temperature (°C) | BLOCK1:ZONE1_Comfortable Hours_No Applicability (h) | BLOCK1:ZONE3_Comfortable Hours_No Applicability (h) | BLOCK1:ZONE5_Comfortable Hours_No Applicability (h) | BLOCK1:ZONE2_Comfortable Hours_No Applicability (h) | BLOCK1:ZONE4_Comfortable Hours_No Applicability (h) | BLOCK1:ZONE1_Comfortable Hours_Applicability (h) | BLOCK1:ZONE3_Comfortable Hours_Applicability (h) | BLOCK1:ZONE5_Comfortable Hours_Applicability (h) | BLOCK1:ZONE2_Comfortable Hours_Applicability (h) | BLOCK1:ZONE4_Comfortable Hours_Applicability (h) | BLOCK1:ZONE1_Discomfortable Applicable Hot Hours (h) | BLOCK1:ZONE3_Discomfortable Applicable Hot Hours (h) | BLOCK1:ZONE5_Discomfortable Applicable Hot Hours (h) | BLOCK1:ZONE2_Discomfortable Applicable Hot Hours (h) | BLOCK1:ZONE4_Discomfortable Applicable Hot Hours (h) | BLOCK1:ZONE1_Discomfortable Applicable Cold Hours (h) | BLOCK1:ZONE3_Discomfortable Applicable Cold Hours (h) | BLOCK1:ZONE5_Discomfortable Applicable Cold Hours (h) | BLOCK1:ZONE2_Discomfortable Applicable Cold Hours (h) | BLOCK1:ZONE4_Discomfortable Applicable Cold Hours (h) | BLOCK1:ZONE1_Discomfortable Non Applicable Hot Hours (h) | BLOCK1:ZONE3_Discomfortable Non Applicable Hot Hours (h) | BLOCK1:ZONE5_Discomfortable Non Applicable Hot Hours (h) | BLOCK1:ZONE2_Discomfortable Non Applicable Hot Hours (h) | BLOCK1:ZONE4_Discomfortable Non Applicable Hot Hours (h) | BLOCK1:ZONE1_Discomfortable Non Applicable Cold Hours (h) | BLOCK1:ZONE3_Discomfortable Non Applicable Cold Hours (h) | BLOCK1:ZONE5_Discomfortable Non Applicable Cold Hours (h) | BLOCK1:ZONE2_Discomfortable Non Applicable Cold Hours (h) | BLOCK1:ZONE4_Discomfortable Non Applicable Cold Hours (h) | BLOCK1:ZONE1_Zone Floor Area (m2) | BLOCK1:ZONE3_Zone Floor Area (m2) | BLOCK1:ZONE5_Zone Floor Area (m2) | BLOCK1:ZONE2_Zone Floor Area (m2) | BLOCK1:ZONE4_Zone Floor Area (m2) | BLOCK1:ZONE1_Zone Air Volume (m3) | BLOCK1:ZONE3_Zone Air Volume (m3) | BLOCK1:ZONE5_Zone Air Volume (m3) | BLOCK1:ZONE2_Zone Air Volume (m3) | BLOCK1:ZONE4_Zone Air Volume (m3) | BLOCK1:ZONE1_Ventilation Hours (h) | BLOCK1:ZONE3_Ventilation Hours (h) | BLOCK1:ZONE5_Ventilation Hours (h) | BLOCK1:ZONE2_Ventilation Hours (h) | BLOCK1:ZONE4_Ventilation Hours (h) | BLOCK1:ZONE1_AFN Zone Infiltration Volume (m3) | BLOCK1:ZONE1_AFN Zone Infiltration Air Change Rate (ach) | BLOCK1:ZONE3_AFN Zone Infiltration Volume (m3) | BLOCK1:ZONE3_AFN Zone Infiltration Air Change Rate (ach) | BLOCK1:ZONE5_AFN Zone Infiltration Volume (m3) | BLOCK1:ZONE5_AFN Zone Infiltration Air Change Rate (ach) | BLOCK1:ZONE2_AFN Zone Infiltration Volume (m3) | BLOCK1:ZONE2_AFN Zone Infiltration Air Change Rate (ach) | BLOCK1:ZONE4_AFN Zone Infiltration Volume (m3) | BLOCK1:ZONE4_AFN Zone Infiltration Air Change Rate (ach) | Whole Building Facility Total HVAC Electricity Demand Rate (kWh/m2) | BLOCK1:ZONE1_FORSCRIPT_AHST | BLOCK1:ZONE1_FORSCRIPT_ACST | BLOCK1:ZONE3_FORSCRIPT_AHST | BLOCK1:ZONE3_FORSCRIPT_ACST | BLOCK1:ZONE5_FORSCRIPT_AHST | BLOCK1:ZONE5_FORSCRIPT_ACST | BLOCK1:ZONE2_FORSCRIPT_AHST | BLOCK1:ZONE2_FORSCRIPT_ACST | BLOCK1:ZONE4_FORSCRIPT_AHST | BLOCK1:ZONE4_FORSCRIPT_ACST | BLOCK1:ZONE1_Cooling Energy Demand (kWh/m2) | BLOCK1:ZONE3_Cooling Energy Demand (kWh/m2) | BLOCK1:ZONE5_Cooling Energy Demand (kWh/m2) | BLOCK1:ZONE2_Cooling Energy Demand (kWh/m2) | BLOCK1:ZONE4_Cooling Energy Demand (kWh/m2) | BLOCK1:ZONE1_Heating Energy Demand (kWh/m2) | BLOCK1:ZONE3_Heating Energy Demand (kWh/m2) | BLOCK1:ZONE5_Heating Energy Demand (kWh/m2) | BLOCK1:ZONE2_Heating Energy Demand (kWh/m2) | BLOCK1:ZONE4_Heating Energy Demand (kWh/m2) | BLOCK1:ZONE1_Cooling Energy Consumption (kWh/m2) | BLOCK1:ZONE1_Heating Energy Consumption (kWh/m2) | BLOCK1:ZONE3_Cooling Energy Consumption (kWh/m2) | BLOCK1:ZONE3_Heating Energy Consumption (kWh/m2) | BLOCK1:ZONE5_Cooling Energy Consumption (kWh/m2) | BLOCK1:ZONE5_Heating Energy Consumption (kWh/m2) | BLOCK1:ZONE2_Cooling Energy Consumption (kWh/m2) | BLOCK1:ZONE2_Heating Energy Consumption (kWh/m2) | BLOCK1:ZONE4_Cooling Energy Consumption (kWh/m2) | BLOCK1:ZONE4_Heating Energy Consumption (kWh/m2) | BLOCK1:ZONE1_Total Energy Demand (kWh/m2) [summed] | BLOCK1:ZONE3_Total Energy Demand (kWh/m2) [summed] | BLOCK1:ZONE5_Total Energy Demand (kWh/m2) [summed] | BLOCK1:ZONE2_Total Energy Demand (kWh/m2) [summed] | BLOCK1:ZONE4_Total Energy Demand (kWh/m2) [summed] | BLOCK1:ZONE1_Total Energy Consumption (kWh/m2) [summed] | BLOCK1:ZONE3_Total Energy Consumption (kWh/m2) [summed] | BLOCK1:ZONE5_Total Energy Consumption (kWh/m2) [summed] | BLOCK1:ZONE2_Total Energy Consumption (kWh/m2) [summed] | BLOCK1:ZONE4_Total Energy Consumption (kWh/m2) [summed] | Building_Total_Zone Operative Temperature (°C) [summed] | Building_Total_Zone Operative Temperature (°C) [mean] | Building_Total_Comfortable Hours_No Applicability (h) [summed] | Building_Total_Comfortable Hours_No Applicability (h) [mean] | Building_Total_Comfortable Hours_Applicability (h) [summed] | Building_Total_Comfortable Hours_Applicability (h) [mean] | Building_Total_Discomfortable Applicable Hot Hours (h) [summed] | Building_Total_Discomfortable Applicable Hot Hours (h) [mean] | Building_Total_Discomfortable Applicable Cold Hours (h) [summed] | Building_Total_Discomfortable Applicable Cold Hours (h) [mean] | Building_Total_Discomfortable Non Applicable Hot Hours (h) [summed] | Building_Total_Discomfortable Non Applicable Hot Hours (h) [mean] | Building_Total_Discomfortable Non Applicable Cold Hours (h) [summed] | Building_Total_Discomfortable Non Applicable Cold Hours (h) [mean] | Building_Total_Ventilation Hours (h) [summed] | Building_Total_Ventilation Hours (h) [mean] | Building_Total_AFN Zone Infiltration Volume (m3) [summed] | Building_Total_AFN Zone Infiltration Volume (m3) [mean] | Building_Total_AFN Zone Infiltration Air Change Rate (ach) [summed] | Building_Total_AFN Zone Infiltration Air Change Rate (ach) [mean] | Building_Total_Cooling Energy Demand (kWh/m2) [summed] | Building_Total_Cooling Energy Demand (kWh/m2) [mean] | Building_Total_Heating Energy Demand (kWh/m2) [summed] | Building_Total_Heating Energy Demand (kWh/m2) [mean] | Building_Total_Cooling Energy Consumption (kWh/m2) [summed] | Building_Total_Cooling Energy Consumption (kWh/m2) [mean] | Building_Total_Heating Energy Consumption (kWh/m2) [summed] | Building_Total_Heating Energy Consumption (kWh/m2) [mean] | Building_Total_Total Energy Demand (kWh/m2) [summed] | Building_Total_Total Energy Demand (kWh/m2) [mean] | Building_Total_Total Energy Consumption (kWh/m2) [summed] | Building_Total_Total Energy Consumption (kWh/m2) [mean] | Building_Total_Zone Air Volume (m3) [summed] | Building_Total_Zone Floor Area (m2) [summed] | Building_Total_PMV [summed] | Building_Total_PMV [mean] | Building_Total_PPD (%) [summed] | Building_Total_PPD (%) [mean]
0 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_Present | Japan | Asahikawa | Present | Present | Present | 01/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present | 01/01 | 01 | 01 | 01 | 00 | 00 | 8760 | 7.1532 | 75.8867 | 2.7378 | 20.0176 | 27.0884 | 21.7426 | 27.1884 | 21.6426 | 23.3575 | 14.7426 | 23.2664 | 23.0442 | 23.0786 | 23.4579 | 23.0201 | 7.1533 | 7.1648 | 7.1533 | 7.1648 | 7.1533 | 7.1648 | 7.1533 | 7.1648 | 7.1533 | 7.1648 | 8248 | 7122 | 6256.5 | 7802.5 | 8231 | 3576.5 | 3458.5 | 3545 | 3584 | 3673 | 311.5 | 429.5 | 343 | 304 | 215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4872 | 4872 | 4872 | 4872 | 4872 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 2034.5 | 2006.5 | 2072.5 | 2098.5 | 1994 | 20296.8952 | 494.5131 | 17171.5245 | 1974.828 | 21011.7123 | 537.7112 | 13587.4882 | 409.5973 | 4376.3269 | 1291.409 | 2203.8443 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 24.843 | 57.7739 | 248.6693 | 29.2825 | 27.9928 | 89.254 | 775.8459 | 3435.3315 | 57.5927 | 432.6968 | 19.5374 | 89.1242 | 46.39 | 768.0286 | 203.6098 | 3270.8849 | 23.8034 | 57.0694 | 22.5509 | 416.3393 | 114.0971 | 833.6198 | 3684.0008 | 86.8752 | 460.6896 | 108.6616 | 814.4186 | 3474.4947 | 80.8728 | 438.8902 | 115.8672 | 23.1734 | 37660 | 7532 | 17837 | 3567.4 | 1603 | 320.6 | 0 | 0 | 0 | 0 | 24360 | 4872 | 10206 | 2041.2 | 76443.9471 | 15288.7894 | 4708.0587 | 941.6117 | 98.1462 | 19.6292 | 1180.6427 | 236.1285 | 79.9794 | 15.9959 | 1128.2247 | 225.6449 | 1278.7889 | 127.8789 | 1208.2041 | 120.8204 | 125.3772 | 48.2221 | 0 |  | 0
1 | JapaneseApa | AS_ASHRAE55 | CA_80 | CM_0 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.1 | NS_X | Japan_Asahikawa_RCP26-2050 | Japan | Asahikawa | RCP26-2050 | RCP26 | 2050 | 01/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050 | 01/01 | 01 | 01 | 01 | 00 | 00 | 8760 | 8.6272 | 75.7011 | 2.7401 | 20.4745 | 27.0884 | 21.7426 | 27.1884 | 21.6426 | 23.281 | 14.7426 | 23.4863 | 23.2639 | 23.3166 | 23.6766 | 23.2464 | 8.6273 | 8.6451 | 8.6273 | 8.6451 | 8.6273 | 8.6451 | 8.6273 | 8.6451 | 8.6273 | 8.6451 | 8230 | 7042 | 6387.5 | 7832.5 | 8135 | 4038 | 3854.5 | 3926 | 3993.5 | 4094 | 354 | 537.5 | 466 | 398.5 | 298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4368 | 4368 | 4368 | 4368 | 4368 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 2452 | 2398.5 | 2459 | 2478.5 | 2396.5 | 19430.1049 | 473.3947 | 16263.4285 | 1870.3915 | 19835.5156 | 507.6112 | 12756.5626 | 384.5489 | 4077.6509 | 1203.2728 | 2032.7977 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 190464.96 | 237294 | 31.7101 | 77.3414 | 335.7357 | 38.8773 | 38.8756 | 72.8561 | 667.8113 | 2892.1818 | 47.306 | 368.6739 | 25.1732 | 70.7198 | 62.4955 | 642.6364 | 275.2146 | 2697.726 | 31.8007 | 45.8571 | 31.6087 | 345.9227 | 104.5661 | 745.1527 | 3227.9175 | 86.1833 | 407.5495 | 95.8929 | 705.1319 | 2972.9406 | 77.6578 | 377.5314 | 116.9896 | 23.3979 | 37627 | 7525.4 | 19906 | 3981.2 | 2054 | 410.8 | 0 | 0 | 0 | 0 | 21840 | 4368 | 12184.5 | 2436.9 | 72363.2625 | 14472.6525 | 4439.2191 | 887.8438 | 131.7199 | 26.344 | 994.0474 | 198.8095 | 107.619 | 21.5238 | 929.9981 | 185.9996 | 1125.7673 | 112.5767 | 1037.6171 | 103.7617 | 125.3772 | 48.2221 | 0 |  | 0