## Sheet1
| Source | Model | ComfStand | Category | ComfMod | HVACmode | VentCtrl | VSToffset | MinOToffset | MaxWindSpeed | ASTtol | NameSuffix | EPW | Count | EPW_Country_name | EPW_City_or_subcountry | EPW_Scenario-Year | EPW_Scenario | EPW_Year | Date/time | Month/day | Month | Day | Hour | Minute | Second | BLOCK1:ZONE2_Zone Air Volume (m3) | BLOCK1:ZONE1_Zone Air Volume (m3) | BLOCK1:ZONE2_Zone Floor Area (m2) | BLOCK1:ZONE1_Zone Floor Area (m2) | Site Outdoor Air Drybulb Temperature (°C) | Site Outdoor Air Relative Humidity (%) | Site Wind Speed (m/s) | Comfort Temperature (°C) | Adaptive Cooling Setpoint Temperature (°C) | Adaptive Heating Setpoint Temperature (°C) | Adaptive Cooling Setpoint Temperature_No Tolerance (°C) | Adaptive Heating Setpoint Temperature_No Tolerance (°C) | Ventilation Setpoint Temperature (°C) | Minimum Outdoor Temperature for ventilation (°C) | BLOCK1:ZONE2_Zone Operative Temperature (°C) | BLOCK1:ZONE1_Zone Operative Temperature (°C) | BLOCK1:ZONE2_ASHRAE 55 Running mean outdoor temperature (°C) | BLOCK1:ZONE2_EN16798-1 Running mean outdoor temperature (°C) | BLOCK1:ZONE1_ASHRAE 55 Running mean outdoor temperature (°C) | BLOCK1:ZONE1_EN16798-1 Running mean outdoor temperature (°C) | BLOCK1:ZONE2_Comfortable Hours_No Applicability (h) | BLOCK1:ZONE1_Comfortable Hours_No Applicability (h) | BLOCK1:ZONE2_Comfortable Hours_Applicability (h) | BLOCK1:ZONE1_Comfortable Hours_Applicability (h) | BLOCK1:ZONE2_Discomfortable Applicable Hot Hours (h) | BLOCK1:ZONE1_Discomfortable Applicable Hot Hours (h) | BLOCK1:ZONE2_Discomfortable Applicable Cold Hours (h) | BLOCK1:ZONE1_Discomfortable Applicable Cold Hours (h) | BLOCK1:ZONE2_Discomfortable Non Applicable Hot Hours (h) | BLOCK1:ZONE1_Discomfortable Non Applicable Hot Hours (h) | BLOCK1:ZONE2_Discomfortable Non Applicable Cold Hours (h) | BLOCK1:ZONE1_Discomfortable Non Applicable Cold Hours (h) | BLOCK1:ZONE2_Ventilation Hours (h) | BLOCK1:ZONE1_Ventilation Hours (h) | BLOCK1:ZONE2_AFN Zone Infiltration Volume (m3) | BLOCK1:ZONE2_AFN Zone Infiltration Air Change Rate (ach) | BLOCK1:ZONE1_AFN Zone Infiltration Volume (m3) | BLOCK1:ZONE1_AFN Zone Infiltration Air Change Rate (ach) | Whole Building Facility Total HVAC Electricity Demand Rate (kWh/m2) | BLOCK1:ZONE2_Cooling Energy Demand (kWh/m2) | BLOCK1:ZONE1_Cooling Energy Demand (kWh/m2) | BLOCK1:ZONE2_Heating Energy Demand (kWh/m2) | BLOCK1:ZONE1_Heating Energy Demand (kWh/m2) | BLOCK1:ZONE2_Cooling Energy Consumption (kWh/m2) | BLOCK1:ZONE2_Heating Energy Consumption (kWh/m2) | BLOCK1:ZONE1_Cooling Energy Consumption (kWh/m2) | BLOCK1:ZONE1_Heating Energy Consumption (kWh/m2) | BLOCK1:ZONE2_Total Energy Demand (kWh/m2) (summed) | BLOCK1:ZONE1_Total Energy Demand (kWh/m2) (summed) | BLOCK1:ZONE2_Total Energy Consumption (kWh/m2) (summed) | BLOCK1:ZONE1_Total Energy Consumption (kWh/m2) (summed) | Building_Total_Zone Operative Temperature (°C) (summed) | Building_Total_Comfortable Hours_No Applicability (h) (summed) | Building_Total_Comfortable Hours_Applicability (h) (summed) | Building_Total_Discomfortable Applicable Hot Hours (h) (summed) | Building_Total_Discomfortable Applicable Cold Hours (h) (summed) | Building_Total_Discomfortable Non Applicable Hot Hours (h) (summed) | Building_Total_Discomfortable Non Applicable Cold Hours (h) (summed) | Building_Total_Ventilation Hours (h) (summed) | Building_Total_AFN Zone Infiltration Volume (m3) (summed) | Building_Total_AFN Zone Infiltration Air Change Rate (ach) (summed) | Building_Total_AFN Zone Ventilation Volume (m3) (summed) | Building_Total_AFN Zone Ventilation Air Change Rate (ach) (summed) | Building_Total_Cooling Energy Demand (kWh/m2) (summed) | Building_Total_Heating Energy Demand (kWh/m2) (summed) | Building_Total_Cooling Energy Consumption (kWh/m2) (summed) | Building_Total_Heating Energy Consumption (kWh/m2) (summed) | Building_Total_Total Energy Demand (kWh/m2) (summed) | Building_Total_Total Energy Consumption (kWh/m2) (summed) | Building_Total_Zone Air Volume (m3) (summed) | Building_Total_Zone Floor Area (m2) (summed) | Building_Total_PMV (summed) | Building_Total_PPD (%) (summed)
0 | TestModel[CS_INT EN16798[CA_3[CM_0[HM_2[VC_0[VO_0[MT_50[MW_50[AT_0.1[NS_X[United-Kingdom_Aberdeen_Present | TestModel | CS_INT EN16798 | CA_3 | CM_0 | HM_2 | VC_0 | VO_0 | MT_50 | MW_50 | AT_0.1 | NS_X | United-Kingdom_Aberdeen_Present | 8760 | United-Kingdom | Aberdeen | Present | Present | Present | 01/01 01:00:00 | 01/01 | 01 | 01 | 01 | 00 | 00 | 126.71 | 105.33 | 36.2 | 30.1 | 8.4 | 79.78 | 4.81 | 21.57 | 25.74 | 19.78 | 25.84 | 19.68 | 22.32 | -30.22 | 20.68 | 20.67 | 8.4 | 8.39 | 8.4 | 8.39 | 7959.5 | 8034.5 | 3147 | 3177.5 | 45 | 14.5 | 0 | 0 | 0 | 0 | 5568 | 5568 | 1822 | 1813 | 131322.78 | 1036.43 | 98181.97 | 932.1 | 184 | 13.94 | 13.13 | 322.65 | 314.53 | 8.64 | 142.64 | 8.15 | 139.54 | 336.59 | 327.66 | 151.29 | 147.69 | 41.35 | 15994 | 6324.5 | 59.5 | 0 | 0 | 11136 | 3635 | 229504.75 | 1968.53 | 0 | 0 | 13.57 | 318.96 | 8.42 | 141.24 | 332.54 | 149.65 | 232.04 | 66.3 | 0 | 0
1 | TestModel[CS_INT EN16798[CA_3[CM_0[HM_2[VC_0[VO_0[MT_50[MW_50[AT_0.1[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_3 | CM_0 | HM_2 | VC_0 | VO_0 | MT_50 | MW_50 | AT_0.1 | NS_X | United-Kingdom_London_Present | 8760 | United-Kingdom | London | Present | Present | Present | 01/01 01:00:00 | 01/01 | 01 | 01 | 01 | 00 | 00 | 126.71 | 105.33 | 36.2 | 30.1 | 10.24 | 79.29 | 3.24 | 22.17 | 25.74 | 19.78 | 25.84 | 19.68 | 22.56 | -30.22 | 21.38 | 21.4 | 10.24 | 10.21 | 10.24 | 10.21 | 8082.5 | 8213 | 3942 | 4086.5 | 234 | 89.5 | 0 | 0 | 0 | 0 | 4584 | 4584 | 1910 | 1727 | 88315.37 | 697.01 | 73655.68 | 699.26 | 162.56 | 51.38 | 54.81 | 231.83 | 223.91 | 29.28 | 100.18 | 31.33 | 97.7 | 283.21 | 278.72 | 129.46 | 129.03 | 42.78 | 16295.5 | 8028.5 | 323.5 | 0 | 0 | 9168 | 3637 | 161971.05 | 1396.27 | 0 | 0 | 52.94 | 228.24 | 30.21 | 99.05 | 281.17 | 129.27 | 232.04 | 66.3 | 0 | 0
2 | TestModel[CS_INT EN16798[CA_3[CM_3[HM_2[VC_0[VO_0[MT_50[MW_50[AT_0.1[NS_X[United-Kingdom_Aberdeen_Present | TestModel | CS_INT EN16798 | CA_3 | CM_3 | HM_2 | VC_0 | VO_0 | MT_50 | MW_50 | AT_0.1 | NS_X | United-Kingdom_Aberdeen_Present | 8760 | United-Kingdom | Aberdeen | Present | Present | Present | 01/01 01:00:00 | 01/01 | 01 | 01 | 01 | 00 | 00 | 126.71 | 105.33 | 36.2 | 30.1 | 8.4 | 79.78 | 4.81 | 21.57 | 26.35 | 17.55 | 26.45 | 17.45 | 22.14 | -32.45 | 19.99 | 19.97 | 8.4 | 8.39 | 8.4 | 8.39 | 8579.5 | 8597 | 3169 | 3180 | 23 | 12 | 0 | 0 | 0 | 0 | 5568 | 5568 | 1716 | 1708 | 129120.08 | 1019.05 | 96416.08 | 915.34 | 82.8 | 5.92 | 5.41 | 92.52 | 92.69 | 3.74 | 44.12 | 3.47 | 44.56 | 98.44 | 98.1 | 47.86 | 48.03 | 39.96 | 17176.5 | 6349 | 35 | 0 | 0 | 11136 | 3424 | 225536.16 | 1934.39 | 0 | 0 | 5.69 | 92.6 | 3.62 | 44.32 | 98.29 | 47.94 | 232.04 | 66.3 | 0 | 0
3 | TestModel[CS_INT EN16798[CA_3[CM_3[HM_2[VC_0[VO_0[MT_50[MW_50[AT_0.1[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_3 | CM_3 | HM_2 | VC_0 | VO_0 | MT_50 | MW_50 | AT_0.1 | NS_X | United-Kingdom_London_Present | 8760 | United-Kingdom | London | Present | Present | Present | 01/01 01:00:00 | 01/01 | 01 | 01 | 01 | 00 | 00 | 126.71 | 105.33 | 36.2 | 30.1 | 10.24 | 79.29 | 3.24 | 22.17 | 26.73 | 17.93 | 26.83 | 17.83 | 22.56 | -32.07 | 20.98 | 20.95 | 10.24 | 10.21 | 10.24 | 10.21 | 8609.5 | 8642 | 4110.5 | 4139.5 | 65.5 | 36.5 | 0 | 0 | 0 | 0 | 4584 | 4584 | 2294 | 2081 | 85968.15 | 678.48 | 71752.5 | 681.19 | 74.06 | 18.72 | 23.93 | 57.54 | 56.16 | 11.58 | 27.35 | 14.68 | 27.19 | 76.26 | 80.09 | 38.93 | 41.87 | 41.93 | 17251.5 | 8250 | 102 | 0 | 0 | 9168 | 4375 | 157720.65 | 1359.67 | 0 | 0 | 21.08 | 56.92 | 12.99 | 27.28 | 78 | 40.27 | 232.04 | 66.3 | 0 | 0

## Sheet2
| Model | ComfStand | Category | ComfMod | … | Date/time | BLOCK1:ZONE2_Zone Air Volume (m3) | BLOCK1:ZONE1_Zone Air Volume (m3) | BLOCK1:ZONE2_Zone Floor Area (m2) | BLOCK1:ZONE1_Zone Floor Area (m2) | Site Outdoor Air Drybulb Temperature (°C) | … | Building_Total_Zone Floor Area (m2) (summed) | Building_Total_PMV (summed) | Building_Total_PPD (%) (summed)
0 | TestModel | CS_INT EN16798 | CA_3 | CM_0 | … | 01/01 01:00:00 | 126.71 | 105.33 | 36.2 | 30.1 | 8.4 | … | 66.3 | 0 | 0
1 | TestModel | CS_INT EN16798 | CA_3 | CM_0 | … | 01/01 01:00:00 | 126.71 | 105.33 | 36.2 | 30.1 | 10.24 | … | 66.3 | 0 | 0
2 | TestModel | CS_INT EN16798 | CA_3 | CM_3 | … | 01/01 01:00:00 | 126.71 | 105.33 | 36.2 | 30.1 | 8.4 | … | 66.3 | 0 | 0
3 | TestModel | CS_INT EN16798 | CA_3 | CM_3 | … | 01/01 01:00:00 | 126.71 | 105.33 | 36.2 | 30.1 | 10.24 | … | 66.3 | 0 | 0