## Sheet1
| Building_Total_PPD (%) [mean] | Model | Adaptive Standard | Category | Comfort mode | HVAC mode | Ventilation control | VSToffset | MinOToffset | MaxWindSpeed | ASTtol | EPW | Date/Time | Source | Month/Day | Month | Day | Hour | Minute | Second | Site Outdoor Air Drybulb Temperature (°C) | Site Outdoor Air Relative Humidity (%) | Site Wind Speed (m/s) | Comfort Temperature (°C) | Adaptive Cooling Setpoint Temperature (°C) | Adaptive Heating Setpoint Temperature (°C) | Adaptive Cooling Setpoint Temperature_No Tolerance (°C) | Adaptive Heating Setpoint Temperature_No Tolerance (°C) | Ventilation Setpoint Temperature (°C) | Minimum Outdoor Temperature for ventilation (°C) | PEOPLE BLOCK1:ZONE2:Zone Thermal Comfort Fanger Model PMV [](Hourly) | PEOPLE BLOCK1:ZONE2:Zone Thermal Comfort Fanger Model PPD [%](Hourly) | PEOPLE BLOCK1:ZONE2:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE2:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE1:Zone Thermal Comfort Fanger Model PMV [](Hourly) | PEOPLE BLOCK1:ZONE1:Zone Thermal Comfort Fanger Model PPD [%](Hourly) | PEOPLE BLOCK1:ZONE1:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE1:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK2:ZONE2:Zone Thermal Comfort Fanger Model PMV [](Hourly) | PEOPLE BLOCK2:ZONE2:Zone Thermal Comfort Fanger Model PPD [%](Hourly) | PEOPLE BLOCK2:ZONE2:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK2:ZONE2:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK2:ZONE1:Zone Thermal Comfort Fanger Model PMV [](Hourly) | PEOPLE BLOCK2:ZONE1:Zone Thermal Comfort Fanger Model PPD [%](Hourly) | PEOPLE BLOCK2:ZONE1:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK2:ZONE1:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK1_ZONE2 [H](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK1_ZONE1 [H](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK2_ZONE2 [H](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK2_ZONE1 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK1_ZONE2 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK1_ZONE1 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK2_ZONE2 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK2_ZONE1 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK1_ZONE2 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK1_ZONE1 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK2_ZONE2 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK2_ZONE1 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK1_ZONE2 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK1_ZONE1 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK2_ZONE2 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK2_ZONE1 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK1_ZONE2 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK1_ZONE1 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK2_ZONE2 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK2_ZONE1 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK1_ZONE2 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK1_ZONE1 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK2_ZONE2 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK2_ZONE1 [H](Hourly) | EMS:Zone Floor Area_BLOCK1_ZONE2 [m2](Hourly) | EMS:Zone Floor Area_BLOCK1_ZONE1 [m2](Hourly) | EMS:Zone Floor Area_BLOCK2_ZONE2 [m2](Hourly) | EMS:Zone Floor Area_BLOCK2_ZONE1 [m2](Hourly) | EMS:Zone Air Volume_BLOCK1_ZONE2 [m3](Hourly) | EMS:Zone Air Volume_BLOCK1_ZONE1 [m3](Hourly) | EMS:Zone Air Volume_BLOCK2_ZONE2 [m3](Hourly) | EMS:Zone Air Volume_BLOCK2_ZONE1 [m3](Hourly) | EMS:Ventilation Hours_BLOCK1_ZONE2 [H](Hourly) | EMS:Ventilation Hours_BLOCK1_ZONE1 [H](Hourly) | EMS:Ventilation Hours_BLOCK2_ZONE2 [H](Hourly) | EMS:Ventilation Hours_BLOCK2_ZONE1 [H](Hourly) | BLOCK1:ZONE2:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK1:ZONE2:AFN Zone Infiltration Air Change Rate [ach](Hourly) | BLOCK1:ZONE1:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK1:ZONE1:AFN Zone Infiltration Air Change Rate [ach](Hourly) | BLOCK2:ZONE2:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK2:ZONE2:AFN Zone Infiltration Air Change Rate [ach](Hourly) | BLOCK2:ZONE1:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK2:ZONE1:AFN Zone Infiltration Air Change Rate [ach](Hourly) | Whole Building Facility Total HVAC Electricity Demand Rate (kWh/m2) | FORSCRIPT_AHST_BLOCK1_ZONE2:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK1_ZONE2:Schedule Value [](Hourly) | FORSCRIPT_AHST_BLOCK1_ZONE1:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK1_ZONE1:Schedule Value [](Hourly) | FORSCRIPT_AHST_BLOCK2_ZONE2:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK2_ZONE2:Schedule Value [](Hourly) | FORSCRIPT_AHST_BLOCK2_ZONE1:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK2_ZONE1:Schedule Value [](Hourly) | BLOCK1:ZONE2 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate (kWh/m2)(Hourly) | BLOCK1:ZONE1 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate (kWh/m2)(Hourly) | BLOCK2:ZONE2 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate (kWh/m2)(Hourly) | BLOCK2:ZONE1 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate (kWh/m2)(Hourly) | BLOCK1:ZONE2 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate (kWh/m2)(Hourly) | BLOCK1:ZONE1 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate (kWh/m2)(Hourly) | BLOCK2:ZONE2 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate (kWh/m2)(Hourly) | BLOCK2:ZONE1 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE2:VRF Heat Pump Cooling Electricity Energy (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE2:VRF Heat Pump Heating Electricity Energy (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE1:VRF Heat Pump Cooling Electricity Energy (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE1:VRF Heat Pump Heating Electricity Energy (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK2:ZONE2:VRF Heat Pump Cooling Electricity Energy (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK2:ZONE2:VRF Heat Pump Heating Electricity Energy (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK2:ZONE1:VRF Heat Pump Cooling Electricity Energy (kWh/m2)(Hourly) | VRF OUTDOOR UNIT_BLOCK2:ZONE1:VRF Heat Pump Heating Electricity Energy (kWh/m2)(Hourly) | BLOCK1:ZONE2_Total Energy Demand (kWh/m2) [summed] | BLOCK1:ZONE1_Total Energy Demand (kWh/m2) [summed] | BLOCK2:ZONE2_Total Energy Demand (kWh/m2) [summed] | BLOCK2:ZONE1_Total Energy Demand (kWh/m2) [summed] | BLOCK1:ZONE2_Total Energy Consumption (kWh/m2) [summed] | BLOCK1:ZONE1_Total Energy Consumption (kWh/m2) [summed] | BLOCK2:ZONE2_Total Energy Consumption (kWh/m2) [summed] | BLOCK2:ZONE1_Total Energy Consumption (kWh/m2) [summed] | Building_Total_Zone Thermostat Operative Temperature (°C) [summed] | Building_Total_Zone Thermostat Operative Temperature (°C) [mean] | Building_Total_Comfortable Hours_No Applicability (h) [summed] | Building_Total_Comfortable Hours_No Applicability (h) [mean] | Building_Total_Comfortable Hours_Applicability (h) [summed] | Building_Total_Comfortable Hours_Applicability (h) [mean] | Building_Total_Discomfortable Applicable Hot Hours (h) [summed] | Building_Total_Discomfortable Applicable Hot Hours (h) [mean] | Building_Total_Discomfortable Applicable Cold Hours (h) [summed] | Building_Total_Discomfortable Applicable Cold Hours (h) [mean] | Building_Total_Discomfortable Non Applicable Hot Hours (h) [summed] | Building_Total_Discomfortable Non Applicable Hot Hours (h) [mean] | Building_Total_Discomfortable Non Applicable Cold Hours (h) [summed] | Building_Total_Discomfortable Non Applicable Cold Hours (h) [mean] | Building_Total_Ventilation Hours (h) [summed] | Building_Total_Ventilation Hours (h) [mean] | Building_Total_AFN Zone Infiltration Volume (m3) [summed] | Building_Total_AFN Zone Infiltration Volume (m3) [mean] | Building_Total_AFN Zone Infiltration Air Change Rate (ach) [summed] | Building_Total_AFN Zone Infiltration Air Change Rate (ach) [mean] | Building_Total_Cooling Energy Demand (kWh/m2) [summed] | Building_Total_Cooling Energy Demand (kWh/m2) [mean] | Building_Total_Heating Energy Demand (kWh/m2) [summed] | Building_Total_Heating Energy Demand (kWh/m2) [mean] | Building_Total_Cooling Energy Consumption (kWh/m2) [summed] | Building_Total_Cooling Energy Consumption (kWh/m2) [mean] | Building_Total_Heating Energy Consumption (kWh/m2) [summed] | Building_Total_Heating Energy Consumption (kWh/m2) [mean] | Building_Total_Total Energy Demand (kWh/m2) [summed] | Building_Total_Total Energy Demand (kWh/m2) [mean] | Building_Total_Total Energy Consumption (kWh/m2) [summed] | Building_Total_Total Energy Consumption (kWh/m2) [mean] | Building_Total_Zone Air Volume (m3) [summed] | Building_Total_Zone Air Volume (m3) [mean] | Building_Total_Zone Floor Area (m2) [summed] | Building_Total_Zone Floor Area (m2) [mean] | Building_Total_PMV [summed] | Building_Total_PMV [mean] | Building_Total_PPD (%) [summed]
0 | 10.1858 | TestModel_onlyGeometryForVRFsyste | AS_PMV | CA_X | CM_X | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_X | pmv | 01 | TestModel_onlyGeometryForVRFsystem_V960[AS_PMV[CA_X[CM_X[HM_0[VC_X[VO_X[MT_X[MW_X[AT_X[pmv | 01/01 | 01 | 01 | 01 | 00 | 00 | -7.6993 | 83.2571 | 2.3979 | 16.4897 | 24.75 | 21.25 | 25 | 21 | 23 | 14.25 | -0.50278 | 10.8408 | -5.6171 | -7.0072 | -0.33552 | 10.1509 | -5.6171 | -7.0072 | -0.35867 | 9.6754 | -5.6171 | -7.0072 | -0.25105 | 10.0759 | -5.6171 | -7.0072 | 734.5 | 658.5 | 700.5 | 616.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 10.2544 | 30.6506 | 30.5842 | 10.3208 | 35.8905 | 107.277 | 103.9862 | 35.0907 | 0 | 0 | 0 | 0 | 15329.141 | 427.1086 | 27031.6645 | 251.9801 | 1510.8841 | 14.5297 | 173.6178 | 4.9477 | 21.944 | 15810 | 18414 | 15810 | 18414 | 15810 | 18414 | 15810 | 18414 | 0 | 0.8094 | 0.070989 | 2.5275 | 47.8075 | 19.7696 | 15.9088 | 17.6563 | 0 | 35.7967 | 0.53839 | 17.375 | 0.050402 | 14.5727 | 1.5605 | 16.6231 | 47.8075 | 20.579 | 15.9798 | 20.1838 | 35.7967 | 17.9134 | 14.6231 | 18.1835 | 0 |  | 2710 | 677.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2976 | 744 | 0 | 0 | 44045.3074 | 11011.3269 | 698.566 | 174.6415 | 0.64864 | 0.16216 | 21.5741 | 5.3935 | 0.41741 | 0.10435 | 18.5416 | 4.6354 | 22.2227 | 2.7778 | 18.959 | 2.3699 | 282.2444 | 70.5611 | 81.81 | 20.4525 | -1.448 | -0.36201 | 40.7431
1 | 9.1096 | TestModel_onlyGeometryForVRFsyste | AS_PMV | CA_X | CM_X | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_X | pmv | 02 | TestModel_onlyGeometryForVRFsystem_V960[AS_PMV[CA_X[CM_X[HM_0[VC_X[VO_X[MT_X[MW_X[AT_X[pmv | 02/01 | 02 | 01 | 01 | 00 | 00 | -6.7416 | 79.7898 | 2.6924 | 16.2131 | 24.75 | 21.25 | 25 | 21 | 23 | 14.25 | -0.41618 | 9.4094 | -8.3018 | -7.835 | -0.20132 | 9.076 | -8.3018 | -7.835 | -0.22324 | 8.9249 | -8.3018 | -7.835 | -0.12289 | 9.0281 | -8.3018 | -7.835 | 662.5 | 538.5 | 575 | 501.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 672 | 672 | 672 | 672 | 10.2544 | 30.6506 | 30.5842 | 10.3208 | 35.8905 | 107.277 | 103.9862 | 35.0907 | 0 | 0 | 0 | 0 | 13239.6796 | 368.8909 | 23992.2516 | 223.6477 | 1398.4114 | 13.448 | 526.0555 | 14.9913 | 16.1403 | 14280 | 16632 | 14280 | 16632 | 14280 | 16632 | 14280 | 16632 | 0.0010912 | 2.176 | 0.90103 | 5.0084 | 32.8736 | 12.6185 | 10.0049 | 10.6261 | 0.00081339 | 25.1928 | 1.441 | 11.4018 | 0.6254 | 9.4456 | 3.0972 | 10.3625 | 32.8747 | 14.7944 | 10.906 | 15.6345 | 25.1936 | 12.8428 | 10.071 | 13.4597 | 0 |  | 2277.5 | 569.375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2688 | 672 | 0 | 0 | 39156.398 | 9789.0995 | 620.978 | 155.2445 | 1.7841 | 0.44601 | 13.9289 | 3.4822 | 1.1645 | 0.29112 | 12.268 | 3.067 | 15.713 | 1.9641 | 13.4325 | 1.6791 | 282.2444 | 70.5611 | 81.81 | 20.4525 | -0.96362 | -0.24091 | 36.4383
2 | 8.7052 | TestModel_onlyGeometryForVRFsyste | AS_PMV | CA_X | CM_X | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_X | pmv | 03 | TestModel_onlyGeometryForVRFsystem_V960[AS_PMV[CA_X[CM_X[HM_0[VC_X[VO_X[MT_X[MW_X[AT_X[pmv | 03/01 | 03 | 01 | 01 | 00 | 00 | -1.3218 | 72.8071 | 3.0924 | 18.0827 | 24.75 | 21.25 | 25 | 21 | 23 | 14.25 | -0.20412 | 8.7677 | -4.4633 | -2.1697 | -0.023819 | 8.8061 | -4.4633 | -2.1697 | -0.012054 | 8.6265 | -4.4633 | -2.1697 | 0.0286 | 8.6206 | -4.4633 | -2.1697 | 615 | 481.5 | 503.5 | 464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 10.2544 | 30.6506 | 30.5842 | 10.3208 | 35.8905 | 107.277 | 103.9862 | 35.0907 | 0 | 0 | 0 | 0 | 12596.6747 | 350.9752 | 23174.8168 | 216.0278 | 2137.8586 | 20.5591 | 958.9156 | 27.3268 | 12.2798 | 15810 | 18414 | 15810 | 18414 | 15810 | 18414 | 15810 | 18414 | 2.7961 | 8.9309 | 6.4579 | 14.2624 | 14.5412 | 4.8658 | 3.4394 | 3.8929 | 1.7613 | 11.3607 | 5.0584 | 4.3434 | 3.9249 | 3.1651 | 7.7312 | 3.5958 | 17.3373 | 13.7967 | 9.8973 | 18.1552 | 13.122 | 9.4018 | 7.09 | 11.3271 | 0 |  | 2064 | 516 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2976 | 744 | 0 | 0 | 38868.2657 | 9717.0664 | 614.8888 | 153.7222 | 7.91 | 1.9775 | 5.4226 | 1.3556 | 4.5586 | 1.1396 | 4.6882 | 1.172 | 13.3326 | 1.6666 | 9.2467 | 1.1558 | 282.2444 | 70.5611 | 81.81 | 20.4525 | -0.21139 | -0.052848 | 34.8208
3 | 9.0239 | TestModel_onlyGeometryForVRFsyste | AS_PMV | CA_X | CM_X | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_X | pmv | 04 | TestModel_onlyGeometryForVRFsystem_V960[AS_PMV[CA_X[CM_X[HM_0[VC_X[VO_X[MT_X[MW_X[AT_X[pmv | 04/01 | 04 | 01 | 01 | 00 | 00 | 5.4906 | 66.2264 | 3.1992 | 20.2183 | 24.75 | 21.25 | 25 | 21 | 23 | 14.25 | -0.11484 | 9.0615 | 1.9983 | 4.3029 | 0.0057391 | 9.1052 | 1.9983 | 4.3029 | 0.032707 | 9.0052 | 1.9983 | 4.3029 | 0.036859 | 8.9235 | 1.9983 | 4.3029 | 78 | 80 | 137 | 136.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 720 | 720 | 720 | 720 | 10.2544 | 30.6506 | 30.5842 | 10.3208 | 35.8905 | 107.277 | 103.9862 | 35.0907 | 36.5 | 36.5 | 36.5 | 36.5 | 10682.4241 | 297.6393 | 19624.3631 | 182.9317 | 2404.7722 | 23.1259 | 1125.672 | 32.0789 | 12.5628 | 15300 | 17820 | 15300 | 17820 | 15300 | 17820 | 15300 | 17820 | 5.2266 | 10.1939 | 9.1546 | 14.3387 | 12.2873 | 5.184 | 3.8778 | 5.2887 | 3.1932 | 8.0937 | 5.879 | 3.8736 | 5.3803 | 2.8115 | 8.1624 | 3.8712 | 17.5139 | 15.3779 | 13.0324 | 19.6274 | 11.2869 | 9.7525 | 8.1918 | 12.0336 | 0 |  | 431.5 | 107.875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2880 | 720 | 146 | 36.5 | 33837.2314 | 8459.3078 | 535.7758 | 133.944 | 9.7056 | 2.4264 | 5.5993 | 1.3998 | 5.6439 | 1.411 | 4.0052 | 1.0013 | 15.3049 | 1.9131 | 9.6492 | 1.2061 | 282.2444 | 70.5611 | 81.81 | 20.4525 | -0.039536 | -0.0098839 | 36.0955
4 | 8.707 | TestModel_onlyGeometryForVRFsyste | AS_PMV | CA_X | CM_X | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_X | pmv | 05 | TestModel_onlyGeometryForVRFsystem_V960[AS_PMV[CA_X[CM_X[HM_0[VC_X[VO_X[MT_X[MW_X[AT_X[pmv | 05/01 | 05 | 01 | 01 | 00 | 00 | 12.648 | 65.6761 | 3.1021 | 22.7199 | 24.7822 | 20.541 | 25.0322 | 20.291 | 23.0322 | 13.541 | 0.16888 | 8.7023 | 9.1155 | 11.8815 | 0.2528 | 8.6887 | 9.1155 | 11.8815 | 0.29324 | 8.7719 | 9.1155 | 11.8815 | 0.28191 | 8.6653 | 9.1155 | 11.8815 | 50 | 14 | 13.5 | 16 | 27 | 5 | 2 | 2.5 | 524.5 | 546.5 | 549.5 | 549 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 192.5 | 192.5 | 192.5 | 192.5 | 10.2544 | 30.6506 | 30.5842 | 10.3208 | 35.8905 | 107.277 | 103.9862 | 35.0907 | 335 | 334.5 | 327 | 327 | 8147.6192 | 227.0133 | 15454.5878 | 144.0625 | 2482.7773 | 23.876 | 1457.9974 | 41.5494 | 14.2605 | 15282.4857 | 18437.9857 | 15282.4857 | 18437.9857 | 15282.4857 | 18437.9857 | 15282.4857 | 18437.9857 | 17.4469 | 19.2406 | 19.3915 | 25.0671 | 1.7212 | 0.55097 | 0.3754 | 0.59345 | 9.2944 | 1.1479 | 10.6358 | 0.3908 | 10.4533 | 0.25464 | 14.1085 | 0.40165 | 19.1681 | 19.7916 | 19.7669 | 25.6605 | 10.4423 | 11.0266 | 10.708 | 14.5102 | 0 |  | 93.5 | 23.375 | 36.5 | 9.125 | 2169.5 | 542.375 | 0 | 0 | 0 | 0 | 770 | 192.5 | 1323.5 | 330.875 | 27542.9818 | 6885.7454 | 436.5011 | 109.1253 | 19.8072 | 4.9518 | 0.63737 | 0.15934 | 10.8375 | 2.7094 | 0.43617 | 0.10904 | 20.4446 | 2.5556 | 11.2737 | 1.4092 | 282.2444 | 70.5611 | 81.81 | 20.4525 | 0.99683 | 0.24921 | 34.8281
5 | 9.0837 | TestModel_onlyGeometryForVRFsyste | AS_PMV | CA_X | CM_X | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_X | pmv | 06 | TestModel_onlyGeometryForVRFsystem_V960[AS_PMV[CA_X[CM_X[HM_0[VC_X[VO_X[MT_X[MW_X[AT_X[pmv | 06/01 | 06 | 01 | 01 | 00 | 00 | 16.9152 | 73.2135 | 2.5963 | 24.1669 | 25.9169 | 21.4169 | 26.1669 | 21.1669 | 24.1669 | 14.4169 | 0.34563 | 8.872 | 15.0257 | 16.2659 | 0.39032 | 9.0842 | 15.0257 | 16.2659 | 0.41402 | 9.2416 | 15.0257 | 16.2659 | 0.4057 | 9.1372 | 15.0257 | 16.2659 | 118 | 96 | 100.5 | 110 | 118 | 95.5 | 100 | 109.5 | 602 | 624.5 | 620 | 610.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.2544 | 30.6506 | 30.5842 | 10.3208 | 35.8905 | 107.277 | 103.9862 | 35.0907 | 457.5 | 457.5 | 450.5 | 449.5 | 5977.7666 | 166.5557 | 11291.9367 | 105.2596 | 2372.8071 | 22.8185 | 1198.7644 | 34.1619 | 16.9024 | 15420.1452 | 18660.1452 | 15420.1452 | 18660.1452 | 15420.1452 | 18660.1452 | 15420.1452 | 18660.1452 | 27.9888 | 26.1603 | 26.8902 | 34.1656 | 0.14782 | 0.020641 | 0.0038756 | 0.012751 | 13.2259 | 0.088903 | 13.5379 | 0.012685 | 13.2725 | 0.0023282 | 18.1055 | 0.0075187 | 28.1366 | 26.1809 | 26.8941 | 34.1783 | 13.3148 | 13.5506 | 13.2749 | 18.113 | 0 |  | 424.5 | 106.125 | 423 | 105.75 | 2457 | 614.25 | 0 | 0 | 0 | 0 | 0 | 0 | 1815 | 453.75 | 20841.2748 | 5210.3187 | 328.7957 | 82.1989 | 27.6723 | 6.9181 | 0.02932 | 0.0073299 | 13.9758 | 3.494 | 0.017715 | 0.0044287 | 27.7016 | 3.4627 | 13.9936 | 1.7492 | 282.2444 | 70.5611 | 81.81 | 20.4525 | 1.5557 | 0.38892 | 36.3349
6 | 9.7303 | TestModel_onlyGeometryForVRFsyste | AS_PMV | CA_X | CM_X | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_X | pmv | 07 | TestModel_onlyGeometryForVRFsystem_V960[AS_PMV[CA_X[CM_X[HM_0[VC_X[VO_X[MT_X[MW_X[AT_X[pmv | 07/01 | 07 | 01 | 01 | 00 | 00 | 20.9881 | 75.373 | 2.4938 | 25.4765 | 27.2265 | 22.7265 | 27.4765 | 22.4765 | 25.4765 | 15.7265 | 0.45032 | 9.5522 | 18.589 | 20.2354 | 0.46831 | 9.782 | 18.589 | 20.2354 | 0.4718 | 9.8211 | 18.589 | 20.2354 | 0.46809 | 9.7657 | 18.589 | 20.2354 | 479.5 | 457.5 | 469.5 | 487.5 | 478.5 | 457 | 468.5 | 487 | 265.5 | 287 | 275.5 | 257 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.2544 | 30.6506 | 30.5842 | 10.3208 | 35.8905 | 107.277 | 103.9862 | 35.0907 | 597.5 | 604 | 596.5 | 595.5 | 4007.7114 | 111.665 | 8102.4264 | 75.5281 | 2735.497 | 26.3063 | 1654.5697 | 47.1512 | 19.4628 | 16908.5501 | 20256.5501 | 16908.5501 | 20256.5501 | 16908.5501 | 20256.5501 | 16908.5501 | 20256.5501 | 33.5977 | 29.9125 | 30.2964 | 39.4934 | 0 | 0 | 0 | 0 | 16.1669 | 0 | 15.8685 | 0 | 15.4311 | 0 | 21.4595 | 0 | 33.5977 | 29.9125 | 30.2964 | 39.4934 | 16.1669 | 15.8685 | 15.4311 | 21.4595 | 0 |  | 1894 | 473.5 | 1891 | 472.75 | 1085 | 271.25 | 0 | 0 | 0 | 0 | 0 | 0 | 2393.5 | 598.375 | 16500.2045 | 4125.0511 | 260.6506 | 65.1627 | 31.7266 | 7.9317 | 0 | 0 | 16.4477 | 4.1119 | 0 | 0 | 31.7266 | 3.9658 | 16.4477 | 2.056 | 282.2444 | 70.5611 | 81.81 | 20.4525 | 1.8585 | 0.46463 | 38.921
7 | 9.7497 | TestModel_onlyGeometryForVRFsyste | AS_PMV | CA_X | CM_X | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_X | pmv | 08 | TestModel_onlyGeometryForVRFsystem_V960[AS_PMV[CA_X[CM_X[HM_0[VC_X[VO_X[MT_X[MW_X[AT_X[pmv | 08/01 | 08 | 01 | 01 | 00 | 00 | 21.4077 | 76.7413 | 2.3863 | 25.9314 | 27.6814 | 23.1814 | 27.9314 | 22.9314 | 25.9314 | 16.1814 | 0.45003 | 9.4998 | 22.1162 | 21.6087 | 0.47254 | 9.8039 | 22.1162 | 21.6087 | 0.47628 | 9.8588 | 22.1162 | 21.6087 | 0.47478 | 9.8362 | 22.1162 | 21.6087 | 683 | 675 | 695.5 | 693 | 683 | 675 | 695 | 692.5 | 61 | 69 | 49 | 51.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.2544 | 30.6506 | 30.5842 | 10.3208 | 35.8905 | 107.277 | 103.9862 | 35.0907 | 583 | 588 | 588 | 588 | 4094.3368 | 114.0786 | 7663.3856 | 71.4355 | 2782.5617 | 26.759 | 1436.4169 | 40.9344 | 20.1987 | 17246.9765 | 20594.9765 | 17246.9765 | 20594.9765 | 17246.9765 | 20594.9765 | 17246.9765 | 20594.9765 | 33.2237 | 31.2312 | 30.7186 | 42.4463 | 0 | 0 | 0 | 0 | 16.4483 | 0 | 16.7396 | 0 | 15.965 | 0 | 22.7857 | 0 | 33.2237 | 31.2312 | 30.7186 | 42.4463 | 16.4483 | 16.7396 | 15.965 | 22.7857 | 0 |  | 2746.5 | 686.625 | 2745.5 | 686.375 | 230.5 | 57.625 | 0 | 0 | 0 | 0 | 0 | 0 | 2347 | 586.75 | 15976.7011 | 3994.1753 | 253.2074 | 63.3019 | 32.7042 | 8.176 | 0 | 0 | 17.1763 | 4.2941 | 0 | 0 | 32.7042 | 4.088 | 17.1763 | 2.147 | 282.2444 | 70.5611 | 81.81 | 20.4525 | 1.8736 | 0.46841 | 38.9987
8 | 8.7788 | TestModel_onlyGeometryForVRFsyste | AS_PMV | CA_X | CM_X | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_X | pmv | 09 | TestModel_onlyGeometryForVRFsystem_V960[AS_PMV[CA_X[CM_X[HM_0[VC_X[VO_X[MT_X[MW_X[AT_X[pmv | 09/01 | 09 | 01 | 01 | 00 | 00 | 16.2553 | 79.2122 | 2.2916 | 24.4931 | 26.2431 | 21.7431 | 26.4931 | 21.4931 | 24.4931 | 14.7431 | 0.27013 | 8.5261 | 18.8864 | 17.2481 | 0.35805 | 8.7907 | 18.8864 | 17.2481 | 0.37457 | 8.8844 | 18.8864 | 17.2481 | 0.38162 | 8.9139 | 18.8864 | 17.2481 | 309.5 | 241.5 | 260.5 | 249 | 310 | 241.5 | 260 | 249 | 410 | 478.5 | 460 | 471 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.2544 | 30.6506 | 30.5842 | 10.3208 | 35.8905 | 107.277 | 103.9862 | 35.0907 | 443 | 443.5 | 436 | 435.5 | 6309.4631 | 175.7976 | 11759.5271 | 109.6183 | 1960.3007 | 18.8515 | 1031.4596 | 29.3941 | 13.9572 | 15655.0268 | 18895.0268 | 15655.0268 | 18895.0268 | 15655.0268 | 18895.0268 | 15655.0268 | 18895.0268 | 16.7675 | 20.1438 | 18.3939 | 28.4279 | 0.25924 | 0.016551 | 0.014048 | 0.014414 | 9.2867 | 0.15442 | 11.0718 | 0.0099566 | 10.2336 | 0.0083114 | 15.1809 | 0.0085257 | 17.0268 | 20.1603 | 18.4079 | 28.4423 | 9.4411 | 11.0818 | 10.2419 | 15.1895 | 0 |  | 1060.5 | 265.125 | 1060.5 | 265.125 | 1819.5 | 454.875 | 0 | 0 | 0 | 0 | 0 | 0 | 1758 | 439.5 | 21060.7504 | 5265.1876 | 333.6616 | 83.4154 | 20.1115 | 5.0279 | 0.045765 | 0.011441 | 11.0531 | 2.7633 | 0.027269 | 0.0068172 | 20.1572 | 2.5197 | 11.0804 | 1.385 | 282.2444 | 70.5611 | 81.81 | 20.4525 | 1.3844 | 0.3461 | 35.115
9 | 8.3365 | TestModel_onlyGeometryForVRFsyste | AS_PMV | CA_X | CM_X | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_X | pmv | 10 | TestModel_onlyGeometryForVRFsystem_V960[AS_PMV[CA_X[CM_X[HM_0[VC_X[VO_X[MT_X[MW_X[AT_X[pmv | 10/01 | 10 | 01 | 01 | 00 | 00 | 9.3892 | 75.9617 | 2.7077 | 22.4026 | 24.7566 | 20.6108 | 25.0066 | 20.3608 | 23.0066 | 13.6108 | 0.010543 | 8.2015 | 13.4401 | 10.9106 | 0.1488 | 8.4099 | 13.4401 | 10.9106 | 0.16395 | 8.3785 | 13.4401 | 10.9106 | 0.18818 | 8.3563 | 13.4401 | 10.9106 | 609.5 | 521 | 541.5 | 527.5 | 372.5 | 321 | 343.5 | 330 | 108 | 159.5 | 137 | 150.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 263.5 | 263.5 | 263.5 | 263.5 | 10.2544 | 30.6506 | 30.5842 | 10.3208 | 35.8905 | 107.277 | 103.9862 | 35.0907 | 152.5 | 153.5 | 152.5 | 153 | 8576.7394 | 238.9696 | 15786.6374 | 147.1577 | 1948.291 | 18.7361 | 1065.2258 | 30.3564 | 10.1931 | 15334.4097 | 18418.9097 | 15334.4097 | 18418.9097 | 15334.4097 | 18418.9097 | 15334.4097 | 18418.9097 | 5.82 | 11.4735 | 8.574 | 16.9202 | 4.1193 | 1.4481 | 1.2544 | 1.5723 | 3.6231 | 3.0357 | 6.3138 | 1.1295 | 5.2823 | 0.97568 | 8.9189 | 1.224 | 9.9393 | 12.9216 | 9.8284 | 18.4925 | 6.6587 | 7.4434 | 6.258 | 10.1429 | 0 |  | 2199.5 | 549.875 | 1367 | 341.75 | 555 | 138.75 | 0 | 0 | 0 | 0 | 1054 | 263.5 | 611.5 | 152.875 | 27376.8935 | 6844.2234 | 435.2197 | 108.8049 | 10.368 | 2.592 | 1.7262 | 0.43154 | 5.9196 | 1.4799 | 1.3229 | 0.33072 | 12.0942 | 1.5118 | 7.2424 | 0.90531 | 282.2444 | 70.5611 | 81.81 | 20.4525 | 0.51147 | 0.12787 | 33.3461
10 | 8.7285 | TestModel_onlyGeometryForVRFsyste | AS_PMV | CA_X | CM_X | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_X | pmv | 11 | TestModel_onlyGeometryForVRFsystem_V960[AS_PMV[CA_X[CM_X[HM_0[VC_X[VO_X[MT_X[MW_X[AT_X[pmv | 11/01 | 11 | 01 | 01 | 00 | 00 | 2.1094 | 80.4 | 2.9974 | 19.8409 | 24.75 | 21.25 | 25 | 21 | 23 | 14.25 | -0.37849 | 9.2341 | 5.7124 | 3.1504 | -0.21453 | 8.6537 | 5.7124 | 3.1504 | -0.21113 | 8.5543 | 5.7124 | 3.1504 | -0.17537 | 8.4717 | 5.7124 | 3.1504 | 699.5 | 626 | 651 | 624.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 720 | 720 | 720 | 720 | 10.2544 | 30.6506 | 30.5842 | 10.3208 | 35.8905 | 107.277 | 103.9862 | 35.0907 | 5.5 | 5.5 | 5.5 | 5.5 | 10807.9878 | 301.1378 | 19995.8111 | 186.3942 | 1973.6707 | 18.9801 | 1025.0147 | 29.2104 | 11.0447 | 15300 | 17820 | 15300 | 17820 | 15300 | 17820 | 15300 | 17820 | 0.17063 | 1.9169 | 1.1437 | 3.5899 | 19.7479 | 7.7793 | 6.4854 | 8.0718 | 0.12468 | 14.4028 | 1.2753 | 6.4229 | 0.79471 | 5.3921 | 2.2913 | 6.7524 | 19.9185 | 9.6962 | 7.6292 | 11.6617 | 14.5274 | 7.6982 | 6.1868 | 9.0438 | 0 |  | 2601 | 650.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2880 | 720 | 22 | 5.5 | 33802.4842 | 8450.6211 | 535.7226 | 133.9307 | 1.62 | 0.40501 | 8.8327 | 2.2082 | 1.0796 | 0.2699 | 7.0794 | 1.7698 | 10.4527 | 1.3066 | 8.159 | 1.0199 | 282.2444 | 70.5611 | 81.81 | 20.4525 | -0.97953 | -0.24488 | 34.9138
11 | 9.4146 | TestModel_onlyGeometryForVRFsyste | AS_PMV | CA_X | CM_X | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_X | pmv | 12 | TestModel_onlyGeometryForVRFsystem_V960[AS_PMV[CA_X[CM_X[HM_0[VC_X[VO_X[MT_X[MW_X[AT_X[pmv | 12/01 | 12 | 01 | 01 | 00 | 00 | -4.5547 | 82.2151 | 2.8959 | 17.5909 | 24.75 | 21.25 | 25 | 21 | 23 | 14.25 | -0.47902 | 9.9218 | -1.7376 | -3.6682 | -0.34231 | 9.3438 | -1.7376 | -3.6682 | -0.36715 | 9.141 | -1.7376 | -3.6682 | -0.28499 | 9.2519 | -1.7376 | -3.6682 | 744 | 687.5 | 724 | 650 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 10.2544 | 30.6506 | 30.5842 | 10.3208 | 35.8905 | 107.277 | 103.9862 | 35.0907 | 0 | 0 | 0 | 0 | 13996.325 | 389.973 | 25030.0117 | 233.3213 | 1756.855 | 16.8951 | 645.8505 | 18.4052 | 20.0911 | 15810 | 18414 | 15810 | 18414 | 15810 | 18414 | 15810 | 18414 | 0 | 0.54415 | 0.052347 | 1.8677 | 43.0173 | 18.4053 | 14.9806 | 17.9255 | 0 | 31.2675 | 0.36916 | 15.714 | 0.03784 | 13.2537 | 1.1788 | 16.0587 | 43.0173 | 18.9494 | 15.0329 | 19.7932 | 31.2675 | 16.0831 | 13.2916 | 17.2375 | 0 |  | 2805.5 | 701.375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2976 | 744 | 0 | 0 | 41429.0423 | 10357.2606 | 658.5946 | 164.6486 | 0.45906 | 0.11476 | 20.1494 | 5.0374 | 0.30116 | 0.075291 | 16.7872 | 4.1968 | 20.6085 | 2.5761 | 17.0884 | 2.1361 | 282.2444 | 70.5611 | 81.81 | 20.4525 | -1.4735 | -0.36837 | 37.6584