## Sheet1
| Date/Time | Source | Month/Day | Month | Day | Hour | Minute | Second | count | Environment:Site Outdoor Air Drybulb Temperature [C](Hourly) | Environment:Site Outdoor Air Relative Humidity [%](Hourly) | Environment:Site Wind Speed [m/s](Hourly) | EMS:Comfort Temperature [C](Hourly) | EMS:Adaptive Cooling Setpoint Temperature [C](Hourly) | EMS:Adaptive Heating Setpoint Temperature [C](Hourly) | EMS:Adaptive Cooling Setpoint Temperature_No Tolerance [C](Hourly) | EMS:Adaptive Heating Setpoint Temperature_No Tolerance [C](Hourly) | EMS:Ventilation Setpoint Temperature [C](Hourly) | EMS:Minimum Outdoor Temperature for ventilation [C](Hourly) | BLOCK1:ZONE1:Zone Operative Temperature [C](Hourly) | BLOCK1:ZONE3:Zone Operative Temperature [C](Hourly) | BLOCK1:ZONE5:Zone Operative Temperature [C](Hourly) | BLOCK1:ZONE2:Zone Operative Temperature [C](Hourly) | BLOCK1:ZONE4:Zone Operative Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE1:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE1:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE3:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE3:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE5:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE5:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE2:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE2:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE4:Zone Thermal Comfort ASHRAE 55 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | PEOPLE BLOCK1:ZONE4:Zone Thermal Comfort CEN 15251 Adaptive Model Running Average Outdoor Air Temperature [C](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK1_ZONE1 [H](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK1_ZONE3 [H](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK1_ZONE5 [H](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK1_ZONE2 [H](Hourly) | EMS:Comfortable Hours_No Applicability_BLOCK1_ZONE4 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK1_ZONE1 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK1_ZONE3 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK1_ZONE5 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK1_ZONE2 [H](Hourly) | EMS:Comfortable Hours_Applicability_BLOCK1_ZONE4 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK1_ZONE1 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK1_ZONE3 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK1_ZONE5 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK1_ZONE2 [H](Hourly) | EMS:Discomfortable Applicable Hot Hours_BLOCK1_ZONE4 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK1_ZONE1 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK1_ZONE3 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK1_ZONE5 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK1_ZONE2 [H](Hourly) | EMS:Discomfortable Applicable Cold Hours_BLOCK1_ZONE4 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK1_ZONE1 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK1_ZONE3 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK1_ZONE5 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK1_ZONE2 [H](Hourly) | EMS:Discomfortable Non Applicable Hot Hours_BLOCK1_ZONE4 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK1_ZONE1 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK1_ZONE3 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK1_ZONE5 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK1_ZONE2 [H](Hourly) | EMS:Discomfortable Non Applicable Cold Hours_BLOCK1_ZONE4 [H](Hourly) | EMS:Zone Floor Area_BLOCK1_ZONE1 [m2](Hourly) | EMS:Zone Floor Area_BLOCK1_ZONE3 [m2](Hourly) | EMS:Zone Floor Area_BLOCK1_ZONE5 [m2](Hourly) | EMS:Zone Floor Area_BLOCK1_ZONE2 [m2](Hourly) | EMS:Zone Floor Area_BLOCK1_ZONE4 [m2](Hourly) | EMS:Zone Air Volume_BLOCK1_ZONE1 [m3](Hourly) | EMS:Zone Air Volume_BLOCK1_ZONE3 [m3](Hourly) | EMS:Zone Air Volume_BLOCK1_ZONE5 [m3](Hourly) | EMS:Zone Air Volume_BLOCK1_ZONE2 [m3](Hourly) | EMS:Zone Air Volume_BLOCK1_ZONE4 [m3](Hourly) | EMS:Ventilation Hours_BLOCK1_ZONE1 [H](Hourly) | EMS:Ventilation Hours_BLOCK1_ZONE3 [H](Hourly) | EMS:Ventilation Hours_BLOCK1_ZONE5 [H](Hourly) | EMS:Ventilation Hours_BLOCK1_ZONE2 [H](Hourly) | EMS:Ventilation Hours_BLOCK1_ZONE4 [H](Hourly) | BLOCK1:ZONE1:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK1:ZONE1:AFN Zone Infiltration Air Change Rate [ach](Hourly) | BLOCK1:ZONE3:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK1:ZONE3:AFN Zone Infiltration Air Change Rate [ach](Hourly) | BLOCK1:ZONE5:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK1:ZONE5:AFN Zone Infiltration Air Change Rate [ach](Hourly) | BLOCK1:ZONE2:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK1:ZONE2:AFN Zone Infiltration Air Change Rate [ach](Hourly) | BLOCK1:ZONE4:AFN Zone Infiltration Volume [m3](Hourly) | BLOCK1:ZONE4:AFN Zone Infiltration Air Change Rate [ach](Hourly) | Whole Building:Facility Total HVAC Electricity Demand Rate [W](Hourly) | FORSCRIPT_AHST_BLOCK1_ZONE1:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK1_ZONE1:Schedule Value [](Hourly) | FORSCRIPT_AHST_BLOCK1_ZONE3:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK1_ZONE3:Schedule Value [](Hourly) | FORSCRIPT_AHST_BLOCK1_ZONE5:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK1_ZONE5:Schedule Value [](Hourly) | FORSCRIPT_AHST_BLOCK1_ZONE2:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK1_ZONE2:Schedule Value [](Hourly) | FORSCRIPT_AHST_BLOCK1_ZONE4:Schedule Value [](Hourly) | FORSCRIPT_ACST_BLOCK1_ZONE4:Schedule Value [](Hourly) | BLOCK1:ZONE1 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate [W](Hourly) | BLOCK1:ZONE3 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate [W](Hourly) | BLOCK1:ZONE5 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate [W](Hourly) | BLOCK1:ZONE2 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate [W](Hourly) | BLOCK1:ZONE4 VRF INDOOR UNIT DX COOLING COIL:Cooling Coil Total Cooling Rate [W](Hourly) | BLOCK1:ZONE1 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate [W](Hourly) | BLOCK1:ZONE3 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate [W](Hourly) | BLOCK1:ZONE5 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate [W](Hourly) | BLOCK1:ZONE2 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate [W](Hourly) | BLOCK1:ZONE4 VRF INDOOR UNIT DX HEATING COIL:Heating Coil Heating Rate [W](Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE1:VRF Heat Pump Cooling Electricity Energy [J](Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE1:VRF Heat Pump Heating Electricity Energy [J](Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE3:VRF Heat Pump Cooling Electricity Energy [J](Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE3:VRF Heat Pump Heating Electricity Energy [J](Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE5:VRF Heat Pump Cooling Electricity Energy [J](Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE5:VRF Heat Pump Heating Electricity Energy [J](Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE2:VRF Heat Pump Cooling Electricity Energy [J](Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE2:VRF Heat Pump Heating Electricity Energy [J](Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE4:VRF Heat Pump Cooling Electricity Energy [J](Hourly) | VRF OUTDOOR UNIT_BLOCK1:ZONE4:VRF Heat Pump Heating Electricity Energy [J](Hourly)
0 | 01/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present.csv | 01/01 | 01 | 01 | 01 | 00 | 00 | 744 | -7.6993 | 83.2571 | 2.3979 | 16.0603 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.1308 | 20.1164 | 20.1217 | 20.5325 | 20.1154 | -5.6171 | -7.0072 | -5.6171 | -7.0072 | -5.6171 | -7.0072 | -5.6171 | -7.0072 | -5.6171 | -7.0072 | 720.5 | 602 | 373.5 | 588.5 | 719.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 744 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 3010.5888 | 73.3499 | 2482.3138 | 285.4809 | 2872.5454 | 73.5114 | 1748.6549 | 52.7135 | 591.9886 | 174.6897 | 18086927.4165 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 0 | 0 | 0 | 0 | 0 | 401634.7247 | 615010.9188 | 12317005.2831 | 174198.9021 | 133812.5053 | 0 | 1519911526.3971 | 0 | 2376327950.2456 | 0 | 45292350382.7128 | 0 | 664623734.4579 | 0 | 499827509.8763
1 | 02/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present.csv | 02/01 | 02 | 01 | 01 | 00 | 00 | 672 | -6.7416 | 79.7898 | 2.6924 | 15.2263 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.2054 | 20.2029 | 20.2133 | 20.6244 | 20.2037 | -8.3018 | -7.835 | -8.3018 | -7.835 | -8.3018 | -7.835 | -8.3018 | -7.835 | -8.3018 | -7.835 | 632.5 | 497.5 | 330 | 501.5 | 642.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 672 | 672 | 672 | 672 | 672 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 2397.1806 | 58.4049 | 2046.4253 | 235.3511 | 2410.5976 | 61.6897 | 1507.4827 | 45.4433 | 519.4923 | 153.2968 | 15610671.1723 | 13574.4 | 17640 | 13574.4 | 17640 | 13574.4 | 17640 | 13574.4 | 17640 | 13574.4 | 17640 | 0 | 0 | 0 | 0 | 0 | 322433.9068 | 522702.7404 | 10587658.1753 | 131412.4071 | 113342.5142 | 0 | 1216845175.2433 | 0 | 2003564907.283 | 0 | 38709217952.1446 | 0 | 518220997.5553 | 0 | 419947871.1297
2 | 03/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present.csv | 03/01 | 03 | 01 | 01 | 00 | 00 | 744 | -1.3218 | 72.8071 | 3.0924 | 16.4152 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.2552 | 20.207 | 20.2453 | 20.5817 | 20.211 | -4.4633 | -2.1697 | -4.4633 | -2.1697 | -4.4633 | -2.1697 | -4.4633 | -2.1697 | -4.4633 | -2.1697 | 661 | 484.5 | 398.5 | 624.5 | 668 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 744 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 2058.8573 | 50.162 | 1807.9957 | 207.9303 | 2182.4293 | 55.8506 | 1398.6968 | 42.164 | 483.7511 | 142.75 | 11682840.5593 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 0 | 0 | 0 | 0 | 0 | 165720.1786 | 351942.539 | 7504494.7366 | 98752.025 | 77614.3145 | 0 | 571347019.7473 | 0 | 1220434951.7782 | 0 | 24910289306.0112 | 0 | 341395166.9093 | 0 | 261880287.7197
3 | 04/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present.csv | 04/01 | 04 | 01 | 01 | 00 | 00 | 720 | 5.4906 | 66.2264 | 3.1992 | 18.418 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.799 | 20.5286 | 20.5774 | 20.8656 | 20.5184 | 1.9983 | 4.3029 | 1.9983 | 4.3029 | 1.9983 | 4.3029 | 1.9983 | 4.3029 | 1.9983 | 4.3029 | 698 | 543.5 | 537 | 685.5 | 629 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 720 | 720 | 720 | 720 | 720 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 1663.517 | 40.5299 | 1390.4613 | 159.9114 | 1701.9813 | 43.5554 | 1084.7362 | 32.6996 | 348.7799 | 102.9214 | 6932373.2215 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 0 | 0 | 1391.7284 | 0 | 0 | 38786.7834 | 137185.5589 | 3219728.3546 | 44609.7602 | 30738.5756 | 0 | 122572349.1518 | 0 | 429542214.2716 | 4113047.4199 | 9952098972.7252 | 0 | 141030605.0926 | 0 | 95232409.7527
4 | 05/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present.csv | 05/01 | 05 | 01 | 01 | 00 | 00 | 744 | 12.648 | 65.6761 | 3.1021 | 20.6243 | 28.25 | 23.88 | 28.35 | 23.78 | 24.4455 | 16.88 | 25.314 | 24.8902 | 24.8229 | 25.2526 | 24.7852 | 9.1155 | 11.8815 | 9.1155 | 11.8815 | 9.1155 | 11.8815 | 9.1155 | 11.8815 | 9.1155 | 11.8815 | 734.5 | 654.5 | 657.5 | 732 | 699 | 263.5 | 263.5 | 263.5 | 263.5 | 263.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 480.5 | 480.5 | 480.5 | 480.5 | 480.5 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 116 | 110.5 | 111.5 | 115.5 | 107.5 | 1286.717 | 31.3495 | 1111.7577 | 127.8588 | 1479.4978 | 37.8619 | 1029.2328 | 31.0264 | 301.9524 | 89.1031 | 5217025.5934 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 517.76 | 357.2766 | 70174.2211 | 63.9017 | 0 | 14916.011 | 52157.1535 | 1489667.1375 | 21657.3305 | 15275.3778 | 1395717.3089 | 39490013.4823 | 998228.8018 | 122087478.6184 | 218390008.7463 | 3681659871.4933 | 178434.344 | 56873131.8641 | 0 | 36747432.3488
5 | 06/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present.csv | 06/01 | 06 | 01 | 01 | 00 | 00 | 720 | 16.9152 | 73.2135 | 2.5963 | 22.4571 | 28.25 | 23.88 | 28.35 | 23.78 | 22.4571 | 16.88 | 26.9674 | 26.5972 | 26.3479 | 26.8686 | 26.3641 | 15.0257 | 16.2659 | 15.0257 | 16.2659 | 15.0257 | 16.2659 | 15.0257 | 16.2659 | 15.0257 | 16.2659 | 688.5 | 673 | 704 | 689 | 711 | 688.5 | 676 | 712.5 | 689 | 711 | 31.5 | 44 | 7.5 | 31 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 329.5 | 331.5 | 327.5 | 331 | 324.5 | 1060.4535 | 25.8369 | 900.1129 | 103.5184 | 1100.122 | 28.1532 | 729.5105 | 21.9912 | 239.7279 | 70.7412 | 4483654.8743 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 40544.5505 | 21981.1316 | 435100.0859 | 32273.7687 | 2549.3596 | 0 | 3068.7715 | 174743.8797 | 0 | 1085.5581 | 117302338.0395 | 0 | 64794300.8165 | 6428640.1868 | 1322113987.7292 | 383529779.7975 | 97037603.3084 | 0 | 7439244.2351 | 2322993.1222
6 | 07/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present.csv | 07/01 | 07 | 01 | 01 | 00 | 00 | 744 | 20.9881 | 75.373 | 2.4938 | 23.5617 | 28.25 | 23.88 | 28.35 | 23.78 | 23.5617 | 16.88 | 28.1247 | 27.9903 | 27.8776 | 28.086 | 27.8937 | 18.589 | 20.2354 | 18.589 | 20.2354 | 18.589 | 20.2354 | 18.589 | 20.2354 | 18.589 | 20.2354 | 613.5 | 564 | 601 | 623 | 649 | 613.5 | 564 | 601 | 623 | 649 | 130.5 | 180 | 143 | 121 | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 584 | 585.5 | 585 | 584 | 584 | 704.7662 | 17.1709 | 651.1546 | 74.8867 | 839.9992 | 21.4964 | 574.9439 | 17.3318 | 196.4594 | 57.9731 | 5533230.7198 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 170654.1676 | 85662.0109 | 1401579.5009 | 142770.0603 | 16265.0798 | 0 | 0 | 0 | 0 | 0 | 483182171.1738 | 0 | 246810771.9447 | 0 | 4110000155.0038 | 0 | 418677170.1018 | 0 | 47194100.5263 | 0
7 | 08/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present.csv | 08/01 | 08 | 01 | 01 | 00 | 00 | 744 | 21.4077 | 76.7413 | 2.3863 | 24.6559 | 28.25 | 23.88 | 28.35 | 23.78 | 24.6559 | 16.88 | 28.1765 | 28.047 | 27.9997 | 28.1577 | 27.9849 | 22.1162 | 21.6087 | 22.1162 | 21.6087 | 22.1162 | 21.6087 | 22.1162 | 21.6087 | 22.1162 | 21.6087 | 616 | 561 | 577.5 | 628.5 | 644 | 616 | 561 | 577.5 | 628.5 | 644 | 128 | 183 | 166.5 | 115.5 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 594 | 597 | 598.5 | 596.5 | 592 | 928.5552 | 22.6233 | 764.4156 | 87.9124 | 978.0355 | 25.0289 | 649.3023 | 19.5733 | 189.8273 | 56.0161 | 5594060.6282 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 158358.5581 | 76738.832 | 1482758.8028 | 155978.8324 | 16158.9066 | 0 | 0 | 0 | 0 | 0 | 446971631.3662 | 0 | 221539817.0347 | 0 | 4353255611.9873 | 0 | 456308389.4294 | 0 | 46822414.2553 | 0
8 | 09/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present.csv | 09/01 | 09 | 01 | 01 | 00 | 00 | 720 | 16.2553 | 79.2122 | 2.2916 | 23.6558 | 28.25 | 23.88 | 28.35 | 23.78 | 23.6558 | 16.88 | 26.5666 | 25.9952 | 26.199 | 26.7051 | 26.0328 | 18.8864 | 17.2481 | 18.8864 | 17.2481 | 18.8864 | 17.2481 | 18.8864 | 17.2481 | 18.8864 | 17.2481 | 702.5 | 684.5 | 683 | 691.5 | 707 | 702.5 | 697.5 | 694.5 | 691.5 | 709 | 17.5 | 22.5 | 25.5 | 28.5 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 312 | 312 | 312 | 312 | 311.5 | 1099.7599 | 26.7945 | 935.287 | 107.5636 | 1198.765 | 30.6776 | 820.0725 | 24.7212 | 251.7982 | 74.3031 | 4364898.6072 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 20713.0518 | 8473.9776 | 324388.7583 | 35536.212 | 1512.4841 | 0 | 7526.0738 | 195749.8342 | 9.0481 | 1449.7013 | 57905091.9286 | 0 | 24367816.9427 | 14670859.4991 | 947132235.2193 | 419705570.4319 | 102685984.6819 | 17170.6764 | 4358509.2376 | 2847903.3347
9 | 10/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present.csv | 10/01 | 10 | 01 | 01 | 00 | 00 | 744 | 9.3892 | 75.9617 | 2.7077 | 21.9679 | 26.25 | 20.2 | 26.35 | 20.1 | 22.1235 | 13.2 | 21.9296 | 21.311 | 21.7873 | 22.3748 | 21.466 | 13.4401 | 10.9106 | 13.4401 | 10.9106 | 13.4401 | 10.9106 | 13.4401 | 10.9106 | 13.4401 | 10.9106 | 739.5 | 663.5 | 642 | 729 | 728.5 | 692.5 | 696.5 | 696 | 688.5 | 696.5 | 4 | 0 | 0.5 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47.5 | 47.5 | 47.5 | 47.5 | 47.5 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 99 | 70 | 138 | 159.5 | 74.5 | 1580.3548 | 38.5037 | 1271.1535 | 146.1903 | 1659.8123 | 42.4763 | 1131.1818 | 34.0997 | 304.2918 | 89.7934 | 5044050.8346 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 1391.7053 | 0 | 21931.952 | 6986.9572 | 0 | 9451.8052 | 68688.0846 | 1096235.8833 | 12537.8478 | 12902.277 | 3565434.0791 | 27678836.7581 | 0 | 190587381.8456 | 61400082.2106 | 3148365377.5297 | 18442407.4467 | 36628587.1912 | 0 | 36557206.1814
10 | 11/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present.csv | 11/01 | 11 | 01 | 01 | 00 | 00 | 720 | 2.1094 | 80.4 | 2.9974 | 19.5724 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.2786 | 20.208 | 20.2883 | 20.6103 | 20.2262 | 5.7124 | 3.1504 | 5.7124 | 3.1504 | 5.7124 | 3.1504 | 5.7124 | 3.1504 | 5.7124 | 3.1504 | 702.5 | 563 | 375.5 | 669 | 696.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 720 | 720 | 720 | 720 | 720 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 1802.9417 | 43.9268 | 1572.0228 | 180.792 | 1939.4535 | 49.6326 | 1267.1767 | 38.1993 | 412.5924 | 121.7518 | 8844914.0064 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 0 | 0 | 0 | 0 | 0 | 134173.3562 | 302661.7839 | 5017994.6114 | 88895.6267 | 63867.2548 | 0 | 427738373.1228 | 0 | 954515338.5844 | 0 | 15723607062.5613 | 0 | 283881284.4433 | 0 | 199458455.3605
11 | 12/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_Present.csv | 12/01 | 12 | 01 | 01 | 00 | 00 | 744 | -4.5547 | 82.2151 | 2.8959 | 17.2628 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.2029 | 20.199 | 20.2205 | 20.6008 | 20.2014 | -1.7376 | -3.6682 | -1.7376 | -3.6682 | -1.7376 | -3.6682 | -1.7376 | -3.6682 | -1.7376 | -3.6682 | 739 | 631 | 377 | 640.5 | 737 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 744 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 2703.2032 | 65.8608 | 2238.4242 | 257.4322 | 2648.4736 | 67.7772 | 1646.4973 | 49.634 | 535.6655 | 158.0694 | 14879350.4866 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 0 | 0 | 0 | 0 | 0 | 321874.0926 | 533717.9561 | 10027350.3208 | 162740.5639 | 113888.965 | 0 | 1139405720.1621 | 0 | 1928505457.2474 | 0 | 34751975330.4183 | 0 | 578622995.0725 | 0 | 398741686.2453
0 | 12/27 07:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050.csv | [6 empty] | 1 | -5.85 | 97 | 2.825 | 16.9946 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.1124 | 20.0399 | 19.6934 | 20.0538 | 20.1184 | -2.598 | -5.3112 | -2.598 | -5.3112 | -2.598 | -5.3112 | -2.598 | -5.3112 | -2.598 | -5.3112 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 2.6355 | 0.064211 | 2.5235 | 0.29021 | 3.7615 | 0.096262 | 2.8424 | 0.085686 | 0.75897 | 0.22396 | 21989.6478 | 20.2 | 26.25 | 20.2 | 26.25 | 20.2 | 26.25 | 20.2 | 26.25 | 20.2 | 26.25 | 0 | 0 | 0 | 0 | 0 | 538.8654 | 774.474 | 15800.0732 | 412.4917 | 174.9666 | 0 | 1842975.4559 | 0 | 2738103.4894 | 0 | 52715404.1874 | 0 | 1400777.0479 | 0 | 597609.5931
1 | 01/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050.csv | 01/01 | 01 | 01 | 01 | 00 | 00 | 744 | -5.9188 | 83.7221 | 2.3921 | 16.2724 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.2026 | 20.2019 | 20.2398 | 20.6306 | 20.2032 | -4.9318 | -5.944 | -4.9318 | -5.944 | -4.9318 | -5.944 | -4.9318 | -5.944 | -4.9318 | -5.944 | 725 | 581 | 366.5 | 612.5 | 726 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 744 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 2907.0735 | 70.8279 | 2385.066 | 274.2968 | 2747.9355 | 70.3225 | 1663.3147 | 50.1409 | 562.7141 | 166.0511 | 16340009.3998 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 0 | 0 | 0 | 0 | 0 | 349249.377 | 565002.2215 | 11069236.8776 | 162062.8569 | 121551.0504 | 0 | 1285676084.6628 | 0 | 2114790258.6819 | 0 | 39610986736.9416 | 0 | 609370046.1175 | 0 | 440399142.8472
2 | 02/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050.csv | 02/01 | 02 | 01 | 01 | 00 | 00 | 672 | -4.6319 | 79.4699 | 2.7 | 16.0467 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.2094 | 20.1968 | 20.2292 | 20.6214 | 20.2009 | -5.6543 | -4.149 | -5.6543 | -4.149 | -5.6543 | -4.149 | -5.6543 | -4.149 | -5.6543 | -4.149 | 627.5 | 482 | 353.5 | 555 | 621 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 672 | 672 | 672 | 672 | 672 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 2309.5079 | 56.2688 | 1949.4424 | 224.1975 | 2283.5606 | 58.4387 | 1415.8055 | 42.6797 | 485.491 | 143.2634 | 13479103.5769 | 13574.4 | 17640 | 13574.4 | 17640 | 13574.4 | 17640 | 13574.4 | 17640 | 13574.4 | 17640 | 0 | 0 | 0 | 0 | 0 | 260071.9452 | 448424.5386 | 9066792.3831 | 114477.5092 | 98747.2781 | 0 | 940200008.8131 | 0 | 1639508319.9743 | 0 | 31840593146.811 | 0 | 422659846.6847 | 0 | 351247032.5214
3 | 03/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050.csv | 03/01 | 03 | 01 | 01 | 00 | 00 | 744 | 0.40212 | 72.7231 | 3.101 | 17.2212 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.2882 | 20.2181 | 20.2698 | 20.6223 | 20.2191 | -1.8643 | -1.0921 | -1.8643 | -1.0921 | -1.8643 | -1.0921 | -1.8643 | -1.0921 | -1.8643 | -1.0921 | 681 | 487 | 439.5 | 657.5 | 632.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 744 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 1958.5905 | 47.7191 | 1708.5747 | 196.4963 | 2052.9998 | 52.5384 | 1310.2112 | 39.4966 | 451.4353 | 133.2139 | 10274253.1657 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 0 | 0 | 0 | 0 | 0 | 130075.0069 | 307207.96 | 6261918.3082 | 85550.1964 | 68710.7037 | 0 | 433946910.9846 | 0 | 1026047520.0304 | 0 | 20278642511.3388 | 0 | 286782378.9665 | 0 | 224282404.1672
4 | 04/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050.csv | 04/01 | 04 | 01 | 01 | 00 | 00 | 720 | 7.1442 | 66.2431 | 3.2001 | 18.8362 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 21.162 | 20.8021 | 20.8679 | 21.2213 | 20.7972 | 3.3475 | 6.6135 | 3.3475 | 6.6135 | 3.3475 | 6.6135 | 3.3475 | 6.6135 | 3.3475 | 6.6135 | 708 | 574 | 580.5 | 702 | 656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 720 | 720 | 720 | 720 | 720 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 43 | 29 | 34.5 | 45 | 28 | 1587.6358 | 38.6811 | 1309.9281 | 150.6496 | 1604.6993 | 41.0659 | 1027.0328 | 30.9601 | 324.0876 | 95.6349 | 6023065.5933 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 0 | 0 | 5449.2194 | 0 | 0 | 23531.682 | 104814.9271 | 2297238.0502 | 21656.0593 | 23237.1651 | 0 | 73146435.2214 | 0 | 318829519.7609 | 16304929.808 | 6952624121.4925 | 0 | 66694737.7013 | 0 | 70144724.8472
5 | 05/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050.csv | 05/01 | 05 | 01 | 01 | 00 | 00 | 744 | 14.178 | 65.915 | 3.0941 | 21.231 | 28.25 | 23.88 | 28.35 | 23.78 | 22.6842 | 16.88 | 25.7106 | 25.2733 | 25.2455 | 25.6668 | 25.1908 | 11.0724 | 12.6263 | 11.0724 | 12.6263 | 11.0724 | 12.6263 | 11.0724 | 12.6263 | 11.0724 | 12.6263 | 734 | 685.5 | 683.5 | 732 | 721.5 | 543.5 | 542.5 | 551.5 | 546.5 | 551.5 | 8 | 9 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 192.5 | 192.5 | 192.5 | 192.5 | 192.5 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 234.5 | 205.5 | 227 | 229.5 | 210 | 1232.5577 | 30.03 | 1039.8437 | 119.5882 | 1374.7298 | 35.1807 | 944.8429 | 28.4825 | 272.5426 | 80.4245 | 4828422.4397 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 4729.9232 | 2216.0504 | 110169.8395 | 4198.8424 | 404.9714 | 12948.7198 | 34791.1025 | 953947.5293 | 16703.0406 | 9923.9809 | 13714794.5477 | 26617321.1424 | 6438667.8528 | 74838899.1 | 331192595.1873 | 2242988414.5655 | 12498536.307 | 35240951.1373 | 1149919.8515 | 21453184.84
6 | 06/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050.csv | 06/01 | 06 | 01 | 01 | 00 | 00 | 720 | 18.3471 | 73.0976 | 2.598 | 22.9053 | 28.25 | 23.88 | 28.35 | 23.78 | 22.9053 | 16.88 | 27.555 | 27.2872 | 27.0262 | 27.4734 | 27.0606 | 16.4717 | 17.8982 | 16.4717 | 17.8982 | 16.4717 | 17.8982 | 16.4717 | 17.8982 | 16.4717 | 17.8982 | 663 | 638.5 | 660.5 | 666.5 | 677.5 | 663 | 638.5 | 660.5 | 666.5 | 677.5 | 57 | 81.5 | 59.5 | 53.5 | 42.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 426 | 427.5 | 426.5 | 426 | 426 | 995.0517 | 24.2434 | 839.5847 | 96.5573 | 1022.0828 | 26.1561 | 672.1175 | 20.2611 | 220.61 | 65.0997 | 4755210.8525 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 82028.7019 | 39345.0028 | 746036.5963 | 66220.7926 | 6527.7359 | 0 | 413.0576 | 81213.2388 | 0 | 165.1009 | 236231539.2195 | 0 | 115958619.9737 | 847511.873 | 2235343589.8946 | 171352267.591 | 198361140.2055 | 0 | 19413856.4512 | 336219.0594
7 | 07/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050.csv | 07/01 | 07 | 01 | 01 | 00 | 00 | 744 | 21.8681 | 74.9304 | 2.5035 | 24.0791 | 28.25 | 23.88 | 28.35 | 23.78 | 24.0791 | 16.88 | 28.205 | 28.1269 | 28.0547 | 28.1819 | 28.0535 | 20.2576 | 21.5021 | 20.2576 | 21.5021 | 20.2576 | 21.5021 | 20.2576 | 21.5021 | 20.2576 | 21.5021 | 595 | 519.5 | 554.5 | 592 | 629 | 595 | 519.5 | 554.5 | 592 | 629 | 149 | 224.5 | 189.5 | 152 | 115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 617 | 620.5 | 621.5 | 617.5 | 618 | 677.7149 | 16.5118 | 617.4189 | 71.0069 | 790.225 | 20.2227 | 530.7776 | 16.0004 | 184.2767 | 54.3781 | 5814068.6821 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 200276.4009 | 105624.7032 | 1669063.6982 | 168074.374 | 20683.3966 | 0 | 0 | 0 | 0 | 0 | 568608632.9083 | 0 | 304576254.2436 | 0 | 4891085091.7437 | 0 | 492123995.2268 | 0 | 59931958.9376 | 0
8 | 08/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050.csv | 08/01 | 08 | 01 | 01 | 00 | 00 | 744 | 22.3832 | 77.1452 | 2.4032 | 24.3677 | 28.25 | 23.88 | 28.35 | 23.78 | 24.3677 | 16.88 | 28.1974 | 28.1135 | 28.0704 | 28.1841 | 28.0679 | 21.1866 | 22.019 | 21.1866 | 22.019 | 21.1866 | 22.019 | 21.1866 | 22.019 | 21.1866 | 22.019 | 618 | 545 | 563 | 602 | 620.5 | 618 | 545 | 563 | 602 | 620.5 | 126 | 199 | 181 | 142 | 123.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 609 | 613 | 613 | 612.5 | 608.5 | 847.828 | 20.6565 | 676.5129 | 77.803 | 876.9355 | 22.4417 | 580.8232 | 17.509 | 159.992 | 47.212 | 5956730.9291 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 17766.72 | 21018 | 188246.956 | 97873.0076 | 1837951.3474 | 177087.2794 | 20688.852 | 0 | 0 | 0 | 0 | 0 | 540045353.6533 | 0 | 285833545.2768 | 0 | 5421252617.9535 | 0 | 521905413.5768 | 0 | 60853845.1688 | 0
9 | 09/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050.csv | 09/01 | 09 | 01 | 01 | 00 | 00 | 720 | 17.5025 | 77.9656 | 2.308 | 24.3033 | 28.25 | 23.88 | 28.35 | 23.78 | 24.3033 | 16.88 | 27.1306 | 26.6198 | 26.7929 | 27.2644 | 26.6427 | 20.975 | 19.0543 | 20.975 | 19.0543 | 20.975 | 19.0543 | 20.975 | 19.0543 | 20.975 | 19.0543 | 706 | 679.5 | 675 | 681 | 698.5 | 706 | 696.5 | 684.5 | 681 | 703 | 14 | 23.5 | 35.5 | 39 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 358 | 355.5 | 360.5 | 360.5 | 353 | 1071.2207 | 26.0992 | 908.1456 | 104.4422 | 1147.5572 | 29.3672 | 780.8051 | 23.5375 | 241.9701 | 71.4029 | 4583453.0814 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 17193.6 | 20340 | 25302.3923 | 13594.1061 | 595671.1637 | 69303.7215 | 2365.5267 | 169.1936 | 8456.4181 | 125724.2989 | 637.3571 | 1608.3857 | 72008246.3954 | 347901.8877 | 39606774.646 | 16503608.7578 | 1759850712.636 | 256016550.5171 | 204207462.243 | 1344710.1737 | 6965878.101 | 3243695.083
10 | 10/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050.csv | 10/01 | 10 | 01 | 01 | 00 | 00 | 744 | 10.908 | 75.4879 | 2.6922 | 22.1559 | 26.25 | 20.2 | 26.35 | 20.1 | 22.1559 | 13.2 | 22.3775 | 21.6799 | 22.1983 | 22.8039 | 21.8336 | 14.0468 | 11.6781 | 14.0468 | 11.6781 | 14.0468 | 11.6781 | 14.0468 | 11.6781 | 14.0468 | 11.6781 | 742 | 695.5 | 702 | 736 | 742 | 744 | 744 | 743.5 | 737 | 744 | 0 | 0 | 0.5 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 164.5 | 147.5 | 176 | 187.5 | 153 | 1501.2108 | 36.5755 | 1186.138 | 136.413 | 1547.94 | 39.6134 | 1052.1425 | 31.717 | 278.1949 | 82.0925 | 4588370.5604 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 15028.8 | 19530 | 0 | 0 | 81530.9074 | 11142.6435 | 0 | 1654.1742 | 36721.0482 | 530240.0572 | 1052.7383 | 6027.3048 | 0 | 4558098.285 | 0 | 98438129.0146 | 235587004.8285 | 1509585048.629 | 31562418.5803 | 3022094.9369 | 0 | 16486218.7562
11 | 11/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050.csv | 11/01 | 11 | 01 | 01 | 00 | 00 | 720 | 3.711 | 80.0851 | 2.9937 | 20.1974 | 26.25 | 20.2 | 26.35 | 20.1 | 22.7478 | 13.2 | 20.3494 | 20.2119 | 20.3533 | 20.6975 | 20.2474 | 7.7288 | 5.1273 | 7.7288 | 5.1273 | 7.7288 | 5.1273 | 7.7288 | 5.1273 | 7.7288 | 5.1273 | 705.5 | 562 | 451 | 666 | 682.5 | 168.5 | 168.5 | 168.5 | 168.5 | 168.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 551.5 | 551.5 | 551.5 | 551.5 | 551.5 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 1723.4324 | 41.9897 | 1482.6704 | 170.516 | 1831.8354 | 46.8785 | 1196.8519 | 36.0793 | 383.0327 | 113.029 | 7706502.3755 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 14544 | 18900 | 0 | 0 | 0 | 0 | 0 | 95363.5261 | 249761.7512 | 3948439.6618 | 54680.816 | 51384.3972 | 0 | 297620270.6446 | 0 | 764651478.2746 | 0 | 12118448050.639 | 0 | 171623413.0107 | 0 | 156617937.9301
12 | 12/01 01:00:00 | JapaneseApartment[AS_ASHRAE55[CA_80[CM_0[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.1[NS_X[Japan_Asahikawa_RCP26-2050.csv | 12/01 | 12 | 01 | 01 | 00 | 00 | 743 | -3.2532 | 81.7978 | 2.896 | 17.7908 | 26.25 | 20.2 | 26.35 | 20.1 | 23.225 | 13.2 | 20.2031 | 20.1985 | 20.2097 | 20.5191 | 20.2017 | -0.034496 | -2.3708 | -0.034496 | -2.3708 | -0.034496 | -2.3708 | -0.034496 | -2.3708 | -0.034496 | -2.3708 | 724 | 592.5 | 358 | 630 | 727 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 743 | 743 | 743 | 743 | 743 | 15.7863 | 3.3443 | 15.0293 | 12.7588 | 1.3034 | 41.0442 | 8.6952 | 39.0762 | 33.1728 | 3.3888 | 0 | 0 | 0 | 0 | 0 | 2615.6456 | 63.7275 | 2157.5797 | 248.1346 | 2551.2531 | 65.2892 | 1578.9952 | 47.5991 | 512.5451 | 151.2468 | 13654592.6416 | 15008.6 | 19503.75 | 15008.6 | 19503.75 | 15008.6 | 19503.75 | 15008.6 | 19503.75 | 15008.6 | 19503.75 | 0 | 0 | 0 | 0 | 0 | 276525.4518 | 476993.8768 | 9116917.7504 | 146335.0644 | 98999.1852 | 0 | 955096634.6768 | 0 | 1679814532.9934 | 0 | 30927808308.0832 | 0 | 508154699.9685 | 0 | 338344210.7531