## Sheet1
|  |  |  | Building_Total_Cooling Energy Demand (kWh/m2) (summed) | [18 empty] | Building_Total_Heating Energy Demand (kWh/m2) (summed) | [18 empty] | Building_Total_Total Energy Demand (kWh/m2) (summed)
|  |  |  | Present[Present | RCP26[2050 | RCP26[2100 | RCP45[2050 | RCP45[2100 | RCP85[2050 | RCP85[2100 | 1-(Present[Present/RCP26[2050) | RCP26[2050 - Present[Present | 1-(Present[Present/RCP26[2100) | RCP26[2100 - Present[Present | 1-(Present[Present/RCP45[2050) | RCP45[2050 - Present[Present | 1-(Present[Present/RCP45[2100) | RCP45[2100 - Present[Present | 1-(Present[Present/RCP85[2050) | RCP85[2050 - Present[Present | 1-(Present[Present/RCP85[2100) | RCP85[2100 - Present[Present | Present[Present | RCP26[2050 | RCP26[2100 | RCP45[2050 | RCP45[2100 | RCP85[2050 | RCP85[2100 | 1-(Present[Present/RCP26[2050) | RCP26[2050 - Present[Present | 1-(Present[Present/RCP26[2100) | RCP26[2100 - Present[Present | 1-(Present[Present/RCP45[2050) | RCP45[2050 - Present[Present | 1-(Present[Present/RCP45[2100) | RCP45[2100 - Present[Present | 1-(Present[Present/RCP85[2050) | RCP85[2050 - Present[Present | 1-(Present[Present/RCP85[2100) | RCP85[2100 - Present[Present | Present[Present | RCP26[2050 | RCP26[2100 | RCP45[2050 | RCP45[2100 | RCP85[2050 | RCP85[2100 | 1-(Present[Present/RCP26[2050) | RCP26[2050 - Present[Present | 1-(Present[Present/RCP26[2100) | RCP26[2100 - Present[Present | 1-(Present[Present/RCP45[2050) | RCP45[2050 - Present[Present | 1-(Present[Present/RCP45[2100) | RCP45[2100 - Present[Present | 1-(Present[Present/RCP85[2050) | RCP85[2050 - Present[Present | 1-(Present[Present/RCP85[2100) | RCP85[2100 - Present[Present
AdapStand | ComfMod | HVACmode | EPW_City_or_subcountry
AS_ASHRAE55 | CM_3 | HM_0 | Asahikawa | 96.2338 | 123.7401 | 137.5759 | 131.3141 | 180.9594 | 153.5382 | 249.8608 | 0.22229 | 27.5063 | 0.3005 | 41.3421 | 0.26715 | 35.0803 | 0.4682 | 84.7256 | 0.37323 | 57.3044 | 0.61485 | 153.627 | 943.8916 | 788.1822 | 799.7571 | 749.9497 | 643.7649 | 724.802 | 418.625 | -0.19756 | -155.7094 | -0.18022 | -144.1345 | -0.25861 | -193.9419 | -0.46621 | -300.1267 | -0.30228 | -219.0895 | -1.2547 | -525.2665 | 1040.1254 | 911.9223 | 937.333 | 881.2638 | 824.7243 | 878.3402 | 668.4858 | -0.14059 | -128.2031 | -0.10966 | -102.7923 | -0.18027 | -158.8616 | -0.26118 | -215.4011 | -0.18419 | -161.7852 | -0.55594 | -371.6395
|  |  | Sapporo | 96.1253 | 126.7942 | 133.1953 | 138.5374 | 175.9174 | 157.4171 | 245.1568 | 0.24188 | 30.6689 | 0.27831 | 37.07 | 0.30614 | 42.4121 | 0.45358 | 79.7921 | 0.38936 | 61.2918 | 0.6079 | 149.0315 | 789.9576 | 657.8694 | 659.4815 | 624.923 | 519.2017 | 601.8039 | 339.6759 | -0.20078 | -132.0881 | -0.19785 | -130.4761 | -0.26409 | -165.0346 | -0.52148 | -270.7558 | -0.31265 | -188.1536 | -1.3256 | -450.2817 | 886.0829 | 784.6637 | 792.6768 | 763.4604 | 695.1191 | 759.221 | 584.8327 | -0.12925 | -101.4192 | -0.11784 | -93.406 | -0.16061 | -122.6225 | -0.27472 | -190.9637 | -0.16709 | -126.8618 | -0.5151 | -301.2502
|  |  | Morioka | 152.5418 | 179.7258 | 187.7518 | 185.3452 | 233.7456 | 211.4074 | 301.8699 | 0.15125 | 27.184 | 0.18753 | 35.21 | 0.17699 | 32.8034 | 0.3474 | 81.2038 | 0.27845 | 58.8655 | 0.49468 | 149.3281 | 500.2607 | 406.8268 | 411.7476 | 365.8215 | 305.6044 | 363.166 | 177.3785 | -0.22967 | -93.4339 | -0.21497 | -88.5131 | -0.3675 | -134.4393 | -0.63696 | -194.6563 | -0.3775 | -137.0948 | -1.8203 | -322.8822 | 652.8025 | 586.5526 | 599.4995 | 551.1667 | 539.35 | 574.5733 | 479.2484 | -0.11295 | -66.2499 | -0.088913 | -53.3031 | -0.1844 | -101.6359 | -0.21035 | -113.4525 | -0.13615 | -78.2292 | -0.36214 | -173.5541
|  |  | Niigata | 214.9263 | 251.9701 | 261.0946 | 257.5424 | 310.3335 | 275.4853 | 397.9349 | 0.14702 | 37.0439 | 0.17683 | 46.1683 | 0.16547 | 42.6161 | 0.30743 | 95.4073 | 0.21983 | 60.5591 | 0.4599 | 183.0086 | 257.8227 | 209.8772 | 210.1023 | 177.5794 | 118.6181 | 163.8827 | 57.2165 | -0.22845 | -47.9455 | -0.22713 | -47.7204 | -0.45187 | -80.2434 | -1.1736 | -139.2046 | -0.57322 | -93.94 | -3.5061 | -200.6062 | 472.749 | 461.8473 | 471.1969 | 435.1217 | 428.9517 | 439.368 | 455.1514 | -0.023604 | -10.9017 | -0.0032939 | -1.5521 | -0.086475 | -37.6273 | -0.1021 | -43.7973 | -0.075975 | -33.381 | -0.038663 | -17.5976
|  |  | Maebashi | 242.7989 | 280.3699 | 274.9754 | 291.8837 | 333.8236 | 301.1517 | 428.7654 | 0.134 | 37.5709 | 0.11702 | 32.1764 | 0.16817 | 49.0848 | 0.27267 | 91.0247 | 0.19377 | 58.3527 | 0.43373 | 185.9665 | 177.4462 | 113.4814 | 121.0318 | 117.8506 | 74.2785 | 96.2021 | 22.5098 | -0.56366 | -63.9648 | -0.46611 | -56.4144 | -0.50569 | -59.5956 | -1.3889 | -103.1677 | -0.84452 | -81.2442 | -6.8831 | -154.9364 | 420.2452 | 393.8513 | 396.0072 | 409.7343 | 408.1021 | 397.3537 | 451.2752 | -0.067015 | -26.3939 | -0.061206 | -24.238 | -0.025653 | -10.5108 | -0.029755 | -12.1431 | -0.05761 | -22.8914 | 0.068761 | 31.03
|  |  | Tokyo | 264.2605 | 311.7388 | 308.2179 | 324.9981 | 366.2627 | 335.7267 | 480.7849 | 0.1523 | 47.4782 | 0.14262 | 43.9574 | 0.18689 | 60.7376 | 0.27849 | 102.0021 | 0.21287 | 71.4662 | 0.45036 | 216.5243 | 88.2361 | 56.2315 | 49.9252 | 54.5232 | 22.2916 | 36.6431 | 3.8174 | -0.56916 | -32.0046 | -0.76736 | -38.3109 | -0.61832 | -33.7129 | -2.9583 | -65.9445 | -1.408 | -51.593 | -22.1142 | -84.4187 | 352.4966 | 367.9703 | 358.1432 | 379.5213 | 388.5542 | 372.3698 | 484.6023 | 0.042051 | 15.4737 | 0.015766 | 5.6465 | 0.071207 | 27.0247 | 0.092799 | 36.0576 | 0.053369 | 19.8732 | 0.27261 | 132.1057
|  |  | Kagoshima | 318.5613 | 377.9295 | 367.4869 | 378.5885 | 431.0265 | 402.3391 | 531.3487 | 0.15709 | 59.3683 | 0.13314 | 48.9256 | 0.15856 | 60.0272 | 0.26092 | 112.4652 | 0.20823 | 83.7778 | 0.40047 | 212.7874 | 46.6501 | 27.3013 | 26.064 | 27.3697 | 12.4608 | 22.7749 | 3.018 | -0.70871 | -19.3488 | -0.78983 | -20.5861 | -0.70445 | -19.2804 | -2.7437 | -34.1893 | -1.0483 | -23.8752 | -14.4572 | -43.632 | 365.2114 | 405.2308 | 393.5509 | 405.9582 | 443.4873 | 425.114 | 534.3667 | 0.098757 | 40.0195 | 0.07201 | 28.3395 | 0.10037 | 40.7468 | 0.1765 | 78.2759 | 0.14091 | 59.9026 | 0.31655 | 169.1554
|  |  | Naha | 511.0465 | 557.7875 | 552.7708 | 571.9737 | 633.1896 | 585.9091 | 730.48 | 0.083797 | 46.741 | 0.075482 | 41.7243 | 0.10652 | 60.9272 | 0.1929 | 122.1431 | 0.12777 | 74.8626 | 0.3004 | 219.4335 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 511.0465 | 557.7875 | 552.7708 | 571.9737 | 633.1896 | 585.9091 | 730.48 | 0.083797 | 46.741 | 0.075482 | 41.7243 | 0.10652 | 60.9272 | 0.1929 | 122.1431 | 0.12777 | 74.8626 | 0.3004 | 219.4335
AS_JPN | CM_0 | HM_0 | Asahikawa | 81.8062 | 110.5161 | 129.8524 | 123.814 | 183.6612 | 148.6051 | 282.8154 | 0.25978 | 28.7099 | 0.37001 | 48.0462 | 0.33928 | 42.0078 | 0.55458 | 101.8549 | 0.44951 | 66.7988 | 0.71074 | 201.0091 | 985.1308 | 822.1846 | 835.5752 | 785.1988 | 674.8846 | 758.5824 | 441.3717 | -0.19819 | -162.9461 | -0.17899 | -149.5555 | -0.25463 | -199.932 | -0.4597 | -310.2462 | -0.29865 | -226.5483 | -1.232 | -543.7591 | 1066.937 | 932.7007 | 965.4276 | 909.0128 | 858.5458 | 907.1875 | 724.187 | -0.14392 | -134.2363 | -0.10514 | -101.5094 | -0.17373 | -157.9242 | -0.24273 | -208.3912 | -0.17609 | -159.7495 | -0.47329 | -342.75
|  |  | Sapporo | 79.1235 | 113.2677 | 125.6486 | 127.9101 | 169.4938 | 149.9842 | 263.9403 | 0.30145 | 34.1441 | 0.37028 | 46.5251 | 0.38141 | 48.7865 | 0.53318 | 90.3702 | 0.47245 | 70.8607 | 0.70022 | 184.8167 | 824.0592 | 689.4321 | 693.4983 | 654.9785 | 546.8317 | 633.5221 | 361.2156 | -0.19527 | -134.6271 | -0.18826 | -130.561 | -0.25815 | -169.0807 | -0.50697 | -277.2276 | -0.30076 | -190.5372 | -1.2813 | -462.8436 | 903.1828 | 802.6998 | 819.1469 | 782.8886 | 716.3254 | 783.5063 | 625.1559 | -0.12518 | -100.483 | -0.10259 | -84.0359 | -0.15365 | -120.2942 | -0.26086 | -186.8574 | -0.15274 | -119.6765 | -0.44473 | -278.0269
|  |  | Morioka | 144.9965 | 183.4675 | 193.5365 | 192.3525 | 251.0465 | 225.1207 | 360.4935 | 0.20969 | 38.471 | 0.25081 | 48.5399 | 0.24619 | 47.356 | 0.42243 | 106.05 | 0.35592 | 80.1242 | 0.59778 | 215.497 | 529.4329 | 434.1255 | 437.5791 | 393.102 | 325.9829 | 385.9392 | 192.7136 | -0.21954 | -95.3074 | -0.20991 | -91.8538 | -0.34681 | -136.3309 | -0.62411 | -203.45 | -0.3718 | -143.4937 | -1.7473 | -336.7193 | 674.4294 | 617.593 | 631.1156 | 585.4545 | 577.0294 | 611.0599 | 553.2071 | -0.092029 | -56.8364 | -0.068631 | -43.3139 | -0.15198 | -88.975 | -0.1688 | -97.4 | -0.1037 | -63.3696 | -0.21913 | -121.2223
|  |  | Niigata | 228.5169 | 278.0488 | 288.8517 | 284.321 | 369.1686 | 310.9047 | 539.2958 | 0.17814 | 49.5319 | 0.20888 | 60.3348 | 0.19627 | 55.8041 | 0.381 | 140.6517 | 0.26499 | 82.3878 | 0.57627 | 310.7789 | 276.5417 | 225.7287 | 227.777 | 193.9273 | 132.5612 | 176.9855 | 64.7208 | -0.22511 | -50.813 | -0.21409 | -48.7647 | -0.42601 | -82.6143 | -1.0861 | -143.9805 | -0.56251 | -99.5561 | -3.2728 | -211.8209 | 505.0586 | 503.7775 | 516.6287 | 478.2484 | 501.7298 | 487.8903 | 604.0166 | -0.0025429 | -1.2811 | 0.022395 | 11.5701 | -0.056059 | -26.8102 | -0.0066347 | -3.3288 | -0.035189 | -17.1683 | 0.16383 | 98.958
|  |  | Maebashi | 264.5618 | 318.2766 | 311.5277 | 332.3985 | 405.7658 | 345.2638 | 576.0962 | 0.16877 | 53.7148 | 0.15076 | 46.9659 | 0.20408 | 67.8367 | 0.34799 | 141.204 | 0.23374 | 80.702 | 0.54077 | 311.5344 | 193.695 | 126.2317 | 134.1704 | 130.3939 | 84.3516 | 107.2499 | 27.7286 | -0.53444 | -67.4633 | -0.44365 | -59.5246 | -0.48546 | -63.3011 | -1.2963 | -109.3434 | -0.80602 | -86.4451 | -5.9854 | -165.9665 | 458.2568 | 444.5083 | 445.6982 | 462.7924 | 490.1174 | 452.5137 | 603.8248 | -0.03093 | -13.7486 | -0.028178 | -12.5587 | 0.0098004 | 4.5356 | 0.065006 | 31.8606 | -0.012692 | -5.7432 | 0.24108 | 145.568
|  |  | Tokyo | 294.8024 | 360.4733 | 358.4251 | 384.7526 | 456.7177 | 404.0439 | 671.8771 | 0.18218 | 65.6709 | 0.17751 | 63.6228 | 0.23379 | 89.9502 | 0.35452 | 161.9153 | 0.27037 | 109.2415 | 0.56123 | 377.0747 | 100.1465 | 65.4062 | 59.523 | 63.8076 | 27.9072 | 44.563 | 4.3313 | -0.53115 | -34.7403 | -0.68248 | -40.6234 | -0.56951 | -36.3389 | -2.5886 | -72.2393 | -1.2473 | -55.5835 | -22.1214 | -95.8151 | 394.9489 | 425.8795 | 417.9482 | 448.5601 | 484.6249 | 448.6069 | 676.2084 | 0.072628 | 30.9306 | 0.055029 | 22.9993 | 0.11952 | 53.6113 | 0.18504 | 89.6761 | 0.11961 | 53.658 | 0.41594 | 281.2595
|  |  | Kagoshima | 357.4387 | 451.8333 | 433.6913 | 452.337 | 550.9053 | 492.1121 | 753.6915 | 0.20891 | 94.3946 | 0.17582 | 76.2526 | 0.2098 | 94.8983 | 0.35118 | 193.4666 | 0.27366 | 134.6733 | 0.52575 | 396.2528 | 52.1781 | 30.6012 | 29.5689 | 30.4816 | 12.155 | 25.0319 | 1.7149 | -0.7051 | -21.5769 | -0.76463 | -22.6092 | -0.71179 | -21.6965 | -3.2927 | -40.0231 | -1.0845 | -27.1461 | -29.4266 | -50.4632 | 409.6168 | 482.4345 | 463.2602 | 482.8186 | 563.0603 | 517.144 | 755.4064 | 0.15094 | 72.8177 | 0.1158 | 53.6434 | 0.15161 | 73.2018 | 0.27252 | 153.4435 | 0.20793 | 107.5272 | 0.45775 | 345.7896
|  |  | Naha | 605.4172 | 689.3854 | 678.9609 | 720.6599 | 844.6468 | 756.4933 | 1082.6747 | 0.1218 | 83.9682 | 0.10832 | 73.5437 | 0.15991 | 115.2427 | 0.28323 | 239.2296 | 0.19971 | 151.0761 | 0.44081 | 477.2575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 605.4172 | 689.3854 | 678.9609 | 720.6599 | 844.6468 | 756.4933 | 1082.6747 | 0.1218 | 83.9682 | 0.10832 | 73.5437 | 0.15991 | 115.2427 | 0.28323 | 239.2296 | 0.19971 | 151.0761 | 0.44081 | 477.2575
| CM_3 | HM_2 | Asahikawa | 15.0095 | 27.3202 | 27.6796 | 25.0001 | 44.7037 | 31.7849 | 83.6477 | 0.45061 | 12.3107 | 0.45774 | 12.6701 | 0.39962 | 9.9906 | 0.66424 | 29.6942 | 0.52778 | 16.7754 | 0.82056 | 68.6382 | 686.708 | 563.6739 | 575.8021 | 526.931 | 450.3023 | 514.7465 | 276.6286 | -0.21827 | -123.034 | -0.19261 | -110.9059 | -0.30322 | -159.7769 | -0.52499 | -236.4056 | -0.33407 | -171.9615 | -1.4824 | -410.0793 | 701.7175 | 590.9942 | 603.4817 | 551.9312 | 495.0061 | 546.5314 | 360.2764 | -0.18735 | -110.7233 | -0.16278 | -98.2358 | -0.27139 | -149.7863 | -0.41759 | -206.7114 | -0.28395 | -155.1861 | -0.94772 | -341.4411
|  |  | Sapporo | 13.6527 | 27.4519 | 22.7969 | 26.5685 | 40.4497 | 35.6492 | 70.7099 | 0.50267 | 13.7992 | 0.40112 | 9.1442 | 0.48613 | 12.9158 | 0.66248 | 26.797 | 0.61703 | 21.9965 | 0.80692 | 57.0572 | 562.6848 | 454.1716 | 448.2044 | 430.268 | 346.0295 | 405.0023 | 209.0155 | -0.23893 | -108.5132 | -0.25542 | -114.4804 | -0.30775 | -132.4168 | -0.62612 | -216.6553 | -0.38934 | -157.6825 | -1.6921 | -353.6693 | 576.3375 | 481.6234 | 471.0013 | 456.8365 | 386.4791 | 440.6516 | 279.7253 | -0.19666 | -94.7141 | -0.22364 | -105.3362 | -0.26158 | -119.501 | -0.49125 | -189.8584 | -0.30792 | -135.686 | -1.0604 | -296.6122
|  |  | Morioka | 30.9502 | 34.9039 | 51.205 | 40.4519 | 60.1771 | 64.9349 | 107.3159 | 0.11327 | 3.9537 | 0.39556 | 20.2548 | 0.23489 | 9.5017 | 0.48568 | 29.2269 | 0.52337 | 33.9847 | 0.7116 | 76.3657 | 319.737 | 248.0703 | 255.5432 | 213.275 | 179.9577 | 219.313 | 95.3041 | -0.2889 | -71.6667 | -0.25121 | -64.1939 | -0.49918 | -106.462 | -0.77673 | -139.7794 | -0.4579 | -100.424 | -2.3549 | -224.4329 | 350.6872 | 282.9742 | 306.7481 | 253.7269 | 240.1348 | 284.2479 | 202.62 | -0.23929 | -67.713 | -0.14324 | -43.9391 | -0.38214 | -96.9603 | -0.46038 | -110.5524 | -0.23374 | -66.4393 | -0.73076 | -148.0672
|  |  | Niigata | 51.0787 | 72.8751 | 75.4038 | 81.8312 | 102.5769 | 83.5983 | 165.3939 | 0.29909 | 21.7964 | 0.3226 | 24.3252 | 0.3758 | 30.7525 | 0.50204 | 51.4982 | 0.389 | 32.5197 | 0.69117 | 114.3152 | 144.0103 | 115.0049 | 113.6637 | 94.7717 | 61.0629 | 86.8166 | 36.2682 | -0.25221 | -29.0054 | -0.26699 | -30.3466 | -0.51955 | -49.2386 | -1.3584 | -82.9474 | -0.65879 | -57.1937 | -2.9707 | -107.7421 | 195.089 | 187.88 | 189.0676 | 176.6029 | 163.6398 | 170.4149 | 201.6621 | -0.03837 | -7.209 | -0.031848 | -6.0214 | -0.10468 | -18.4861 | -0.19219 | -31.4492 | -0.14479 | -24.6741 | 0.032595 | 6.5731
|  |  | Maebashi | 75.9325 | 93.245 | 93.1112 | 103.7591 | 125.0471 | 104.6692 | 179.5643 | 0.18567 | 17.3125 | 0.1845 | 17.1787 | 0.26818 | 27.8266 | 0.39277 | 49.1146 | 0.27455 | 28.7367 | 0.57713 | 103.6319 | 98.9339 | 54.0318 | 57.2359 | 65.2068 | 36.5929 | 45.3136 | 13.7331 | -0.83103 | -44.9021 | -0.72853 | -41.698 | -0.51723 | -33.7271 | -1.7036 | -62.341 | -1.1833 | -53.6203 | -6.204 | -85.2007 | 174.8663 | 147.2767 | 150.3471 | 168.9659 | 161.64 | 149.9828 | 193.2975 | -0.18733 | -27.5896 | -0.16308 | -24.5193 | -0.034921 | -5.9005 | -0.081826 | -13.2264 | -0.16591 | -24.8836 | 0.095351 | 18.4311
|  |  | Tokyo | 81.5539 | 109.0371 | 110.3942 | 118.1652 | 140.2603 | 123.0517 | 222.5923 | 0.25205 | 27.4833 | 0.26125 | 28.8403 | 0.30983 | 36.6113 | 0.41855 | 58.7065 | 0.33724 | 41.4979 | 0.63362 | 141.0384 | 38.4133 | 27.127 | 22.2131 | 26.2308 | 12.3452 | 17.1917 | 3.9632 | -0.41605 | -11.2863 | -0.72931 | -16.2003 | -0.46444 | -12.1826 | -2.1116 | -26.0681 | -1.2344 | -21.2217 | -8.6925 | -34.4501 | 119.9672 | 136.1642 | 132.6072 | 144.396 | 152.6056 | 140.2434 | 226.5555 | 0.11895 | 16.197 | 0.095319 | 12.64 | 0.16918 | 24.4288 | 0.21387 | 32.6384 | 0.14458 | 20.2762 | 0.47047 | 106.5883
|  |  | Kagoshima | 93.1911 | 128.4528 | 121.8538 | 129.6516 | 163.424 | 142.7974 | 234.4993 | 0.27451 | 35.2617 | 0.23522 | 28.6627 | 0.28122 | 36.4605 | 0.42976 | 70.2329 | 0.34739 | 49.6063 | 0.6026 | 141.3082 | 33.2589 | 24.8791 | 23.2255 | 25.109 | 15.2099 | 23.2903 | 4.5269 | -0.33682 | -8.3798 | -0.432 | -10.0334 | -0.32458 | -8.1499 | -1.1867 | -18.0489 | -0.42802 | -9.9686 | -6.3469 | -28.7319 | 126.45 | 153.3319 | 145.0793 | 154.7606 | 178.6339 | 166.0876 | 239.0262 | 0.17532 | 26.8819 | 0.12841 | 18.6293 | 0.18293 | 28.3106 | 0.29213 | 52.1839 | 0.23866 | 39.6377 | 0.47098 | 112.5763
|  |  | Naha | 133.5353 | 167.0834 | 169.8115 | 178.443 | 223.701 | 193.7299 | 319.9742 | 0.20079 | 33.5481 | 0.21363 | 36.2762 | 0.25166 | 44.9077 | 0.40306 | 90.1657 | 0.31071 | 60.1946 | 0.58267 | 186.4389 | 0.0011377 | 0.00084777 | 0.050499 | 0.027822 | 0.090874 | 0.0080818 | 0.10264 | -0.34194 | -0.00028988 | 0.97747 | 0.049362 | 0.95911 | 0.026685 | 0.98748 | 0.089736 | 0.85923 | 0.0069441 | 0.98892 | 0.10151 | 133.5364 | 167.0842 | 169.862 | 178.4708 | 223.7918 | 193.738 | 320.0769 | 0.20078 | 33.5478 | 0.21385 | 36.3255 | 0.25177 | 44.9344 | 0.4033 | 90.2554 | 0.31074 | 60.2015 | 0.5828 | 186.5404