## Sheet1
| SOURCE | MODEL | COMFSTAND | CATEGORY | COMFMOD | HVACMODE | VENTCTRL | VSTOFFSET | MINOTOFFSET | MAXWINDSPEED | ASTTOL | NAMESUFFIX | EPW | COUNT | DATE/TIME | MONTH/DAY | MONTH | DAY | HOUR | MINUTE | SECOND | EMS:ZONE AIR VOLUME_BLOCK2_CORE_ZN_ZN [M3](HOURLY) | EMS:ZONE AIR VOLUME_BLOCK2_PERIMETER_ZN_1_ZN [M3](HOURLY) | EMS:ZONE AIR VOLUME_BLOCK2_PERIMETER_ZN_2_ZN [M3](HOURLY) | EMS:ZONE AIR VOLUME_BLOCK2_PERIMETER_ZN_3_ZN [M3](HOURLY) | EMS:ZONE AIR VOLUME_BLOCK2_PERIMETER_ZN_4_ZN [M3](HOURLY) | EMS:ZONE FLOOR AREA_BLOCK2_CORE_ZN_ZN [M2](HOURLY) | EMS:ZONE FLOOR AREA_BLOCK2_PERIMETER_ZN_1_ZN [M2](HOURLY) | EMS:ZONE FLOOR AREA_BLOCK2_PERIMETER_ZN_2_ZN [M2](HOURLY) | EMS:ZONE FLOOR AREA_BLOCK2_PERIMETER_ZN_3_ZN [M2](HOURLY) | EMS:ZONE FLOOR AREA_BLOCK2_PERIMETER_ZN_4_ZN [M2](HOURLY) | ENVIRONMENT:SITE OUTDOOR AIR DRYBULB TEMPERATURE [C](HOURLY) | ENVIRONMENT:SITE OUTDOOR AIR RELATIVE HUMIDITY [%](HOURLY) | ENVIRONMENT:SITE WIND SPEED [M/S](HOURLY) | EMS:COMFORT TEMPERATURE [C](HOURLY) | EMS:ADAPTIVE COOLING SETPOINT TEMPERATURE [C](HOURLY) | EMS:ADAPTIVE HEATING SETPOINT TEMPERATURE [C](HOURLY) | EMS:ADAPTIVE COOLING SETPOINT TEMPERATURE_NO TOLERANCE [C](HOURLY) | EMS:ADAPTIVE HEATING SETPOINT TEMPERATURE_NO TOLERANCE [C](HOURLY) | BLOCK1_ATTIC_ZN:ZONE OPERATIVE TEMPERATURE [C](HOURLY) | BLOCK2_CORE_ZN_ZN:ZONE OPERATIVE TEMPERATURE [C](HOURLY) | BLOCK2_PERIMETER_ZN_1_ZN:ZONE OPERATIVE TEMPERATURE [C](HOURLY) | BLOCK2_PERIMETER_ZN_2_ZN:ZONE OPERATIVE TEMPERATURE [C](HOURLY) | BLOCK2_PERIMETER_ZN_3_ZN:ZONE OPERATIVE TEMPERATURE [C](HOURLY) | BLOCK2_PERIMETER_ZN_4_ZN:ZONE OPERATIVE TEMPERATURE [C](HOURLY) | BLOCK2_CORE_ZN_ZN OFFICE WHOLEBUILDING - SM OFFICE PEOPLE:ZONE THERMAL COMFORT ASHRAE 55 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOU | BLOCK2_CORE_ZN_ZN OFFICE WHOLEBUILDING - SM OFFICE PEOPLE:ZONE THERMAL COMFORT CEN 15251 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOU | BLOCK2_PERIMETER_ZN_1_ZN OFFICE WHOLEBUILDING - SM OFFICE PEOPLE:ZONE THERMAL COMFORT ASHRAE 55 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE | BLOCK2_PERIMETER_ZN_1_ZN OFFICE WHOLEBUILDING - SM OFFICE PEOPLE:ZONE THERMAL COMFORT CEN 15251 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE | BLOCK2_PERIMETER_ZN_2_ZN OFFICE WHOLEBUILDING - SM OFFICE PEOPLE:ZONE THERMAL COMFORT ASHRAE 55 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE | BLOCK2_PERIMETER_ZN_2_ZN OFFICE WHOLEBUILDING - SM OFFICE PEOPLE:ZONE THERMAL COMFORT CEN 15251 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE | BLOCK2_PERIMETER_ZN_3_ZN OFFICE WHOLEBUILDING - SM OFFICE PEOPLE:ZONE THERMAL COMFORT ASHRAE 55 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE | BLOCK2_PERIMETER_ZN_3_ZN OFFICE WHOLEBUILDING - SM OFFICE PEOPLE:ZONE THERMAL COMFORT CEN 15251 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE | BLOCK2_PERIMETER_ZN_4_ZN OFFICE WHOLEBUILDING - SM OFFICE PEOPLE:ZONE THERMAL COMFORT ASHRAE 55 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE | BLOCK2_PERIMETER_ZN_4_ZN OFFICE WHOLEBUILDING - SM OFFICE PEOPLE:ZONE THERMAL COMFORT CEN 15251 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE | BLOCK2_CORE_ZN_ZN PEOPLE:ZONE THERMAL COMFORT ASHRAE 55 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | BLOCK2_CORE_ZN_ZN PEOPLE:ZONE THERMAL COMFORT CEN 15251 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | EMS:COMFORTABLE HOURS_NO APPLICABILITY_BLOCK2_CORE_ZN_ZN [H](HOURLY) | EMS:COMFORTABLE HOURS_NO APPLICABILITY_BLOCK2_PERIMETER_ZN_1_ZN [H](HOURLY) | EMS:COMFORTABLE HOURS_NO APPLICABILITY_BLOCK2_PERIMETER_ZN_2_ZN [H](HOURLY) | EMS:COMFORTABLE HOURS_NO APPLICABILITY_BLOCK2_PERIMETER_ZN_3_ZN [H](HOURLY) | EMS:COMFORTABLE HOURS_NO APPLICABILITY_BLOCK2_PERIMETER_ZN_4_ZN [H](HOURLY) | EMS:COMFORTABLE HOURS_APPLICABILITY_BLOCK2_CORE_ZN_ZN [H](HOURLY) | EMS:COMFORTABLE HOURS_APPLICABILITY_BLOCK2_PERIMETER_ZN_1_ZN [H](HOURLY) | EMS:COMFORTABLE HOURS_APPLICABILITY_BLOCK2_PERIMETER_ZN_2_ZN [H](HOURLY) | EMS:COMFORTABLE HOURS_APPLICABILITY_BLOCK2_PERIMETER_ZN_3_ZN [H](HOURLY) | EMS:COMFORTABLE HOURS_APPLICABILITY_BLOCK2_PERIMETER_ZN_4_ZN [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE HOT HOURS_BLOCK2_CORE_ZN_ZN [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE HOT HOURS_BLOCK2_PERIMETER_ZN_1_ZN [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE HOT HOURS_BLOCK2_PERIMETER_ZN_2_ZN [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE HOT HOURS_BLOCK2_PERIMETER_ZN_3_ZN [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE HOT HOURS_BLOCK2_PERIMETER_ZN_4_ZN [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE COLD HOURS_BLOCK2_CORE_ZN_ZN [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE COLD HOURS_BLOCK2_PERIMETER_ZN_1_ZN [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE COLD HOURS_BLOCK2_PERIMETER_ZN_2_ZN [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE COLD HOURS_BLOCK2_PERIMETER_ZN_3_ZN [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE COLD HOURS_BLOCK2_PERIMETER_ZN_4_ZN [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE HOT HOURS_BLOCK2_CORE_ZN_ZN [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE HOT HOURS_BLOCK2_PERIMETER_ZN_1_ZN [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE HOT HOURS_BLOCK2_PERIMETER_ZN_2_ZN [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE HOT HOURS_BLOCK2_PERIMETER_ZN_3_ZN [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE HOT HOURS_BLOCK2_PERIMETER_ZN_4_ZN [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE COLD HOURS_BLOCK2_CORE_ZN_ZN [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE COLD HOURS_BLOCK2_PERIMETER_ZN_1_ZN [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE COLD HOURS_BLOCK2_PERIMETER_ZN_2_ZN [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE COLD HOURS_BLOCK2_PERIMETER_ZN_3_ZN [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE COLD HOURS_BLOCK2_PERIMETER_ZN_4_ZN [H](HOURLY) | WHOLE BUILDING:FACILITY TOTAL HVAC ELECTRICITY DEMAND RATE (kWh/m2)(HOURLY) | AHST_SCH_BLOCK2_CORE_ZN_ZN:SCHEDULE VALUE [](HOURLY) | ACST_SCH_BLOCK2_CORE_ZN_ZN:SCHEDULE VALUE [](HOURLY) | AHST_SCH_BLOCK2_PERIMETER_ZN_1_ZN:SCHEDULE VALUE [](HOURLY) | ACST_SCH_BLOCK2_PERIMETER_ZN_1_ZN:SCHEDULE VALUE [](HOURLY) | AHST_SCH_BLOCK2_PERIMETER_ZN_2_ZN:SCHEDULE VALUE [](HOURLY) | ACST_SCH_BLOCK2_PERIMETER_ZN_2_ZN:SCHEDULE VALUE [](HOURLY) | AHST_SCH_BLOCK2_PERIMETER_ZN_3_ZN:SCHEDULE VALUE [](HOURLY) | ACST_SCH_BLOCK2_PERIMETER_ZN_3_ZN:SCHEDULE VALUE [](HOURLY) | AHST_SCH_BLOCK2_PERIMETER_ZN_4_ZN:SCHEDULE VALUE [](HOURLY) | ACST_SCH_BLOCK2_PERIMETER_ZN_4_ZN:SCHEDULE VALUE [](HOURLY) | BLOCK2_CORE_ZN_ZN VRF INDOOR UNIT DX COOLING COIL:COOLING COIL TOTAL COOLING RATE (kWh/m2)(HOURLY) | BLOCK2_PERIMETER_ZN_1_ZN VRF INDOOR UNIT DX COOLING COIL:COOLING COIL TOTAL COOLING RATE (kWh/m2)(HOURLY) | BLOCK2_PERIMETER_ZN_2_ZN VRF INDOOR UNIT DX COOLING COIL:COOLING COIL TOTAL COOLING RATE (kWh/m2)(HOURLY) | BLOCK2_PERIMETER_ZN_3_ZN VRF INDOOR UNIT DX COOLING COIL:COOLING COIL TOTAL COOLING RATE (kWh/m2)(HOURLY) | BLOCK2_PERIMETER_ZN_4_ZN VRF INDOOR UNIT DX COOLING COIL:COOLING COIL TOTAL COOLING RATE (kWh/m2)(HOURLY) | BLOCK2_CORE_ZN_ZN VRF INDOOR UNIT DX HEATING COIL:HEATING COIL HEATING RATE (kWh/m2)(HOURLY) | BLOCK2_PERIMETER_ZN_1_ZN VRF INDOOR UNIT DX HEATING COIL:HEATING COIL HEATING RATE (kWh/m2)(HOURLY) | BLOCK2_PERIMETER_ZN_2_ZN VRF INDOOR UNIT DX HEATING COIL:HEATING COIL HEATING RATE (kWh/m2)(HOURLY) | BLOCK2_PERIMETER_ZN_3_ZN VRF INDOOR UNIT DX HEATING COIL:HEATING COIL HEATING RATE (kWh/m2)(HOURLY) | BLOCK2_PERIMETER_ZN_4_ZN VRF INDOOR UNIT DX HEATING COIL:HEATING COIL HEATING RATE (kWh/m2)(HOURLY) | VRF OUTDOOR UNIT_BLOCK2_CORE_ZN_ZN:VRF HEAT PUMP COOLING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | VRF OUTDOOR UNIT_BLOCK2_CORE_ZN_ZN:VRF HEAT PUMP HEATING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | VRF OUTDOOR UNIT_BLOCK2_PERIMETER_ZN_1_ZN:VRF HEAT PUMP COOLING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | VRF OUTDOOR UNIT_BLOCK2_PERIMETER_ZN_1_ZN:VRF HEAT PUMP HEATING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | VRF OUTDOOR UNIT_BLOCK2_PERIMETER_ZN_2_ZN:VRF HEAT PUMP COOLING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | VRF OUTDOOR UNIT_BLOCK2_PERIMETER_ZN_2_ZN:VRF HEAT PUMP HEATING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | VRF OUTDOOR UNIT_BLOCK2_PERIMETER_ZN_3_ZN:VRF HEAT PUMP COOLING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | VRF OUTDOOR UNIT_BLOCK2_PERIMETER_ZN_3_ZN:VRF HEAT PUMP HEATING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | VRF OUTDOOR UNIT_BLOCK2_PERIMETER_ZN_4_ZN:VRF HEAT PUMP COOLING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | VRF OUTDOOR UNIT_BLOCK2_PERIMETER_ZN_4_ZN:VRF HEAT PUMP HEATING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | BLOCK2_CORE_ZN_ZN_TOTAL ENERGY DEMAND (WH) (summed) | BLOCK2_PERIMETER_ZN_1_ZN_TOTAL ENERGY DEMAND (WH) (summed) | BLOCK2_PERIMETER_ZN_2_ZN_TOTAL ENERGY DEMAND (WH) (summed) | BLOCK2_PERIMETER_ZN_3_ZN_TOTAL ENERGY DEMAND (WH) (summed) | BLOCK2_PERIMETER_ZN_4_ZN_TOTAL ENERGY DEMAND (WH) (summed) | BLOCK2_CORE_ZN_ZN_TOTAL ENERGY CONSUMPTION (WH) (summed) | BLOCK2_PERIMETER_ZN_1_ZN_TOTAL ENERGY CONSUMPTION (WH) (summed) | BLOCK2_PERIMETER_ZN_2_ZN_TOTAL ENERGY CONSUMPTION (WH) (summed) | BLOCK2_PERIMETER_ZN_3_ZN_TOTAL ENERGY CONSUMPTION (WH) (summed) | BLOCK2_PERIMETER_ZN_4_ZN_TOTAL ENERGY CONSUMPTION (WH) (summed) | ATTIC_ZN_Total_Zone Operative Temperature (°C) (mean) | CORE_ZN_ZN_Total_Zone Operative Temperature (°C) (mean) | PERIMETER_ZN_1_ZN_Total_Zone Operative Temperature (°C) (mean) | PERIMETER_ZN_2_ZN_Total_Zone Operative Temperature (°C) (mean) | PERIMETER_ZN_3_ZN_Total_Zone Operative Temperature (°C) (mean) | PERIMETER_ZN_4_ZN_Total_Zone Operative Temperature (°C) (mean) | ATTIC_ZN_Total_Comfortable Hours_No Applicability (h) (mean) | CORE_ZN_ZN_Total_Comfortable Hours_No Applicability (h) (mean) | PERIMETER_ZN_1_ZN_Total_Comfortable Hours_No Applicability (h) (mean) | PERIMETER_ZN_2_ZN_Total_Comfortable Hours_No Applicability (h) (mean) | PERIMETER_ZN_3_ZN_Total_Comfortable Hours_No Applicability (h) (mean) | PERIMETER_ZN_4_ZN_Total_Comfortable Hours_No Applicability (h) (mean) | ATTIC_ZN_Total_Comfortable Hours_Applicability (h) (mean) | CORE_ZN_ZN_Total_Comfortable Hours_Applicability (h) (mean) | PERIMETER_ZN_1_ZN_Total_Comfortable Hours_Applicability (h) (mean) | PERIMETER_ZN_2_ZN_Total_Comfortable Hours_Applicability (h) (mean) | PERIMETER_ZN_3_ZN_Total_Comfortable Hours_Applicability (h) (mean) | PERIMETER_ZN_4_ZN_Total_Comfortable Hours_Applicability (h) (mean) | ATTIC_ZN_Total_Discomfortable Applicable Hot Hours (h) (mean) | CORE_ZN_ZN_Total_Discomfortable Applicable Hot Hours (h) (mean) | PERIMETER_ZN_1_ZN_Total_Discomfortable Applicable Hot Hours (h) (mean) | PERIMETER_ZN_2_ZN_Total_Discomfortable Applicable Hot Hours (h) (mean) | PERIMETER_ZN_3_ZN_Total_Discomfortable Applicable Hot Hours (h) (mean) | PERIMETER_ZN_4_ZN_Total_Discomfortable Applicable Hot Hours (h) (mean) | ATTIC_ZN_Total_Discomfortable Applicable Cold Hours (h) (mean) | CORE_ZN_ZN_Total_Discomfortable Applicable Cold Hours (h) (mean) | PERIMETER_ZN_1_ZN_Total_Discomfortable Applicable Cold Hours (h) (mean) | PERIMETER_ZN_2_ZN_Total_Discomfortable Applicable Cold Hours (h) (mean) | PERIMETER_ZN_3_ZN_Total_Discomfortable Applicable Cold Hours (h) (mean) | PERIMETER_ZN_4_ZN_Total_Discomfortable Applicable Cold Hours (h) (mean) | ATTIC_ZN_Total_Discomfortable Non Applicable Hot Hours (h) (mean) | CORE_ZN_ZN_Total_Discomfortable Non Applicable Hot Hours (h) (mean) | PERIMETER_ZN_1_ZN_Total_Discomfortable Non Applicable Hot Hours (h) (mean) | PERIMETER_ZN_2_ZN_Total_Discomfortable Non Applicable Hot Hours (h) (mean) | PERIMETER_ZN_3_ZN_Total_Discomfortable Non Applicable Hot Hours (h) (mean) | PERIMETER_ZN_4_ZN_Total_Discomfortable Non Applicable Hot Hours (h) (mean) | ATTIC_ZN_Total_Discomfortable Non Applicable Cold Hours (h) (mean) | CORE_ZN_ZN_Total_Discomfortable Non Applicable Cold Hours (h) (mean) | PERIMETER_ZN_1_ZN_Total_Discomfortable Non Applicable Cold Hours (h) (mean) | PERIMETER_ZN_2_ZN_Total_Discomfortable Non Applicable Cold Hours (h) (mean) | PERIMETER_ZN_3_ZN_Total_Discomfortable Non Applicable Cold Hours (h) (mean) | PERIMETER_ZN_4_ZN_Total_Discomfortable Non Applicable Cold Hours (h) (mean) | ATTIC_ZN_Total_Ventilation Hours (h) (mean) | CORE_ZN_ZN_Total_Ventilation Hours (h) (mean) | PERIMETER_ZN_1_ZN_Total_Ventilation Hours (h) (mean) | PERIMETER_ZN_2_ZN_Total_Ventilation Hours (h) (mean) | PERIMETER_ZN_3_ZN_Total_Ventilation Hours (h) (mean) | PERIMETER_ZN_4_ZN_Total_Ventilation Hours (h) (mean) | ATTIC_ZN_Total_AFN Zone Infiltration Volume (m3) (mean) | CORE_ZN_ZN_Total_AFN Zone Infiltration Volume (m3) (mean) | PERIMETER_ZN_1_ZN_Total_AFN Zone Infiltration Volume (m3) (mean) | PERIMETER_ZN_2_ZN_Total_AFN Zone Infiltration Volume (m3) (mean) | PERIMETER_ZN_3_ZN_Total_AFN Zone Infiltration Volume (m3) (mean) | PERIMETER_ZN_4_ZN_Total_AFN Zone Infiltration Volume (m3) (mean) | ATTIC_ZN_Total_AFN Zone Infiltration Air Change Rate (ach) (mean) | CORE_ZN_ZN_Total_AFN Zone Infiltration Air Change Rate (ach) (mean) | PERIMETER_ZN_1_ZN_Total_AFN Zone Infiltration Air Change Rate (ach) (mean) | PERIMETER_ZN_2_ZN_Total_AFN Zone Infiltration Air Change Rate (ach) (mean) | PERIMETER_ZN_3_ZN_Total_AFN Zone Infiltration Air Change Rate (ach) (mean) | PERIMETER_ZN_4_ZN_Total_AFN Zone Infiltration Air Change Rate (ach) (mean) | ATTIC_ZN_Total_AFN Zone Ventilation Volume (m3) (mean) | CORE_ZN_ZN_Total_AFN Zone Ventilation Volume (m3) (mean) | PERIMETER_ZN_1_ZN_Total_AFN Zone Ventilation Volume (m3) (mean) | PERIMETER_ZN_2_ZN_Total_AFN Zone Ventilation Volume (m3) (mean) | PERIMETER_ZN_3_ZN_Total_AFN Zone Ventilation Volume (m3) (mean) | PERIMETER_ZN_4_ZN_Total_AFN Zone Ventilation Volume (m3) (mean) | ATTIC_ZN_Total_AFN Zone Ventilation Air Change Rate (ach) (mean) | CORE_ZN_ZN_Total_AFN Zone Ventilation Air Change Rate (ach) (mean) | PERIMETER_ZN_1_ZN_Total_AFN Zone Ventilation Air Change Rate (ach) (mean) | PERIMETER_ZN_2_ZN_Total_AFN Zone Ventilation Air Change Rate (ach) (mean) | PERIMETER_ZN_3_ZN_Total_AFN Zone Ventilation Air Change Rate (ach) (mean) | PERIMETER_ZN_4_ZN_Total_AFN Zone Ventilation Air Change Rate (ach) (mean) | ATTIC_ZN_Total_Cooling Energy Demand (kWh/m2) (mean) | CORE_ZN_ZN_Total_Cooling Energy Demand (kWh/m2) (mean) | PERIMETER_ZN_1_ZN_Total_Cooling Energy Demand (kWh/m2) (mean) | PERIMETER_ZN_2_ZN_Total_Cooling Energy Demand (kWh/m2) (mean) | PERIMETER_ZN_3_ZN_Total_Cooling Energy Demand (kWh/m2) (mean) | PERIMETER_ZN_4_ZN_Total_Cooling Energy Demand (kWh/m2) (mean) | ATTIC_ZN_Total_Heating Energy Demand (kWh/m2) (mean) | CORE_ZN_ZN_Total_Heating Energy Demand (kWh/m2) (mean) | PERIMETER_ZN_1_ZN_Total_Heating Energy Demand (kWh/m2) (mean) | PERIMETER_ZN_2_ZN_Total_Heating Energy Demand (kWh/m2) (mean) | PERIMETER_ZN_3_ZN_Total_Heating Energy Demand (kWh/m2) (mean) | PERIMETER_ZN_4_ZN_Total_Heating Energy Demand (kWh/m2) (mean) | ATTIC_ZN_Total_Cooling Energy Consumption (kWh/m2) (mean) | CORE_ZN_ZN_Total_Cooling Energy Consumption (kWh/m2) (mean) | PERIMETER_ZN_1_ZN_Total_Cooling Energy Consumption (kWh/m2) (mean) | PERIMETER_ZN_2_ZN_Total_Cooling Energy Consumption (kWh/m2) (mean) | PERIMETER_ZN_3_ZN_Total_Cooling Energy Consumption (kWh/m2) (mean) | PERIMETER_ZN_4_ZN_Total_Cooling Energy Consumption (kWh/m2) (mean) | ATTIC_ZN_Total_Heating Energy Consumption (kWh/m2) (mean) | CORE_ZN_ZN_Total_Heating Energy Consumption (kWh/m2) (mean) | PERIMETER_ZN_1_ZN_Total_Heating Energy Consumption (kWh/m2) (mean) | PERIMETER_ZN_2_ZN_Total_Heating Energy Consumption (kWh/m2) (mean) | PERIMETER_ZN_3_ZN_Total_Heating Energy Consumption (kWh/m2) (mean) | PERIMETER_ZN_4_ZN_Total_Heating Energy Consumption (kWh/m2) (mean) | ATTIC_ZN_Total_Total Energy Demand (kWh/m2) (mean) | CORE_ZN_ZN_Total_Total Energy Demand (kWh/m2) (mean) | PERIMETER_ZN_1_ZN_Total_Total Energy Demand (kWh/m2) (mean) | PERIMETER_ZN_2_ZN_Total_Total Energy Demand (kWh/m2) (mean) | PERIMETER_ZN_3_ZN_Total_Total Energy Demand (kWh/m2) (mean) | PERIMETER_ZN_4_ZN_Total_Total Energy Demand (kWh/m2) (mean) | ATTIC_ZN_Total_Total Energy Consumption (kWh/m2) (mean) | CORE_ZN_ZN_Total_Total Energy Consumption (kWh/m2) (mean) | PERIMETER_ZN_1_ZN_Total_Total Energy Consumption (kWh/m2) (mean) | PERIMETER_ZN_2_ZN_Total_Total Energy Consumption (kWh/m2) (mean) | PERIMETER_ZN_3_ZN_Total_Total Energy Consumption (kWh/m2) (mean) | PERIMETER_ZN_4_ZN_Total_Total Energy Consumption (kWh/m2) (mean) | ATTIC_ZN_Total_Zone Air Volume (m3) (summed) | CORE_ZN_ZN_Total_Zone Air Volume (m3) (summed) | PERIMETER_ZN_1_ZN_Total_Zone Air Volume (m3) (summed) | PERIMETER_ZN_2_ZN_Total_Zone Air Volume (m3) (summed) | PERIMETER_ZN_3_ZN_Total_Zone Air Volume (m3) (summed) | PERIMETER_ZN_4_ZN_Total_Zone Air Volume (m3) (summed) | ATTIC_ZN_Total_Zone Floor Area (m2) (summed) | CORE_ZN_ZN_Total_Zone Floor Area (m2) (summed) | PERIMETER_ZN_1_ZN_Total_Zone Floor Area (m2) (summed) | PERIMETER_ZN_2_ZN_Total_Zone Floor Area (m2) (summed) | PERIMETER_ZN_3_ZN_Total_Zone Floor Area (m2) (summed) | PERIMETER_ZN_4_ZN_Total_Zone Floor Area (m2) (summed) | ATTIC_ZN_Total_PMV (mean) | CORE_ZN_ZN_Total_PMV (mean) | PERIMETER_ZN_1_ZN_Total_PMV (mean) | PERIMETER_ZN_2_ZN_Total_PMV (mean) | PERIMETER_ZN_3_ZN_Total_PMV (mean) | PERIMETER_ZN_4_ZN_Total_PMV (mean) | ATTIC_ZN_Total_PPD (%) (mean) | CORE_ZN_ZN_Total_PPD (%) (mean) | PERIMETER_ZN_1_ZN_Total_PPD (%) (mean) | PERIMETER_ZN_2_ZN_Total_PPD (%) (mean) | PERIMETER_ZN_3_ZN_Total_PPD (%) (mean) | PERIMETER_ZN_4_ZN_Total_PPD (%) (mean) | Building_Total_Zone Operative Temperature (°C) (mean) | Building_Total_Comfortable Hours_No Applicability (h) (mean) | Building_Total_Comfortable Hours_Applicability (h) (mean) | Building_Total_Discomfortable Applicable Hot Hours (h) (mean) | Building_Total_Discomfortable Applicable Cold Hours (h) (mean) | Building_Total_Discomfortable Non Applicable Hot Hours (h) (mean) | Building_Total_Discomfortable Non Applicable Cold Hours (h) (mean) | Building_Total_Ventilation Hours (h) (mean) | Building_Total_AFN Zone Infiltration Volume (m3) (mean) | Building_Total_AFN Zone Infiltration Air Change Rate (ach) (mean) | Building_Total_AFN Zone Ventilation Volume (m3) (mean) | Building_Total_AFN Zone Ventilation Air Change Rate (ach) (mean) | Building_Total_Cooling Energy Demand (kWh/m2) (mean) | Building_Total_Heating Energy Demand (kWh/m2) (mean) | Building_Total_Cooling Energy Consumption (kWh/m2) (mean) | Building_Total_Heating Energy Consumption (kWh/m2) (mean) | Building_Total_Total Energy Demand (kWh/m2) (mean) | Building_Total_Total Energy Consumption (kWh/m2) (mean) | Building_Total_Zone Air Volume (m3) (summed) | Building_Total_Zone Floor Area (m2) (summed) | Building_Total_PMV (mean) | Building_Total_PPD (%) (mean) | Date/Time
0 | TestModel[CS_AUS DeDear[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS DeDear | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 744 | 01/01 01:00:00 | 01/01 | 01 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 22.03 | 68.18 | 4.19 | 22.47 | 26.47 | 18.47 | 26.97 | 17.97 | 29.96 | 26.39 | 26.35 | 26.39 | 26.38 | 26.4 | 22.01 | 21.24 | 22.01 | 21.24 | 22.01 | 21.24 | 22.01 | 21.24 | 22.01 | 21.24 | 22.01 | 21.24 | 744 | 744 | 744 | 744 | 744 | 743.83 | 743.83 | 743.83 | 743.83 | 743.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 13.19 | 13743.11 | 19695.11 | 13743.11 | 19695.11 | 13743.11 | 19695.11 | 13743.11 | 19695.11 | 13743.11 | 19695.11 | 16.65 | 11.61 | 18.49 | 13.33 | 19.83 | 0 | 0 | 0 | 0 | 0 | 11.34 | 0 | 8.65 | 0 | 13.37 | 0 | 10.01 | 0 | 14.17 | 0 | 1245.84 | 658.32 | 622.09 | 756.42 | 667.15 | 848.41 | 490.88 | 449.84 | 567.7 | 476.94 | 29.96 | 26.39 | 26.35 | 26.39 | 26.38 | 26.4 |  | 744 | 744 | 744 | 744 | 744 |  | 743.83 | 743.83 | 743.83 | 743.83 | 743.83 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | [31 empty] | 16.65 | 11.61 | 18.49 | 13.33 | 19.83 |  | 0 | 0 | 0 | 0 | 0 |  | 11.34 | 8.65 | 13.37 | 10.01 | 14.17 |  | 0 | 0 | 0 | 0 | 0 |  | 8.32 | 5.8 | 9.24 | 6.67 | 9.91 |  | 5.67 | 4.33 | 6.68 | 5 | 7.09 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 26.98 | 744 | 743.83 | 0 | 0 | 0 | 0.17 | [5 empty] | 3.09 | 0 | 2.22 | 0 | 1.55 | 1.11 | 779.51 | 255.58 |  |  | 01
1 | TestModel[CS_AUS DeDear[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS DeDear | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 672 | 02/01 01:00:00 | 02/01 | 02 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 22.87 | 71.12 | 2.9 | 22.62 | 26.62 | 18.62 | 27.12 | 18.12 | 29.46 | 26.62 | 26.55 | 26.58 | 26.59 | 26.59 | 22.57 | 22.84 | 22.57 | 22.84 | 22.57 | 22.84 | 22.57 | 22.84 | 22.57 | 22.84 | 22.57 | 22.84 | 672 | 672 | 672 | 672 | 672 | 672 | 672 | 672 | 672 | 672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.92 | 12511.32 | 17887.32 | 12511.32 | 17887.32 | 12511.32 | 17887.32 | 12511.32 | 17887.32 | 12511.32 | 17887.32 | 15.43 | 9.8 | 15.4 | 12.71 | 16.08 | 0 | 0 | 0 | 0 | 0 | 10.81 | 0 | 7.37 | 0 | 11.37 | 0 | 9.76 | 0 | 11.84 | 0 | 1154.5 | 555.89 | 518.26 | 721.3 | 541.25 | 808.95 | 418.24 | 382.51 | 553.45 | 398.56 | 29.46 | 26.62 | 26.55 | 26.58 | 26.59 | 26.59 |  | 672 | 672 | 672 | 672 | 672 |  | 672 | 672 | 672 | 672 | 672 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 15.43 | 9.8 | 15.4 | 12.71 | 16.08 |  | 0 | 0 | 0 | 0 | 0 |  | 10.81 | 7.37 | 11.37 | 9.76 | 11.84 |  | 0 | 0 | 0 | 0 | 0 |  | 7.71 | 4.9 | 7.7 | 6.36 | 8.04 |  | 5.41 | 3.69 | 5.68 | 4.88 | 5.92 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 27.06 | 672 | 672 | 0 | 0 | 0 | 0 | [5 empty] | 2.73 | 0 | 2 | 0 | 1.37 | 1 | 779.51 | 255.58 |  |  | 02
2 | TestModel[CS_AUS DeDear[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS DeDear | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 744 | 03/01 01:00:00 | 03/01 | 03 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 21.3 | 74.64 | 3.21 | 22.5 | 26.5 | 18.5 | 27 | 18 | 26.85 | 26.5 | 26.24 | 26.35 | 26.4 | 26.36 | 22.12 | 21.57 | 22.12 | 21.57 | 22.12 | 21.57 | 22.12 | 21.57 | 22.12 | 21.57 | 22.12 | 21.57 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.22 | 13765.34 | 19717.34 | 13765.34 | 19717.34 | 13765.34 | 19717.34 | 13765.34 | 19717.34 | 13765.34 | 19717.34 | 16.54 | 5.99 | 12.3 | 14.92 | 13.68 | 0 | 0 | 0 | 0 | 0 | 11.12 | 0 | 4.47 | 0 | 8.82 | 0 | 10.95 | 0 | 9.76 | 0 | 1237.6 | 339.71 | 413.81 | 846.68 | 460.2 | 832.03 | 253.63 | 296.79 | 621.29 | 328.49 | 26.85 | 26.5 | 26.24 | 26.35 | 26.4 | 26.36 |  | 744 | 744 | 744 | 744 | 744 |  | 744 | 744 | 744 | 744 | 744 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 16.54 | 5.99 | 12.3 | 14.92 | 13.68 |  | 0 | 0 | 0 | 0 | 0 |  | 11.12 | 4.47 | 8.82 | 10.95 | 9.76 |  | 0 | 0 | 0 | 0 | 0 |  | 8.27 | 2.99 | 6.15 | 7.46 | 6.84 |  | 5.56 | 2.24 | 4.41 | 5.48 | 4.88 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 26.45 | 744 | 744 | 0 | 0 | 0 | 0 | [5 empty] | 2.58 | 0 | 1.83 | 0 | 1.29 | 0.91 | 779.51 | 255.58 |  |  | 03
3 | TestModel[CS_AUS DeDear[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS DeDear | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 720 | 04/01 01:00:00 | 04/01 | 04 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 18.66 | 74.81 | 1.43 | 21.94 | 25.94 | 17.94 | 26.44 | 17.44 | 21.87 | 25.94 | 25.1 | 25.43 | 25.64 | 25.44 | 19.95 | 19.04 | 19.95 | 19.04 | 19.95 | 19.04 | 19.95 | 19.04 | 19.95 | 19.04 | 19.95 | 19.04 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.41 | 12914.48 | 18674.48 | 12914.48 | 18674.48 | 12914.48 | 18674.48 | 12914.48 | 18674.48 | 12914.48 | 18674.48 | 12.74 | 2.08 | 7 | 14.19 | 7.88 | 0 | 0 | 0 | 0 | 0 | 8.34 | 0 | 1.61 | 0 | 4.86 | 0 | 9.96 | 0 | 5.57 | 0 | 953.27 | 118.21 | 235.4 | 805.07 | 265.07 | 624.39 | 91.56 | 163.63 | 565.13 | 187.3 | 21.87 | 25.94 | 25.1 | 25.43 | 25.64 | 25.44 |  | 720 | 720 | 720 | 720 | 720 |  | 720 | 720 | 720 | 720 | 720 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 12.74 | 2.08 | 7 | 14.19 | 7.88 |  | 0 | 0 | 0 | 0 | 0 |  | 8.34 | 1.61 | 4.86 | 9.96 | 5.57 |  | 0 | 0 | 0 | 0 | 0 |  | 6.37 | 1.04 | 3.5 | 7.1 | 3.94 |  | 4.17 | 0.81 | 2.43 | 4.98 | 2.78 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 24.9 | 720 | 720 | 0 | 0 | 0 | 0 | [5 empty] | 1.86 | 0 | 1.28 | 0 | 0.93 | 0.64 | 779.51 | 255.58 |  |  | 04
4 | TestModel[CS_AUS DeDear[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS DeDear | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 744 | 05/01 01:00:00 | 05/01 | 05 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 15.93 | 75.82 | 2.1 | 21.29 | 25.29 | 17.29 | 25.79 | 16.79 | 17.63 | 25.25 | 23.87 | 24.41 | 24.76 | 24.4 | 17.44 | 16.31 | 17.44 | 16.31 | 17.44 | 16.31 | 17.44 | 16.31 | 17.44 | 16.31 | 17.44 | 16.31 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.83 | 12860.36 | 18812.36 | 12860.36 | 18812.36 | 12860.36 | 18812.36 | 12860.36 | 18812.36 | 12860.36 | 18812.36 | 12.3 | 0.71 | 3.91 | 11.58 | 4.47 | 0 | 0 | 0 | 0 | 0 | 7.6 | 0 | 0.5 | 0 | 2.55 | 0 | 7.62 | 0 | 2.94 | 0 | 920.39 | 40 | 131.64 | 656.83 | 150.34 | 568.68 | 28.36 | 85.76 | 432.42 | 98.8 | 17.63 | 25.25 | 23.87 | 24.41 | 24.76 | 24.4 |  | 744 | 744 | 744 | 744 | 744 |  | 744 | 744 | 744 | 744 | 744 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 12.3 | 0.71 | 3.91 | 11.58 | 4.47 |  | 0 | 0 | 0 | 0 | 0 |  | 7.6 | 0.5 | 2.55 | 7.62 | 2.94 |  | 0 | 0 | 0 | 0 | 0 |  | 6.15 | 0.35 | 1.96 | 5.79 | 2.23 |  | 3.8 | 0.25 | 1.27 | 3.81 | 1.47 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 23.39 | 744 | 744 | 0 | 0 | 0 | 0 | [5 empty] | 1.49 | 0 | 0.95 | 0 | 0.74 | 0.48 | 779.51 | 255.58 |  |  | 05
5 | TestModel[CS_AUS DeDear[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS DeDear | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 720 | 06/01 01:00:00 | 06/01 | 06 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 13.37 | 70.41 | 2.59 | 20.57 | 24.57 | 16.57 | 25.07 | 16.07 | 13.59 | 24.51 | 22.56 | 23.37 | 23.89 | 23.3 | 14.68 | 14.01 | 14.68 | 14.01 | 14.68 | 14.01 | 14.68 | 14.01 | 14.68 | 14.01 | 14.68 | 14.01 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.24 | 11929 | 17689 | 11929 | 17689 | 11929 | 17689 | 11929 | 17689 | 11929 | 17689 | 10.06 | 0.08 | 1.42 | 7.88 | 1.63 | 0 | 0 | 0 | 0 | 0 | 6.14 | 0 | 0.06 | 0 | 0.91 | 0 | 5.22 | 0 | 1.04 | 0 | 752.98 | 4.73 | 47.88 | 447.17 | 54.89 | 459.7 | 3.29 | 30.7 | 296.37 | 35.03 | 13.59 | 24.51 | 22.56 | 23.37 | 23.89 | 23.3 |  | 720 | 720 | 720 | 720 | 720 |  | 720 | 720 | 720 | 720 | 720 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 10.06 | 0.08 | 1.42 | 7.88 | 1.63 |  | 0 | 0 | 0 | 0 | 0 |  | 6.14 | 0.06 | 0.91 | 5.22 | 1.04 |  | 0 | 0 | 0 | 0 | 0 |  | 5.03 | 0.04 | 0.71 | 3.94 | 0.82 |  | 3.07 | 0.03 | 0.46 | 2.61 | 0.52 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 21.87 | 720 | 720 | 0 | 0 | 0 | 0 | [5 empty] | 1.02 | 0 | 0.65 | 0 | 0.51 | 0.32 | 779.51 | 255.58 |  |  | 06
6 | TestModel[CS_AUS DeDear[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS DeDear | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 744 | 07/01 01:00:00 | 07/01 | 07 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 12.29 | 64.71 | 2.45 | 20.05 | 24.05 | 16.05 | 24.55 | 15.55 | 13.18 | 23.98 | 22.21 | 22.96 | 23.4 | 22.93 | 12.69 | 12.45 | 12.69 | 12.45 | 12.69 | 12.45 | 12.69 | 12.45 | 12.69 | 12.45 | 12.69 | 12.45 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.08 | 11940.56 | 17892.56 | 11940.56 | 17892.56 | 11940.56 | 17892.56 | 11940.56 | 17892.56 | 11940.56 | 17892.56 | 10.1 | 0.29 | 2.58 | 10.92 | 2.99 | 0 | 0 | 0 | 0 | 0 | 6.27 | 0 | 0.22 | 0 | 1.72 | 0 | 7.31 | 0 | 1.99 | 0 | 756.09 | 16.29 | 86.8 | 619.22 | 100.52 | 469.18 | 12.49 | 57.96 | 414.9 | 66.85 | 13.18 | 23.98 | 22.21 | 22.96 | 23.4 | 22.93 |  | 744 | 744 | 744 | 744 | 744 |  | 744 | 744 | 744 | 744 | 744 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 10.1 | 0.29 | 2.58 | 10.92 | 2.99 |  | 0 | 0 | 0 | 0 | 0 |  | 6.27 | 0.22 | 1.72 | 7.31 | 1.99 |  | 0 | 0 | 0 | 0 | 0 |  | 5.05 | 0.14 | 1.29 | 5.46 | 1.49 |  | 3.13 | 0.11 | 0.86 | 3.66 | 0.99 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 21.44 | 744 | 744 | 0 | 0 | 0 | 0 | [5 empty] | 1.24 | 0 | 0.8 | 0 | 0.62 | 0.4 | 779.51 | 255.58 |  |  | 07
7 | TestModel[CS_AUS DeDear[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS DeDear | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 744 | 08/01 01:00:00 | 08/01 | 08 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 13.56 | 65.35 | 2.33 | 20.05 | 24.05 | 16.05 | 24.55 | 15.55 | 16.05 | 24.05 | 23.22 | 23.67 | 23.83 | 23.67 | 12.7 | 13.22 | 12.7 | 13.22 | 12.7 | 13.22 | 12.7 | 13.22 | 12.7 | 13.22 | 12.7 | 13.22 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.28 | 11942 | 17894 | 11942 | 17894 | 11942 | 17894 | 11942 | 17894 | 11942 | 17894 | 13.79 | 2.35 | 8.44 | 17.67 | 9.06 | 0 | 0 | 0 | 0 | 0 | 8.76 | 0 | 1.78 | 0 | 5.76 | 0 | 11.98 | 0 | 6.17 | 0 | 1031.62 | 133.43 | 283.86 | 1002.35 | 304.87 | 655.37 | 100.78 | 193.76 | 679.76 | 207.77 | 16.05 | 24.05 | 23.22 | 23.67 | 23.83 | 23.67 |  | 744 | 744 | 744 | 744 | 744 |  | 744 | 744 | 744 | 744 | 744 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 13.79 | 2.35 | 8.44 | 17.67 | 9.06 |  | 0 | 0 | 0 | 0 | 0 |  | 8.76 | 1.78 | 5.76 | 11.98 | 6.17 |  | 0 | 0 | 0 | 0 | 0 |  | 6.89 | 1.18 | 4.22 | 8.83 | 4.53 |  | 4.38 | 0.89 | 2.88 | 5.99 | 3.09 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 22.42 | 744 | 744 | 0 | 0 | 0 | 0 | [5 empty] | 2.16 | 0 | 1.44 | 0 | 1.08 | 0.72 | 779.51 | 255.58 |  |  | 08
8 | TestModel[CS_AUS DeDear[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS DeDear | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 720 | 09/01 01:00:00 | 09/01 | 09 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 15.27 | 66.32 | 3.12 | 20.47 | 24.47 | 16.47 | 24.97 | 15.97 | 19.52 | 24.46 | 24.04 | 24.27 | 24.33 | 24.28 | 14.29 | 14.63 | 14.29 | 14.63 | 14.29 | 14.63 | 14.29 | 14.63 | 14.29 | 14.63 | 14.29 | 14.63 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.73 | 11855 | 17615 | 11855 | 17615 | 11855 | 17615 | 11855 | 17615 | 11855 | 17615 | 14.14 | 4.09 | 11.06 | 15.81 | 11.5 | 0 | 0 | 0 | 0 | 0 | 8.98 | 0 | 2.99 | 0 | 7.49 | 0 | 10.79 | 0 | 7.79 | 0 | 1058.4 | 231.86 | 372.12 | 897.1 | 386.99 | 671.82 | 169.73 | 251.92 | 612.22 | 261.98 | 19.52 | 24.46 | 24.04 | 24.27 | 24.33 | 24.28 |  | 720 | 720 | 720 | 720 | 720 |  | 720 | 720 | 720 | 720 | 720 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 14.14 | 4.09 | 11.06 | 15.81 | 11.5 |  | 0 | 0 | 0 | 0 | 0 |  | 8.98 | 2.99 | 7.49 | 10.79 | 7.79 |  | 0 | 0 | 0 | 0 | 0 |  | 7.07 | 2.04 | 5.53 | 7.91 | 5.75 |  | 4.49 | 1.5 | 3.74 | 5.4 | 3.89 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 23.48 | 720 | 720 | 0 | 0 | 0 | 0 | [5 empty] | 2.31 | 0 | 1.54 | 0 | 1.15 | 0.77 | 779.51 | 255.58 |  |  | 09
9 | TestModel[CS_AUS DeDear[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS DeDear | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 744 | 10/01 01:00:00 | 10/01 | 10 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 18.37 | 58.87 | 5.26 | 21.25 | 25.25 | 17.25 | 25.75 | 16.75 | 24.12 | 25.25 | 24.94 | 25.09 | 25.08 | 25.08 | 17.3 | 18.37 | 17.3 | 18.37 | 17.3 | 18.37 | 17.3 | 18.37 | 17.3 | 18.37 | 17.3 | 18.37 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.05 | 12832.54 | 18784.54 | 12832.54 | 18784.54 | 12832.54 | 18784.54 | 12832.54 | 18784.54 | 12832.54 | 18784.54 | 15.69 | 8.48 | 15.86 | 14.4 | 15.87 | 0 | 0 | 0 | 0 | 0 | 10.46 | 0 | 6.38 | 0 | 11.58 | 0 | 10.94 | 0 | 11.55 | 0 | 1174 | 480.95 | 533.85 | 816.85 | 533.9 | 782.9 | 361.91 | 389.63 | 620.41 | 388.73 | 24.12 | 25.25 | 24.94 | 25.09 | 25.08 | 25.08 |  | 744 | 744 | 744 | 744 | 744 |  | 744 | 744 | 744 | 744 | 744 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 15.69 | 8.48 | 15.86 | 14.4 | 15.87 |  | 0 | 0 | 0 | 0 | 0 |  | 10.46 | 6.38 | 11.58 | 10.94 | 11.55 |  | 0 | 0 | 0 | 0 | 0 |  | 7.84 | 4.24 | 7.93 | 7.2 | 7.93 |  | 5.23 | 3.19 | 5.79 | 5.47 | 5.78 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 24.93 | 744 | 744 | 0 | 0 | 0 | 0 | [5 empty] | 2.77 | 0 | 1.99 | 0 | 1.38 | 1 | 779.51 | 255.58 |  |  | 10
10 | TestModel[CS_AUS DeDear[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS DeDear | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 720 | 11/01 01:00:00 | 11/01 | 11 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 19.75 | 63.53 | 3.93 | 21.64 | 25.64 | 17.64 | 26.14 | 17.14 | 26.33 | 25.64 | 25.56 | 25.61 | 25.6 | 25.61 | 18.82 | 19.3 | 18.82 | 19.3 | 18.82 | 19.3 | 18.82 | 19.3 | 18.82 | 19.3 | 18.82 | 19.3 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.27 | 12702.69 | 18462.69 | 12702.69 | 18462.69 | 12702.69 | 18462.69 | 12702.69 | 18462.69 | 12702.69 | 18462.69 | 16.54 | 10.6 | 17.54 | 13.02 | 17.09 | 0 | 0 | 0 | 0 | 0 | 10.93 | 0 | 7.69 | 0 | 12.37 | 0 | 9.49 | 0 | 12.1 | 0 | 1237.33 | 601.34 | 590.31 | 738.36 | 575.17 | 818.2 | 436.35 | 416.26 | 538.41 | 407.04 | 26.33 | 25.64 | 25.56 | 25.61 | 25.6 | 25.61 |  | 720 | 720 | 720 | 720 | 720 |  | 720 | 720 | 720 | 720 | 720 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 16.54 | 10.6 | 17.54 | 13.02 | 17.09 |  | 0 | 0 | 0 | 0 | 0 |  | 10.93 | 7.69 | 12.37 | 9.49 | 12.1 |  | 0 | 0 | 0 | 0 | 0 |  | 8.27 | 5.3 | 8.77 | 6.51 | 8.55 |  | 5.47 | 3.85 | 6.19 | 4.75 | 6.05 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 25.73 | 720 | 720 | 0 | 0 | 0 | 0 | [5 empty] | 2.93 | 0 | 2.05 | 0 | 1.46 | 1.02 | 779.51 | 255.58 |  |  | 11
11 | TestModel[CS_AUS DeDear[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS DeDear | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 744 | 12/01 01:00:00 | 12/01 | 12 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 21.19 | 71.82 | 6.23 | 21.95 | 25.95 | 17.95 | 26.45 | 17.45 | 28.56 | 25.95 | 25.87 | 25.89 | 25.9 | 25.9 | 20.01 | 20.84 | 20.01 | 20.84 | 20.01 | 20.84 | 20.01 | 20.84 | 20.01 | 20.84 | 20.01 | 20.84 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.26 | 13355.86 | 19307.86 | 13355.86 | 19307.86 | 13355.86 | 19307.86 | 13355.86 | 19307.86 | 13355.86 | 19307.86 | 16.7 | 12.21 | 18.31 | 13.34 | 20.12 | 0 | 0 | 0 | 0 | 0 | 11.28 | 0 | 8.93 | 0 | 13.22 | 0 | 10.16 | 0 | 14.29 | 0 | 1249.82 | 692.57 | 616.12 | 756.54 | 676.91 | 843.77 | 506.29 | 444.81 | 576.15 | 480.88 | 28.56 | 25.95 | 25.87 | 25.89 | 25.9 | 25.9 |  | 744 | 744 | 744 | 744 | 744 |  | 744 | 744 | 744 | 744 | 744 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 16.7 | 12.21 | 18.31 | 13.34 | 20.12 |  | 0 | 0 | 0 | 0 | 0 |  | 11.28 | 8.93 | 13.22 | 10.16 | 14.29 |  | 0 | 0 | 0 | 0 | 0 |  | 8.35 | 6.11 | 9.15 | 6.67 | 10.06 |  | 5.64 | 4.46 | 6.61 | 5.08 | 7.15 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 26.34 | 744 | 744 | 0 | 0 | 0 | 0 | [5 empty] | 3.12 | 0 | 2.23 | 0 | 1.56 | 1.12 | 779.51 | 255.58 |  |  | 12
12 | TestModel[CS_AUS Williamson[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS Williamson | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 744 | 01/01 01:00:00 | 01/01 | 01 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 22.03 | 68.18 | 4.19 | 21.62 | 25.67 | 17.57 | 26.17 | 17.07 | 29.93 | 25.62 | 25.61 | 25.63 | 25.62 | 25.63 | 22.01 | 21.24 | 22.01 | 21.24 | 22.01 | 21.24 | 22.01 | 21.24 | 22.01 | 21.24 | 22.01 | 21.24 | 744 | 744 | 744 | 744 | 744 | 743.83 | 743.83 | 743.83 | 743.83 | 743.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 14.3 | 13073.6 | 19100 | 13073.6 | 19100 | 13073.6 | 19100 | 13073.6 | 19100 | 13073.6 | 19100 | 17.08 | 13.53 | 20.37 | 15.09 | 21.72 | 0 | 0 | 0 | 0 | 0 | 11.72 | 0 | 10.02 | 0 | 14.74 | 0 | 11.39 | 0 | 15.5 | 0 | 1277.92 | 767.2 | 685.32 | 855.81 | 730.73 | 877.07 | 568.06 | 495.93 | 646.31 | 521.71 | 29.93 | 25.62 | 25.61 | 25.63 | 25.62 | 25.63 |  | 744 | 744 | 744 | 744 | 744 |  | 743.83 | 743.83 | 743.83 | 743.83 | 743.83 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | [31 empty] | 17.08 | 13.53 | 20.37 | 15.09 | 21.72 |  | 0 | 0 | 0 | 0 | 0 |  | 11.72 | 10.02 | 14.74 | 11.39 | 15.5 |  | 0 | 0 | 0 | 0 | 0 |  | 8.54 | 6.76 | 10.18 | 7.54 | 10.86 |  | 5.86 | 5.01 | 7.37 | 5.7 | 7.75 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 26.34 | 744 | 743.83 | 0 | 0 | 0 | 0.17 | [5 empty] | 3.38 | 0 | 2.43 | 0 | 1.69 | 1.22 | 779.51 | 255.58 |  |  | 01
13 | TestModel[CS_AUS Williamson[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS Williamson | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 672 | 02/01 01:00:00 | 02/01 | 02 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 22.87 | 71.12 | 2.9 | 21.77 | 25.82 | 17.72 | 26.32 | 17.22 | 29.42 | 25.82 | 25.79 | 25.81 | 25.81 | 25.81 | 22.57 | 22.84 | 22.57 | 22.84 | 22.57 | 22.84 | 22.57 | 22.84 | 22.57 | 22.84 | 22.57 | 22.84 | 672 | 672 | 672 | 672 | 672 | 672 | 672 | 672 | 672 | 672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.84 | 11906.52 | 17349.72 | 11906.52 | 17349.72 | 11906.52 | 17349.72 | 11906.52 | 17349.72 | 11906.52 | 17349.72 | 15.76 | 11.54 | 16.92 | 14.14 | 17.58 | 0 | 0 | 0 | 0 | 0 | 11.05 | 0 | 8.58 | 0 | 12.52 | 0 | 10.92 | 0 | 12.97 | 0 | 1179.63 | 654.44 | 569.41 | 802.35 | 591.62 | 826.51 | 486.5 | 421.25 | 619.74 | 436.43 | 29.42 | 25.82 | 25.79 | 25.81 | 25.81 | 25.81 |  | 672 | 672 | 672 | 672 | 672 |  | 672 | 672 | 672 | 672 | 672 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 15.76 | 11.54 | 16.92 | 14.14 | 17.58 |  | 0 | 0 | 0 | 0 | 0 |  | 11.05 | 8.58 | 12.52 | 10.92 | 12.97 |  | 0 | 0 | 0 | 0 | 0 |  | 7.88 | 5.77 | 8.46 | 7.07 | 8.79 |  | 5.52 | 4.29 | 6.26 | 5.46 | 6.48 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 26.41 | 672 | 672 | 0 | 0 | 0 | 0 | [5 empty] | 2.97 | 0 | 2.18 | 0 | 1.49 | 1.09 | 779.51 | 255.58 |  |  | 02
14 | TestModel[CS_AUS Williamson[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS Williamson | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 744 | 03/01 01:00:00 | 03/01 | 03 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 21.3 | 74.64 | 3.21 | 21.65 | 25.7 | 17.6 | 26.2 | 17.1 | 26.82 | 25.7 | 25.54 | 25.61 | 25.64 | 25.62 | 22.12 | 21.57 | 22.12 | 21.57 | 22.12 | 21.57 | 22.12 | 21.57 | 22.12 | 21.57 | 22.12 | 21.57 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.19 | 13095.74 | 19122.14 | 13095.74 | 19122.14 | 13095.74 | 19122.14 | 13095.74 | 19122.14 | 13095.74 | 19122.14 | 16.99 | 7.61 | 13.85 | 16.47 | 15.21 | 0 | 0 | 0 | 0 | 0 | 11.51 | 0 | 5.66 | 0 | 9.97 | 0 | 12.16 | 0 | 10.89 | 0 | 1271.67 | 431.75 | 465.92 | 934.31 | 511.66 | 861.46 | 321.17 | 335.33 | 689.65 | 366.35 | 26.82 | 25.7 | 25.54 | 25.61 | 25.64 | 25.62 |  | 744 | 744 | 744 | 744 | 744 |  | 744 | 744 | 744 | 744 | 744 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 16.99 | 7.61 | 13.85 | 16.47 | 15.21 |  | 0 | 0 | 0 | 0 | 0 |  | 11.51 | 5.66 | 9.97 | 12.16 | 10.89 |  | 0 | 0 | 0 | 0 | 0 |  | 8.5 | 3.81 | 6.92 | 8.23 | 7.6 |  | 5.76 | 2.83 | 4.98 | 6.08 | 5.44 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 25.82 | 744 | 744 | 0 | 0 | 0 | 0 | [5 empty] | 2.83 | 0 | 2.01 | 0 | 1.41 | 1.01 | 779.51 | 255.58 |  |  | 03
15 | TestModel[CS_AUS Williamson[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS Williamson | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 720 | 04/01 01:00:00 | 04/01 | 04 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 18.66 | 74.81 | 1.43 | 21.09 | 25.14 | 17.04 | 25.64 | 16.54 | 21.84 | 25.14 | 24.52 | 24.77 | 24.93 | 24.78 | 19.95 | 19.04 | 19.95 | 19.04 | 19.95 | 19.04 | 19.95 | 19.04 | 19.95 | 19.04 | 19.95 | 19.04 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.18 | 12266.48 | 18098.48 | 12266.48 | 18098.48 | 12266.48 | 18098.48 | 12266.48 | 18098.48 | 12266.48 | 18098.48 | 13.4 | 3.03 | 8.16 | 15.5 | 8.99 | 0 | 0 | 0 | 0 | 0 | 8.86 | 0 | 2.31 | 0 | 5.72 | 0 | 10.94 | 0 | 6.4 | 0 | 1002.87 | 171.84 | 274.54 | 879.48 | 302.4 | 662.92 | 131.3 | 192.63 | 620.69 | 215.33 | 21.84 | 25.14 | 24.52 | 24.77 | 24.93 | 24.78 |  | 720 | 720 | 720 | 720 | 720 |  | 720 | 720 | 720 | 720 | 720 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 13.4 | 3.03 | 8.16 | 15.5 | 8.99 |  | 0 | 0 | 0 | 0 | 0 |  | 8.86 | 2.31 | 5.72 | 10.94 | 6.4 |  | 0 | 0 | 0 | 0 | 0 |  | 6.7 | 1.51 | 4.08 | 7.75 | 4.49 |  | 4.43 | 1.16 | 2.86 | 5.47 | 3.2 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 24.33 | 720 | 720 | 0 | 0 | 0 | 0 | [5 empty] | 2.06 | 0 | 1.43 | 0 | 1.03 | 0.71 | 779.51 | 255.58 |  |  | 04
16 | TestModel[CS_AUS Williamson[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS Williamson | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 744 | 05/01 01:00:00 | 05/01 | 05 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 15.93 | 75.82 | 2.1 | 20.44 | 24.49 | 16.39 | 24.99 | 15.89 | 17.6 | 24.47 | 23.4 | 23.81 | 24.09 | 23.82 | 17.44 | 16.31 | 17.44 | 16.31 | 17.44 | 16.31 | 17.44 | 16.31 | 17.44 | 16.31 | 17.44 | 16.31 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.57 | 12190.76 | 18217.16 | 12190.76 | 18217.16 | 12190.76 | 18217.16 | 12190.76 | 18217.16 | 12190.76 | 18217.16 | 13.18 | 1.29 | 5.05 | 12.92 | 5.54 | 0 | 0 | 0 | 0 | 0 | 8.29 | 0 | 0.92 | 0 | 3.34 | 0 | 8.6 | 0 | 3.68 | 0 | 986.04 | 73.23 | 170.05 | 733.08 | 186.31 | 620.59 | 52.09 | 112.32 | 488.06 | 123.97 | 17.6 | 24.47 | 23.4 | 23.81 | 24.09 | 23.82 |  | 744 | 744 | 744 | 744 | 744 |  | 744 | 744 | 744 | 744 | 744 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 13.18 | 1.29 | 5.05 | 12.92 | 5.54 |  | 0 | 0 | 0 | 0 | 0 |  | 8.29 | 0.92 | 3.34 | 8.6 | 3.68 |  | 0 | 0 | 0 | 0 | 0 |  | 6.59 | 0.65 | 2.53 | 6.46 | 2.77 |  | 4.15 | 0.46 | 1.67 | 4.3 | 1.84 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 22.86 | 744 | 744 | 0 | 0 | 0 | 0 | [5 empty] | 1.68 | 0 | 1.09 | 0 | 0.84 | 0.55 | 779.51 | 255.58 |  |  | 05
17 | TestModel[CS_AUS Williamson[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS Williamson | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 720 | 06/01 01:00:00 | 06/01 | 06 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 13.37 | 70.41 | 2.59 | 19.72 | 23.77 | 15.67 | 24.27 | 15.17 | 13.57 | 23.74 | 22.18 | 22.84 | 23.25 | 22.79 | 14.68 | 14.01 | 14.68 | 14.01 | 14.68 | 14.01 | 14.68 | 14.01 | 14.68 | 14.01 | 14.68 | 14.01 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.89 | 11281 | 17113 | 11281 | 17113 | 11281 | 17113 | 11281 | 17113 | 11281 | 17113 | 11.05 | 0.25 | 2.37 | 9.19 | 2.43 | 0 | 0 | 0 | 0 | 0 | 6.91 | 0 | 0.17 | 0 | 1.56 | 0 | 6.18 | 0 | 1.59 | 0 | 826.94 | 14.04 | 79.86 | 521.15 | 81.67 | 517.02 | 9.92 | 52.63 | 350.75 | 53.53 | 13.57 | 23.74 | 22.18 | 22.84 | 23.25 | 22.79 |  | 720 | 720 | 720 | 720 | 720 |  | 720 | 720 | 720 | 720 | 720 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 11.05 | 0.25 | 2.37 | 9.19 | 2.43 |  | 0 | 0 | 0 | 0 | 0 |  | 6.91 | 0.17 | 1.56 | 6.18 | 1.59 |  | 0 | 0 | 0 | 0 | 0 |  | 5.53 | 0.12 | 1.19 | 4.59 | 1.21 |  | 3.45 | 0.09 | 0.78 | 3.09 | 0.8 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 21.4 | 720 | 720 | 0 | 0 | 0 | 0 | [5 empty] | 1.19 | 0 | 0.77 | 0 | 0.6 | 0.38 | 779.51 | 255.58 |  |  | 06
18 | TestModel[CS_AUS Williamson[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS Williamson | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 744 | 07/01 01:00:00 | 07/01 | 07 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 12.29 | 64.71 | 2.45 | 19.2 | 23.25 | 15.15 | 23.75 | 14.65 | 13.16 | 23.22 | 21.79 | 22.4 | 22.75 | 22.38 | 12.69 | 12.45 | 12.69 | 12.45 | 12.69 | 12.45 | 12.69 | 12.45 | 12.69 | 12.45 | 12.69 | 12.45 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.79 | 11270.96 | 17297.36 | 11270.96 | 17297.36 | 11270.96 | 17297.36 | 11270.96 | 17297.36 | 11270.96 | 17297.36 | 11.01 | 0.66 | 3.6 | 12.3 | 3.97 | 0 | 0 | 0 | 0 | 0 | 6.98 | 0 | 0.5 | 0 | 2.45 | 0 | 8.34 | 0 | 2.69 | 0 | 823.82 | 37.52 | 121.15 | 697.71 | 133.57 | 522.33 | 28.64 | 82.54 | 473.13 | 90.63 | 13.16 | 23.22 | 21.79 | 22.4 | 22.75 | 22.38 |  | 744 | 744 | 744 | 744 | 744 |  | 744 | 744 | 744 | 744 | 744 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 11.01 | 0.66 | 3.6 | 12.3 | 3.97 |  | 0 | 0 | 0 | 0 | 0 |  | 6.98 | 0.5 | 2.45 | 8.34 | 2.69 |  | 0 | 0 | 0 | 0 | 0 |  | 5.5 | 0.33 | 1.8 | 6.15 | 1.98 |  | 3.49 | 0.25 | 1.23 | 4.17 | 1.35 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 20.95 | 744 | 744 | 0 | 0 | 0 | 0 | [5 empty] | 1.42 | 0 | 0.94 | 0 | 0.71 | 0.47 | 779.51 | 255.58 |  |  | 07
19 | TestModel[CS_AUS Williamson[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS Williamson | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 744 | 08/01 01:00:00 | 08/01 | 08 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 13.56 | 65.35 | 2.33 | 19.2 | 23.25 | 15.15 | 23.75 | 14.65 | 16.02 | 23.25 | 22.65 | 22.98 | 23.09 | 22.98 | 12.7 | 13.22 | 12.7 | 13.22 | 12.7 | 13.22 | 12.7 | 13.22 | 12.7 | 13.22 | 12.7 | 13.22 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.17 | 11272.4 | 17298.8 | 11272.4 | 17298.8 | 11272.4 | 17298.8 | 11272.4 | 17298.8 | 11272.4 | 17298.8 | 14.45 | 3.34 | 9.9 | 19.21 | 10.46 | 0 | 0 | 0 | 0 | 0 | 9.33 | 0 | 2.51 | 0 | 6.84 | 0 | 13.1 | 0 | 7.22 | 0 | 1081.2 | 189.36 | 333.16 | 1089.72 | 351.98 | 698.23 | 142.62 | 230.23 | 743.27 | 243.1 | 16.02 | 23.25 | 22.65 | 22.98 | 23.09 | 22.98 |  | 744 | 744 | 744 | 744 | 744 |  | 744 | 744 | 744 | 744 | 744 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 14.45 | 3.34 | 9.9 | 19.21 | 10.46 |  | 0 | 0 | 0 | 0 | 0 |  | 9.33 | 2.51 | 6.84 | 13.1 | 7.22 |  | 0 | 0 | 0 | 0 | 0 |  | 7.22 | 1.67 | 4.95 | 9.6 | 5.23 |  | 4.67 | 1.26 | 3.42 | 6.55 | 3.61 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 21.83 | 744 | 744 | 0 | 0 | 0 | 0 | [5 empty] | 2.38 | 0 | 1.61 | 0 | 1.19 | 0.81 | 779.51 | 255.58 |  |  | 08
20 | TestModel[CS_AUS Williamson[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS Williamson | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 720 | 09/01 01:00:00 | 09/01 | 09 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 15.27 | 66.32 | 3.12 | 19.62 | 23.67 | 15.57 | 24.17 | 15.07 | 19.49 | 23.67 | 23.38 | 23.54 | 23.58 | 23.54 | 14.29 | 14.63 | 14.29 | 14.63 | 14.29 | 14.63 | 14.29 | 14.63 | 14.29 | 14.63 | 14.29 | 14.63 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.65 | 11207 | 17039 | 11207 | 17039 | 11207 | 17039 | 11207 | 17039 | 11207 | 17039 | 14.63 | 5.39 | 12.58 | 17.32 | 13.01 | 0 | 0 | 0 | 0 | 0 | 9.42 | 0 | 3.94 | 0 | 8.61 | 0 | 11.97 | 0 | 8.88 | 0 | 1094.94 | 305.77 | 423.41 | 982.72 | 437.79 | 704.96 | 223.52 | 289.87 | 678.89 | 298.75 | 19.49 | 23.67 | 23.38 | 23.54 | 23.58 | 23.54 |  | 720 | 720 | 720 | 720 | 720 |  | 720 | 720 | 720 | 720 | 720 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 14.63 | 5.39 | 12.58 | 17.32 | 13.01 |  | 0 | 0 | 0 | 0 | 0 |  | 9.42 | 3.94 | 8.61 | 11.97 | 8.88 |  | 0 | 0 | 0 | 0 | 0 |  | 7.32 | 2.7 | 6.29 | 8.66 | 6.5 |  | 4.71 | 1.97 | 4.31 | 5.98 | 4.44 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 22.87 | 720 | 720 | 0 | 0 | 0 | 0 | [5 empty] | 2.54 | 0 | 1.72 | 0 | 1.27 | 0.86 | 779.51 | 255.58 |  |  | 09
21 | TestModel[CS_AUS Williamson[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS Williamson | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 744 | 10/01 01:00:00 | 10/01 | 10 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 18.37 | 58.87 | 5.26 | 20.4 | 24.45 | 16.35 | 24.95 | 15.85 | 24.09 | 24.45 | 24.23 | 24.34 | 24.34 | 24.33 | 17.3 | 18.37 | 17.3 | 18.37 | 17.3 | 18.37 | 17.3 | 18.37 | 17.3 | 18.37 | 17.3 | 18.37 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.02 | 12162.94 | 18189.34 | 12162.94 | 18189.34 | 12162.94 | 18189.34 | 12162.94 | 18189.34 | 12162.94 | 18189.34 | 16.15 | 10.04 | 17.59 | 15.97 | 17.52 | 0 | 0 | 0 | 0 | 0 | 10.84 | 0 | 7.46 | 0 | 12.82 | 0 | 12.17 | 0 | 12.73 | 0 | 1208.65 | 569.64 | 591.96 | 905.99 | 589.6 | 810.89 | 423.35 | 431.54 | 690.38 | 428.3 | 24.09 | 24.45 | 24.23 | 24.34 | 24.34 | 24.33 |  | 744 | 744 | 744 | 744 | 744 |  | 744 | 744 | 744 | 744 | 744 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 16.15 | 10.04 | 17.59 | 15.97 | 17.52 |  | 0 | 0 | 0 | 0 | 0 |  | 10.84 | 7.46 | 12.82 | 12.17 | 12.73 |  | 0 | 0 | 0 | 0 | 0 |  | 8.08 | 5.02 | 8.8 | 7.99 | 8.76 |  | 5.42 | 3.73 | 6.41 | 6.08 | 6.36 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 24.3 | 744 | 744 | 0 | 0 | 0 | 0 | [5 empty] | 3.03 | 0 | 2.18 | 0 | 1.51 | 1.09 | 779.51 | 255.58 |  |  | 10
22 | TestModel[CS_AUS Williamson[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS Williamson | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 720 | 11/01 01:00:00 | 11/01 | 11 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 19.75 | 63.53 | 3.93 | 20.79 | 24.84 | 16.74 | 25.34 | 16.24 | 26.3 | 24.84 | 24.8 | 24.82 | 24.82 | 24.82 | 18.82 | 19.3 | 18.82 | 19.3 | 18.82 | 19.3 | 18.82 | 19.3 | 18.82 | 19.3 | 18.82 | 19.3 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.24 | 12054.69 | 17886.69 | 12054.69 | 17886.69 | 12054.69 | 17886.69 | 12054.69 | 17886.69 | 12054.69 | 17886.69 | 16.86 | 12.35 | 19.28 | 14.61 | 18.8 | 0 | 0 | 0 | 0 | 0 | 11.17 | 0 | 8.93 | 0 | 13.63 | 0 | 10.72 | 0 | 13.33 | 0 | 1261.75 | 700.6 | 648.83 | 829.01 | 632.67 | 835.57 | 506.42 | 458.67 | 608.26 | 448.42 | 26.3 | 24.84 | 24.8 | 24.82 | 24.82 | 24.82 |  | 720 | 720 | 720 | 720 | 720 |  | 720 | 720 | 720 | 720 | 720 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 16.86 | 12.35 | 19.28 | 14.61 | 18.8 |  | 0 | 0 | 0 | 0 | 0 |  | 11.17 | 8.93 | 13.63 | 10.72 | 13.33 |  | 0 | 0 | 0 | 0 | 0 |  | 8.43 | 6.18 | 9.64 | 7.31 | 9.4 |  | 5.58 | 4.46 | 6.82 | 5.36 | 6.66 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 25.07 | 720 | 720 | 0 | 0 | 0 | 0 | [5 empty] | 3.19 | 0 | 2.24 | 0 | 1.59 | 1.12 | 779.51 | 255.58 |  |  | 11
23 | TestModel[CS_AUS Williamson[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[Australia_Sydney_Present | TestModel | CS_AUS Williamson | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | Australia_Sydney_Present | 744 | 12/01 01:00:00 | 12/01 | 12 | 01 | 01 | 00 | 00 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | 21.19 | 71.82 | 6.23 | 21.1 | 25.15 | 17.05 | 25.65 | 16.55 | 28.53 | 25.15 | 25.1 | 25.12 | 25.12 | 25.12 | 20.01 | 20.84 | 20.01 | 20.84 | 20.01 | 20.84 | 20.01 | 20.84 | 20.01 | 20.84 | 20.01 | 20.84 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.3 | 12686.26 | 18712.66 | 12686.26 | 18712.66 | 12686.26 | 18712.66 | 12686.26 | 18712.66 | 12686.26 | 18712.66 | 17.05 | 14.2 | 20.12 | 15.05 | 21.95 | 0 | 0 | 0 | 0 | 0 | 11.59 | 0 | 10.23 | 0 | 14.48 | 0 | 11.5 | 0 | 15.54 | 0 | 1276.17 | 805.53 | 677.04 | 853.6 | 738.65 | 867.31 | 580.09 | 487.36 | 652.15 | 522.93 | 28.53 | 25.15 | 25.1 | 25.12 | 25.12 | 25.12 |  | 744 | 744 | 744 | 744 | 744 |  | 744 | 744 | 744 | 744 | 744 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | [31 empty] | 17.05 | 14.2 | 20.12 | 15.05 | 21.95 |  | 0 | 0 | 0 | 0 | 0 |  | 11.59 | 10.23 | 14.48 | 11.5 | 15.54 |  | 0 | 0 | 0 | 0 | 0 |  | 8.53 | 7.1 | 10.06 | 7.52 | 10.98 |  | 5.8 | 5.11 | 7.24 | 5.75 | 7.77 | 0 | 228.23 | 173.01 | 102.63 | 173.01 | 102.63 | 0 | 74.83 | 56.72 | 33.65 | 56.73 | 33.65 | [12 empty] | 25.69 | 744 | 744 | 0 | 0 | 0 | 0 | [5 empty] | 3.4 | 0 | 2.43 | 0 | 1.7 | 1.22 | 779.51 | 255.58 |  |  | 12