## Sheet1
| SOURCE | MODEL | COMFSTAND | CATEGORY | COMFMOD | HVACMODE | VENTCTRL | VSTOFFSET | MINOTOFFSET | MAXWINDSPEED | ASTTOL | NAMESUFFIX | EPW | COUNT | EPW_Country_name | EPW_City_or_subcountry | EPW_Scenario-Year | EPW_Scenario | EPW_Year | DATE/TIME | MONTH | VRF OUTDOOR UNIT_BLOCK2:ZONE1:VRF HEAT PUMP HEATING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | MONTH/DAY | DAY | HOUR | MINUTE | SECOND | EMS:ZONE AIR VOLUME_BLOCK1:ZONE2 [M3](HOURLY) | EMS:ZONE AIR VOLUME_BLOCK1:ZONE1 [M3](HOURLY) | EMS:ZONE AIR VOLUME_BLOCK2:ZONE2 [M3](HOURLY) | EMS:ZONE AIR VOLUME_BLOCK2:ZONE1 [M3](HOURLY) | EMS:ZONE FLOOR AREA_BLOCK1:ZONE2 [M2](HOURLY) | EMS:ZONE FLOOR AREA_BLOCK1:ZONE1 [M2](HOURLY) | EMS:ZONE FLOOR AREA_BLOCK2:ZONE2 [M2](HOURLY) | EMS:ZONE FLOOR AREA_BLOCK2:ZONE1 [M2](HOURLY) | ENVIRONMENT:SITE OUTDOOR AIR DRYBULB TEMPERATURE [C](HOURLY) | ENVIRONMENT:SITE OUTDOOR AIR RELATIVE HUMIDITY [%](HOURLY) | ENVIRONMENT:SITE WIND SPEED [M/S](HOURLY) | EMS:COMFORT TEMPERATURE [C](HOURLY) | EMS:ADAPTIVE COOLING SETPOINT TEMPERATURE [C](HOURLY) | EMS:ADAPTIVE HEATING SETPOINT TEMPERATURE [C](HOURLY) | EMS:ADAPTIVE COOLING SETPOINT TEMPERATURE_NO TOLERANCE [C](HOURLY) | EMS:ADAPTIVE HEATING SETPOINT TEMPERATURE_NO TOLERANCE [C](HOURLY) | EMS:VENTILATION SETPOINT TEMPERATURE [C](HOURLY) | EMS:MINIMUM OUTDOOR TEMPERATURE FOR VENTILATION [C](HOURLY) | BLOCK1:ZONE2:ZONE OPERATIVE TEMPERATURE [C](HOURLY) | BLOCK1:ZONE1:ZONE OPERATIVE TEMPERATURE [C](HOURLY) | BLOCK2:ZONE2:ZONE OPERATIVE TEMPERATURE [C](HOURLY) | BLOCK2:ZONE1:ZONE OPERATIVE TEMPERATURE [C](HOURLY) | PEOPLE BLOCK1:ZONE2:ZONE THERMAL COMFORT ASHRAE 55 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | PEOPLE BLOCK1:ZONE2:ZONE THERMAL COMFORT CEN 15251 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | PEOPLE BLOCK1:ZONE1:ZONE THERMAL COMFORT ASHRAE 55 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | PEOPLE BLOCK1:ZONE1:ZONE THERMAL COMFORT CEN 15251 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | PEOPLE BLOCK2:ZONE2:ZONE THERMAL COMFORT ASHRAE 55 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | PEOPLE BLOCK2:ZONE2:ZONE THERMAL COMFORT CEN 15251 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | PEOPLE BLOCK2:ZONE1:ZONE THERMAL COMFORT ASHRAE 55 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | PEOPLE BLOCK2:ZONE1:ZONE THERMAL COMFORT CEN 15251 ADAPTIVE MODEL RUNNING AVERAGE OUTDOOR AIR TEMPERATURE [C](HOURLY) | EMS:COMFORTABLE HOURS_NO APPLICABILITY_BLOCK1:ZONE2 [H](HOURLY) | EMS:COMFORTABLE HOURS_NO APPLICABILITY_BLOCK1:ZONE1 [H](HOURLY) | EMS:COMFORTABLE HOURS_NO APPLICABILITY_BLOCK2:ZONE2 [H](HOURLY) | EMS:COMFORTABLE HOURS_NO APPLICABILITY_BLOCK2:ZONE1 [H](HOURLY) | EMS:COMFORTABLE HOURS_APPLICABILITY_BLOCK1:ZONE2 [H](HOURLY) | EMS:COMFORTABLE HOURS_APPLICABILITY_BLOCK1:ZONE1 [H](HOURLY) | EMS:COMFORTABLE HOURS_APPLICABILITY_BLOCK2:ZONE2 [H](HOURLY) | EMS:COMFORTABLE HOURS_APPLICABILITY_BLOCK2:ZONE1 [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE HOT HOURS_BLOCK1:ZONE2 [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE HOT HOURS_BLOCK1:ZONE1 [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE HOT HOURS_BLOCK2:ZONE2 [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE HOT HOURS_BLOCK2:ZONE1 [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE COLD HOURS_BLOCK1:ZONE2 [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE COLD HOURS_BLOCK1:ZONE1 [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE COLD HOURS_BLOCK2:ZONE2 [H](HOURLY) | EMS:DISCOMFORTABLE APPLICABLE COLD HOURS_BLOCK2:ZONE1 [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE HOT HOURS_BLOCK1:ZONE2 [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE HOT HOURS_BLOCK1:ZONE1 [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE HOT HOURS_BLOCK2:ZONE2 [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE HOT HOURS_BLOCK2:ZONE1 [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE COLD HOURS_BLOCK1:ZONE2 [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE COLD HOURS_BLOCK1:ZONE1 [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE COLD HOURS_BLOCK2:ZONE2 [H](HOURLY) | EMS:DISCOMFORTABLE NON APPLICABLE COLD HOURS_BLOCK2:ZONE1 [H](HOURLY) | EMS:VENTILATION HOURS_BLOCK1:ZONE2 [H](HOURLY) | EMS:VENTILATION HOURS_BLOCK1:ZONE1 [H](HOURLY) | EMS:VENTILATION HOURS_BLOCK2:ZONE2 [H](HOURLY) | EMS:VENTILATION HOURS_BLOCK2:ZONE1 [H](HOURLY) | BLOCK1:ZONE2:AFN ZONE INFILTRATION VOLUME [M3](HOURLY) | BLOCK1:ZONE2:AFN ZONE INFILTRATION AIR CHANGE RATE [ACH](HOURLY) | BLOCK1:ZONE1:AFN ZONE INFILTRATION VOLUME [M3](HOURLY) | BLOCK1:ZONE1:AFN ZONE INFILTRATION AIR CHANGE RATE [ACH](HOURLY) | BLOCK2:ZONE2:AFN ZONE INFILTRATION VOLUME [M3](HOURLY) | BLOCK2:ZONE2:AFN ZONE INFILTRATION AIR CHANGE RATE [ACH](HOURLY) | BLOCK2:ZONE1:AFN ZONE INFILTRATION VOLUME [M3](HOURLY) | BLOCK2:ZONE1:AFN ZONE INFILTRATION AIR CHANGE RATE [ACH](HOURLY) | WHOLE BUILDING:FACILITY TOTAL HVAC ELECTRICITY DEMAND RATE (kWh/m2)(HOURLY) | AHST_SCH_BLOCK1:ZONE2:SCHEDULE VALUE [](HOURLY) | ACST_SCH_BLOCK1:ZONE2:SCHEDULE VALUE [](HOURLY) | AHST_SCH_BLOCK1:ZONE1:SCHEDULE VALUE [](HOURLY) | ACST_SCH_BLOCK1:ZONE1:SCHEDULE VALUE [](HOURLY) | AHST_SCH_BLOCK2:ZONE2:SCHEDULE VALUE [](HOURLY) | ACST_SCH_BLOCK2:ZONE2:SCHEDULE VALUE [](HOURLY) | AHST_SCH_BLOCK2:ZONE1:SCHEDULE VALUE [](HOURLY) | ACST_SCH_BLOCK2:ZONE1:SCHEDULE VALUE [](HOURLY) | BLOCK1:ZONE2 VRF INDOOR UNIT DX COOLING COIL:COOLING COIL TOTAL COOLING RATE (kWh/m2)(HOURLY) | BLOCK1:ZONE1 VRF INDOOR UNIT DX COOLING COIL:COOLING COIL TOTAL COOLING RATE (kWh/m2)(HOURLY) | BLOCK2:ZONE2 VRF INDOOR UNIT DX COOLING COIL:COOLING COIL TOTAL COOLING RATE (kWh/m2)(HOURLY) | BLOCK2:ZONE1 VRF INDOOR UNIT DX COOLING COIL:COOLING COIL TOTAL COOLING RATE (kWh/m2)(HOURLY) | BLOCK1:ZONE2 VRF INDOOR UNIT DX HEATING COIL:HEATING COIL HEATING RATE (kWh/m2)(HOURLY) | BLOCK1:ZONE1 VRF INDOOR UNIT DX HEATING COIL:HEATING COIL HEATING RATE (kWh/m2)(HOURLY) | BLOCK2:ZONE2 VRF INDOOR UNIT DX HEATING COIL:HEATING COIL HEATING RATE (kWh/m2)(HOURLY) | BLOCK2:ZONE1 VRF INDOOR UNIT DX HEATING COIL:HEATING COIL HEATING RATE (kWh/m2)(HOURLY) | VRF OUTDOOR UNIT_BLOCK1:ZONE2:VRF HEAT PUMP COOLING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | VRF OUTDOOR UNIT_BLOCK1:ZONE2:VRF HEAT PUMP HEATING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | VRF OUTDOOR UNIT_BLOCK1:ZONE1:VRF HEAT PUMP COOLING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | VRF OUTDOOR UNIT_BLOCK1:ZONE1:VRF HEAT PUMP HEATING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | VRF OUTDOOR UNIT_BLOCK2:ZONE2:VRF HEAT PUMP COOLING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | VRF OUTDOOR UNIT_BLOCK2:ZONE2:VRF HEAT PUMP HEATING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | VRF OUTDOOR UNIT_BLOCK2:ZONE1:VRF HEAT PUMP COOLING ELECTRICITY ENERGY (kWh/m2)(HOURLY) | BLOCK1:_TOTAL ENERGY DEMAND (WH) (summed) | BLOCK2:_TOTAL ENERGY DEMAND (WH) (summed) | BLOCK1:_TOTAL ENERGY CONSUMPTION (WH) (summed) | BLOCK2:_TOTAL ENERGY CONSUMPTION (WH) (summed) | BLOCK1_Total_Zone Operative Temperature (°C) (mean) | BLOCK2_Total_Zone Operative Temperature (°C) (mean) | BLOCK1_Total_Comfortable Hours_No Applicability (h) (mean) | BLOCK2_Total_Comfortable Hours_No Applicability (h) (mean) | BLOCK1_Total_Comfortable Hours_Applicability (h) (mean) | BLOCK2_Total_Comfortable Hours_Applicability (h) (mean) | BLOCK1_Total_Discomfortable Applicable Hot Hours (h) (mean) | BLOCK2_Total_Discomfortable Applicable Hot Hours (h) (mean) | BLOCK1_Total_Discomfortable Applicable Cold Hours (h) (mean) | BLOCK2_Total_Discomfortable Applicable Cold Hours (h) (mean) | BLOCK1_Total_Discomfortable Non Applicable Hot Hours (h) (mean) | BLOCK2_Total_Discomfortable Non Applicable Hot Hours (h) (mean) | BLOCK1_Total_Discomfortable Non Applicable Cold Hours (h) (mean) | BLOCK2_Total_Discomfortable Non Applicable Cold Hours (h) (mean) | BLOCK1_Total_Ventilation Hours (h) (mean) | BLOCK2_Total_Ventilation Hours (h) (mean) | BLOCK1_Total_AFN Zone Infiltration Volume (m3) (mean) | BLOCK2_Total_AFN Zone Infiltration Volume (m3) (mean) | BLOCK1_Total_AFN Zone Infiltration Air Change Rate (ach) (mean) | BLOCK2_Total_AFN Zone Infiltration Air Change Rate (ach) (mean) | BLOCK1_Total_AFN Zone Ventilation Volume (m3) (mean) | BLOCK2_Total_AFN Zone Ventilation Volume (m3) (mean) | BLOCK1_Total_AFN Zone Ventilation Air Change Rate (ach) (mean) | BLOCK2_Total_AFN Zone Ventilation Air Change Rate (ach) (mean) | BLOCK1_Total_Cooling Energy Demand (kWh/m2) (mean) | BLOCK2_Total_Cooling Energy Demand (kWh/m2) (mean) | BLOCK1_Total_Heating Energy Demand (kWh/m2) (mean) | BLOCK2_Total_Heating Energy Demand (kWh/m2) (mean) | BLOCK1_Total_Cooling Energy Consumption (kWh/m2) (mean) | BLOCK2_Total_Cooling Energy Consumption (kWh/m2) (mean) | BLOCK1_Total_Heating Energy Consumption (kWh/m2) (mean) | BLOCK2_Total_Heating Energy Consumption (kWh/m2) (mean) | BLOCK1_Total_Total Energy Demand (kWh/m2) (mean) | BLOCK2_Total_Total Energy Demand (kWh/m2) (mean) | BLOCK1_Total_Total Energy Consumption (kWh/m2) (mean) | BLOCK2_Total_Total Energy Consumption (kWh/m2) (mean) | BLOCK1_Total_Zone Air Volume (m3) (summed) | BLOCK2_Total_Zone Air Volume (m3) (summed) | BLOCK1_Total_Zone Floor Area (m2) (summed) | BLOCK2_Total_Zone Floor Area (m2) (summed) | BLOCK1_Total_PMV (mean) | BLOCK2_Total_PMV (mean) | BLOCK1_Total_PPD (%) (mean) | BLOCK2_Total_PPD (%) (mean) | Building_Total_Zone Operative Temperature (°C) (mean) | Building_Total_Comfortable Hours_No Applicability (h) (mean) | Building_Total_Comfortable Hours_Applicability (h) (mean) | Building_Total_Discomfortable Applicable Hot Hours (h) (mean) | Building_Total_Discomfortable Applicable Cold Hours (h) (mean) | Building_Total_Discomfortable Non Applicable Hot Hours (h) (mean) | Building_Total_Discomfortable Non Applicable Cold Hours (h) (mean) | Building_Total_Ventilation Hours (h) (mean) | Building_Total_AFN Zone Infiltration Volume (m3) (mean) | Building_Total_AFN Zone Infiltration Air Change Rate (ach) (mean) | Building_Total_AFN Zone Ventilation Volume (m3) (mean) | Building_Total_AFN Zone Ventilation Air Change Rate (ach) (mean) | Building_Total_Cooling Energy Demand (kWh/m2) (mean) | Building_Total_Heating Energy Demand (kWh/m2) (mean) | Building_Total_Cooling Energy Consumption (kWh/m2) (mean) | Building_Total_Heating Energy Consumption (kWh/m2) (mean) | Building_Total_Total Energy Demand (kWh/m2) (mean) | Building_Total_Total Energy Consumption (kWh/m2) (mean) | Building_Total_Zone Air Volume (m3) (summed) | Building_Total_Zone Floor Area (m2) (summed) | Building_Total_PMV (mean) | Building_Total_PPD (%) (mean) | Date/Time
0 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 744 | India | Ahmedabad | Present | Present | Present | 01/01 01:00:00 | 01 | 0 | 01/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 19.91 | 51.79 | 1.67 | 23.35 | 26.95 | 19.75 | 27.45 | 19.25 | 23.35 | 12.75 | 26.61 | 26.8 | 26.74 | 26.81 | 19.49 | 18.7 | 19.49 | 18.7 | 19.49 | 18.7 | 19.49 | 18.7 | 744 | 744 | 744 | 744 | 743.5 | 743.5 | 743.5 | 743.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 4882.69 | 136.04 | 8275.12 | 77.14 | 1748.9 | 16.82 | 487.09 | 13.88 | 23.67 | 14694.01 | 20050.81 | 14694.01 | 20050.81 | 14694.01 | 20050.81 | 14694.01 | 20050.81 | 26.54 | 109.78 | 25.8 | 18.8 | 0 | 0 | 0 | 0 | 18.83 | 0 | 60.3 | 0 | 17.18 | 0 | 9.38 | 1397.29 | 1364.05 | 811.09 | 812.32 | 26.7 | 26.78 | 744 | 744 | 743.5 | 743.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 0 | 0 | 6578.91 | 1118 | 106.59 | 15.35 |  |  |  |  | 17.08 | 16.68 | 0 | 0 | 9.92 | 9.93 | 0 | 0 | 8.54 | 8.34 | 4.96 | 4.97 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 26.74 | 744 | 743.5 | 0 | 0 | 0 | 0.5 | 0 | 3848.45 | 60.97 |  |  | 8.44 | 0 | 4.96 | 0 | 4.22 | 2.48 | 282.25 | 81.8 |  |  | 01
1 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 672 | India | Ahmedabad | Present | Present | Present | 02/01 01:00:00 | 02 | 0 | 02/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 22.33 | 48.14 | 1.08 | 24.32 | 27.92 | 20.72 | 28.42 | 20.22 | 24.32 | 13.72 | 27.76 | 27.85 | 27.82 | 27.85 | 21.28 | 22.01 | 21.28 | 22.01 | 21.28 | 22.01 | 21.28 | 22.01 | 672 | 672 | 672 | 672 | 672 | 672 | 672 | 672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3597.32 | 100.23 | 6318.72 | 58.9 | 1301.75 | 12.52 | 503.03 | 14.34 | 24.49 | 13922.81 | 18761.21 | 13922.81 | 18761.21 | 13922.81 | 18761.21 | 13922.81 | 18761.21 | 30.73 | 109.78 | 28.99 | 18.16 | 0 | 0 | 0 | 0 | 21.42 | 0 | 61.75 | 0 | 18.86 | 0 | 9.49 | 1440.21 | 1441.88 | 852.52 | 866.91 | 27.8 | 27.84 | 672 | 672 | 672 | 672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4958.02 | 902.39 | 79.56 | 13.43 |  |  |  |  | 17.61 | 17.63 | 0 | 0 | 10.42 | 10.6 | 0 | 0 | 8.8 | 8.81 | 5.21 | 5.3 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 27.82 | 672 | 672 | 0 | 0 | 0 | 0 | 0 | 2930.21 | 46.5 |  |  | 8.81 | 0 | 5.25 | 0 | 4.4 | 2.63 | 282.25 | 81.8 |  |  | 02
2 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 744 | India | Ahmedabad | Present | Present | Present | 03/01 01:00:00 | 03 | 0 | 03/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 28.11 | 40.08 | 1.97 | 26.21 | 29.81 | 22.61 | 30.31 | 22.11 | 26.21 | 15.61 | 29.74 | 29.76 | 29.76 | 29.77 | 24.78 | 26.86 | 24.78 | 26.86 | 24.78 | 26.86 | 24.78 | 26.86 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3061.56 | 85.3 | 4924.05 | 45.9 | 3103.61 | 29.85 | 1018.84 | 29.03 | 32.91 | 16819.23 | 22176.03 | 16819.23 | 22176.03 | 16819.23 | 22176.03 | 16819.23 | 22176.03 | 43.49 | 130.01 | 39.68 | 20.34 | 0 | 0 | 0 | 0 | 31.45 | 0 | 83.01 | 0 | 26.92 | 0 | 12.42 | 1778.32 | 1835.23 | 1173.23 | 1202.91 | 29.75 | 29.76 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3992.8 | 2061.22 | 65.6 | 29.44 |  |  |  |  | 21.74 | 22.44 | 0 | 0 | 14.34 | 14.71 | 0 | 0 | 10.87 | 11.22 | 7.17 | 7.35 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 29.76 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 3027.02 | 47.52 |  |  | 11.04 | 0 | 7.26 | 0 | 5.52 | 3.63 | 282.25 | 81.8 |  |  | 03
3 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 720 | India | Ahmedabad | Present | Present | Present | 04/01 01:00:00 | 04 | 0 | 04/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 31.48 | 37.24 | 2.47 | 29.05 | 32.61 | 25.41 | 33.11 | 24.91 | 29.01 | 18.41 | 32.59 | 32.59 | 32.59 | 32.6 | 30.03 | 31.17 | 30.03 | 31.17 | 30.03 | 31.17 | 30.03 | 31.17 | 720 | 720 | 720 | 720 | 504.5 | 504.5 | 504.5 | 504.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 215.5 | 215.5 | 215.5 | 215.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2444.58 | 68.11 | 4885.33 | 45.54 | 2711.08 | 26.07 | 1541.1 | 43.92 | 33.71 | 18296.99 | 23480.99 | 18296.99 | 23480.99 | 18296.99 | 23480.99 | 18296.99 | 23480.99 | 44.34 | 118.68 | 39.9 | 17.5 | 0 | 0 | 0 | 0 | 33.41 | 0 | 84.1 | 0 | 28.38 | 0 | 12.4 | 1670.89 | 1755.13 | 1204.51 | 1247.02 | 32.59 | 32.6 | 720 | 720 | 504.5 | 504.5 | 0 | 0 | 0 | 0 | 215.5 | 215.5 | 0 | 0 | 0 | 0 | 3664.96 | 2126.09 | 56.82 | 35 |  |  |  |  | 20.43 | 21.46 | 0 | 0 | 14.73 | 15.24 | 0 | 0 | 10.21 | 10.73 | 7.36 | 7.62 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 32.59 | 720 | 504.5 | 0 | 0 | 215.5 | 0 | 0 | 2895.52 | 45.91 |  |  | 10.47 | 0 | 7.49 | 0 | 5.24 | 3.75 | 282.25 | 81.8 |  |  | 04
4 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 744 | India | Ahmedabad | Present | Present | Present | 05/01 01:00:00 | 05 | 0 | 05/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 33.62 | 48.71 | 2.92 | 30.5 | 33.17 | 25.97 | 33.67 | 25.47 | 29.57 | 18.97 | 33.2 | 33.2 | 33.2 | 33.2 | 32.73 | 33.59 | 32.73 | 33.59 | 32.73 | 33.59 | 32.73 | 33.59 | 737.5 | 737 | 737 | 737.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1794.76 | 50.01 | 4281.33 | 39.91 | 3787.32 | 36.42 | 3031.77 | 86.4 | 37.97 | 19321.68 | 24678.48 | 19321.68 | 24678.48 | 19321.68 | 24678.48 | 19321.68 | 24678.48 | 51.93 | 126.57 | 45.38 | 18.36 | 0 | 0 | 0 | 0 | 39.1 | 0 | 93.76 | 0 | 32.78 | 0 | 13.88 | 1829.67 | 1949 | 1361.86 | 1426.83 | 33.2 | 33.2 | 737.25 | 737.25 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 0 | 0 | 0 | 0 | 3038.04 | 3409.54 | 44.96 | 61.41 |  |  |  |  | 22.37 | 23.83 | 0 | 0 | 16.65 | 17.44 | 0 | 0 | 11.18 | 11.91 | 8.32 | 8.72 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 33.2 | 737.25 | 0 | 0 | 0 | 744 | 0 | 0 | 3223.8 | 53.18 |  |  | 11.55 | 0 | 8.52 | 0 | 5.77 | 4.26 | 282.25 | 81.8 |  |  | 05
5 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 720 | India | Ahmedabad | Present | Present | Present | 06/01 01:00:00 | 06 | 0 | 06/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 33.17 | 61.35 | 4.01 | 31.11 | 33.17 | 25.97 | 33.67 | 25.47 | 29.57 | 18.97 | 33.16 | 33.16 | 33.16 | 33.16 | 33.86 | 33.46 | 33.86 | 33.46 | 33.86 | 33.46 | 33.86 | 33.46 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1559.6 | 43.45 | 5274.05 | 49.16 | 3224.72 | 31.01 | 4990.87 | 142.23 | 35.25 | 18698.4 | 23882.4 | 18698.4 | 23882.4 | 18698.4 | 23882.4 | 18698.4 | 23882.4 | 48.74 | 113.79 | 42.09 | 17.15 | 0 | 0 | 0 | 0 | 36.52 | 0 | 85.55 | 0 | 30.46 | 0 | 12.91 | 1665.85 | 1811.74 | 1251.26 | 1326.23 | 33.16 | 33.16 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 720 | 720 | 0 | 0 | 0 | 0 | 3416.82 | 4107.8 | 46.3 | 86.62 |  |  |  |  | 20.36 | 22.15 | 0 | 0 | 15.3 | 16.21 | 0 | 0 | 10.18 | 11.07 | 7.65 | 8.11 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 33.16 | 720 | 0 | 0 | 0 | 720 | 0 | 0 | 3762.31 | 66.46 |  |  | 10.63 | 0 | 7.88 | 0 | 5.31 | 3.94 | 282.25 | 81.8 |  |  | 06
6 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 744 | India | Ahmedabad | Present | Present | Present | 07/01 01:00:00 | 07 | 0 | 07/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 29.58 | 80.75 | 2.68 | 29.74 | 33 | 25.8 | 33.5 | 25.3 | 29.4 | 18.8 | 32.98 | 32.98 | 32.98 | 32.98 | 31.32 | 30.01 | 31.32 | 30.01 | 31.32 | 30.01 | 31.32 | 30.01 | 744 | 744 | 744 | 744 | 263.5 | 263.5 | 263.5 | 263.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 480.5 | 480.5 | 480.5 | 480.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2110.34 | 58.8 | 5295.1 | 49.36 | 2928.39 | 28.16 | 2522.25 | 71.88 | 28.53 | 19196.49 | 24553.29 | 19196.49 | 24553.29 | 19196.49 | 24553.29 | 19196.49 | 24553.29 | 38.73 | 91.24 | 34.57 | 14.23 | 0 | 0 | 0 | 0 | 28.11 | 0 | 66.37 | 0 | 24.2 | 0 | 10.22 | 1332.19 | 1492.47 | 968.44 | 1052.4 | 32.98 | 32.98 | 744 | 744 | 263.5 | 263.5 | 0 | 0 | 0 | 0 | 480.5 | 480.5 | 0 | 0 | 0 | 0 | 3702.72 | 2725.32 | 54.08 | 50.02 |  |  |  |  | 16.29 | 18.25 | 0 | 0 | 11.84 | 12.87 | 0 | 0 | 8.14 | 9.12 | 5.92 | 6.43 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 32.98 | 744 | 263.5 | 0 | 0 | 480.5 | 0 | 0 | 3214.02 | 52.05 |  |  | 8.63 | 0 | 6.18 | 0 | 4.32 | 3.09 | 282.25 | 81.8 |  |  | 07
7 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 744 | India | Ahmedabad | Present | Present | Present | 08/01 01:00:00 | 08 | 0 | 08/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 28.21 | 80.79 | 2.46 | 28.26 | 31.86 | 24.66 | 32.36 | 24.16 | 28.26 | 17.66 | 31.85 | 31.85 | 31.85 | 31.85 | 28.58 | 28.3 | 28.58 | 28.3 | 28.58 | 28.3 | 28.58 | 28.3 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1964.21 | 54.73 | 4968.56 | 46.32 | 2508.95 | 24.13 | 2304 | 65.66 | 29.48 | 18350.28 | 23707.08 | 18350.28 | 23707.08 | 18350.28 | 23707.08 | 18350.28 | 23707.08 | 43.34 | 102.93 | 37.88 | 16.43 | 0 | 0 | 0 | 0 | 29.22 | 0 | 70 | 0 | 24.66 | 0 | 10.66 | 1499.28 | 1660.74 | 1017.01 | 1080.26 | 31.85 | 31.85 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3466.38 | 2406.48 | 50.52 | 44.9 |  |  |  |  | 18.33 | 20.3 | 0 | 0 | 12.43 | 13.21 | 0 | 0 | 9.16 | 10.15 | 6.22 | 6.6 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 31.85 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 2936.43 | 47.71 |  |  | 9.66 | 0 | 6.41 | 0 | 4.83 | 3.2 | 282.25 | 81.8 |  |  | 08
8 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 720 | India | Ahmedabad | Present | Present | Present | 09/01 01:00:00 | 09 | 0 | 09/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 28.86 | 72.8 | 1.92 | 28.12 | 31.72 | 24.52 | 32.22 | 24.02 | 28.12 | 17.52 | 31.71 | 31.7 | 31.7 | 31.7 | 28.32 | 28.59 | 28.32 | 28.59 | 28.32 | 28.59 | 28.32 | 28.59 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1713.55 | 47.74 | 3619.4 | 33.74 | 2594.67 | 24.95 | 1619.19 | 46.14 | 30.65 | 17655.6 | 22839.6 | 17655.6 | 22839.6 | 17655.6 | 22839.6 | 17655.6 | 22839.6 | 45.61 | 119.82 | 40.27 | 19.21 | 0 | 0 | 0 | 0 | 30.01 | 0 | 75.12 | 0 | 25.42 | 0 | 11.35 | 1695.62 | 1818.92 | 1077.57 | 1124.7 | 31.7 | 31.7 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2666.48 | 2106.93 | 40.74 | 35.54 |  |  |  |  | 20.73 | 22.24 | 0 | 0 | 13.17 | 13.75 | 0 | 0 | 10.36 | 11.12 | 6.59 | 6.87 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 31.7 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 2386.7 | 38.14 |  |  | 10.74 | 0 | 6.73 | 0 | 5.37 | 3.37 | 282.25 | 81.8 |  |  | 09
9 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 744 | India | Ahmedabad | Present | Present | Present | 10/01 01:00:00 | 10 | 0 | 10/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 27.2 | 64.95 | 1.07 | 28.24 | 31.84 | 24.64 | 32.34 | 24.14 | 28.24 | 17.64 | 31.8 | 31.82 | 31.81 | 31.82 | 28.54 | 27.8 | 28.54 | 27.8 | 28.54 | 27.8 | 28.54 | 27.8 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2923.31 | 81.45 | 5297.41 | 49.38 | 1654.63 | 15.91 | 793.47 | 22.61 | 31.43 | 18335.23 | 23692.03 | 18335.23 | 23692.03 | 18335.23 | 23692.03 | 18335.23 | 23692.03 | 43.71 | 135.3 | 40 | 22.45 | 0 | 0 | 0 | 0 | 29.42 | 0 | 79.24 | 0 | 25.24 | 0 | 12.11 | 1834.84 | 1909.57 | 1113.8 | 1142.24 | 31.81 | 31.82 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4110.36 | 1224.05 | 65.42 | 19.26 |  |  |  |  | 22.43 | 23.34 | 0 | 0 | 13.62 | 13.96 | 0 | 0 | 11.22 | 11.67 | 6.81 | 6.98 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 31.81 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 2667.2 | 42.34 |  |  | 11.44 | 0 | 6.89 | 0 | 5.72 | 3.45 | 282.25 | 81.8 |  |  | 10
10 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 720 | India | Ahmedabad | Present | Present | Present | 11/01 01:00:00 | 11 | 0 | 11/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 23.53 | 54.23 | 0.89 | 26.63 | 30.23 | 23.03 | 30.73 | 22.53 | 26.63 | 16.03 | 30.02 | 30.15 | 30.11 | 30.16 | 25.55 | 24.23 | 25.55 | 24.23 | 25.55 | 24.23 | 25.55 | 24.23 | 720 | 719.5 | 720 | 720 | 720 | 719.5 | 720 | 720 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4331.99 | 120.7 | 7825.65 | 72.95 | 1075.46 | 10.34 | 527.04 | 15.02 | 26.89 | 16579.49 | 21763.49 | 16579.49 | 21763.49 | 16579.49 | 21763.49 | 16579.49 | 21763.49 | 33.51 | 119.08 | 31.82 | 20.95 | 0 | 0 | 0 | 0 | 23.67 | 0 | 67.27 | 0 | 20.82 | 0 | 10.71 | 1564 | 1613.69 | 932.16 | 964.03 | 30.08 | 30.14 | 719.75 | 720 | 719.75 | 720 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6078.82 | 801.25 | 96.82 | 12.68 |  |  |  |  | 19.12 | 19.73 | 0 | 0 | 11.4 | 11.79 | 0 | 0 | 9.56 | 9.86 | 5.7 | 5.89 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 30.11 | 719.88 | 719.88 | 0.12 | 0 | 0 | 0 | 0 | 3440.04 | 54.75 |  |  | 9.71 | 0 | 5.8 | 0 | 4.86 | 2.9 | 282.25 | 81.8 |  |  | 11
11 | TestModel[CS_IND IMAC C NV[CA_80[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[India_Ahmedabad_Present | TestModel | CS_IND IMAC C NV | CA_80 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | India_Ahmedabad_Present | 744 | India | Ahmedabad | Present | Present | Present | 12/01 01:00:00 | 12 | 0 | 12/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 20.56 | 60.09 | 1.05 | 24.72 | 28.32 | 21.12 | 28.82 | 20.62 | 24.72 | 14.12 | 28.09 | 28.23 | 28.19 | 28.23 | 22.01 | 21.13 | 22.01 | 21.13 | 22.01 | 21.13 | 22.01 | 21.13 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4773.95 | 133.01 | 8669.19 | 80.81 | 958.06 | 9.21 | 444.51 | 12.67 | 24.43 | 15711.32 | 21068.12 | 15711.32 | 21068.12 | 15711.32 | 21068.12 | 15711.32 | 21068.12 | 29.43 | 114.85 | 28.07 | 20.37 | 0 | 0 | 0 | 0 | 20.14 | 0 | 61.44 | 0 | 18.02 | 0 | 9.75 | 1478.9 | 1481.42 | 836.22 | 849.23 | 28.16 | 28.21 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6721.57 | 701.28 | 106.91 | 10.94 |  |  |  |  | 18.08 | 18.11 | 0 | 0 | 10.22 | 10.38 | 0 | 0 | 9.04 | 9.06 | 5.11 | 5.19 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 28.18 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 3711.43 | 58.92 |  |  | 9.05 | 0 | 5.15 | 0 | 4.52 | 2.58 | 282.25 | 81.8 |  |  | 12
12 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 744 | United-Kingdom | London | Present | Present | Present | 01/01 01:00:00 | 01 | 1.74 | 01/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 4.4 | 81.68 | 3.74 | 20.42 | 23.6 | 19.6 | 24.1 | 19.1 | 21.6 | 12.6 | 20.04 | 20.7 | 20.66 | 20.71 | 5.98 | 4.9 | 5.98 | 4.9 | 5.98 | 4.9 | 5.98 | 4.9 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 9370.78 | 261.09 | 19073.44 | 177.8 | 2462.02 | 23.68 | 2740.27 | 78.09 | 9.33 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 0 | 2.25 | 0.13 | 0.5 | 13.6 | 15.86 | 5.01 | 2.26 | 0 | 10.27 | 1.62 | 12.2 | 0.09 | 3.89 | 0.35 | 325.09 | 241.4 | 246.83 | 185.65 | 20.37 | 20.68 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 0 | 0 | 14222.11 | 2601.14 | 219.44 | 50.89 |  |  |  |  | 0.28 | 0.23 | 3.69 | 2.72 | 0.2 | 0.17 | 2.81 | 2.1 | 1.99 | 1.48 | 1.51 | 1.13 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 20.53 | 744 | 0 | 0 | 0 | 0 | 744 | 0 | 8411.63 | 135.16 |  |  | 0.13 | 1.6 | 0.09 | 1.23 | 0.87 | 0.66 | 282.25 | 81.8 |  |  | 01
13 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 672 | United-Kingdom | London | Present | Present | Present | 02/01 01:00:00 | 02 | 1.21 | 02/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 3.94 | 84.25 | 2.95 | 19.89 | 23.6 | 19.6 | 24.1 | 19.1 | 21.6 | 12.6 | 20.28 | 20.93 | 20.9 | 21 | 3.66 | 3.31 | 3.66 | 3.31 | 3.66 | 3.31 | 3.66 | 3.31 | 672 | 672 | 672 | 672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 672 | 672 | 672 | 672 | 0 | 0 | 0 | 0 | 8543.66 | 238.05 | 16572.02 | 154.48 | 1624.17 | 15.62 | 1437.53 | 40.97 | 8.26 | 13171.2 | 15859.2 | 13171.2 | 15859.2 | 13171.2 | 15859.2 | 13171.2 | 15859.2 | 0.09 | 6.1 | 1.12 | 1.19 | 9.99 | 10.86 | 3.5 | 1.56 | 0.07 | 7.59 | 4.26 | 8.39 | 0.81 | 2.73 | 0.81 | 277.26 | 225.32 | 208.16 | 169.89 | 20.6 | 20.95 | 672 | 672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 672 | 672 | 0 | 0 | 12557.84 | 1530.85 | 196.26 | 28.3 |  |  |  |  | 0.78 | 0.86 | 2.61 | 1.89 | 0.54 | 0.6 | 2 | 1.47 | 1.69 | 1.38 | 1.27 | 1.04 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 20.78 | 672 | 0 | 0 | 0 | 0 | 672 | 0 | 7044.34 | 112.28 |  |  | 0.41 | 1.13 | 0.29 | 0.87 | 0.77 | 0.58 | 282.25 | 81.8 |  |  | 02
14 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 744 | United-Kingdom | London | Present | Present | Present | 03/01 01:00:00 | 03 | 0.1 | 03/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 6.84 | 78.08 | 4.41 | 20.98 | 23.6 | 19.6 | 24.1 | 19.1 | 21.6 | 12.6 | 21.58 | 22.14 | 22.12 | 22.19 | 5.04 | 6.62 | 5.04 | 6.62 | 5.04 | 6.62 | 5.04 | 6.62 | 744 | 744 | 744 | 743 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 8989 | 250.46 | 17592.99 | 164 | 4655.39 | 44.77 | 2504.75 | 71.38 | 9.34 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 3.88 | 23.23 | 6.39 | 3.63 | 1.63 | 0.82 | 0.44 | 0.14 | 2.81 | 1.24 | 16.12 | 0.63 | 4.53 | 0.33 | 2.47 | 302.99 | 324.17 | 213.19 | 227.17 | 21.86 | 22.16 | 744 | 743.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 0 | 0 | 13291 | 3580.07 | 207.23 | 58.08 |  |  |  |  | 3.4 | 3.75 | 0.31 | 0.22 | 2.37 | 2.62 | 0.23 | 0.16 | 1.85 | 1.98 | 1.3 | 1.39 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 22.01 | 743.75 | 0 | 0 | 0 | 0 | 744 | 0 | 8435.53 | 132.65 |  |  | 1.79 | 0.13 | 1.25 | 0.1 | 0.96 | 0.67 | 282.25 | 81.8 |  |  | 03
15 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 720 | United-Kingdom | London | Present | Present | Present | 04/01 01:00:00 | 04 | 0.03 | 04/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 8.32 | 75.72 | 3.72 | 21.46 | 23.63 | 19.63 | 24.13 | 19.13 | 21.7 | 12.63 | 22.4 | 22.84 | 22.81 | 22.87 | 7.73 | 8.05 | 7.73 | 8.05 | 7.73 | 8.05 | 7.73 | 8.05 | 720 | 719.5 | 720 | 719.5 | 96 | 95.5 | 96 | 96 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 624 | 624 | 624 | 624 | 0 | 0 | 0 | 0 | 8788.38 | 244.87 | 14843.15 | 138.36 | 3811.74 | 36.66 | 1631.01 | 46.48 | 14.5 | 14133.75 | 17013.75 | 14133.75 | 17013.75 | 14133.75 | 17013.75 | 14133.75 | 17013.75 | 14.26 | 56.14 | 15.12 | 8.57 | 0.31 | 0.29 | 0.1 | 0.03 | 9.24 | 0.24 | 31.97 | 0.24 | 9.43 | 0.08 | 4.92 | 727.67 | 728.48 | 427.36 | 442.3 | 22.62 | 22.84 | 719.75 | 719.75 | 95.75 | 96 | 0.25 | 0 | 0 | 0 | 0 | 0 | 624 | 624 | 0 | 0 | 11815.76 | 2721.38 | 191.62 | 41.57 |  |  |  |  | 8.82 | 8.86 | 0.07 | 0.05 | 5.16 | 5.37 | 0.06 | 0.04 | 4.45 | 4.45 | 2.61 | 2.7 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 22.73 | 719.75 | 95.88 | 0.12 | 0 | 0 | 624 | 0 | 7268.57 | 116.59 |  |  | 4.42 | 0.03 | 2.63 | 0.03 | 2.23 | 1.33 | 282.25 | 81.8 |  |  | 04
16 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 744 | United-Kingdom | London | Present | Present | Present | 05/01 01:00:00 | 05 | 0 | 05/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 12.47 | 73.46 | 3.43 | 22.63 | 24.16 | 20.16 | 24.66 | 19.66 | 22.57 | 13.16 | 23.74 | 23.9 | 23.92 | 23.91 | 10.32 | 11.6 | 10.32 | 11.6 | 10.32 | 11.6 | 10.32 | 11.6 | 744 | 744 | 744 | 743.5 | 599.5 | 599.5 | 599.5 | 599.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144.5 | 144.5 | 144.5 | 144.5 | 0 | 0 | 0 | 0 | 6956.48 | 193.83 | 12994.55 | 121.13 | 2923.86 | 28.12 | 2091.48 | 59.6 | 22.29 | 15001.61 | 17977.61 | 15001.61 | 17977.61 | 15001.61 | 17977.61 | 15001.61 | 17977.61 | 31.96 | 93.36 | 29.03 | 13.77 | 0 | 0 | 0 | 0 | 18.67 | 0 | 52.99 | 0 | 16.79 | 0 | 8.01 | 1284.52 | 1308.75 | 734.46 | 758.31 | 23.82 | 23.92 | 744 | 743.75 | 599.5 | 599.5 | 0 | 0 | 0 | 0 | 0 | 0 | 144.5 | 144.5 | 0 | 0 | 9975.52 | 2507.67 | 157.48 | 43.86 |  |  |  |  | 15.7 | 16 | 0 | 0 | 8.98 | 9.27 | 0 | 0 | 7.85 | 8 | 4.49 | 4.64 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 23.87 | 743.88 | 599.5 | 0 | 0 | 0 | 144.5 | 0 | 6241.59 | 100.67 |  |  | 7.93 | 0 | 4.56 | 0 | 3.96 | 2.28 | 282.25 | 81.8 |  |  | 05
17 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 720 | United-Kingdom | London | Present | Present | Present | 06/01 01:00:00 | 06 | 0 | 06/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 15.01 | 70.82 | 3.34 | 23.48 | 24.98 | 20.98 | 25.48 | 20.48 | 23.48 | 13.98 | 24.66 | 24.78 | 24.79 | 24.8 | 13.29 | 14.18 | 13.29 | 14.18 | 13.29 | 14.18 | 13.29 | 14.18 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6793.36 | 189.28 | 10832.11 | 100.97 | 3654.09 | 35.14 | 943.85 | 26.9 | 21.62 | 15104.01 | 17984.01 | 15104.01 | 17984.01 | 15104.01 | 17984.01 | 15104.01 | 17984.01 | 31.83 | 88.22 | 28.67 | 13.62 | 0 | 0 | 0 | 0 | 18.37 | 0 | 50.59 | 0 | 16.34 | 0 | 7.91 | 1230.5 | 1293.22 | 706.83 | 741.53 | 24.72 | 24.8 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8812.74 | 2298.97 | 145.12 | 31.02 |  |  |  |  | 15.04 | 15.81 | 0 | 0 | 8.64 | 9.07 | 0 | 0 | 7.52 | 7.9 | 4.32 | 4.53 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 24.76 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 5555.85 | 88.07 |  |  | 7.71 | 0 | 4.43 | 0 | 3.86 | 2.21 | 282.25 | 81.8 |  |  | 06
18 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 744 | United-Kingdom | London | Present | Present | Present | 07/01 01:00:00 | 07 | 0 | 07/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 17.31 | 75.36 | 2.64 | 24.59 | 26.09 | 22.09 | 26.59 | 21.59 | 24.59 | 15.09 | 25.95 | 26.01 | 26.01 | 26.01 | 16.59 | 17.55 | 16.59 | 17.55 | 16.59 | 17.55 | 16.59 | 17.55 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5434.46 | 151.42 | 10090.74 | 94.06 | 2184.71 | 21.01 | 1236.94 | 35.25 | 24.89 | 16437.07 | 19413.07 | 16437.07 | 19413.07 | 16437.07 | 19413.07 | 16437.07 | 19413.07 | 37.12 | 102.27 | 32.87 | 15.91 | 0 | 0 | 0 | 0 | 22 | 0 | 59.59 | 0 | 19.16 | 0 | 9.24 | 1428.81 | 1491.53 | 836.32 | 868.27 | 25.98 | 26.01 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7762.6 | 1710.82 | 122.74 | 28.13 |  |  |  |  | 17.47 | 18.23 | 0 | 0 | 10.22 | 10.61 | 0 | 0 | 8.73 | 9.12 | 5.11 | 5.31 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 26 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 4736.71 | 75.44 |  |  | 8.93 | 0 | 5.21 | 0 | 4.46 | 2.6 | 282.25 | 81.8 |  |  | 07
19 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 744 | United-Kingdom | London | Present | Present | Present | 08/01 01:00:00 | 08 | 0 | 08/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 16.72 | 75.34 | 2.85 | 24.48 | 25.98 | 21.98 | 26.48 | 21.48 | 24.48 | 14.98 | 25.74 | 25.85 | 25.84 | 25.85 | 17.5 | 17.2 | 17.5 | 17.2 | 17.5 | 17.2 | 17.5 | 17.2 | 744 | 743 | 744 | 743.5 | 744 | 743 | 744 | 743.5 | 0 | 1 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5862.06 | 163.33 | 10927.06 | 101.86 | 2284.4 | 21.97 | 1510.34 | 43.04 | 22.85 | 16350.03 | 19326.03 | 16350.03 | 19326.03 | 16350.03 | 19326.03 | 16350.03 | 19326.03 | 32.16 | 96.33 | 29.36 | 14.91 | 0 | 0 | 0 | 0 | 19.23 | 0 | 54.58 | 0 | 17.14 | 0 | 8.45 | 1317.04 | 1353.76 | 756.54 | 782.55 | 25.8 | 25.84 | 743.5 | 743.75 | 743.5 | 743.75 | 0.5 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8394.56 | 1897.37 | 132.6 | 32.5 |  |  |  |  | 16.1 | 16.55 | 0 | 0 | 9.25 | 9.57 | 0 | 0 | 8.05 | 8.27 | 4.62 | 4.78 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 25.82 | 743.62 | 743.62 | 0.38 | 0 | 0 | 0 | 0 | 5145.96 | 82.55 |  |  | 8.16 | 0 | 4.7 | 0 | 4.08 | 2.35 | 282.25 | 81.8 |  |  | 08
20 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 720 | United-Kingdom | London | Present | Present | Present | 09/01 01:00:00 | 09 | 0 | 09/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 13.85 | 75.18 | 3.43 | 23.43 | 24.93 | 20.93 | 25.43 | 20.43 | 23.43 | 13.93 | 24.29 | 24.55 | 24.54 | 24.57 | 15.36 | 14.04 | 15.36 | 14.04 | 15.36 | 14.04 | 15.36 | 14.04 | 720 | 720 | 720 | 718 | 720 | 720 | 720 | 718 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7316.86 | 203.87 | 12025.97 | 112.1 | 3539 | 34.03 | 1205.22 | 34.35 | 16.35 | 15072.77 | 17952.77 | 15072.77 | 17952.77 | 15072.77 | 17952.77 | 15072.77 | 17952.77 | 17.83 | 63.56 | 17.58 | 9.97 | 0 | 0 | 0 | 0 | 11.7 | 0 | 37.43 | 0 | 11.16 | 0 | 5.76 | 834.26 | 842.49 | 503.55 | 517.37 | 24.42 | 24.56 | 720 | 719 | 720 | 719 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9671.41 | 2372.11 | 157.99 | 34.19 |  |  |  |  | 10.2 | 10.3 | 0 | 0 | 6.16 | 6.32 | 0 | 0 | 5.1 | 5.15 | 3.08 | 3.16 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 24.49 | 719.5 | 719.5 | 0.5 | 0 | 0 | 0 | 0 | 6021.76 | 96.09 |  |  | 5.12 | 0 | 3.12 | 0 | 2.56 | 1.56 | 282.25 | 81.8 |  |  | 09
21 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 744 | United-Kingdom | London | Present | Present | Present | 10/01 01:00:00 | 10 | 0.01 | 10/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 10.56 | 86.27 | 2.89 | 22.5 | 24.07 | 20.07 | 24.57 | 19.57 | 22.44 | 13.07 | 22.56 | 23.1 | 23.01 | 23.15 | 12.28 | 11.2 | 12.28 | 11.2 | 12.28 | 11.2 | 12.28 | 11.2 | 744 | 744 | 744 | 742 | 552.5 | 552.5 | 552.5 | 550.5 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 191.5 | 191.5 | 191.5 | 191.5 | 0 | 0 | 0 | 0 | 7468.87 | 208.1 | 15050.42 | 140.29 | 1611.55 | 15.5 | 1909.24 | 54.41 | 10.97 | 14931.02 | 17907.02 | 14931.02 | 17907.02 | 14931.02 | 17907.02 | 14931.02 | 17907.02 | 6.57 | 34.57 | 8.58 | 5.55 | 0.34 | 0.05 | 0.02 | 0.02 | 4.63 | 0.25 | 22.93 | 0.04 | 5.84 | 0.01 | 3.55 | 425.63 | 433.45 | 285.49 | 287.96 | 22.83 | 23.08 | 744 | 743 | 552.5 | 551.5 | 0 | 1 | 0 | 0 | 0 | 0 | 191.5 | 191.5 | 0 | 0 | 11259.64 | 1760.4 | 174.2 | 34.96 |  |  |  |  | 5.16 | 5.28 | 0.05 | 0.01 | 3.45 | 3.51 | 0.04 | 0.01 | 2.6 | 2.65 | 1.75 | 1.76 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 22.96 | 743.5 | 552 | 0.5 | 0 | 0 | 191.5 | 0 | 6510.02 | 104.57 |  |  | 2.61 | 0.02 | 1.74 | 0.01 | 1.31 | 0.88 | 282.25 | 81.8 |  |  | 10
22 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 720 | United-Kingdom | London | Present | Present | Present | 11/01 01:00:00 | 11 | 0.18 | 11/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 7.82 | 87.03 | 2.31 | 21.45 | 23.6 | 19.6 | 24.1 | 19.1 | 21.6 | 12.6 | 21.1 | 21.82 | 21.76 | 21.91 | 8.72 | 8.04 | 8.72 | 8.04 | 8.72 | 8.04 | 8.72 | 8.04 | 720 | 720 | 720 | 719.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 720 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 8067.18 | 224.77 | 15297.37 | 142.6 | 605.7 | 5.82 | 1034.81 | 29.49 | 6.85 | 14112 | 16992 | 14112 | 16992 | 14112 | 16992 | 14112 | 16992 | 0.59 | 10.03 | 2.88 | 1.65 | 3.39 | 1.99 | 0.99 | 0.24 | 0.44 | 2.57 | 7.19 | 1.54 | 2.04 | 0.77 | 1.16 | 164.04 | 176.2 | 120.31 | 126.71 | 21.46 | 21.84 | 720 | 719.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 720 | 720 | 0 | 0 | 11682.28 | 820.26 | 183.68 | 17.66 |  |  |  |  | 1.33 | 1.7 | 0.67 | 0.46 | 0.96 | 1.2 | 0.52 | 0.35 | 1 | 1.08 | 0.74 | 0.77 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 21.65 | 719.88 | 0 | 0 | 0 | 0 | 720 | 0 | 6251.27 | 100.67 |  |  | 0.76 | 0.28 | 0.54 | 0.22 | 0.52 | 0.38 | 282.25 | 81.8 |  |  | 11
23 | TestModel[CS_INT EN16798[CA_1[CM_3[HM_0[VC_X[VO_X[MT_X[MW_X[AT_0.5[NS_X[United-Kingdom_London_Present | TestModel | CS_INT EN16798 | CA_1 | CM_3 | HM_0 | VC_X | VO_X | MT_X | MW_X | AT_0.5 | NS_X | United-Kingdom_London_Present | 744 | United-Kingdom | London | Present | Present | Present | 12/01 01:00:00 | 12 | 1.81 | 12/01 | 1 | 1 | 0 | 0 | 35.89 | 107.28 | 103.99 | 35.09 | 10.25 | 30.65 | 30.58 | 10.32 | 5.11 | 88.52 | 3.18 | 20.55 | 23.6 | 19.6 | 24.1 | 19.1 | 21.6 | 12.6 | 20.1 | 20.63 | 20.71 | 20.62 | 5.85 | 5.3 | 5.85 | 5.3 | 5.85 | 5.3 | 5.85 | 5.3 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 744 | 744 | 0 | 0 | 0 | 0 | 9157.26 | 255.14 | 18189.39 | 169.56 | 1909.08 | 18.36 | 2251.16 | 64.15 | 9.23 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 14582.4 | 17558.4 | 0 | 0.87 | 0.14 | 0.19 | 13.41 | 16.51 | 5.12 | 2.33 | 0 | 10.16 | 0.64 | 12.88 | 0.1 | 4.01 | 0.14 | 315.63 | 237.77 | 242.77 | 185.38 | 20.37 | 20.66 | 744 | 744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 744 | 0 | 0 | 13673.32 | 2080.12 | 212.35 | 41.26 |  |  |  |  | 0.11 | 0.12 | 3.75 | 2.78 | 0.08 | 0.09 | 2.89 | 2.18 | 1.93 | 1.45 | 1.48 | 1.13 | 143.17 | 139.08 | 40.9 | 40.9 |  |  |  |  | 20.52 | 744 | 0 | 0 | 0 | 0 | 744 | 0 | 7876.72 | 126.8 |  |  | 0.06 | 1.63 | 0.04 | 1.27 | 0.85 | 0.65 | 282.25 | 81.8 |  |  | 12